[image: image1.wmf]Easingwold Town Council

Easingwold Library, Market Place,

Easingwold, York YO61 3AN

Telephone:
01347 822422

Email:

clerk@easingwold.gov.uk


Website:
www.easingwold.gov.uk

[image: image2.wmf]Clerk: Mrs J Bentley

Specification for refurbishment of Ladies Public Toilets – Easingwold
The Ladies Public Toilets require refurbishment.   The specification is as follows:
· Re-plaster and paint the ceiling
· Repaint the doors
· Both toilets removed and replaced

· Lay a new resin based floor with coved skirting (make good and screed existing prior to laying a new floor) approximately 9 square metres

· Multi-panel 1mm high pressure laminate wall panelling to all walls approximates 11/Lin/M x up to 2400mm high including all required fixing channels and bond/adhesive (to fix over existing tiles)

· Single corner wc cubicle 1050mm across, 1575mm deep, up to 2400

· Single in-line corner wc cubicle 1860mm across, 1075mm deep up to 2400mm high 
· The fitting of a non-return valve to the connection to the mains sewer to avoid future flooding is required

· Fit one new Wallgate Thrii unit (to be purchased separately by Easingwold Town Council)
· The units must be anti-vandalism

· Automatic water supply shut off

· In the baby change facility move the heater and wiring 
Please include supply and installation of all materials (with the exception of the Wallgate Thrii unit)
[image: image3.wmf]_1055050237.unknown

