## Rushey SoW
TITLE | PRICED RETURN - SCHEDULE OF WORKS
Client : | Environment Agency
Project: | Rushey Lock House, Tadpole Bridge, Bampton, OX18 2EP
Contract: | TBC
Date: | 2021-06-02
Contractor: | tbc
Ref: | 1055xxx
ITEM | DESCRIPTION | Unit | Item | Rate | Total
1 | PRELIMINARY ITEMS
1.01 | Clauses and works sections referred to in the following section are for information only and all works are to be undertaken in strict compliance with all clauses in the preceding sections. |  | Note |  | -
1.02 | Where proprietary items are specified within this Works section and the preceding section, they must be installed in strict accordance with the manufacturer's recommendations and instructions. |  | Note |  | -
1.03 | All proprietary items are to be installed by contractors approved by the supplier and the Contract Administrator. |  | Note |  | -
1.04 | All provisional sums, provisional quantities and PC Sums are to be directed by the Contract Administrator. |  | Note |  | -
1.05 | All rubbish and debris must be removed from site, as it occurs and the Contractor is to include for keeping areas affected by the proposed works free from dirt, debris and dust etc. | 1 | Item |  | 0
1.06 | The siting of builders skips shall be agreed prior to commencement of works and the Contractor must obtain a licence for any skips deposited on the public highway and to conform to all conditions contained therein. |  | Note |  | -
1.07 | The Contractor is to include for the provision of warning barriers around the works during the course of the contract, inclusive of warning notices and safety tape/bollards etc. |  | Note |  | -
1.08 | The siting of contractor's plant, accommodation and stored materials within the boundaries of the premises are to be agreed with the Contract Administrator. |  | Note |  | -
1.09 | No claim shall be considered which result from lack of knowledge and discrepancy from information reasonably obtained from on-site investigations. |  | Note |  | -
1.1 | All areas and measurements provided are provisional in nature and are subject to re-measure at the appropriate rate. |  | Note |  | -
1.11 | Allow for all necessary preliminaries, plant, machinery, scaffolding and attendance, in order to comply with the proceeding and foregoing sections. Include for obtaining approval for erection of scaffolding onto public highways/footpaths. | 1 | Item |  | 0
1.12 | The contractor will need to provide details of their proposed working methods at the time of tender to ensure that they have fully considered these requirements. These will be assessed by the project team including the Client, Contract Administrator and Principle designer |  | Note |  | -
1.13 | The contractor must allow for cleaning all internal surfaces and internal window glazing at completion of the works. This includes hire of ride on scrubber/dryer for cleaning the floors. | 1 | Item |  | 0
1.14 | Where floor finishes are specified the contractor must allow for all necessary preparation, fixing and finishing accessories etc. |  | Note |  | -
1.15 | Each individual work item below must be priced by the contractor. |  | Note |  | -
1.16 | The contractors internal redecoration costs are to include removal of isolated redundant fixings, and making good to fixing holes disturbed. |  | Note |  | -
1.17 | The contractor is responsible for ensuring the building is kept secure, wind and watertight at all times. Any damage caused to the building as a result of insufficient security, wind and weatherproofing measures during these works must be immediately remedied at the contractors cost. | 1 | Item |  | 0
Pre- Refurbishment Asbestos Report
1.18 | Prior to the commencement the contractor must commission a pre-refurbishment and demolition asbestos survey in accordance with the Control of Asbestos Regulations 2006. Provide a suitable asbestos register/report, which must remain on the premises. Please note that should any notifiable asbestos be found, removal of such material will be costed separately by the contractor prior to commencement of the refurbishment works. | 1 | Item |  | 0
Access
1.19 | The contractor is to provide safe and suitable means of working at height where required and in accordance with CDM best practice. | 1 | Item |  | 0
1.2 | The contractor is to provide safe and suitable access for site operatives and materials. | 1 | Item |  | 0
Generally
1.21 | Note: The contractor is to accept responsibility for coordination, supervision and administration of the works including all nominated and utilised subcontracts. |  | Note |  | -
1.22 | Allow to arrange and monitor a programme with each subcontractor, supplier, local authority and statutory undertaker, and obtain and supply information as necessary for coordination of the work on site. | 1 | Note |  | 0
1.23 | Note: Before tendering, the contractor should examine the drawings and specification documents visible in Appendix to this schedule of works document, visit the site and ascertain all local conditions and restrictions, accessibility, the full extent and nature of the work, the supply and conditions affecting labour and the execution of the contract generally. No claims arising from failure to do so will be considered. |  | Note |  | -
1.24 | Allow for undertaking the following schedule of works in accordance with the schedule document in conjunction with all relevant statutory requirements and full M&E designs to be provided over by the contractor. |  | Note |  | -
1.25 | Acting as Principle Contractor under CDM regulations, including, Health and Safety (Including all H&S Signage and fire extinguishers) , notifications, safety plans and provide information for safety files. The contractor will need to provide details of their proposed working methods at the time of tender to ensure that they have fully considered these requirements. The contractor will need to undertake the role of Principle Contractor in accordance with the current CDM Regulations. These will be assessed by the project team including the Client, Contract Administrator and CDM Coordinator as part of the overall selection procedure. | 1 | Item |  | 0
2 | Externally
Roof Area
2.01 | Brush down stone tiled roof and coping stones using a stiff brush to remove moss and debris, taking care not to damage the roof covering, disposing of waste materials off site. | 1 | Item |  | 0
2.02 | Carefully rake out friable, lose and damaged lime pointing, and repoint chimney with lime mortar to match the existing. | 1 | Item |  | 0
2.03 | Inspect and undertake localised repairs to refit gutters, allowing to reaffix guttering, cleaning and adjustment of union joints, and the falls to the gutter to allow rainwater to drain at downpipes. | 1 | Item |  | 0
2.04 | Rebed lead flashings generally to the roof area and dormers, allowing to undertake localised repairs where necessary. | 1 | Item |  | 0
2.05 | Undertake repairs to lead cheeks and soakers to dormer windows. | 1 | Item |  | 0
2.06 | Rub down, repair and redecorate timber soffits and fascia with 2 coats of an external suitable trade paint finishes | 1 | Item |  | 0
2.07 | Repair and renew decayed sections of fascia and soffits with new timber, and Repair Care resin filler where appropriate, to match existing, leaving ready for redecoration. | 1 | Item |  | 0
2.08 | Provisional Sum: Following removal of windows the timber structure of the dormer windows is to inspected for damage and decay, and repairs undertaken if required. | 1 | PS | 500 | 500
Elevations
2.09 | Extend the downpipe on the north facing elevation to fall into the adjacent surface water drainage gulley. | 1 | Item |  | 0
2.1 | Remove redundant cabling, former tenants alterations, chattels and the like allowing to make good to the walls; repointing with lime mortar. Sample to be agreed prior to works commencing. | 1 | Item |  | 0
2.11 | Rebed lead flashings on main entrance door canopy and repair with Repair Care resin based fillers to manufacturers requirements the decayed sections of the timber structure of the canopy. | 1 | Item |  | 0
2.12 | Note: Replacement of windows undertaken under separate works contract. | - | Note | - | -
2.13 | The main entrance timber door and frames to be locally repaired, resealed and provided with new draft seals. | 1 | Item |  | 0
2.14 | Remove plastic bags from underneath door threshold and pack with slates and point with lime mortar. | 1 | Item |  | 0
2.15 | Supply and install new internal letterbox and keyhole draft seal to main entrance door. | 1 | Item |  | 0
Garden Area
2.16 | Remove Ivy from walls, and apply biocidal root killer to roots, leaving the wall clean and free from ivy growth. | 1 | Item |  | 0
2.17 | Remove and cut back vegetation from the boarders/beds surrounding the property to around 600mm from the walls, allowing to trim back and neaten hedges/bushes etc. | 1 | Item |  | 0
2.18 | Power wash and clean hardstanding surrounding the property using a stiff brush | 1 | Item |  | 0
2.19 | Remove raised sections of flowerbeds surrounding the property to below the internal floor levels by at least 100mm. | 1 | Item |  | 0
2.2 | Clear debris from within and undertake localised repairs and cleaning to gullies throughout the property. | 1 | Item |  | 0
2.21 | Undertake localised repairs to the rear canopy over the door removing decay, leaving ready for redecoration. | 1 | Item |  | 0
3 | Internally
Alterations & Demolitions
3.01 | Remove all previous tenant installed chattels, fixtures, fittings, curtain poles etc and make good to surfaces disturbed. | 1 | Item |  | 0
3.02 | Note - The landlord is removing all floor finishes no longer required. Clean and prepare all floor surfaces ready to take new floor finishes. | 1 | item |  | 0
3.03 | Provisional sum to undertake latex levelling to ground floor areas. | 1 | PS | 750 | 750
3.04 | Provisional sum to sand back, repair and level parquet flooring in Lounge prior to installing new floor finishes. | 1 | PS | 500 | 500
3.05 | Carefully remove the door, frame, lining and architrave to Bedroom 1 and retain for reinstatement in new location. | 1 | Item |  | 0
3.06 | Carefully remove door, frame, lining and architrave to between Bedroom 3 & 4 and retain for reinstatement in new location. | 1 | Item |  | 0
3.07 | Extend partition into Bedroom 1 to allow for a doorway to be created into Bedroom 4. replace original door linings previously removed into new apertures for bedroom 1 and bedroom 4. | 1 | Item |  | 0
3.08 | Where indicated within Bedroom 1 supply and install new proprietary stud partitions taken up to the underside of the ceiling; comprising of 1/2 hour fire rated; Gyproc metal stud; British Gypsum Limited; 70S metal studs at 400 mm centres, head and floor channels installed in accordance with manufacturers instructions; one layer of 12.5mm thick Gyproc tapered edge wallboard to each side; butt joints taped and filled with Gyproc joint filler; ready to receive direct decoration; include for all necessary firestopping to head/edges of partition with intumescent material. Boarded both sides; including all angles, tee junctions, abutments, fair ends, accessories and the like. Cavity to be infilled with mineral wool insulation; Isover Acoustic roll or other approved. | 4 | l/m |  | 0
3.09 | Using a similar specification as above supply and install new plasterboard wall structure to fill aperture left between Bedroom 3 and Bedroom 4, tape and fill joints leaving ready for redecoration. | 2 | l/m |  | 0
3.1 | Throughout the entire property check all window boards and reaffix loose boards. | 1 | Item |  | 0
3.11 | Throughout the entire property undertake repairs to the timber surrounds to the windows to renew decayed sections with Repair Care resin filler where appropriate, to match existing, leaving ready for redecoration. | 1 | Item |  | 0
Kitchen
3.12 | Retain and deep clean the existing kitchen cabinets, worktops, sink drainer and taps and appliances. | 1 | Item |  | 0
3.13 | Remove existing tiles from walls and make good surfaces ready to take new tiles . Supply and install new white ceramic 300x100mm tiles, to 600mm above worktop height. Tiles to be non-bevelled & laid in brick bond with ice white grout. Include for associated fittings with brushed aluminium edge strips etc | 3.6 | m² |  | 0
3.14 | Remove tiled window board and replace with new timber window board to match existing, leaving ready for decoration. | 1 | Item |  | 0
3.15 | Reinstate removed lime plaster to stone walls with a new lime plaster. Prior to commencing wet walls and dub out deep recesses beforehand, using a drier lime plaster mix, and allow to dry to avoid deep pockets in the scratch coat. Install 1No of scratch coat of one part lime putty to two and a half parts of coarse, sharp, well-graded sand. once the wall has dried for 2-4 weeks dampen the wall and apply the floating coat of 1:1 lime to sharp sand. The finishing coat will be ready installation a week after the floating coat, using the same ratio of lime to sand. | 1 | Item |  | 0
3.16 | Supply and install new 12.5mm taper edge plasterboard to ceiling area of kitchen, taped and jointed leaving ready for decoration. | 22 | m² |  | 0
3.17 | Supply and install sound insulation between joists of ceiling prior to installing plasterboard ceiling. | 1 | Item |  | 0
3.18 | Supply and install new ledged softwood boarded door, to be provided between kitchen and rear lobby within existing doorway. | 1 | No |  | 0
3.19 | Replace existing broken vent to wall at low level with new to match existing. | 1 | Item |  | 0
3.2 | Supply and install new 12.5mm taper edge plasterboard to ceiling area of kitchen, taped and jointed leaving ready for decoration. | 1 | m² |  | 0
Lounge
3.21 | Investigate area of damp to external wall and remove blown plaster and decayed section of skirting. Repair removed, lose or missing plasterwork with lime plaster as specified for the Kitchen area. | 1 | Item |  | 0
3.22 | The existing parquet flooring is uneven in areas; coarse sand flooring to make level and undertake repairs / replacement to damaged/missing/decayed sections with hardwood timber. | 1 | Item |  | 0
3.23 | Hack off gypsum plaster to chimney breast, re-instate with hydraulic lime plaster. | 1 | item |  | 0
Dining Room
3.24 | Rehang existing door in aperture. | 1 | Item |  | 0
3.25 | Refix loose window board and make good. | 1 | Item |  | 0
3.26 | Remove damaged section of ceiling. | 1 | Item |  | 0
Bathroom
3.27 | Deep clean existing sanitaryware and wall panels | 1 | Item |  | 0
3.28 | Replace damaged cladding surrounding the bath with new bath panels in white. | 1 | Item |  | 0
3.29 | Undertake localised repair to non-slip flooring in bathroom and deep clean existing floor finish. | 1 | Item |  | 0
3.3 | Remove existing mastic throughout the bathroom and replace with new mould resistant silicone mastic. | 1 | Item |  | 0
Hallway
3.31 | Understairs cupboard needs deep clean | 1 | Item |  | 0
3.32 | The main contractor to inspect the cracks in the hallway and if deemed necessary instruct a structural engineer to provide a report on the cracking. | 1 | Item |  | 0
3.33 | Subject to report on findings of cracking; rake out cracking, rub down and fill crack with lime plaster, rub down and leave ready for redecoration. | 1 | Item |  | 0
3.34 | Supply and install additional pendant light fitting to match existing hallway lighting, to improve lighting generally. | 1 | No |  | 0
3.35 | Supply and install additional ventilation grille to understairs cupboard to assist with ventilation. | 1 | Item |  | 0
4 | Decorations & Finishes
4.01 | Prepare and decorate all previously decorated wall surfaces with 1 No. mist coat and 2 No. full coats of trade quality breathable matt emulsion in Brilliant White. NB: Previous tenants were heavy smokers so stain blocking primer or sugar soaping surfaces prior to decoration may be required. Contractor to confirm prior to works commencing.
a | Entrance Lobby | 12.76 | m² |  | 0 | 5.8
b | Lounge | 38.06 | m² |  | 0 | 17.3
c | Dining | 30.58 | m² |  | 0 | 13.9
d | Kitchen | 50.38 | m² |  | 0 | 22.9
e | Hall, Landing and Stairs | 56 | m² |  | 0 | 12.3
f | Bedroom 1 | 36.96 | m² |  | 0 | 16.8
g | Bedroom 2 | 30.58 | m² |  | 0 | 13.9
h | Bedroom 3 | 32.56 | m² |  | 0 | 14.8
i | Bedroom 4 | 34.76 | m² |  | 0 | 15.8
4.02 | Prepare and decorate all previously decorated ceiling surfaces with 1 No. mist coat and 2 No. full coats of trade quality breathable matt emulsion in Brilliant White. NB: Previous tenants were heavy smokers so stain blocking primer or sugar soaping surfaces prior to decoration may be required. Contractor to confirm prior to works commencing.
a | Entrance Lobby | 5.8 | m² |  | 0
b | Lounge | 17.1 | m² |  | 0
c | Dining | 12.5 | m²
d | Kitchen | 20.8 | m² |  | 0
e | Hall, Landing and Stairs | 16 | m² |  | 0
f | Bedroom 1 | 16.7 | m² |  | 0
g | Bedroom 2 | 12.4 | m² |  | 0
h | Bedroom 3 | 12.7 | m² |  | 0
i | Bedroom 4 | 15.5 | m² |  | 0
4.03 | Prepare and decorate all previously decorated internal timber surfaces with 1 No. primer undercoat and 2 No. full coats of trade quality satinwood timber paint in Brilliant White.
a | Architraves and skirting | 300 | l/m |  | 0
b | Internal Doors | 10 | No |  | 0
c | Window boards | 12 | No |  | 0
d | Timber dormer surrounds | 4 | No |  | 0
e | Staircase, handrails and balustrades. | 1 | Item |  | 0
4.04 | Prepare and decorate all previously decorated external timber surfaces with 1 No. primer undercoat and 2 No. full coats of trade quality external timber paint in Brilliant White.
a | Canopies | 2 | No |  | 0
b | Fascia and Soffits | 40 | l/m |  | 0
4.05 | Supply and install new 100% wool carpet? broadloom carpets to the following rooms, including an allowance for a recycled underlay, gripper rods and chrome thresholds. | 110 | m² |  | 0
a | Lounge | 17.1 | m² |  | 0
b | Dining | 12.5 | m² |  | 0
c | Hall, Landing and Stairs | 36 | m² |  | 0
d | Bedroom 1 | 16.7 | m² |  | 0
e | Bedroom 2 | 12.4 | m² |  | 0
f | Bedroom 3 | 12.7 | m² |  | 0
g | Bedroom 4 | 15.5 | m² |  | 0
4.06 | Supply and install new contact Chris Edge Amtico (Chris.Edge@amtico.com / 01217 450 800 / 07717227159) quote ref 0-191185. Style Sun Bleached Oak ref SS5W2531, Size: 101.6 x 914.4mm to the following rooms, including an allowance for recessed threshold strips and adhesive etc.
a | Kitchen | 20 | m² |  | 0
4.07 | Undertake localised repair and levelling to kitchen floor prior to installation of new floor finish. | 1 | Item |  | 0
4.08 | Investigate floor levels throughout the ground floor and propose scheme to provide a level floor finish throughout. | 1 | Item |  | 0
5 | Services
5.01 | Instruct the services of a chimney sweep to clean and clear the chimneys and log burners throughout the property. | 1 | Item |  | 0
5.02 | Contractor Design Item: The Contractor is to design, supply all materials and undertake all works, as required, to install a new electrical installations, including new distribution boards, wiring, connections and sockets to match the existing base build provision. All works are to be undertaken in accordance with the following: • The Building Regulations, Part P (Electrical Safety). • The Electricity at Work Regulations 1989 • Wiring Regulations 18th Edition • Health and Safety at Work Act 1974 • The workplace (Health, Safety and Welfare) Regulations 1992. • All relevant British Standards. Where necessary and appropriate the Landlord is to provide bonding and earthing in compliance with the requirements of the current Edition of the IEEE Wiring Regulations with particular note to incoming water services. | 1 | Item |  | 0
5.03 | Provide an NICEIC 5 Year Electrical Test Certificate upon completion of the works. | 1 | Item |  | 0
5.04 | Contractor Design Item: Supply all materials and undertake all works, as required, to install a new fire detection and warning installation. All works are to be undertaken in accordance with the following: • The Building Regulations, Part P (Electrical Safety). • The Electricity at Work Regulations 1989 • Wiring Regulations 18th Edition • Health and Safety at Work Act 1974 • The workplace (Health, Safety and Welfare) Regulations 1992. • All relevant British Standards. Where necessary and appropriate the Landlord is to provide bonding and earthing in compliance with the requirements of the current Edition of the IEEE Wiring Regulations with particular note to incoming water services. | 1 | Item |  | 0
5.05 | The Contractor is to provide Gas Safe test certificate upon completion of the works. | 1 | Item |  | 0
6 | General Items
6.01 | Allow for all supervision and coordination of the above as Principle Contractor in accordance with provisions as outlined within JCT Intermediate Building Contract with Contractor's Design 2011. | 1 | Item |  | 0
6.02 | Thoroughly clean down any areas where mess has been created as a result of the works upon completion of the works. Remove all dust, and clean all surfaces disturbed. If using landlords or tenant facilities; include for a professional clean to these areas. | 1 | Item |  | 0
6.03 | Allow for the collation and provision of all O&M information for newly installed systems to the Contract Administrator upon completion of the works. | 1 | Item |  | 0
6 | COLLECTION
6.01 | Subtotal |  |  |  | 1750
6.02 | Contractors Prelims including Labour and additional OH&P | 1 | Item |  | 0
6.03 | contractors contingency 10% |  |  |  | 175
6.04 | TOTAL |  |  |  | 1925