## Guidance
Customer Specific Requirements
Within this spreadsheet, all cells highlighted in yellow should be completed by the customer based on their KPI requirements. The pre-populated KPIs, Measures and Scoring Scales throughout this spreadsheet are only examples. Customers should look to amend these to better reflect the needs of their requirement, as part of their ITT pack, then remove the shading.
Within this spreadsheet, all cells highlighted in green should be completed by the supplier/customer on a monthly basis to allow calculation of KPI achievements and potential performance deduction values.
Performance Criteria sheet
This sheet shows the summarised position of the value at risk and performance deductions attributed to KPIs, both at a grouped and individual level.
The information is structured as follows:
Cell Reference | Description | Customer build instruction (pre ITT) | Monthly instruction (within contract)
Table 1. Financials
C5 | Defines the percentage of the value at risk for the contract. | Enter the KPI value at risk for your contract. Maximum is 6%. | None
C6 | Defines the monthly value of the contract. | None | Enter/ensure correct value for the period being assessed
C7 | Defines the value of variation events undertaken during the month. | None | Enter/ensure correct value for the period being assessed
C8 | Calculates the total value at risk for the month. | None | None
Table 2. KPIs
A13 to A22 | Defines the KPI names | Enter up to 10 KPIs titles dependent on your requirements. If using less than ten KPIs just leave some cells blank. | None
B13 to B22 | Defines the weighting attributed to each KPI. | Enter weighting for each KPI. Total must add up to 100%. | None
C13 to C22 | Automatically calculates the value at risk attributable to each KPI. | None | None
D13 to D22 | Automatically calculates the performance deductions for the month attributable to each KPI. | None | None
Table 3. Measures
A27 to A84 | Defines which KPI the individual Measure is attributed to. | Select (from the drop down box) the KPI you are putting a Measure against. Every KPI needs at least one Measure. We suggest a maximum of 5 Measures per KPI to avoid dilution. | None
B27 to B84 | Defines the Measure Reference for each individual Measure. | Create a Measure Reference code per Measure for easy reference. | None
C27 to C84 | Defines the weighting attributed to each Measure. | Enter a weighting per Measure. Within each KPI, the Measure weightings must add up to 100%. | None
D27 to D84 | Automatically calculates the value at risk attributable to each Measure. | None | None
E27 to E84 | Automatically calculates the performance deductions attributable to each Measure. | None | None
B23, C85 & D85 | These cells contain error checking formulas to ensure that the weightings and value at risk calculations are correct. In the event of an error, a message in red highlighting the problem will be displayed. | None | None
Measures sheet
This sheet lists all of the Measures applicable to the contract KPIs. It defines the requirement for each Measure, and states how performance will be measured for the performance calculations.
The information is structured as follows:
Cell Reference | Description | Customer build instruction | Monthly instruction
Column A | Shows the KPI against which individual Measures will be calculated. | None | None
Column B | Shows the Measure Reference for each individual Measure. | None | None
Column C | Defines the requirement for each Measure. | Enter a description for each Measure | None
Column D | Defines how each Measure will be measured for performance purposes. | Enter a description of how each Measure should be calculated monthly | None
Column E | Defines the unit of measure type to be used for performance calculations. | Enter the unit of measure applicable to the Measure - should the result be a Percentage, Number or Qualitative (pass/fail)? | None
Columns F - H | Contains the results received from the supplier in relation to the Measure performance. | None | The monthly result should be entered into the relevant green shaded cell per Measure.
Column I | Defines which scale is to be used for performance calculations. | Select the scoring scale to be used to calculate the Measure score based on the result entered monthly. | None
Column J | Automatically calculates the score achieved based on the relevant result provided in columns F to H. | None | None
Column K | Automatically calculates the deduction applicable for each Measure based on the score achieved in column J. | None | None
Scoring Scales sheet
This sheet contains the various performance scales used against which individual Measures are scored
Cell Reference | Description | Customer build instruction | Monthly instruction
Columns B - I | Contains 3 different scoring scales for the 'number' unit of measure. | Select the scoring scale to be used to calculate the Measure score based on the result entered monthly. Example Scoring Scales are already input and can be selected dependent on the result required per Measure, or the scales can be amended by the customer. Ensure the correct scale is chosen to match the unit of measure for each Measure - score tables 1 - 3 are for 'Number', score tables 4 - 6 are for 'percentage', and score table 7 is for 'Pass/Fail' units of measure. | None
Columns K - R | Contains 3 different scoring scales for the 'percentage' unit of measure.
Columns T - U | Contains the Pass / Fail scoring scales for the 'qualitative' unit of measure.

## Performance Criteria
Table 1. Financials
Financial overview
Percentage of the Call Off Contract value at risk |  | 6%
Call Off Contract Current Month Value
Value of variation events in this month
Total Value at risk for the month |  | 0
Table 2. KPIs
KPI Name | KPI Weighting | KPI Value at Risk | KPI Deduction
CAFM and Helpdesk Services |  | 0 | 0
Security Services |  | 0 | 0
Maintenance Services | 70% | 0 | 0
Waste Services |  | 0 | 0
Cleaning Services |  | 0 | 0
Sustainabilty | 5% | 0 | 0
Grounds Maintenance Services |  | 0 | 0
Catering Services |  | 0 | 0
Benchmarking & continuous improvement | 5% | 0 | 0
General standards | 20% | 0 | 0
Table 3. Measures
KPI Name | Measure Reference | Measure Weighting | Measure Value at Risk | Measure Deduction
CAFM and Helpdesk Services | CFM M1 |  | 0
CAFM and Helpdesk Services | CFM M2 |  | 0
CAFM and Helpdesk Services | CFM M3 |  | 0
CAFM and Helpdesk Services | CFM M4 |  | 0
Security Services | SEC M1 |  | 0
Security Services | SEC M2 |  | 0
Security Services | SEC M3 |  | 0
Security Services | SEC M4 |  | 0
Security Services | SEC M5 |  | 0
Maintenance Services | MAINT M1 |  | 0
Maintenance Services | MAINT M2 |  | 0
Maintenance Services | MAINT M3 |  | 0
Maintenance Services | MAINT M4 |  | 0
Maintenance Services | MAINT M5 | 35% | 0
Maintenance Services | MAINT M6 | 35% | 0
Waste Services | WASTE M1 |  | 0
Waste Services | WASTE M2 |  | 0
Waste Services | WASTE M3 |  | 0
Waste Services | WASTE M4 |  | 0
Waste Services | WASTE M5 |  | 0
Waste Services | WASTE M6 |  | 0
Cleaning Services | CLEAN M1 |  | 0
Cleaning Services | CLEAN M2 |  | 0
Cleaning Services | CLEAN M3 |  | 0
Cleaning Services | CLEAN M4 |  | 0
Sustainabilty | SUS M1 |  | 0
Sustainabilty | SUS M2 |  | 0
Sustainabilty | SUS M3 | 5% | 0
Sustainabilty | SUS M4 |  | 0
Sustainabilty | SUS M5 |  | 0
Sustainabilty | SUS M6 |  | 0
Grounds Maintenance Services | GM M1 |  | 0
Grounds Maintenance Services | GM M2 |  | 0
Grounds Maintenance Services | GM M3 |  | 0
Grounds Maintenance Services | GM M4 |  | 0
Grounds Maintenance Services | GM M5 |  | 0
Grounds Maintenance Services | GM M6 |  | 0
Catering Services | CAT M1 |  | 0
Catering Services | CAT M2 |  | 0
Catering Services | CAT M3 |  | 0
Catering Services | CAT M4 |  | 0
Catering Services | CAT M5 |  | 0
Catering Services | CAT M6 |  | 0
Catering Services | CAT M7 |  | 0
Catering Services | CAT M8 |  | 0
Benchmarking & continuous improvement | BCI M1 |  | 0
Benchmarking & continuous improvement | BCI M2 |  | 0
Benchmarking & continuous improvement | BCI M3 |  | 0
Benchmarking & continuous improvement | BCI M4 | 5% | 0
General standards | GEN M1 | 10% | 0
General standards | GEN M2 |  | 0
General standards | GEN M3 |  | 0
General standards | GEN M4 |  | 0
General standards | GEN M5 |  | 0
General standards | GEN M6 |  | 0
General standards | GEN M7 |  | 0
General standards | GEN M8 |  | 0
General standards | GEN M9 | 10% | 0
#DIV/0!

## Measures
Pass
Fail
KPI Name | Measure Reference | Measure requirement | Measure achievement calculation | Achievement Unit of Measure | Achievement value (%) | Achievement value (number) | Achievement value (Input either 'Pass' or 'Fail') | Scoring Scale | Score | Deduction %
CAFM and Helpdesk Services | CFM M1 | Provide a fully functioning and always available Helpdesk system in accordance with the contractual requirements. | Number of instances where failure to provide the Helpdesk resulted in complaints from the customer in accordance with the complaints process. Measured as the number of service failure complaints raised. | Number |  |  |  | Low
CAFM and Helpdesk Services | CFM M2 | All telephone calls to the helpdesk must be answered within 6 rings. | Monthly Service Report will stipulate % of calls answered within required timeframe. Calculated as the number of calls answered within limit divided by the total number of calls received. | Percentage |  |  |  | Low
CAFM and Helpdesk Services | CFM M3 | All helpdesk calls logged onto the system correctly and accurately, within agreed time (other communication methods such as emails may be considered). | Number of calls/emails logged outside of time threshold. Calculated as the number of calls/emails accurately logged within time divided by the total number of calls/emails received. | Percentage |  |  |  | High
CAFM and Helpdesk Services | CFM M4 | Provision of a complete and accurate [Monthly] Service Report in accordance with the contractual requirements (to include written and raw data reports). | [Monthly] Service Reports must be provided by the required date, in the correct format and be fully populated with all required information in accordance with the contract. Measured by the number of days that the report is overdue. | Number |  |  |  | High
Security Services | SEC M1 | Provide a CCTV monitoring service in accordance with the contract (and SLR requirements if applicable). | Number of occasions the CCTV Monitoring requirements, in accordance with the contract, was non compliant. Measured as the number of occasions where CCTV monitoring was not conducted. | Number |  |  |  | Med
Security Services | SEC M2 | Provide an emergency or reactive response service in accordance with the contract (and SLR requirements if applicable). | Cumulative time [in minutes] of responses falling outside of the time requirements as defined in the contract (and SLR if required). Calculated as the Total Actual Response Time across all emergency response calls divided by the Total Minutes (number of calls X emergency response time limit). | Percentage |  |  |  | Med
Security Services | SEC M3 | The required number of guards must be provided in accordance with the contract (and SLR requirements if applicable). Guards should be uniformed as required. | Number of occasions when expected levels of staffing were not achieved in accordance with the contract (or SLR). Measured as the number of occasions where required guarding was not provided. | Number |  |  |  | Low
Security Services | SEC M4 | Control of access & security passes in accordance with the contract (and SLR requirements if applicable). | Number of days exceeded in issuing access and security passes in accordance with the contract (or SLR). Calculated as Time [Days] to issue passes requested minus the Total Time [Days] allowed under the agreement (number of passes requested x allowable days per pass). | Percentage |  |  |  | Low
Security Services | SEC M5 | Respond/rectify to all security faults and alarms as part of the security requirements as defined in the contract (or SLR). | Number of occasions SLR response time exceeded. | Number |  |  |  | Med
Maintenance Services | MAINT M1 | Development of a Planned Maintenance Maintenance Schedule in accordance with the contractual requirements | PPM schedule capturing the requirements of all Authority's assets to be developed, agreed and uploaded on the CAFM system thirty (30) working days prior to contract commencement. | Qualitative |  |  |  | Pass/Fail
Maintenance Services | MAINT M2 | Production and issue of a Planned Maintenance Maintenance Schedule in accordance with the contractual requirements. | PPM schedule capturing the PPM requirements of all Authority's assets to be developed and presented to the Authority (monthly - within 10 days of the preceding calendar month & annually, no later than 30 working days prior to contract anniversary). | Qualitative |  |  |  | Pass/Fail
Maintenance Services | MAINT M3 | Maintenance of an accurate Planned Maintenance Schedule in accordance with the contractual requirements | PPM schedule to be uploaded on the CAFM system within 48 hours of any change (e.g. new assets added, assets removed) to maintain accurate details of all assets and correct PPM maintenance frequencies (in line with SFG20 and / or Authority's guidelines) at all times. No occasions where Contracting Authority audit identifies non-compliance generating a failed the Audit or Service Failure on the CAFM system. | Qualitative |  |  |  | Pass/Fail
Maintenance Services | MAINT M4 | Provision of a planned maintenance service in line with local schedules on the CAFM system within 72hrs of the scheduled delivery date to achieve a fully compliant property and safe working environment. | All PPM tasks, excluding Statutory PPM activities, generated via the CAFM system completed satisfactorily to scheduled PPM dates. | Qualitative |  |  |  | Pass/Fail
Maintenance Services | MAINT M5 | Full compliance of all Statutory PPM activities to critical items / equipment activities completed to specified anniversary dates as detailed within the Planned Preventative Maintenance Schedule on the CAFM system and Asset List | All PPM tasks generated via the CAFM system completed satisfactorily to scheduled PPM anniversary dates. No statutory PPM tasks not completed satisfactorily by the FM Supplier in-month. | Percentage |  |  |  | High
Maintenance Services | MAINT M6 | Provide a planned maintenance schedule and service and respond to reactive breakdowns in compliance with the SLRs and Service Standards | Failure to respond and rectify reactive breakdowns in compliance contractual timeframe. Calculated as the total number of reactive breakdown events completed in-month to agreed time divided by the total number of reactive breakdown events due for completion in-month. | Percentage |  |  |  | Med
Waste Services | WASTE M1 | Provide a General Waste disposal service in line with the Call Off Contract requirements, and SLRs (to be set up as PPM). | Number of occasions where Supplier failed to provide the planned service or respond to requests for service, in accordance with the schedule. Calculated as the total number of events successfully completed divided by the total number of events scheduled to be undertaken. | Percentage |  |  |  | Low
Waste Services | WASTE M2 | Provide a Classified Waste disposal service in line with the Call Off Contract requirements, and SLRs (to be set up as PPM). | Number of occasions where Supplier failed to provide the service or respond to requests for service, in accordance with the schedule. Calculated as the total number of events successfully completed divided by the total number of events scheduled to be undertaken. | Percentage |  |  |  | High
Waste Services | WASTE M3 | Provide a Hazardous Waste disposal service in line with the Call Off Contract requirements, SLRs (to be set up as PPM). | Number of occasions where Supplier failed to provide the service or respond to requests for service, in accordance with the schedule. Calculated as the total number of events successfully completed divided by the total number of events scheduled to be undertaken. | Percentage |  |  |  | High
Waste Services | WASTE M4 | Provide a Recycled Waste disposal service in line with the Call Off Contract requirements, and SLRs (to be set up as PPM). | Number of occasions where Supplier failed to provide the service or respond to requests for service, in accordance with the schedule. Calculated as the total number of events successfully completed divided by the total number of events scheduled to be undertaken. | Percentage |  |  |  | Low
Waste Services | WASTE M5 | Central storage holding areas for waste maintained in a clean and tidy condition not presenting hazards or encouraging pest infestation. | Employer Audit reveals non compliance with keeping storage areas clean and tidy. Calculated as the total number of audits passed in relation to storage holding areas divided by the total number of audits undertaken in relation to storage holding areas. | Percentage |  |  |  | Med
Waste Services | WASTE M6 | Supplier to ensure all Waste Transfer Notes are issued and recorded. | WTN not provided / processed. Calculated as the total number of audits passed in relation to storage holding areas divided by the total number of audits undertaken in relation to storage holding areas. | Percentage |  |  |  | Med
Cleaning Services | CLEAN M1 | All areas to satisfy the Service Requirements prior to the commencement of each business day. | All areas of Affected Property meeting the cleaning standards at commencement of business operations each day. | Qualitative |  |  |  | Pass/Fail
Cleaning Services | CLEAN M2 | All Reactive Requests Cleaning Events will be responded to within the required timeframe and to the required standard as detailed within the SLR's and Service Standards | No failure to respond and rectify within the required timeframe as detailed within the contract | Number |  |  |  | Low
Cleaning Services | CLEAN M3 | All deep cleaning activities will be carried out in accordance with the contractual requirements and within the agreed timeframe as stipulated within the Planned Deep Cleaning schedule (to be set up as PPM) | All deep cleaning activities completed to scheduled dates on CAFM by FM Supplier. | Qualitative |  |  |  | Pass/Fail
Cleaning Services | CLEAN M4 | All reactive pest control events will be responded to within the required timeframe and standard as detailed within the SLR's and Service Standards | No failure to respond and rectify within the required timeframe as detailed within the contract | Number |  |  |  | Med
Sustainabilty | SUS M1 | Percentage (%) of people recruited as a result of this framework that were unemployed. | Percentage of employees recruited as a result of work created from this framework who were unemployed. Measured as the percentage of new recruits since contract commencement that were unemployed. | Percentage |  |  |  | Low
Sustainabilty | SUS M2 | Number of Supplier staff employed within a [30] mile radius of daily place of work. | Number of Supplier staff within agreed radius versus those outside. Measured as the percentage of staff living within a [30] mile radius of the main place of work. | Percentage |  |  |  | Low
Sustainabilty | SUS M3 | Contractors are required to drive continuous reduction of utilities/energy usage and are required to provide innovative ways to reduce the carbon footprint of the delivered services | Report on service provide carbon footprint and demonstrate an annual reduction of 5% from contract commencement, year on year. The percentage reduction achieved will be expressed as a number e.g. 3% = 3 | Number |  |  |  | Med
Sustainabilty | SUS M4 | Suppliers are required to drive continuous reduction of carbon emissions and are encouraged to suggest innovative ways to reduce the estates' carbon footprint. | Number of initiatives put forward by Supplier to reduce carbon emissions. Measured as 'Are the initiatives raised in the Continuous Improvement Plan relevant to Carbon Reduction?' | Qualitative |  |  |  | Pass/Fail
Sustainabilty | SUS M5 | Proportion of overall framework expenditure that has passed to local SMEs and Social Enterprises. | Number of SMEs versus other. Calculated as the total SME spend as a percentage of the total supplier expenditure. | Percentage |  |  |  | Low
Sustainabilty | SUS M6 | Compliance to the Energy Directive. | Has the Supplier complied to the Energy Directive. Evidence based measure. Can the Supplier demonstrate compliance to the Energy Directive? | Qualitative |  |  |  | Pass/Fail
Grounds Maintenance Services | GM M1 | To provide an Annual Grounds Maintenance Management SDP (addressing internal and external requirements) and undertake all works in accordance with the SDP. | Audit by Employer reveals that no SDP in place or not being implemented. Calculated as the total number of audits passed in relation to Annual Grounds Maintenance Management SDP divided by the total number of audits undertaken in relation to Annual Grounds Maintenance Management SDP. | Percentage |  |  |  | Low
Grounds Maintenance Services | GM M2 | Maintain all external areas in accordance with the contractual requirements, and SLRs. | Record completed planned activities in CAFM. Calculated as the number of planned maintenance events completed as a percentage of the number of planned maintenance events. | Percentage |  |  |  | Low
Grounds Maintenance Services | GM M3 | In the event of snow (and other adverse weather events) the Supplier will ensure safe access is provided along all access roads and pathways and to car parks in accordance with the contractual requirements, and SLRs. | Calls to the Helpdesk as a result of no access to the required areas due to snow and other adverse weather events. Measured as the number of service failure complaints received by the helpdesk relating to the measure. | Number |  |  |  | Med
Grounds Maintenance Services | GM M4 | All horticultural goods will be procured in line with Government Buying Standards' best practice. | Upon request provide evidence all horticultural goods have been procured according to GBS best practice. Calculated as the total value of evidenced horticultural goods purchased following GBS as a percentage of the total expenditure on horticultural goods purchased. | Percentage |  |  |  | Med
Grounds Maintenance Services | GM M5 | Respond to new grounds maintenance work and adhoc repairs in compliance with the SLRs and Service Standards. | Failure to respond to and rectify adhoc calls within the required contractual timeframe. Measured as the number of complaints time stamped in CAFM. | Number |  |  |  | Low
Grounds Maintenance Services | GM M6 | Respond to reactive grounds maintenance in compliance with the SLRs and Service Standards. | Failure to respond to and rectify reactive grounds maintenance in compliance contractual timeframe. Measured as the number of complaints time stamped in CAFM. | Number |  |  |  | Low
Catering Services | CAT M1 | Provide an annual Catering Service Delivery Plan to meet local schedules and requirements. | Number of occasions where a Service Delivery Plan schedule is not provided / updated / uploaded in accordance with the CAFM system dates | Number |  |  |  | Low
Catering Services | CAT M2 | Provide a Convenience Store Service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Med
Catering Services | CAT M3 | Provide a Deli / Coffee Bar Service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Catering Services | CAT M4 | Provide an Events and Function Catering Service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Catering Services | CAT M5 | Provide a Hospitality and Meeting Catering Service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Catering Services | CAT M6 | Provide an Outside Catering Service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Catering Services | CAT M7 | Provide a local trolley service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Catering Services | CAT M8 | Provide a drinks and food vending service inline with local schedules and requirements. | Number of failures to provide the service resulting in customer complaints. Measured as the number of complaints received (made by Authority / Building Manager) in relation to measure. | Number |  |  |  | Low
Benchmarking & continuous improvement | BCI M1 | Provide Benchmarking Review Plans to Call Off Employer within [X] [days/weeks] of request. | Did the Supplier issue the BRP within the agreed time. | Qualitative |  |  |  | Pass/Fail
Benchmarking & continuous improvement | BCI M2 | Number of Continuous Improvement initiatives put forward as a result of new and evolving technologies. | Did the Supplier meet the agreed number of initiatives. | Qualitative |  |  |  | Pass/Fail
Benchmarking & continuous improvement | BCI M3 | Number of Continuous Improvement initiatives in respect of making efficiencies and cost savings for the Call Off Employer. | Did the Supplier meet the agreed number of initiatives. | Qualitative |  |  |  | Pass/Fail
Benchmarking & continuous improvement | BCI M4 | Submission of a Continuous Improvement Plan and a minimum number of 3 Continuous Improvement initiatives in respect of making efficiencies and cost savings for the Call Off Employer | Did the supplier submit a plan to meet the agreed number of initiatives? Three initiatives per site per annum | Qualitative |  |  |  | Pass/Fail
General standards | GEN M1 | Billable: Works Value Time/Quality/Cost Reliability | Did the Supplier completed the billable work within the budget on time and to the required standard Measured as the percentage overspend/run on agreed project budget/time/quality | Percentage |  |  |  | Med
General standards | GEN M2 | Small Projects: Task Time Reliability. | Did the Supplier complete the small projects within the agreed programme. Measured as the percentage of time past deadline in relation to construction programme. | Percentage |  |  |  | Med
General standards | GEN M3 | Task Order turnaround time. | Did the Supplier complete and issue fully populated Task Orders within the agreed timeframe. Measured as the number of days late. | Number |  |  |  | Low
General standards | GEN M4 | Contract Process Compliance. | Is the Supplier fully complying to the processes defined in the contract, when raising Pricing Variations. | Qualitative |  |  |  | Pass/Fail
General standards | GEN M5 | Supplier attendance at SMT [Monthly] meetings. | Did the Supplier's Key Staff make themselves, or a suitable replacements available to attend all required Supplier and Call Off Employer meetings, as defined in the contract. | Qualitative |  |  |  | Pass/Fail
General standards | GEN M6 | All CAFM generated SLA work orders completed within SLA timeframes. | Number of work orders completed within SLA timeframe. Calculated as the total number of work orders completed within SLA timeframe as a percentage of the total number of work orders. | Percentage |  |  |  | Low
General standards | GEN M7 | Compliance with contracting authority invoicing procedures. | Number of invoices submitted in month to the Contracting Authority for payment which exceeded 30 working days from the date the task was completed on the CAFM system. | Number |  |  |  | Med
General standards | GEN M8 | Security Clearance - All FM supplier personnel, including third party supplier personnel, employed on the call-off contract, must possess the appropriate level of security clearance (including any specific customer clearance). | Number of personnel without required level of clearance. | Number |  |  |  | Med
General standards | GEN M9 | Monthly report is to contain the information required in the specification. | Number of failures by the Supplier to provide an accurate monthly report to the customer. The report is not to miss any information that would lead to an incorrect reporting of performance. Each previously agreed report item that is inaccurate will count as one unit of measure | Number |  |  |  | Low

## Lookup (hidden)
Number | Percentage | Qualitative | UnitofMeasurementType |  |  | AchievementValueQualitative
Low | Low | Pass/Fail | UnitofMeasurementTypeSelected |  |  | Pass
Med | Med |  | Number | Percentage | Qualitative | Fail
High | High |  | G | F | H

## Scoring Scales
Scoring Scales for Unit of Measure: Number | [5 empty] | Scoring Scales for Unit of Measure: Percentage (%) | [5 empty] | Scoring Scales for Unit of Measure: Qualitative
Score Table 1 |  | Score Table 2 |  | Score Table 3 |  | Score Table 4 |  | Score Table 5 |  | Score Table 6 |  | Score Table 7
Low |  | Medium |  | High |  | Low |  | Medium |  | High |  | Pass | 100%
Value Achieved | Contractor Score | Value Achieved | Contractor Score | Value Achieved | Contractor Score | Value Achieved | Contractor Score | Value Achieved | Contractor Score | Value Achieved | Contractor Score | Fail | 0%
0 | 100% | 0 | 0% | 0 | 100% | 0% | 0% | 0% | 0% | 0% | 0%
1 | 90% | 1 | 20% | 1 | 80% | 1% | 0% | 1% | 0% | 1% | 0%
2 | 80% | 2 | 40% | 2 | 50% | 2% | 5% | 2% | 0% | 2% | 0%
3 | 70% | 3 | 60% | 3 | 0% | 3% | 5% | 3% | 0% | 3% | 0%
4 | 60% | 4 | 80% | 4 | 0% | 4% | 5% | 4% | 0% | 4% | 0%
5 | 50% | 5 | 100% | 5 | 0% | 5% | 10% | 5% | 0% | 5% | 0%
6 | 20% | 6 | 100% | 6 | 0% | 6% | 10% | 6% | 0% | 6% | 0%
7 | 0% | 7 | 100% | 7 | 0% | 7% | 10% | 7% | 0% | 7% | 0%
8 | 0% | 8 | 100% | 8 | 0% | 8% | 10% | 8% | 0% | 8% | 0%
9 | 0% | 9 | 100% | 9 | 0% | 9% | 10% | 9% | 0% | 9% | 0%
10 | 0% | 10 | 100% | 10 | 0% | 10% | 25% | 10% | 0% | 10% | 0%
11 | 0% | 11 | 100% | 11 | 0% | 11% | 25% | 11% | 0% | 11% | 0%
12 | 0% | 12 | 100% | 12 | 0% | 12% | 25% | 12% | 0% | 12% | 0%
13 | 0% | 13 | 100% | 13 | 0% | 13% | 25% | 13% | 0% | 13% | 0%
14 | 0% | 14 | 100% | 14 | 0% | 14% | 25% | 14% | 0% | 14% | 0%
15 | 0% | 15 | 100% | 15 | 0% | 15% | 25% | 15% | 0% | 15% | 0%
16 | 0% | 16 | 100% | 16 | 0% | 16% | 25% | 16% | 0% | 16% | 0%
17 | 0% | 17 | 100% | 17 | 0% | 17% | 25% | 17% | 0% | 17% | 0%
18 | 0% | 18 | 100% | 18 | 0% | 18% | 25% | 18% | 0% | 18% | 0%
19 | 0% | 19 | 100% | 19 | 0% | 19% | 25% | 19% | 0% | 19% | 0%
20 | 0% | 20 | 100% | 20 | 0% | 20% | 40% | 20% | 0% | 20% | 0%
21 | 0% | 21 | 100% | 21 | 0% | 21% | 40% | 21% | 0% | 21% | 0%
22 | 0% | 22 | 100% | 22 | 0% | 22% | 40% | 22% | 0% | 22% | 0%
23 | 0% | 23 | 100% | 23 | 0% | 23% | 40% | 23% | 0% | 23% | 0%
24 | 0% | 24 | 100% | 24 | 0% | 24% | 40% | 24% | 0% | 24% | 0%
25 | 0% | 25 | 100% | 25 | 0% | 25% | 40% | 25% | 0% | 25% | 0%
26 | 0% | 26 | 100% | 26 | 0% | 26% | 40% | 26% | 0% | 26% | 0%
27 | 0% | 27 | 100% | 27 | 0% | 27% | 40% | 27% | 0% | 27% | 0%
28 | 0% | 28 | 100% | 28 | 0% | 28% | 40% | 28% | 0% | 28% | 0%
29 | 0% | 29 | 100% | 29 | 0% | 29% | 40% | 29% | 0% | 29% | 0%
30 | 0% | 30 | 100% | 30 | 0% | 30% | 60% | 30% | 0% | 30% | 0%
31 | 0% | 31 | 100% | 31 | 0% | 31% | 60% | 31% | 0% | 31% | 0%
32 | 0% | 32 | 100% | 32 | 0% | 32% | 60% | 32% | 0% | 32% | 0%
33 | 0% | 33 | 100% | 33 | 0% | 33% | 60% | 33% | 0% | 33% | 0%
34 | 0% | 34 | 100% | 34 | 0% | 34% | 60% | 34% | 0% | 34% | 0%
35 | 0% | 35 | 100% | 35 | 0% | 35% | 60% | 35% | 0% | 35% | 0%
36 | 0% | 36 | 100% | 36 | 0% | 36% | 60% | 36% | 0% | 36% | 0%
37 | 0% | 37 | 100% | 37 | 0% | 37% | 60% | 37% | 0% | 37% | 0%
38 | 0% | 38 | 100% | 38 | 0% | 38% | 60% | 38% | 0% | 38% | 0%
39 | 0% | 39 | 100% | 39 | 0% | 39% | 60% | 39% | 0% | 39% | 0%
40 | 0% | 40 | 100% | 40 | 0% | 40% | 80% | 40% | 0% | 40% | 0%
41 | 0% | 41 | 100% | 41 | 0% | 41% | 80% | 41% | 0% | 41% | 0%
42 | 0% | 42 | 100% | 42 | 0% | 42% | 80% | 42% | 0% | 42% | 0%
43 | 0% | 43 | 100% | 43 | 0% | 43% | 80% | 43% | 0% | 43% | 0%
44 | 0% | 44 | 100% | 44 | 0% | 44% | 80% | 44% | 0% | 44% | 0%
45 | 0% | 45 | 100% | 45 | 0% | 45% | 80% | 45% | 0% | 45% | 0%
46 | 0% | 46 | 100% | 46 | 0% | 46% | 80% | 46% | 0% | 46% | 0%
47 | 0% | 47 | 100% | 47 | 0% | 47% | 80% | 47% | 0% | 47% | 0%
48 | 0% | 48 | 100% | 48 | 0% | 48% | 80% | 48% | 0% | 48% | 0%
49 | 0% | 49 | 100% | 49 | 0% | 49% | 80% | 49% | 0% | 49% | 0%
50 | 0% | 50 | 100% | 50 | 0% | 50% | 100% | 50% | 0% | 50% | 0%
51 | 0% | 51 | 100% | 51 | 0% | 51% | 100% | 51% | 0% | 51% | 0%
52 | 0% | 52 | 100% | 52 | 0% | 52% | 100% | 52% | 0% | 52% | 0%
53 | 0% | 53 | 100% | 53 | 0% | 53% | 100% | 53% | 0% | 53% | 0%
54 | 0% | 54 | 100% | 54 | 0% | 54% | 100% | 54% | 0% | 54% | 0%
55 | 0% | 55 | 100% | 55 | 0% | 55% | 100% | 55% | 0% | 55% | 0%
56 | 0% | 56 | 100% | 56 | 0% | 56% | 100% | 56% | 0% | 56% | 0%
57 | 0% | 57 | 100% | 57 | 0% | 57% | 100% | 57% | 0% | 57% | 0%
58 | 0% | 58 | 100% | 58 | 0% | 58% | 100% | 58% | 0% | 58% | 0%
59 | 0% | 59 | 100% | 59 | 0% | 59% | 100% | 59% | 0% | 59% | 0%
60 | 0% | 60 | 100% | 60 | 0% | 60% | 100% | 60% | 0% | 60% | 0%
61 | 0% | 61 | 100% | 61 | 0% | 61% | 100% | 61% | 0% | 61% | 0%
62 | 0% | 62 | 100% | 62 | 0% | 62% | 100% | 62% | 0% | 62% | 0%
63 | 0% | 63 | 100% | 63 | 0% | 63% | 100% | 63% | 0% | 63% | 0%
64 | 0% | 64 | 100% | 64 | 0% | 64% | 100% | 64% | 0% | 64% | 0%
65 | 0% | 65 | 100% | 65 | 0% | 65% | 100% | 65% | 0% | 65% | 0%
66 | 0% | 66 | 100% | 66 | 0% | 66% | 100% | 66% | 0% | 66% | 0%
67 | 0% | 67 | 100% | 67 | 0% | 67% | 100% | 67% | 0% | 67% | 0%
68 | 0% | 68 | 100% | 68 | 0% | 68% | 100% | 68% | 0% | 68% | 0%
69 | 0% | 69 | 100% | 69 | 0% | 69% | 100% | 69% | 0% | 69% | 0%
70 | 0% | 70 | 100% | 70 | 0% | 70% | 100% | 70% | 0% | 70% | 0%
71 | 0% | 71 | 100% | 71 | 0% | 71% | 100% | 71% | 0% | 71% | 0%
72 | 0% | 72 | 100% | 72 | 0% | 72% | 100% | 72% | 0% | 72% | 0%
73 | 0% | 73 | 100% | 73 | 0% | 73% | 100% | 73% | 0% | 73% | 0%
74 | 0% | 74 | 100% | 74 | 0% | 74% | 100% | 74% | 0% | 74% | 0%
75 | 0% | 75 | 100% | 75 | 0% | 75% | 100% | 75% | 0% | 75% | 0%
76 | 0% | 76 | 100% | 76 | 0% | 76% | 100% | 76% | 5% | 76% | 0%
77 | 0% | 77 | 100% | 77 | 0% | 77% | 100% | 77% | 10% | 77% | 0%
78 | 0% | 78 | 100% | 78 | 0% | 78% | 100% | 78% | 15% | 78% | 0%
79 | 0% | 79 | 100% | 79 | 0% | 79% | 100% | 79% | 20% | 79% | 0%
80 | 0% | 80 | 100% | 80 | 0% | 80% | 100% | 80% | 25% | 80% | 0%
81 | 0% | 81 | 100% | 81 | 0% | 81% | 100% | 81% | 30% | 81% | 5%
82 | 0% | 82 | 100% | 82 | 0% | 82% | 100% | 82% | 35% | 82% | 10%
83 | 0% | 83 | 100% | 83 | 0% | 83% | 100% | 83% | 40% | 83% | 15%
84 | 0% | 84 | 100% | 84 | 0% | 84% | 100% | 84% | 45% | 84% | 20%
85 | 0% | 85 | 100% | 85 | 0% | 85% | 100% | 85% | 50% | 85% | 25%
86 | 0% | 86 | 100% | 86 | 0% | 86% | 100% | 86% | 55% | 86% | 30%
87 | 0% | 87 | 100% | 87 | 0% | 87% | 100% | 87% | 60% | 87% | 35%
88 | 0% | 88 | 100% | 88 | 0% | 88% | 100% | 88% | 65% | 88% | 40%
89 | 0% | 89 | 100% | 89 | 0% | 89% | 100% | 89% | 70% | 89% | 45%
90 | 0% | 90 | 100% | 90 | 0% | 90% | 100% | 90% | 75% | 90% | 50%
91 | 0% | 91 | 100% | 91 | 0% | 91% | 100% | 91% | 80% | 91% | 55%
92 | 0% | 92 | 100% | 92 | 0% | 92% | 100% | 92% | 85% | 92% | 60%
93 | 0% | 93 | 100% | 93 | 0% | 93% | 100% | 93% | 90% | 93% | 65%
94 | 0% | 94 | 100% | 94 | 0% | 94% | 100% | 94% | 95% | 94% | 70%
95 | 0% | 95 | 100% | 95 | 0% | 95% | 100% | 95% | 100% | 95% | 75%
96 | 0% | 96 | 100% | 96 | 0% | 96% | 100% | 96% | 100% | 96% | 80%
97 | 0% | 97 | 100% | 97 | 0% | 97% | 100% | 97% | 100% | 97% | 85%
98 | 0% | 98 | 100% | 98 | 0% | 98% | 100% | 98% | 100% | 98% | 90%
99 | 0% | 99 | 100% | 99 | 0% | 99% | 100% | 99% | 100% | 99% | 95%
100 | 0% | 100 | 100% | 100 | 0% | 100% | 100% | 100% | 100% | 100% | 100%