### THE OFFICE FOR NUCLEAR REGULATION

STATEMENT OF SERVICE REQUIREMENT FOR THE PROVISION OF SUPPORT ON OPERATING CHEMISTRY CHOICES FOR GDA OF UK ABWR

BACKGROUND TO THE PROJECT

- ONR is undertaking a phased Generic Design Assessment (GDA) of the Hitachi General Electric (Hitachi-GE) UK Advanced Boiling Water Reactor (UK ABWR). Hitachi-GE’s submissions to ONR are similarly phased, providing increasing detail and evidence as the design is finalised and the UK regulatory requirements are better understood.

- Step 3 of GDA of the ABWR design commenced in September 2014. A key part of GDA is for ONR inspectors responsible for assessing the ABWR design to identify areas where timely input from Technical Support Contactors (TSCs) is required to enable GDA to progress to programme, and to ultimately inform ONR’s regulatory decision on the acceptability of the ABWR design, or otherwise, for construction in the UK. ONR have identified that one such area relates to the operating chemistry choice for the primary cooling system of UK ABWR.

- ONR’s reactor chemistry assessment during Step 2 of GDA of UK ABWR concluded that Hitachi-GE had presented an adequate basis to proceed to Step 3. The assessment that supported this decision was almost entirely based upon the reactor chemistry PSR [1], which provided a set of safety claims for the main chemistry related systems, including claims on the primary cooling system water chemistry regime. During Step 2, Hitachi-GE identified that their chosen operating chemistry choice for this system is Hydrogen Water Chemistry (HWC), Noble Metal Chemical Addition (NMCA) and Depleted Zinc Oxide (DZO) addition.

- The choice of operating chemistry for a given system can be a complex decision and there is a need to show that the chosen regime adequately balances the different benefits and detriments that this choice infers and therefore reduces risks So Far As Is Reasonably Practicable (SFAIRP). Chemistry control of the primary coolant can be particularly important given the potential risks posed by inadequate chemistry control on the integrity of fuel and structural materials and generation and transport of radioactivity amongst others. The consequences of this choice therefore have implications on many aspects of the safety case.

- ONR is aware that for Boiling Water Reactors (BWRs) there is a relatively broad spectrum of options available to choice from when deciding on the primary cooling system operating chemistry regime. For example:

  - Some BWRs inject hydrogen to varying degrees, whilst others inject none at all;

  - Some BWRs add zinc in the form of depleted zinc oxide (DZO), others add none at all;

  - Some BWRs inject noble metals (either platinum or rhodium) either during at power operations or during shut down operations, others do not; and

  - There are a number of methods available to control feedwater iron levels.

- All of the above options, or combination of options either have been, or are being utilised by BWRs that are currently operating. This provides a strong indication that there are a number of options for UK ABWR which may be reasonably practicable to implement. ONR’s expectation is that the option, or combination of options which achieves the lowest level of residual risk should be implemented, provided grossly disproportionate costs are not incurred.

- ONR have therefore issued a Regulatory Observation (RO) which requires  Hitachi-GE to provide a demonstration that their choice reduces risks SFAIRP, clearly identifying:

  - What the risks are that are being mitigated, including likelihood and consequences;

  - What measures are in place to mitigate these risks, including the adoption of relevant good practice measures;

  - What options, or range of options, could be applied to further mitigate these risks; and

  - A demonstrating of whether these options are reasonably practicable to implement or not.

- ONR has therefore identified the requirement for independent TSC support to provide robust and challenging advice on areas and topics relating to this decision and the subsequent justification provide by Hitachi-GE. ONR will therefore use the outputs from this contract:

- to judge if the claims made on reactor chemistry by Hitachi-GE for the UK ABWR design are adequate and can be substantiated;

- to determine if Hitachi-GE have identified the main safety issues related to this choice and if these have been appropriately balanced based on safety significance, likelihood and potential consequence;

- to be satisfied that Hitachi-GE’s approach to the operating chemistry choice meets relevant good practice when judged against the requirements of our relevant Technical Assessment Guides (TAGs) and Safety Assessment Principles (SAPs); and

- to judge if the risks have been reduced SFAIRP.

SCOPE OF THE SERVICES REQUIRED

- The intention is that this contract will be undertaken as a series of technical exchange meetings between ONR and experts invited to attend. At these meetings, matters relating to the choice of operating chemistry will be discussed and debated. The intention is for ONR to remain “neutral”, but steer the discussions. ONR will therefore coordinate and chair all meetings, and will produce full notes from each meeting. Prior to each meeting ONR will provide an agenda and topics for discussion, allowing sufficient time for preparation by the TSC.

- It is not expected that Hitachi-GE will participate in any meetings, although they may be invited to present or discuss matters if appropriate and agreed in advance.

- The TSC is therefore expected to:

  - Prepare for each meeting, considering and researching the topics/questions posed by ONR prior to the meeting;

  - Attend and make an active contribution to each meeting, including suggesting other topics for discussion;

  - Review and agree the notes produced by ONR following each meeting.

- ONR recognise that this is a challenging topic and therefore it is not expected that all discussions will necessarily reach conclusions, but may instead identify where uncertainties and challenges remain and therefore where additional regulatory scrutiny may be warranted.

- The intention of this contract is not to secure individual experts, rather it is the view of the TSC organisation. The TSC should therefore propose a range of individuals who may be suitable to support these meetings, from a range of appropriate technical disciplines and backgrounds such as chemistry, materials, structural integrity and radiological protection. It will be for the TSC to decide who is best placed to represent them at each meeting, given the specific topics for discussion. By exception, ONR would not expect more than one person to attend each meeting (although the person may change from meeting to meeting).

- A start date of December 2015 is initially proposed, with the intention to hold the first meeting during January 2015. It is assumed that no more than 3 meetings will be necessary for the purpose of this contract. The work package is assumed to be approximately 6 months in duration. Dates for future meetings will be agreed and fixed during the contract period. It is assumed that all meeting take place at the ONR offices in Bootle, Liverpool, between 9:00 and 17:00 and will last no longer than 1 day each.

- ONR would expect 1 week of effort would be required to support each meeting (i.e. 3 days preparation, 1 day meeting, 1 day follow-up), plus associated travel and subsistence costs. It would be prudent to include a further man-week of effort to cover miscellaneous support that may arise as a result.

- Work cannot commence until the security clearances of individuals working on the project have been established, and the IT systems have been demonstrated to be suitable for the protective marking applied to the information.

- The scope of the work would also include, where appropriate:

- The identification of any necessary UK ABWR information required from Hitachi-GE. ONR will formally request this from Hitachi-GE as Regulatory Queries, but the contractor is expected to identify the information required.

- Consideration of part or all of, any responses provided by Hitachi-GE in answer to any queries raised in conjunction with completing the work described above.

CONSTRAINTS

- The following constraints will apply:

- ONR would expect the work to start around the 1 December 2014 and to be completed by 31 May 2015.

- The successful Technical Support Contractor will be provided with any relevant UK ABWR information supplied to ONR during GDA.

OBJECTIVES

- In summary, the required outcome of this work package is for the contractor to:

- Provide independent, robust and challenging expert advice on the operating chemistry choice for the primary cooling system of UK ABWR and justification thereof, taking account of the expertise of the TSC organisation; and

- Makes recommendations to ONR for where the justification that risks are reduced SFAIRP may require increased regulatory scrutiny as GDA progresses during Steps 3 and 4.

CONTRACT MANAGEMENT

- The ONR Project Officer who will be responsible for liaison with the Contractor and certifying completion of the work:

- It is not anticipated that a kick-off or review meeting will be required for this contract, but normal progress report arrangements will apply.

EVALUATION

- Any contract which may be awarded as a result of this invitation to tender will be awarded based on best value for money.

- Tenders will be evaluated under the following headings:

  - Adherence to the specification;

  - Understanding of ONR’s requirements;

  - The quality and relevant experience of the personnel proposed to carry out the work;

  - Delivery;

  - Price

TENDER SUBMISSIONS

- In addition to generic requirements established in the ONR Technical Support Contract framework, a proposal is required providing the following:

- A description of how the TSC has the appropriate experience to undertake this work.

- CV’s of the staff proposed for this work.

- How all the scope, objectives and constraints in the specification are addressed.

- The arrangements for managing delivery of the work including contact details of the contract and project manager proposed for this task.

- A price for the whole task, assuming a December 2014 start date.

ENQUIRIES

Any enquiries relating to this invitation to tender should be addressed to Health and Safety Executive, Redgrave Court, Merton Road, Bootle, L20 7HS.

REFERENCES

1. 	XE-GD-0152 – UK ABWR GDA – Preliminary Safety Report on Reactor Chemistry, Revision B