- Amey is required to undertake an annual programme of Kitchen replacements.

A Kitchen Replacement shall be the supply and fitting of a kitchen, including the following works:

- Replacement of kitchen units, worktops and associated items.

- Splash back / wall tiling is to be provided above kitchen worktops and

behind cooker spaces to skirting level.

- The completion of associated electrical including spurs and plumbing

works.

- Full re-decoration of kitchen including doors and woodwork.

- Replacement of the complete floor covering with sheet vinyl, slip resistant flooring.

- Replacement of extractor fan and ceiling light.

- The Supplier shall provide all consumables to deliver a Kitchen Replacement.

The pricing for Kitchen replacement will be based upon the category of property.

- Amey is required to undertake an annual programme of bathroom replacements.

The programme of works will be broken down as follows:

- Full bathroom replacement.

- Full bathroom replacement with water closet (WC) if not located in main bathroom, whether on the same floor or another floor of the property.

- Where there is an additional WC, it shall only include its replacement upon instruction from Amey.

The pricing for bathroom replacement will be based upon the category of property.

- Amey is required to undertake an annual programme of heating system replacements.

The pricing for heating system replacement will be for either a complete system replacement including replacing the boiler, or a partial system replacement, excluding the boiler.

The pricing for heating system replacement will be based upon the category of property.

- Amey is required to undertake an annual programme of electrical rewiring.

Where a property has been identified as requiring rewiring, the following works will typically be carried out as part of the rewiring:

- Remove existing wiring and fittings

- Rewiring with new fittings including earth bonding, smoke alarms, carbon

- monoxide alarms, etc.

- Renew consumer unit.

The pricing for electrical rewiring will be based upon the category of property.