## All Street Lights
Road | Col. No. | Location | Unit Type | Type of Column | Lamp | Comments
Aldworth Road | 1 | O/S Hillfoot | Pole Bracket | - | 35W SOX
Aldworth Road | 2 | O/S Chaubury | Column | Steel | 35W SOX
Aldworth Road | 3 | Nr Church House | Column | Steel | 35W SOX
Aldworth Road | 4 | Opp Church | Column | Steel | 35W SOX
Aldworth Road | 5 | West of Church | Pole Bracket | - | 35W SOX
Burrell Road | 1 | O/S No 4 | Column | Concrete | 35W SOX
Burrell Road | 2 | O/S No 19 | Column | Galvanised | LED | Does not require replacement
Burrell Road | 3 | Car Park, Village Hall | Pole Bracket | - | 35W SOX
Burrell Road | 4 | O/S No 20 | Column | Steel | LED | Does not require replacement
Burrell Road | 5 | O/S No 48 | Pole Bracket | - | 35W SOX
Burrell Road | 6 | O/S No 51 | Column | Steel | LED | Does not require replacement
Burrell Road | 7 | O/S No 77 | Column | Steel | LED | Does not require replacement
Burrell Road - VH Car Park | 1 | Village Hall Car Park | Column | Steel | 250W SON | Flood lighting in Recreation Ground
Burrell Road - VH Car Park | 2 | Village Hall Car Park | Column | Steel | 250W SON | Flood lighting in Recreation Ground
Burrell Road - VH Car Park | 3 | Village Hall Car Park | Column | Steel | 250W SON | Flood lighting in Recreation Ground
Burrell Road - VH Car Park | 4 | Village Hall Car Park | Column | Steel | 250W SON | Flood lighting in Recreation Ground
Cheap Street | 1 | Opp Old Post Office | Pole Bracket | - | 35W SOX
Cheap Street | 2 | Opp Bray Cottage | Column | Concrete | 35W SOX
Cheap Street | 3 | Opp Hollyhock Cottage | Pole Bracket | - | 35W SOX
Churn Road | 1 | Junc Ilsley Road | Pole Bracket | - | LED | Replacement light scheduled, does not require replacement
Churn Road | 2 | O/S Sidcot Villas | Pole Bracket | - | 35W SOX
Downs Road | 1 | O/S Speranza | Pole Bracket | - | 35W SOX
Downs Road | 2 | O/S Nielia | Pole Bracket | - | 35W SOX
Footpath High Street/Burrell Road | 1 | Opp Substation | Pole Bracket | - | 35W SOX
Footpath High Street/Burrell Road | 2 | In F/P between 7&9 Burrell Road | Column | Steel | 35W SOX
Fairfield | 1 | O/S No 23 | Column | Concrete | 35W SOX
Fairfield | 2 | Nr No 8 | Column | Concrete | 35W SOX
Fairfield | 3 | Junc Ilsley Road | Column | Steel | 35W SOX
Fairfield | 4 | O/S No 12 | Column | Steel | LED | Does not require replacement
Gordon Crescent | 1 | On grass area | Column | Steel | 70W SON
Gordon Crescent | 2 | On grass area | Column | Steel | 70W SON
High Street | 1 | On Hairdressers | Wall Bracket | - | 35W SOX | Light no longer present, requires replacement
High Street | 2 | Nr Phone Box | Pole Bracket | - | 35W SOX
High Street | 3 | Opp Westfields | Pole Bracket | - | 35W SOX
High Street | 4 | Junc Ilsley Road, Opp Sidney Villas | Pole Bracket | - | 35W SOX
High Street | 5 | Jct Cheap Street | Column | Steel | 35W SOX
Hockham Road | 1 | Stables | Wall Bracket | - | LED | Does not require replacement
Horn Street | 1 | O/S Swan Entrance | Column | Concrete | 35W SOX
Horn Street | 2 | On wall of 3 dwellings o/s No 11 | Pole Bracket | - | 35W SOX
Horn Street | 3 | Opp J/W Roden Down Mews | Column | Steel | 35W SOX
Manor Crescent | 1 | O/S No 37 (Old Police House) | Column | Steel | 35W SOX
Manor Crescent | 2 | O/S No 30 | Column | Aluminium | 35W SOX
Manor Crescent | 3 | O/S No 16 | Column | Concrete | 35W SOX
Manor Crescent | 4 | Opp No 9 | Column | Steel | 35W SOX
Manor Crescent | 5 | O/S No 2 | Column | Steel | LED | Does not require replacement
Mayfield Cottages | 1 | Junc Ilsley Rd | Column | Concrete | 35W SOX
Mayfield Cottages | 2 | O/S The Hatchery | Pole Bracket | - | 35W SOX
Mayfield Cottages | 3 | O/S No 7 | Pole Bracket | - | 35W SOX
Newbury Lane | 1 | O/S Woodrush | Pole Bracket | - | 35W SOX
Newbury Lane | 2 | O/S Carpenters Cottage | Pole Bracket | - | 35W SOX
Newbury Lane | 3 | O/S Yew Tree Cottage | Pole Bracket | - | 35W SOX
Newbury Lane | 4 | Opp No 4 | Pole Bracket | - | 35W SOX
Newbury Lane | 5 | O/S Cricket House |  |  |  | New light to be installed
School Road | 1 | By Telephone Exchange | Pole Bracket | - | 35W SOX
School Road | 3 | Opp No 8 | Pole Bracket | - | 35W SOX
School Road | 4 | Opp Flats | Pole Bracket | - | 35W SOX
School Road | 5 | O/S Lodge Cottage | Column | Concrete | 35W SOX
Shepherds Mount | 1 | O/S No 7 | Column | Concrete | 35W SOX
Shepherds Mount | 2 | O/S No 15 | Column | Steel | 35W SOX
Shepherds Mount | 3 | O/S No 23 | Column | Steel | 35W SOX
Shepherds Mount | 4 | O/S No 22 | Column | Concrete | 35W SOX
Shepherds Mount | 5 | O/S No 33 | Column | Steel | 35W SOX
Shepherds Mount | 6 | O/S No 32 | Column | Concrete | 35W SOX
Shepherds Mount | 7 | Opp No 1 Shepherds Rise | Column | Concrete | 35W SOX
Shepherds Rise | 1 | O/S No 4 | Column | Aluminium | 35W SOX
Wallingford Road | 1 | O/S Roden House | Pole Bracket | - | 35W SOX
Wallingford Road | 2 | Nr Downside | Pole Bracket | - | 35W SOX
Wallingford Road | 3 | Nr Tallagandra | Pole Bracket | - | 35W SOX
Westfields | 1 | O/S No 20 | Column | Steel | 35W SOX
Westfields | 2 | O/S No 11 | Column | Steel | LED | Does not require replacement