## Sheet1
APPENDIX 2 - PRICING SCHEDULE
CONVERSION OF STONE BARN AT BRAMLEY VILLAGE HALL TO OFFICE SPACE | All prices should EXCLUDE VAT
| MATERIALS |  |  |  | LABOUR £
| Quantity | Unit | Rate £ | Total £
1. DEMOLITION
Remove all internal fixtures and fittings |  |  |  | 0
Strip out old electrical wiring and conduit for sockets & lighting. Along with the numerous fuse boxes and switches in the south east corner |  |  |  | 0
Remove makeshift floor covering and supporting structures |  |  |  | 0
Remove existing mezzanine level and support / brace building as necessary |  |  |  | 0
Remove old roof insultation / lining fabric |  |  |  | 0
Demolition Total |  |  |  | 0 | 0
2. GROUNDWORK
Footings
Dig footings for the pad foundations as per structural design |  |  |  | 0
Pour concrete pad foundations to support steel frame |  |  |  | 0
Build up ground level on the south east elevation to prevent further erosion of foundations on this side |  |  |  | 0
Footings sub-total |  |  |  | 0 | 0
Water supply & drainage
Investigate which foul drain is best to connect the barn to. Dig trench across car park and lay drainage to connect a new inspection chamber located outside the barn |  |  |  | 0
Continue this drainage up to the barn and prepare connections for new toilet waste pipes |  |  |  | 0
Investigate which is the best route for a water supply |  |  |  | 0
Run new water meain to the barn |  |  |  | 0
Expose existing rain water drains and check their suitability. Repair or replace as necessary |  |  |  | 0
Water supply & drainage sub-total |  |  |  | 0 | 0
Fibre broadband & telephony
Dig trench as required for connection to nearest street cabinet |  |  |  | 0
Groundwork Total |  |  |  | 0 | 0
3. MASONRY
Make necessary repairs to exposed foundations on south east elevation |  |  |  | 0
Make necessary repairs to cracks in external stone walls |  |  |  | 0
Make necessary repairs to pointing of external brickwork |  |  |  | 0
Brick up doorway at the rear of the barn to store behind |  |  |  | 0
Make necessary repairs to internal faces of the stone walls |  |  |  | 0
Masonry Total |  |  |  | 0 | 0
4. STRUCTURAL
Provide accurate measurements for the fabrication of the steel frame as per the structural design drawings |  |  |  | 0
Construct steel frame which ties the building together and provides support for the new first floor |  |  |  | 0
Lay timber first floor joists using 50x200mm at 400mm c/c |  |  |  | 0
Repair ground floor slab as necessary installing a suitable damp proof membrane |  |  |  | 0
Build floating floor to level ground floor using joists 50x200mm at 40mm c/c and insulate with 150mm Celotex |  |  |  | 0
Lay 19mm plywood decking over both floors |  |  |  | 0
Structural Total |  |  |  | 0 | 0
5. ROOF
Apply for necessary Bat licence(s) and follow recommendations details on page 13-14 of the Bat Survey report produced by aLyne Ecology |  |  |  | 0
Strip existing clay roof tiles and keep those which are re-useable |  |  |  | 0
Remove existing rotten battens and felt |  |  |  | 0
Strip all roof timbers and repair as necessary using suitable hardwood as these will be left exposed in the finished building |  |  |  | 0
Treat timbers for protection from insects, damp and fungi |  |  |  | 0
Prepare roof openings for 4 no. conservation roof lights at ~870 x 1,050mm |  |  |  | 0
Replace with a quality breathable roofing felt and batten |  |  |  | 0
Tile roof with original tiles blended in with a close match clay tile |  |  |  | 0
Strip existing weatherboarding on both the semi-gables and replace with treated wood |  |  |  | 0
Fit 4 no. conservation roof lights |  |  |  | 0
Repair / replace guttering and downpipes as necessary |  |  |  | 0
Roof Total |  |  |  | 0 | 0
6. SERVICES
Electrics
Upgrate existing electrical mains supply |  |  |  | 0
Fit new distribution board and earth cable to meet current standards |  |  |  | 0
Rewire building as necessary, separating circuits for sockets and lighting on both floors as well as those for kitchen, external lighting, alarm, car charging point, etc |  |  |  | 0
Fit wall mounted sockets and switches throughout as per internal layout (TBC) |  |  |  | 0
Fit recessed warm LED down lights on the ground floor and first floor meeting room |  |  |  | 0
Fit hanging basket warm LED lights to the rest of the first floor |  |  |  | 0
Fit suitable extractors to bathrooms, both extracted to the outside through first floor void |  |  |  | 0
All internal wiring to be recessed into walls and floors - no cable trunking or exposed cables clipped to surfaces |  |  |  | 0
Fit exterior / security lighting |  |  |  | 0
Fit external free-standing Plug-In Electric Vehicle charging point facing car park as per planning application drawings |  |  |  | 0
Electrics sub-total |  |  |  | 0 | 0
Plumbing
Continue new water main into the kitchen area and fit a stop cock valve at low level |  |  |  | 0
Install an electric hot water system to supply kitchen and bathrooms |  |  |  | 0
Plumb in hot and cold water supplies to the kitchen and both bathrooms |  |  |  | 0
Fit waste pipes for the kitchen and both bathrooms connecting to the new drain |  |  |  | 0
All pipe work recessed into walls and floors - no externally mounted pipes with the exception of the kitchen if the pipe work is behind units |  |  |  | 0
Plumbing sub-total |  |  |  | 0 | 0
Hot & cold air conditioner
Source an install suitable AC system for both floors - all ground floor ducting recessed into ceiling void |  |  |  | 0
Fibre Broadband & telephony
Source suitable high speed FTTH (Fibre To The Home) service and lay fibre cable from the barn services cupboard to the nearest cabinet in the street |  |  |  | 0
Bring 6 no. copper telephony cables through from the street cabinet to the services cupboard in the barn |  |  |  | 0
Fit Cat 6 network points throughout the barn run back to the services cupboard, as per internat layout (TBC) |  |  |  | 0
Fibre Broadband & telephony sub-total |  |  |  | 0 | 0
Alarm system
Source and install suitable alarm system for the building - all wiring to be recessed into walls and floors where possible |  |  |  | 0
Services Total |  |  |  | 0 | 0
7. LININGS
Install suitable damp proof barrier to internal faces of the stone walls |  |  |  | 0
Stud and insulate the stone walls with 50mm Celotex ready for plasterboard, boxing around the steel columns |  |  |  | 0
Build studwork dividing walls with softwood door linings |  |  |  | 0
Build framework for meeting room including covered ceiling |  |  |  | 0
Insulate vaulted ceiling with 100mm Celotex and tack with 12.5mm plasterboard |  |  |  | 0
Insulate ground floor ceiling with 100mm Celotex and tack with 12.5mm acoustic barrier plasterboard |  |  |  | 0
Insulate all interal stud walls with 100mm Rockwool |  |  |  | 0
Tack all internal walls with 12.5mm plasterboard using anglebead on all edges / corners |  |  |  | 0
Plaster over all plasterboard surfaces |  |  |  | 0
Linings Total |  |  |  | 0 | 0
8. WINDOWS & DOORS
Remove existing panelling over the openings |  |  |  | 0
Remove window wooden surrounds / frames |  |  |  | 0
Fit 5 no. made to measure hardwood flush casement windows with double glazed units as per drawings |  |  |  | 0
Fit a pair of made to measure hardwood double glazed doors with side lights over the front opening as per drawings |  |  |  | 0
Windows & Doors Total |  |  |  | 0 | 0
9. CARPENTRY
Source and install made to measure hardwood open staircase as per design |  |  |  | 0
Build fitted services cupboard with lockable doors |  |  |  | 0
Hang ledged and braced hardwood internal doors with furniture |  |  |  | 0
Fit made to measure hardwood meeting room glazed panels as per design |  |  |  | 0
Fit MDF architrave around internal doors and skirting throughout |  |  |  | 0
Carpentry Total |  |  |  | 0 | 0
10. SURFACE FINISHES
Lay quality engineered oak flooring over acoustic underlay on the first floor |  |  |  | 0
Lay quality engineered oak flooring over underlay on the ground floor |  |  |  | 0
Lay pale stone tiles into the bathrooms and kitchen area |  |  |  | 0
Seal all plastered walls and ceilings then paint with 3 no. coats of brilliant white emulsion |  |  |  | 0
Paint all architrave and skirting with 2 no. coats of white satinwood |  |  |  | 0
Paint all internal windows and door frames with 2 no. coats of white satinwood |  |  |  | 0
Surface Finishes Total |  |  |  | 0 | 0
11. BATHROOMS
Fit out accessible WC as per design using specialist products |  |  |  | 0
Fit out WC with back to the wall toilet, wall hung sink and taps |  |  |  | 0
Fit both bathrooms with an energy efficient hand dryer |  |  |  | 0
Fit tile splash backs behind the sinks in both bathrooms |  |  |  | 0
Fit soap dispensers in both bathrooms |  |  |  | 0
Fit toilet roll dispensers in both bathrooms |  |  |  | 0
Fit mirror above sink in WC and a full height mirror in accessible WC |  |  |  | 0
Bathrooms Total |  |  |  | 0 | 0
12. KITCHEN
Fit 2 no. floor mounted units (one integrated dishwasher) with an end filler panel and fascia panels |  |  |  | 0
Fit 2 no. wall mounted cupboard units with matching fascia panels |  |  |  | 0
Fit oak effect laminate worktop with stainless steel sink and taps |  |  |  | 0
Fit tiles above kitchen worktop up to underside of cupboards |  |  |  | 0
Install quality integrated dishwasher & freestanding fridge freezer |  |  |  | 0
Kitchen Total |  |  |  | 0 | 0
13. EXTERIOR
Treat all exposed exterior timber: soffits, lintels and weatherboarding |  |  |  | 0
Paint all exterior windows and door frames with 2 no. coats of black weathershield exterior paint |  |  |  | 0
Make good any repairs to car park tarmac as necessary following digging of trenches for services |  |  |  | 0
Build concrete wheelchair ramp up to the threshold of front French doors |  |  |  | 0
Fit 3 no. security bollards to the front elevation |  |  |  | 0
Repaint parking bay lines and no parking signs with thermoplastic road marking paint |  |  |  | 0
Clean the exterior of the barn after all the building work |  |  |  | 0
Rubbish & waste removal |  |  |  | 0
Exterior Total |  |  |  | 0 | 0
GRAND TOTAL |  |  |  | 0 | 0