| KR Ambi Rads | 20 (Estimated) |  |  |
| --- | --- | --- | --- |
| KR - AHU | 15 (Estimated) |  |  |
|  | Heating | HWS | Other |
| KR - Main Plant Room | 4 x MHS Ultramax | 1 x Andrews 65/173 Auto GB 1 x Andrews 81/264 Auto GB |  |
| KR - Innovation Plant Room |  | 1 x Andrews WSC-42 |  |
| KR -STEM Plant Room | 2 x Potterton Sirius FS400 |  |  |
| KR - Construction Mez Plant Room |  | 1 x Andrews WSC-42 |  |
| KR - Engineering Plant Room |  | 1 x Andrews EC250/700 |  |
| KR - Hospitality Basement Plant Room |  | 1 x Andrews CSC 59 |  |
| KR - Stars Plant Room | 1 x Potterton Paramount two 60 | 1 x Andrews CWH 90/300 |  |
| KR - Nursery Plant Room | 2 x Worcester Greenstar 24 ri |  |  |
| KR - Monterey House | 1 x Worcester 29CDi Classic |  |  |
| OceansGate | 1 x Potterton Sirius Three WH-70 | 1 x 250l Hot water cylinder | 34 x Radiators |
|  | 5 x MVHR |  |  |
| Pinpoint | 1 x Potterton Sirius Three WH-70 |  |  |
|  | 2 x MVHR |  |  |
| Picquet Barracks | 1 x Glow worm |  | Gas Fired wall heaters |
|  | 4 U-tube heaters |  |  |