CONTRACT SPECIFICATION

for

Borehole Construction

The Stiperstones National Nature Reserve

29 June 2023

Request for Quotation

Borehole Construction

The Stiperstones National Nature Reserve

You are invited to submit a quotation for the requirement described in the specification, Section 2.

Please confirm by email, receipt of these documents and whether you intend to submit a quote or not.

Your response should be returned to the following email address by:

Email: Simon.cooter@naturalengland.org.uk

Date: 16/07/2023

Time: 17:00

Ensure you include the name of the quotation and ‘Final Submission’ in the subject field to make it clear that it is your response.

Contact Details and Timetable

Simon Cooter will be your contact for any questions linked to the content of the quote or the process. Please submit any clarification questions via email and note that, unless commercially sensitive, both the question and the response will be circulated to all tenderers.

| Action | Date |
| --- | --- |
| Date of issue of RFQ | 29/06/2023 |
| Deadline for clarifications questions | 13/07/2023 at 17:00 GMT |
| Deadline for receipt of Quotation | 16/07/2023 at 17:00 GMT |
| Intended date of Contract Award | 21/07/2023 |
| Intended Contract Start Date | 04/09/2023 |
| Intended Delivery Date / Contract Duration | 04/09/2023 to 08/09/2023 |

Section 1: General Information

Glossary

Unless the context otherwise requires, the following words and expressions used within this Request for Quotation shall have the following meanings (to be interpreted in the singular or plural as the context requires):

| “Authority” | means Natural England who is the Contracting Authority. |
| --- | --- |
| “Contract” | means the contract to be entered into by the Authority and the successful supplier. |
| “Response” | means the information submitted by a supplier in response to the RFQ. |
| “RFQ” | means this Request for Quotation and all related documents published by the Authority and made available to suppliers. |

Conditions applying to the RFQ

You should examine your Response and related documents ensuring it is complete and in accordance with the stated instructions prior to submission.

Your Response must contain sufficient information to enable the Authority to evaluate it fairly and effectively. You should ensure that you have prepared your Response fully and accurately and that prices quoted are arithmetically correct for the units stated.

By submitting a Response, you, the supplier, are deemed to accept the terms and conditions provided in the RFQ. Confirmation of this is required in Annex 2.

Failure to comply with the instructions set out in the RFQ may result in the supplier’s exclusion from this quotation process.

Acceptance of Quotations

By issuing this RFQ the Authority does not bind itself to accept any quotation and reserves the right not to award a contract to any supplier who submits a quotation.

Costs

The Authority will not reimburse you for any costs and expenses which you incur preparing and submitting your quotation, even if the Authority amends or terminates the procurement process.

Self-Declaration and Mandatory Requirements

The RFQ includes a self-declaration response (Annex 1) which covers basic information about the supplier, as well as any grounds for exclusion. If you do not comply with them, your quotation will not be evaluated.

Any mandatory requirements will be set out in Section 2, Specification of Requirements and, if you do not comply with them, your quotation will not be evaluated.

Clarifications

Any request for clarification regarding the RFQ and supporting documentation must be submitted via email no later than the deadline for clarifications set out in the Timetable. The Authority shall be under no obligation to respond to queries raised after the clarification deadline.

The Authority will respond to all reasonable clarifications as soon as possible but cannot guarantee a minimum response time. The Authority will publish all clarifications and its responses to all suppliers via email unless deemed commercially sensitive.

If a supplier believes that a request for clarification is commercially sensitive, it should clearly state this when submitting the clarification request. However, if the Authority considers either that:

- the clarification and response are not commercially sensitive; and

- all suppliers may benefit from its disclosure,

then the Authority will notify the supplier (via email), and the supplier will have an opportunity to withdraw the request for clarification by sending a further message requesting the withdrawal of the clarification request. If not withdrawn by the supplier within 2 working days of the Authority’s notification, the Authority may publish the clarification request and its response to all suppliers and the Authority shall not be liable to the supplier for any consequences of such publication.

The Authority reserves the right to seek clarification of any aspect of a quotation and/or provide additional information during the evaluation phase to carry out a fair evaluation. Where the Authority seeks clarification on any aspect of the quotation, the supplier must respond within the timeframe requested by the Authority.

Amendments

The Authority may amend the RFQ at any time prior to the deadline for receipt. If it amends the RFQ the Authority will notify you via email.

Suppliers may modify their quotation prior to the deadline for Responses. No Responses may be modified after the deadline for Responses.

Suppliers may withdraw their quotations at any time by submitting a notice via the email to the named contact.

Conditions of Contract

The Authority’s standard terms and conditions provided as part of the RFQ will be included in any contract awarded as a result of this quotation process. The Authority will not accept any changes to these terms and conditions proposed by a supplier.

Suppliers should note that the quotation provided by the successful bidder will form part of the Contract.

Prices

Prices must be submitted in £ sterling, inclusive of VAT.

Disclosure

All Central Government Departments, their Executive Agencies and Non Departmental Public Bodies are subject to control and reporting within Government. In particular, they report to the Cabinet Office and HM Treasury for all expenditure. Further the Cabinet Office has a cross-Government role delivering overall Government policy on public procurement, including ensuring value for money and related aspects of good procurement practice. For these purposes, the Authority may disclose within Government any details contained in your quotation. The information will not be disclosed outside Government during the procurement.

In addition, the Authority is subject to the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, which provide a public right of access to information held by public bodies. In accordance with these two statutes, the Authority may be required to disclose information contained in your quotation to any person who submits a request for information pursuant to those statutes.

Further to the Government’s transparency agenda, all UK Government organisations must advertise on Contract Finder in accordance with the following publication thresholds:

- Central Contracting Authority’s: £12,000

- Sub Central Contracting Authority’s and NHS Trusts: £30,000

For the purpose of this RFQ the Authority is classified as a Central Contracting Authority with a publication threshold of £12,000 inclusive of VAT.

If this opportunity is advertised via Contracts Finder, we are obliged to publish details of the awarded contract including who has won the contract, the contract value, and indicate whether the winning supplier is a small and medium-sized enterprise (“SMEs”) or voluntary organisation or charity. A copy of the contract must also be published with confidential information redacted.

By submitting a Response, you consent to these terms as part of the procurement.

Disclaimers

Whilst the information in this RFQ and any supporting information referred to herein or provided to you by the Authority have been prepared in good faith the Authority does not warrant that this information is comprehensive or that it has been independently verified.

The Authority does not:

- make any representation or warranty (express or implied) as to the accuracy, reasonableness or completeness of the RFQ;

- accept any liability for the information contained in the RFQ or for the fairness, accuracy or completeness of that information; or

- accept any liability for any loss or damage (other than in respect of fraudulent misrepresentation or any other liability which cannot lawfully be excluded) arising as a result of reliance on such information or any subsequent communication.

Any supplier considering entering into contractual relationships with the Authority following receipt of the RFQ should make its own investigations and independent assessment of the Authority and its requirements for the goods and/or services and should seek its own professional financial and legal advice.

Protection of Personal Data

In order to comply with the General Data Protection Regulations 2018 the supplier must agree to the following:

You must only process any personal data in strict accordance with instructions from the Authority.

- You must ensure that all the personal data that we disclose to you or you collect on our behalf under this agreement are kept confidential.

- You must take reasonable steps to ensure the reliability of employees who have access to personal data.

- Only employees who may be required to assist in meeting the obligations under this agreement may have access to the personal data.

- Any disclosure of personal data must be made in confidence and extend only so far as that which is specifically necessary for the purposes of this agreement.

- You must ensure that there are appropriate security measures in place to safeguard against any unauthorised access or unlawful processing or accidental loss, destruction or damage or disclosure of the personal data.

- On termination of this agreement, for whatever reason, the personal data must be returned to us promptly and safely, together with all copies in your possession or control.

General Data Protection Regulations 2018

For the purposes of the Regulations the Authority is the data processor.

The personal information that we have asked you provide on individuals (data subjects) that will be working for you on this contract will be used in compiling the tender list and in assessing your offer. If you are unsuccessful the information will be held and destroyed within two years of the award of contracts. If you are awarded a contract it will be retained for the duration of the contract and destroyed within seven years of the contract’s expiry.

We may monitor the performance of the individuals during the execution of the contract, and the results of our monitoring, together with the information that you have provided, will be used in determining what work is allocated under the contract, and in any renewal of the contract or in the award of future contracts of a similar nature. The information will not be disclosed to anyone outside the Authority without the consent of the data subject, unless the Authority is required by law to make such disclosures.

Equality, Diversity & Inclusion (EDI)

The Client is striving to create a diverse and inclusive working environment where every individual has equality of opportunity to progress and to apply their unique insights to making the UK a great place for living. The Service Provider is expected to respect this commitment in all dealings with Natural England staff and service users.

Suppliers are expected to;

- support Defra group to achieve its Public Sector Equality Duty as defined by the Equality Act 2010, and to support delivery of Defra group’s Equality & Diversity Strategy.

- meet the standards set out in the Government’s Supplier Code of Conduct

- work with Defra group to ensure equality, diversity and inclusion impacts are addressed (positive and negative) in the goods, services and works we procure, barriers are removed and opportunities realised.

Sustainable Procurement

Addressing global sustainability impacts and realising additional community benefits within commercial activity is core to Defra group’s approach, working with its supply chain is key to achieving sustainable outcomes. In addition to supporting Defra group to meet its outcomes we look to understand and reduce negative sustainability impacts associated with our commercial activity and realise benefits.

The Client encourages its suppliers to share these values, work to address negative impacts and realise opportunities, measure performance and success.

Suppliers are expected to have an understanding of the Sustainable Development Goals, the interconnections between them and the relevance to the Goods, Services and works procured on the Client’s behalf

Conflicts of Interest

The concept of a conflict of interest includes but is not limited to any situation where an Involved Person or Relevant Body has directly or indirectly, a financial, economic or other personal interest which might be perceived to compromise their impartiality and independence in the context of the procurement procedure and/or affect the integrity of the contract award.

We expect suppliers to mitigate appropriately against any real or perceived conflict of interest through their work with government. A supplier with a position of influence gained through a contract should not use that position to unfairly disadvantage any other supplier or reduce the potential for future competition

Where the supplier is aware of any circumstances giving rise to a conflict of interest or has any indication that a conflict of interest exists or may arise you should inform the Authority of this as soon as possible (whether before or after they have submitted a quotation). Tenderers should remain alert to the possibility of conflicts of interest arising at all stages of the procurement and should update the Authority if any new circumstances or information arises, or there are any changes to information already provided to the Authority. Failure to do so, and/or to properly manage any conflicts of interest may result in a quotation being rejected.

Provided that it has been carried out in an open, fair and transparent manner, routine pre-market engagement carried out by the Authority should not represent a conflict of interest for the supplier.

Section 2: The Invitation

Specification of Requirements

# Introduction

Background to The Stiperstones National Nature Reserve

The Stiperstones NNR includes the major part of the Stiperstones ridge in south Shropshire, near the Welsh border.

In the lower areas of the reserve heather and gorse heath is dominant, while ling and bilberry predominate on the uplands. The site supports common lizard, brown hare and common frog; and birdlife includes curlew, red grouse, skylark, meadow pipit, stonechat, buzzard, pied flycatcher and wood warbler. Invertebrates found here include grayling and green hairstreak butterflies, and fox and emperor moths.

There is open, and well used, public access to the reserve but it still retains a wild and unspoilt character.

The NNR lies within the Shropshire Hills Area of Outstanding Natural Beauty and is an Environmentally Sensitive Area. It is also a candidate Special Area of Conservation (cSAC) under the European Habitats Directive.

2	Background to the project

The heathland habitats of the Stiperstones rely upon grazing to maintain them in good condition. Much of this grazing is carried out by farmers exercising their common rights under a countryside stewardship scheme. In recent years the extent of this summer grazing has been limited by the lack of water availability on the hill. Grazing animals have access across the heathland to several natural waterholes fed by springs, backed up by two mains fed toughs in the Southwest of the site at Pennerley. The northern part of the hill has only natural water sources but in recent dry years water has to be brought up by bowser to maintain stock on the hill.

- Prognosis report

A desk-based survey was carried out by BCL hydro which summarised:

- Proposed borehole location is underlain by Ordovician age bedrock geological units, comprising the Mytton Flags and Stiperstones Quartzite Formations.

- Both units offer limited aquifer potential, with groundwater storage only being provided through secondary permeability (presence of fractures/bedding discontinuities) within the host rock.

- Although the potential for groundwater abstraction at the site is considered to be limited, hydrological features in the locality suggest the aforementioned geological units can support discrete areas of groundwater storage.

- An estimate of the volume of water required for abstraction has been made (some 1.8m3/day). On this basis, an abstraction licence would not be required (less than 20m3/d).

- The required volume for supply is relatively small and would normally be expected to be feasible for obtaining from a borehole installation. On this basis, a provisional outline design for a borehole has been specified (some 60m depth, c/w 6-inch casing to enable equipping with a 4-inch pump).

- Due to the nature of the underlying geology, it is not possible to guarantee that the design as set out within this prognosis will provide sufficient yield to meet the site requirements. This can only be confirmed through an investigative installation exercise. In this regard, it might be preferable to drill a smaller diameter exploratory borehole, to provide more detailed information on the potential for interception of water bearing fractures and the overall viability for a subsequent larger diameter installation.

# Scope of Work

To drill a borehole at the described location and supply and fit the required  infrastructure to enable the provision of water to the drinking troughs at the site.

# Detailed and Technical requirements

- Drill borehole to a depth by which a suitable flow of groundwater can be obtained (minimum 1.8m3/day).

- Supply and install the borehole infrastructure and pipework to feed a newly sited water trough (large concrete trough on a concrete base). Borehole cap and solar pump need to be secured from theft in a lockable box.

- A 2m3 storage tank will be required as a storage header tank, depending upon flow from the borehole and pump.

- The site is remote and there is no electrical power so a low maintenance solar pump is required.

- A maintenance contract of a year should be included.

- The site is part of the Stiperstones SSSI and SAC for which consent has been approved.

- The site is just without a scheduled monument so no consent from HE is required.

See attached map.

6.	Location

The site would be at What3words: intensely.carpentry.sugar.

7.	Timescales

The works should be carried out in August/September 2023 and invoice submitted before 30 March 2024.

# Project Officer

Simon Cooter 
Senior Reserve Manager 
Stiperstones and Downton Gorge NNRs

Rigmoreoak

Pennerley

Minsterley

Shropshire

SY5 0NE

Tel: 01743 792294
Mob:07967 693507

Email: simon.cooter@naturalengland.org.uk

- Health and Safety

The contractor must always fully comply with the Health and Safety at Work Act and its related regulations.  All work is to be carried out with full regard to the safety of the workforce and any visitors to the work site. A generic risk assessment for this type of work is to be supplied to Natural England’s Project Officer before commencement of work. A risk assessment and method statement specific to this site is to be completed in consultation with the Project Officer before work begins. This will include the erection of warning notices and use of hazard tape. The contractor is to have these items available on site.

All personnel must have received appropriate training and carry current certification, copies of which are to be sent to the Project Officer before arrival on site, together with current Public and Employer’s Liability Insurance certificates.

The following documents must be supplied:

- A detailed Method Statement

- A Risk Assessment which must be agreed with Natural England prior to commencement of works

- A copy of your Public and Employer Liability Certificate, with insurance liability cover of a minimum of £5 million pounds – see clause 19.2 of the General Terms and Conditions

- Qualifications of all personnel who use machinery on site.

# 10	Environmental management

- Work should be carried out when ground conditions are reasonably dry to minimise damage to the SSSI heathland habitat and the access route through the scheduled monument.

- The area of work needs to be agreed with the project officer and any ways of reducing impact needs to be agreed with the PO e.g. storage of materials, mixing of concrete etc.

- Timing avoids bird nesting season.

- Biodegradable oils should be used wherever possible and spill kits must be present on site.

# Outputs and contract management

## Project outputs

The contractor will be required to:

- Design and source the borehole and infrastructure.

- Secure and sign the area

- Supply and construct the borehole and infrastructure.

## Responsibilities of Natural England

Natural England will:

- Arrange access to site.

- Arrange any licence requirements.

- Project manage the operation.

The nearest welfare facilities are the toilets at the reserve base.

## CDM roles

Natural England will hold the client role.

The borehole construction contractor will hold the contractor/designer role and as such will be required to produce a design risk analysis.

If the works are likely to exceed 30 days the project officer must be informed so that he can inform the H&SE.

12	Security

The contractor is responsible for the security of materials, equipment and personnel.

13	Indemnity

The contractor must indemnify Natural England against all actions, costs, direct or indirect or consequential expenses, liabilities or losses however caused by the contractor, their employees and agents, in association with the contracted work, save where the contractor can establish that the circumstances were the fault of Natural England.

The contractor must make good all damage to access tracks, bridges, gates and fences on completion.

Payment

The Authority will raise purchase orders to cover the cost of the services and will issue to the awarded supplier following contract award.

The Authority’s preference is for all invoices to be sent electronically, quoting a valid Purchase Order number.  Payment can be made after the following milestones are met:

Milestone 1. 	Mobilisation of plant to site.

Milestone 2. 	Drilling of borehole.

Milestone 3. 	Completion.

It is anticipated that this contract will be awarded for a period of one week to end no later than 29/09/23. Prices will remain fixed for the duration of the contract award period. We may at our sole discretion extend this contract to include related or further work. Any extension shall be agreed in writing in advance of any work commencing and may be subject to further competition.

Evaluation Methodology

Evaluation weightings are 40% technical and 60% commercial, the winning tenderer will be the highest scoring combined score.

[This summary table below provides an overview to suppliers of the overall evaluation breakdown. It is important to update and ADJUST the EXAMPLES in the table below to suit your particular projects.

Ensure the assigned weighting to each technical criteria adds up to 100. Example: Technical criteria and weightings: Q1 Methodology - 40. Q2 Key personnel - 20. Q3 Quality Assurance measures – 20. Q4 Management of Sustainability and social value - 10. Q5 Health & Safety - 10]

| Award Criteria | Weighting (%) | Evaluation Topic & Weighting | Sub-Criteria | Weighted Question |
| --- | --- | --- | --- | --- |
| Technical | 40% | Service / Product Proposal | Methodology | 2 Questions Q1.1 (20% of technical score available) Detail the borehole specifications for the mobilisation and drilling (subject to no water being found). Q1.2 (20% of technical score available) Detail the ongoing specifications should water be found e.g., pump and infrastructure. |
|  |  |  | Health & Safety | 1 Question Q2 (10% of technical score available) detail the H&S requirements for the works. |
| Commercial | 60% | Whole life cost of the proposed Contract | Commercial Model | 2 Questions Q3.1 (30% of commercial score available) Detail the borehole costs for the mobilisation and drilling (subject to no water being found). Q3.2 (30% of commercial score available) Detail the ongoing costs should water be found e.g., pump and infrastructure. |

Technical (40%)

Technical evaluations will be based on responses to specific questions covering key criteria which are outlined below.  Sco res for questions will be based on the following:

| Description | Score | Definition |
| --- | --- | --- |
| Very good | 100 | Addresses all the Authority’s requirements with all the relevant supporting information set out in the RFQ. There are no weaknesses and therefore the tender response gives the Authority complete confidence that all the requirements will be met to a high standard. |
| Good | 70 | Addresses all the Authority’s requirements with all the relevant supporting information set out in the RFQ. The response contains minor weaknesses and therefore the tender response gives the Authority confidence that all the requirements will be met to a good standard. |
| Moderate | 50 | Addresses most of the requirements with most of the relevant supporting information set out in the RFQ. The response contains moderate weaknesses and therefore the tender response gives the Authority confidence that most of the requirements will be met to a suitable standard. |
| Weak | 20 | Substantially addresses the requirements but not all and provides supporting information that is of limited or no relevance or a methodology containing significant weaknesses and therefore raises concerns for the Authority that the requirements may not all be met. |
| Unacceptable | 0 | No response or provides a response that gives the Authority no confidence that the requirement will be met. |

Technical evaluation is assessed using the evaluation topics and sub-criteria stated in the Evaluation Criteria section above.

Separate submissions for each technical question should be provided and will be evaluated in isolation. Tenderers should provide answers that meet the criteria of each technical question.

Your response should:

1) Demonstrate a clear understanding of the nature of the requirements.

2) Be a clear, practical, achievable, and cost-effective methodology to deliver these requirements.

3) Have information in sufficient detail to allow a full appraisal of the suitability of the approach to deliver for the project.

Commercial (60%)

The Contract is to be awarded as a fixed price which will be paid according to the completion of the deliverables stated in the Specification of Requirements.

Suppliers are required to submit a total cost to provide the deliverables stated in the Specification of Requirements. In addition to this the Commercial Response template must be completed to provide a breakdown of the whole life costs against each deliverable used in the delivery of this requirement.

Calculation Method

The method for calculating the weighted scores is as follows:

Commercial

Score =  (Lowest Quotation Price / Supplier’s Quotation Price ) x 60%  (Maximum available marks)

- Technical

- Score = (Bidder’s Total Technical Score )  x 40%  (Maximum available marks)

The total score (weighted) (TWS) is then calculated by adding the total weighted commercial score (WC) to the total weighted technical score (WT): WC + WT = TWS.

Information to be returned

Please note, the following information requested must be provided. Incomplete tender submissions may be discounted.

Please complete and return the following information:

- completed Commercial Response template

- separate response submission for each technical question (in accordance with the response instructions)

- completed Mandatory Requirements (Annex 1)

- completed Acceptance of Terms and Conditions (Annex 2)

Award

Once the evaluation of the Response(s) is complete all suppliers will be notified of the outcome via email.

The successful supplier will be issued the contract via a Purchase Order.

Annex 1 Mandatory Requirements

Part 1 Potential Supplier Information

Please answer the following self-declaration questions in full and include this Annex in your quotation response.

Part 1.1 Potential Supplier Information:

| Question no. | Question | Response |
| --- | --- | --- |
| 1.1(a) | Full name of the potential supplier submitting the information |  |
| 1.1(b) | Registered office address (if applicable) |  |
| 1.1(c) | Company registration number (if applicable) |  |
| 1.1(d) | Charity registration number (if applicable) |  |
| 1.1(e) | Head office DUNS number (if applicable) |  |
| 1.1(f) | Registered VAT number |  |
| 1.1(g) | Are you a Small, Medium or Micro Enterprise (SME)? | (Yes / No) |

Note: See EU definition of SME https://ec.europa.eu/growth/smes/business-friendly-environment/sme-definition_en

Part 1.2 Contact details and declaration

By submitting a quotation to this RFQ I declare that to the best of my knowledge the answers submitted and information contained in this document are correct and accurate.

I declare that, upon request and without delay you will provide the certificates or documentary evidence referred to in this document.

I understand that the information will be used in the selection process to assess my organisation’s suitability to be invited to participate further in this procurement.

I understand that the authority may reject this submission in its entirety if there is a failure to answer all the relevant questions fully, or if false/misleading information or content is provided in any section.

I am aware of the consequences of serious misrepresentation.

| Question no. | Question | Response |
| --- | --- | --- |
| 1.2(a) | Contact name |  |
| 1.2(b) | Name of organisation |  |
| 1.2(c) | Role in organisation |  |
| 1.2(d) | Phone number |  |
| 1.2(e) | E-mail address |  |
| 1.2(f) | Postal address |  |
| 1.2(g) | Signature (electronic is acceptable) |  |
| 1.2(h) | Date |  |

Part 2 Exclusion Grounds

Part 2.1 Grounds for mandatory exclusion

| Question no. | Question | Response |
| --- | --- | --- |
| 2.1(a) | Please indicate if, within the past five years you, your organisation or any other person who has powers of representation, decision or control in the organisation been convicted anywhere in the world of any of the offences within the summary below. |  |
|  | Participation in a criminal organisation. | (Yes / No) If yes please provide details at 2.1 (b) |
|  | Corruption. | ((Yes / No) If yes please provide details at 2.1 (b) |
|  | Fraud. | (Yes / No) If yes please provide details at 2.1 (b) |
|  | Terrorist offences or offences linked to terrorist activities | (Yes / No) If yes please provide details at 2.1 (b) |
|  | Money laundering or terrorist financing | (Yes / No) If yes please provide details at 2.1 (b) |
|  | Child labour and other forms of trafficking in human beings | (Yes / No) If yes please provide details at 2.1 (b) |
| 2.1(b) | If you have answered yes to question 2.1(a), please provide further details. Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction. Identity of who has been convicted If the relevant documentation is available electronically please provide the web address, issuing authority, precise reference of the documents. |  |
| 2.1 (c) | If you have answered Yes to any of the points above have measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (i.e. Self-Cleaning) | (Yes / No) |
| 2.1(d) | Has it been established, for your organisation by a judicial or administrative decision having final and binding effect in accordance with the legal provisions of any part of the United Kingdom or the legal provisions of the country in which the organisation is established (if outside the UK), that the organisation is in breach of obligations related to the payment of tax or social security contributions? | (Yes / No) |
| 2.1(e) | If you have answered yes to question 2.3(a), please provide further details. Please also confirm you have paid or have entered into a binding arrangement with a view to paying, the outstanding sum including where applicable any accrued interest and/or fines. |  |

Part 2.2 Grounds for discretionary exclusion

| Question no. | Question | Response |
| --- | --- | --- |
| 2.2(a) | The detailed grounds for discretionary exclusion of an organisation are set out on this webpage, which should be referred to before completing these questions. Please indicate if, within the past three years, anywhere in the world any of the following situations have applied to you, your organisation or any other person who has powers of representation, decision or control in the organisation |  |
| 2.2(b) | Breach of environmental obligations? | (Yes / No) If yes please provide details at 2.2 (f) |
| 2.2(c) | Breach of social obligations? | (Yes / No) If yes please provide details at 2.2 (f) |
| 2.2(d) | Breach of labour law obligations? | (Yes / No) If yes please provide details at 2.2 (f) |
| 2.2(e) | Shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions? | (Yes / No) If yes please provide details at 2.2 (f) |
| 2.2 (f) | If you have answered Yes to any of the above, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) |  |

Annex 2 Acceptance of Terms and Conditions

I/We accept in full the terms and conditions appended to this Request for Quote document.

Company ____________________________________________________

Signature ____________________________________________________

Print Name ____________________________________________________

Position ____________________________________________________

Date ____________________________________________________