|  |  |  | Bay 3/21 Spring Place 105 Commercial Road Southampton SO15 1EG United Kingdom |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All applicants for the refurbishment of: MCA LIVERPOOL, HALL ROAD WEST, CROSBY, L23 8SY Via Contracts Finder |  | Tel: e-mail: | +44 (0)20 381 72984 contracts@mcga.gov.uk |  |  |
|  |  | Our ref: |  | TCA 003/007/1083 |  |
|  |  | 31st January 2018 |  |  |  |

Dear Sir/Madam,

REFURBISHMENT OF MCA LIVERPOOL, HALL ROAD WEST, CROSBY, L23 8SY

Please see below for responses to questions and requests for information raised during the a site visit. To ensure that all applicants have access to the same information we will publish this document on Contracts Finder.

Question: 	Kitchen area do you want to retain install a zip wall mounted 				heater as well as a under sink water heater.

Answer: 	Zip tap is the preference.

Question:	There is no mention or allowance for relocation of radiators within the 	scope of works please confirm section where this is to allowed for.

Answer:	Contractor to confirm locations.

Question:	There is no mention or allowance for mains drainage for relocation of 	ladies toilets please confirm section where this to allowed for.

Answer:	Please allow for this in above ground drainage section.

Question:	Please confirm contact details for Fire Alarm, CCTV, and Intruder 	alarms.

Answer:	Interserve are the contact for the Fire Alarm and CCTV, Mitie for 	intruder alarm.

Question:	Please confirm final location for all cat 6 date cables to be terminated.

Answer:	Radio room, into patch panels in the server rack.

Question:	Please confirm what detectors are on door frames to be remove / 	relocated and if they are to be retained.

Answer:	Intruder alarm to be replaced entirely.

Question:	Please confirm that no work to be carried out on any electrical devices 	externally.

Answer:	None.

I hope this provides all the information you require.

Yours sincerely,

Gillian Norris

MCA Procurement Strategy & Corporate Services