## Schedule of Works
0
0
0
0
0
0
0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
0
| PROJECT DETAILS: |  |  |  | 0
| T-Level Project 2024 Tower Building |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| This specification is to be priced in conjunction with drawings: CCP-TL2-H-01, CCP-TL2-H-02, CCP-TL2-H-03, CCP-TL2-H-04, CCP-TL2-H-05, CCP-TL2-H-06. CCP-TL3-H-01, CCP-TL3-H-02, CCP-TL3-H-03, CCP-TL3-H-04, CCP-TL3-H-05, CCP-TL3-H-06. CCP-TL-FP-01, CCP-TL-FP-02, CCP-TL-FP-03, CCP-TL-FP-04, CCP-TL-FP-05, CCP-TL-FP-06. CCP-TL-SP-01. And Appendices contained in the tender pack |  |  |  | 0
0
| NOTES |  |  |  | 0
| It is the Contractor's responsibility to confirm measurements within this document and to amend accordingly. CCP will not except any claim or additional costs for any inaccuracies with drawings, layouts and dimensions |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| STRIP OUT & ENABLING WORKS | Qty | Item | Rate | £ p
0
1 | Allow to move, reposition or protect any equipment, including desks and computers |  |  |  | 0
0
2 | Allow to remove and set aside all pictures, signs, posters, notice boards, pin boards & wipe boards |  |  |  | 0
0
3 | Allow for all costs associated with working and moving materials and removing waste from the work area |  |  |  | 0
0
4 | Allow to uplift flooring to work area and dispose as detailed in drawings |  |  |  | 0
0
5 | Allow to remove all services from walls than are no longer required. Allow to make safe all alterations, and temporary works including lighting. |  |  |  | 0
0
6 | Allow to remove suspended ceiling to work area to include tiding and supporting existing cables providing containment and maintaining lighting were possible. |  |  |  | 0
0
7 | Allow to remove walls as indicated with dash lines and dispose. |  |  |  | 0
0
8 | Allow to remove fixed benching, worktops, cubicles, M&E, sanitaryware, blinds, and all other items related to project and dispose. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
| PARTITIONING & DOORS | Qty | Item | Rate | £ p
| NOTES: |  |  |  | 0
| Allow for all preparation work associated with installation. Allow for all works to existing linings to include any alterations. Allow for all for doors to be achieve 30min fire protection to include fire smoke seals and appropriate signage c/w sign of certification. All partitioning is to be achieve 30min fire protection and be finished with plasterboard to both sides and prepared ready for decoration to include skirting and architrave as needed. |  |  |  | 0
DOORS
1 | Allow to remove all existing cylinder locks from doors that will be replaced and pass on to Estates team. |  |  |  | 0
0
2 | Allow to supply and fit new doors and window sets as per the schedule from Hanson and Beards Ltd. Holmfield Industrial Estate, Holmfield, Halifax, HX2 9TN. Tel: (01422) 306830.E mail:info@hansonandbeards.co.uk. All doors to be fitted as per the BM Trade Q Mark Plugged Installation Guide to achieve gold plugged standard and provide appropriate certification |  |  |  | 0
| PARTITIONS |  |  |  | 0
3 | Allow to supply and infill removed doors & linings finished with plasterboard and fully prepared leaving ready for decoration including skirting. |  |  |  | 0
0
4 | Allow to supply and install new 30min fire rated GypWall Single Frame A206013 (EN) and curved wall sections using GypWall Single Frame system to include forming door openings, to include new door linings, and refit, alter existing skirting to suit new arrangement. |  |  |  | 0
0
5 | Allow for all support and pattresses for Clevertouch monitors |  |  |  | 0
0
6 | Allow for IPS Panels for all toilets |  |  |  | 0
0
7 | Allow for the supply and installation of the sliding wall system as per design provide by AEG Maintenance Ltd, Office 1, Unit 68, Brindley Road, Astmoor Industrial Estate, Runcorn, WA7 1PF. Telephone number 0151 318 3358 |  |  |  | 0
0
FIRE PROTECTION
8 | Allow for all fire stopping to all floors as per the fire stopping assessment provided by ADS Commercial, Unit 1, Stowford Business Park, Ivybridge, PL21 0BE. Telephone number 01752 890900
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| DECORATION WORKS |  |  |  | 0
| NOTES: |  |  |  | 0
| Do not allow for painting of radiators, pipes. Allow to remove all door furniture from linings prior to painting. Allow to paint all new & previously painted woodwork to include window cill's skirting architraves, linings. Allow to paint all exposed ceilings, bulkheads and wall surfaces. |  |  |  | 0
1 | Allow to remove all pictures, pin boards, wipe boards, notice boards and to refit on completion, location TBC |  |  |  | 0
0
2 | Allow for all preparation works to include filling any holes, sanding, filling, stopping, chalking |  |  |  | 0
0
3 | Paint all walls with Crown Eggshell. Colour to be White |  |  |  | 0
0
4 | Paint all new and previously painted linings & architraves (Both Sides) with Dark Grey undercoat & top coat of Satinwood RAL 7016 |  |  |  | 0
0
5 | Paint previously & newly installed painted skirting and window cill's with Dark Grey undercoat & top coat of Satinwood RAL 7016 |  |  |  | 0
0
6 | Paint all remaining ceilings, columns, window reveals and heads not covered by Suspended ceilings with Crown Emulsion. Colour to be White |  |  |  | 0
0
7 | Paint ceiling to 3rd floor Room K310 with Crown Emulsion. Colour to be Black |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| CEILINGS |  |  |  | 0
| NOTES: |  |  |  | 0
| Allow for all preparation work associated with installation. Allow for all wire hangers, trims, & fixings Allow for all for angled sections to maintain window height. Allow for boxing and trim details to fanlight windows as required. |  |  |  | 0
0
1 | Allow to supply and install suspended ceiling as indicated on drawings. To include grid and 600mm x 600mm tiles |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| M&E |  |  |  | 0
0
| NOTES: |  |  |  | 0
| Allow to keep the existing sockets and containment along with Data. |  |  |  | 0
| Allow for all new circuits, DB and associated containment allowing for 50% extra capacity |  |  |  | 0
| Electrical |  |  |  | 0
1 | New mains installation as per drawings and schedule provided by ACD Electrical Ltd, Tamar View Industrial Estate, Saltash PL12 6LD. Telephone Number 01752 202040 |  |  |  | 0
0
| Lighting |  |  |  | 0
| NOTES: |  |  |  | 0
| PLEASE NOTE:- Lighting will need to be designed to achieve suitable light levels. Look to leave light units were possible and or replace with LED strip, bulkhead or recessed. Allow for new switching configuration and were possible controlled via sensors to suit new layout Allow for all emergency lights to 2nd & 3rd floor and to both Stairwells to all floors to include for the design to comply with latest regulations Allow for all fire safety/emergency signage to comply with latest regulations Allow for all certification of lighting and to include emergency |  |  |  | 0
0
0
0
2 | New LED Lighting installation as per drawings and schedule provided by ACD Electrical Ltd, Tamar View Industrial Estate, Saltash PL12 6LD. Telephone Number 01752 202040 |  |  |  | 0
0
3 | Allow for all mechanical, HVAC and ventilation installation as per drawings and schedule provided by S2 Group Services, Unit N2, Eagle Close, Langage Business Park, Plympton, Plymouth, PL7 5HZ. 01752 927665 |  |  |  | 0
0
4 | New Data as per drawings |  |  |  | 0
0
6 |  |  |  |  | 0
0
5 | New Fire Alarm to L1 standard as per drawings and specification by Arch Fire Systems Ltd, 50 Westfield, Plympton, Plymouth PL7 2EA. Telephone number 01752 916106 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| FLOORING |  |  |  | 0
| NOTES: |  |  |  | 0
| Allow for all preparation work associated with laying vinyl to include coving. Allow to latex, adhesive trims, fixing and wastage for all floor laying areas and products. Allow for all costs associated with Installation. |  |  |  | 0
0
1 | Allow to supply and lay new flooring as per drawings |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| FITOUT WORKS |  |  |  | 0
0
1 | Allow for dry tea station in room K205 & K313(units and worktop only) |  |  |  | 0
0
2 | Allow for works associated with Lecture seating installation |  |  |  | 0
0
3 | Allow to relocate existing stainless sink in room K203A in to new K202 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| PC SUMS |  |  |  | 0
0
1 | College Improvements | 1 | nr | 60000 | 60000
0
2 | Allow for works associated with Lecture seating installation | 1 | nr | 1500 | 1500
0
3 | Allow for works associated with LapSafe installation | 1 | nr | 500 | 500
0
4 | Allow for manifestation to all door glazing and window glazing |  | nr | 50 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 62000
£ p
COLLECTION
| STRIP OUT & ENABLING WORKS |  |  |  | 0
| PARTITIONING & DOOR WORKS |  |  |  | 0
| DECORATION |  |  |  | 0
| CEILINGS |  |  |  | 0
| M&E |  |  |  | 0
| FLOORING |  |  |  | 0
| FITOUT WORKS |  |  |  | 0
| PC SUMS |  |  |  | 62000
| SUB TOTAL |  |  |  | 37000
| OVERHEADS & PROFIT |  | % | 62000 | 0
| PRELIMS | 1 |  |  | 0
| GRAND TOTAL |  |  |  | 62000
| VAT @ 20% |  |  |  | 12400
| TOTAL PROJECT COST |  |  |  | 74400
Note on D523: CCP: ADD Percentage
Note on F525: CCP: ADD Prelims figure