## COVER PAGE
CONTRACT SUM ANALYSIS
-in respect of a-
DESIGN AND BUILD CONTRACT
-for a-
NEW AIR SOURCE HEAT PUMP INSTALLATION
& AIR CONDITIONING INSTALLATION
-at the-
MUSEUM STUDY COLLECTION CENTRE
DREADNOUGHT BUILDING,
OLD SCHOOL CLOSE, GREENWICH, SE10 0PG
-for-
THE HORNIMAN PUBLIC MUSEUM &
PUBLIC PARK TRUST
July 2023

## CONTENTS
Contract Sum Analysis
-in respect of a-
Design and Build Contract
-for a-
New Air Source Heat Pump Installation
& Air Conditioning installation
-at the-
Museum Study Collection Centre
Dreadnought Building
Old School Close, Off Mellenium Way, London, SE10 0PG
-for-
The Horniman Public Museum &
Public Park Trust
- comprising -
Section No. 1 | - | Air Source Heat Pump Installation
Section No. 2 | - | Air Conditioning installation (PROVISIONAL)
Summary
Appendix A | - | Detailed terms of the Conditions of Contract
Appendix B | - | Detailed terms of the Preliminaries

## Section 1
HORNIMAN MUSEUM
STUDY COLLECTION CENTRE
DREADNOUGHT BUILDING, OLD SCHOOL CLOSE, GREENWICH, SE10 0PG
ASHP / AC INSTALLATIONS
SECTION No. 1 |  | = Contractor to insert pricing
AIR SOURCE HEAT PUMP INSTALLATION
£ p
1.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
1.1 - Mechanical and Electrical works
1.2 - Builder's work in connection
1.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
0
| 1.1 - MECHANICAL AND ELECTRICAL WORKS |  |  |  | 0
0
| Allow for Designing and Building the new Air Source Heat Pump installation (ASHP) to the Study Collection Centre building in replacing the existing gas boilers; the Employer's Requirements for the works are as as indicated on drawings 311533-HAH-XX-ZZ-D-M-05010 & 05990 and the "Mechanical and Electrical Performance Specification" all as prepared by Harley Haddow; in submittting their price for the works the Contractor is requested to insert it against the headings of cost provided but should any additional elements /processes be necessary to complete the works then these are to be added in below at the spaces provided: |  |  |  | 0
0
1.1.1 | Installation of the ASHPS external pipework and valves etc | 1 | Item |  | 0
0
1.1.2 | Plant room internal heating pipework, valves, pumps and buffer vessels etc | 1 | Item |  | 0
0
1.1.3 | Strip out of existing boilers and redundant pipework etc and removal from site | 1 | Item |  | 0
0
1.1.4 | Flushing of existing heating system | 1 | Item |  | 0
0
1.1.5 | Mechanical services controls | 1 | Item |  | 0
0
1.1.6 | Electrical services | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
1.1.7 | Preliminaries / design drawings / loading calculations, etc. | 1 | Item |  | 0
0
1.1.8 | Testing and commissioning | 1 | Item |  | 0
0
1.1.9 | O&M manuals and as fitted drawings | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
| The Contractor is requested to insert below the details / costs of any additional items which are not covered by the headings of cost above but are deemed necessary in complying with the information provided on the drawings / specifications: |  |  |  | 0
0
1.1.10 |  | 1 | Item |  | 0
0
1.1.11 |  | 1 | Item |  | 0
0
1.1.12 |  | 1 | Item |  | 0
0
1.1.13 |  | 1 | Item |  | 0
0
1.1.14 |  | 1 | Item |  | 0
0
1.1.15 |  | 1 | Item |  | 0
0
1.1.16 |  | 1 | Item |  | 0
0
1.1.17 |  | 1 | Item |  | 0
0
1.1.18 |  | 1 | Item |  | 0
0
1.1.19 |  | 1 | Item |  | 0
0
0
0
| 1.2 - BUILDER'S WORK IN CONNECTION |  |  |  | 0
0
1.2.1 | Concrete plinth for buffer vessels | 1 | Item |  | 0
0
1.2.2 | Cut or form all holes, mortices, sinkings and chases through the structure, coverings and finishings and allow for all other above ground builders work in connection to the new Mechanical and Electrical Installations | 1 | Item |  | 0
0
0
0
0
AIR SOURCE HEAT PUMP INSTALLATION
|  |  |  | TOTAL £ | 0

## Section 2
HORNIMAN MUSEUM
STUDY COLLECTION CENTRE
DREADNOUGHT BUILDING, OLD SCHOOL CLOSE, GREENWICH, SE10 0PG
ASHP / AC INSTALLATIONS
SECTION No. 2 |  | = Contractor to insert pricing
AIR CONDITIONING INSTALLATION (PROVISIONAL)
£ p
2.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
2.1 - Mechanical and Electrical works
2.2 - Builder's work in connection with AC M&E works
2.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
0
| 2.1 - MECHANICAL AND ELECTRICAL WORKS |  |  |  | 0
0
| Allow for Designing and Building the new Air Conditioning installation to the office areas at the Study Collection Centre; the Employer's Requirements for the works are as as indicated on drawings 311533-HAH-XX-ZZ-D-M-05010, 05011 & 05990 and the "Mechanical and Electrical Performance Specification" all as prepared by Harley Haddow; in submittting their price for the works the Contractor is requested to insert it against the headings of cost provided but should any additional elements /processes be necessary to complete the works then these are to be added in below at the spaces provided: |  |  |  | 0
0
2.1.1 | Split AC Works | 1 | Item |  | 0
0
2.1.2 | Electrical Works | 1 | Item |  | 0
| _______________________________________ |  |  |  | 0
0
2.1.3 | Preliminaries / design drawings / loading calculations, etc. | 1 | Item |  | 0
0
2.1.4 | Testing and commissioning | 1 | Item |  | 0
0
2.1.5 | O&M manuals and as fitted drawings | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
| The Contractor is requested to insert below the details / costs of any additional items which are not covered by the headings of cost above but are deemed necessary in complying with the information provided on the drawings / specifications: |  |  |  | 0
0
2.1.6 |  | 1 | Item |  | 0
0
2.1.7 |  | 1 | Item |  | 0
0
2.1.8 |  | 1 | Item |  | 0
0
2.1.9 |  | 1 | Item |  | 0
0
2.1.10 |  | 1 | Item |  | 0
0
2.1.11 |  | 1 | Item |  | 0
0
2.1.12 |  | 1 | Item |  | 0
0
2.1.13 |  | 1 | Item |  | 0
0
2.1.14 |  | 1 | Item |  | 0
0
2.1.15 |  | 1 | Item |  | 0
0
0
0
| 2.2 - BUILDER'S WORK IN CONNECTION WITH AC WORKS |  |  |  | 0
0
2.2.1 | Cut or form all holes, mortices, sinkings and chases through the structure, coverings and finishings and allow for all other above ground builders work in connection to the AC units. | 1 | Item |  | 0
0
0
0
0
AIR CONDITIONING INSTALLATION (PROVISIONAL)
|  |  |  | To Summary £ | 0

## SUMMARY
HORNIMAN MUSEUM
STUDY COLLECTION CENTRE
DREADNOUGHT BUILDING, OLD SCHOOL CLOSE, GREENWICH, SE10 0PG
ASHP / AC INSTALLATIONS
SUMMARY
£ p
Section No. 1 | - | Air Source Heat Pump Installation |  | 0
Section No. 2 | - | Air Conditioning installation (PROVISIONAL) |  | 0
|  |  | TOTAL £ | 0
Name of Contractor:
Address:
Date: