[image: image2.jpg]m Forestry Commission




ITQ

[image: image3.jpg]Protecting and expanding Britain’s

forests and woodlands, and increasing f k ¢ Y, INVESTORS
their value to society and the environment. WWW. OreSTrY-gOV- u %_ IN PEOPLE






Yorkhire Forest District
Outgang Road, 

Pickering,
North Yorkshire

YO18 7EL 
Tel: 0300 067 4300 

Fax: 0300 067 4300
Ian.langford@forestry.gsi.gov.uk

Lead Building Surveyor
Ian Langford
Dear Sir/Madam
INVITATION TO QUOTE FOR THE SUPPLY OF CATERGORY 5 COMPLIANT BREAK TANKS 
REF NO: FEE/0459
You are invited to submit a quotation for the supply and delivery of minimum 21 break tanks.  A brief of the work is attached. 
Please send your completed quotation and any enquires about this invitation to: 
Ian Langford
Email: ian.langford@forestry.gsi.gov.uk 
We must receive your quotation by 27th October 2017 12 noon. 
All submissions will be evaluated objectively as detailed in the Evaluation Matrix
Please note the following conditions:
· Any contract concluded as a result of this invitation shall be governed by English Law and the Forestry Commission’s Standard Terms and Conditions of Contract will apply. Your terms will not apply.
· The completed quotation and all accompanying documents are to be in English

· All prices must be in sterling and exclusive of VAT.
· The FC reserves the right to cancel or withdraw from the process at any stage

· The FC does not undertake to accept the lowest priced quotation, or part, or all of any quotation

· All information supplied to you by the FC must be treated in confidence and not disclosed to third parties
· All details of your quotation, including prices and rates, must be valid for our acceptance for a period of 30 days.
· Once the contract has been awarded, any additional costs incurred which are not reflected in the quotation will not be accepted for payment

· Offering an inducement of any kind in relation to obtaining this or any other contract with the FC will disqualify your quotation from being considered and may constitute a criminal offence.
	Introduction & Specification
The Forestry Commission has a number of cold stores which hold deer carcasses prior to collection. We are now looking to upgrade our sites paying particular attention to the Water Supply (Water Fittings) Regulations. For this purpose we require a minimum number of 21 Category 5 approved break tanks. These self-contained units must achieve the following specification:

Minimum Specification
· Water Regulations Advisory Scheme approved Category 5  
· 240v

· Min flow rate of 0.2ltrs/sec(12ltrs/min)

· Inlet and outlet connection at 22mm copper

· Operates at min 1.0bar and max 10 bar

· Automatic tank purge unit to comply with Approved Code Of Practice (ACOP) L8

· Minimum 2 year warranty on parts

· O & M Manual

Extra components  required to be priced on per unit basis

· IP66 rated cover/cabinet

· Wall fixing bracket

· Frost protection system

· Drip tray

· 2 years warranty on labour to include break down 

Delivery of the units will be to the following post codes by 2nd January 2018, however earlier deliveries are encouraged, and must be arranged by prior appointment(TBC)as per the following:

4 x units to NE48 2HP     2 x units to LA22 0QJ

1 x units to NG21 9JL      1 x units to LN8 3RQ

2 x units to NN17 3BB     1 x units to IP12 3NF

1 x units to IP27 0TJ       2 x units to GU10 4LS

1 x units to SO43 7NH     2 x units to SY8 2HD

2 x units to EX21 5UX      1 x units to PL31 2RD

1 x units to HP22 5NF

CA13 9YG, DL13 3NL, BD23 4TA, CA6 6PA, NE61 4LG, YO18 7LT, BN26 6SJ, PO18 0LU,

The postcodes above give a geographical overview of areas that will require warranty cover.

Invoicing & Payment  
Maximum 25% can be invoiced on order placement with the balance paid on goods received (per site). 

	


Evaluation Matrix
Combination of Price and Other Criteria

	Title 
	Weighting
	Agreed Marking Criteria

	Delivery 
All units should be available for delivery no later than the 2nd January 2018.

Please explain how you can ensure all units will be delivered to site by the 19th  January 2018? As part of your answer please detail:
If you cannot ensure delivery by the 19th January 2018, please give details of the timescale that you can achieve in relation to these tanks?
Warranty
Two year warranty on labour to include break down.
Please provide full details of what the warranty covers and how it is managed?


	10%
10%
	The following evaluation system will be applied:

0 – No response or totally inadequate response

No response or an inadequate response

1 – Major Reservations/Constraints

The response simply states that the party submitting a quote can meet some of the requirements set out in the question or statement of requirements, but have not given information or detail on how they will do this.

2 – Some Reservations/Constraints

The party submitting a quote has provided some information about how they propose to meet most of the requirements as set out in the question or statement of requirements.  There is some doubt in their ability to consistently meet the full range of requirements.

3 – Fully Compliant

The party submitting a quote has provided detailed information covering all elements of the question, detailing how they propose to meet all the requirements as set out in the question or statement of requirements.  This gives full confidence in their ability to consistently meet the full range of our requirements. 

4 – Exceeds Requirements

The party submitting a quote meets the required standard in all respects and exceeds some or all of the major requirements, which in turn leads to added value within the contract 

	Pricing
	80%
	Price will be evaluated using the ‘standard differential method’ – each bidder receives 100% of the available marks less the percentage by which their tender is more expensive than the lowest; with 4 being the maximum score achievable.
The price being used for this evaluation will be the total cost of all items using the quantities below.


Pricing Schedule

Ref 2.1 The price should cover all the warranty information given in the other criteria section. Break down cover should be provided to all postcodes supplied above.
Ref 3.1 The installation of the break tanks will vary depending on the type of cold store and may require a different level of protection. Therefore, the extra components should be priced individually and will be bolted on to the break tank as required. All four additional items will be added together to give a total price and then the marks will be allocated accordingly 
	Ref
	Description


	Price per Unit

(£)
	Quantity
	Total Price
	Sub-Weight    %

	1.1
 Category 5  break tank 


	As per minimum specification stated above
	
	21
	
	50

	2.1 
Two year warranty on labour to include break down  
	This should be the price to cover the warranty  details supplied as per the other criteria section

	
	21
	
	10

	3.1


Prices for extra components 

	IP66 rated cover/cabinet


	
	1
	
	20

	
	Wall fixing bracket


	
	1
	
	

	
	Frost protection system


	
	1
	
	

	
	Drip tray
	
	1
	
	

	
	Total
	N/A
	N/A
	N/A
	80


	Ref
	Description
	Warranty for Labour in years (To be inserted by supplier)
	Warranty for Parts in years (To be inserted by supplier
	Warranty Period (To be inserted by supplier)
	Total Price per year per tank

	Warranty (For information only)


	What warranty period can you offer
	
	
	
	


[image: image1]
[image: image4.jpg]Protecting and expanding Britain’s

forests and woodlands, and increasing
their value to society and the environment. WWW.fOfeSTI'y.gOV. uk






