## Asset Schedule

The following provides an initial schedule of the assets to be surveyed where applicable to each building to comprise the commission

Main Elements	Sub-Elements

Air Conditioning and Ventilation 	Condenser

Controller

Evaporator

Air Handling Unit

Chiller/Cooling

Control Panels

Extraction Kitchen

Extraction Plant

Fan Coil Unit

Humidifiers Fixed

Supply Plant

Ventilation Exhaust

Ventilation Plant

Chilled Water Systems	Chiller Units

Control Panels

Header Tanks

Pressurisation Units

Pumps

Compressed Air Systems	Air Compressors

Air Dryers

Air Filtration

Air Receivers

Controls and Sensors	Building Management System

Electrical System 	Battery Charger

Door Automatic

Electric Meters

Electric Motors

Emergency Lighting

General Lighting

Induction Loop

Invertor

IPS System

Lightning Protection

Low Voltage Distribution Board

Low Voltage Switchgear

Motorised Valves

Power Transformer

Residual Current Devices

Speed Controller

Standby Generators

UPS System

Facilities	Compactor Waste

Control Panels

Refrigeration Catering

Warm Air Curtain

Fire Safety	Detector Combined

Detector Heat

Detector Smoke

Dry Riser

Fire Control Panel

Fire Hydrants

Fire Manual Call Point

Fire Pump Systems

Fire Shutter/Curtain

Fire Sounder

Fire Visual Beacon

Lighting Strobe

Smoke Pressurisation Unit

Sprinkler Pressurisation Unit

Wet Riser

Fire Fighting Equipment	Fire Blanket

Fire Extinguisher CO2

Fire Extinguisher Foam

Fire Extinguisher Powder

Fire Extinguisher Water

Fire Extinguisher Wet Chemical

Fuel	Fuel Distribution

Fuel Filtering

Fuel/Oil Interceptor

Fuel Meters

Fuel Polishing Equipment

Gas Meters

Heating Systems	Boilers

Burners

Calorifiers

Control Panels

Dosing Units

Header Tanks

Plate Heat Exchanger

Pressurisation Units

Pumps

Hot and Cold Water Systems 	Pumps

Water Heater Point of Use

Water Heat Sink

Water Softeners

Water Treatment

Calorifiers

Control Panels

Cooling Towers

Cylinders

Header Tanks

Plate Heat Exchangers

HWS Pressure Units

HWS Pumps

Lifting Equipment	Dock Levellers

Lift Control Panel

Lift Oil Coolers

Lifts Passenger

Lifting Hoist

Lifting Mansafe External

Lifting Plant

Parking	Barriers

Electric Vehicle Charging Pods

Security	Access Barrier/Shutters

CCTV

Intruder Alarm

Panic Alarm

Control Panel

Water Systems	Macerators

Water Dosing Tanks

Water Meter

## Asset Hierarchy

The following provides an initial schedule of the information to be recorded from the asset surveys and to comprise the structure of the reporting hierarchy: -

- QR Label Number

- Site

- Block

- Level

- Area/Location

- Room Name or Room Number

- Main Element

- Sub-Element

- Asset/Element Description

- Construction/Manufactured Date together with A for Actual and E for Estimate

- Design Life

- Condition (A, B, C, D and supplementary suffix X)

- Manufacturer

- Model

- Serial Number

- Output/ Duty/ Rating

- SFG20 Code