## Supplier Completion Guide
The following aims to provide prospective suppliers with guidance on the completion of Annex B to Schedule 2; 1) Pricing is to be provided against each item where Calibration and/or Repair has been identified as being required - Standard pricing must be provided for all items within the Lot being quoted for. If this is not adhered to, the Bid will be considered non-compliant. 2) Greyed out cells do not require completion, as Calibration and/or Repair is not required for these items. These items are included for information as they are part of a higher assembly. Some comprising items may be required to carry out the calibration of the higher assembly. 3) CSORs (Calibration Statement of Work) have been provided in support of this Tender for pricing purposes only, as they are currently under review. 4) Where there is no CSOR listed in column M, there is no CSOR provided for that item.
Supplier Completion Guide
The following information aims to provide prospective suppliers with guidance on the completion of the pricing evaluation forms.
Pricing is to be provided against each item where Calibration or Repair has been identified as being required.
CSOR (Calibration Statement of Work) are provided for pricing purposes only as they are currently under review.
Where there is no CSOR listed in column M, there is no CSOR provided for that item
Each Lot will be evaluated on the totality of the prices provided against interested parties UKAS Accreditation their ability to complete the works In-House.
Questions | Guidance for Completion | Comments
Q1 | Provide pricing for a Standard Calibration to CSOR/British Standard or Manufactures specification (depending which is available) in accordance with the SoW. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q2 | Provide pricing for Repair & Standard Calibration CSOR/British Standard or Manufactures specification (depending which is available) in accordance with the SoW. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q3 | Provide response (In-House or Sub-Con) specifying whether your organisation has the capability to carry out the work at Q1 & Q2 In-House or you intend to utilise a Third party supplier.
Q4 | Please specify (Yes or No) whether the Laboratory your organisation intends to carry the works out in, covers this item under their UKAS Schedule of Calibration.
Q5 | If your response to Q3 was yes (i.e. you intend to Sub Contract the item to meet the requirements of Q1 & Q2), please specify company name and location. | Prices are to be inclusive of any handling fees along with collection and delivery costs to and from third party supplier.
Q6 | Provide pricing for UKAS Calibration. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q7 | Provide pricing for Repair & UKAS Calibration. | Price is to be inclusive of collection and delivery fees from the authority’s nominated premises.
Q8 | Provide response (In-House or Sub-Con) specifying whether your organisation has the capability to carry out the work at Q6 & Q7 In-House or you intend to utilise a Third party supplier.
Q9 | Please specify (Yes or No) whether the Laboratory your organisation intends to carry the works out in, covers this item under their UKAS Schedule of Calibration.
Q10 | If your response to Q8 was yes (i.e. you intend to Sub Contract the item to meet the requirements of Q6 & Q7), please specify company name and location. | Prices are to be inclusive of any handling fees along with collection and delivery costs to and from third party supplier.

## Lot 6
SUB SET | LINE No. | DMC | NSN (FULL 13 NO SPACES) | PART No. | DESCRIPTION | GROUP | COMPRISING ITEM | SPECIAL CONDITIONS (EMC, ITAR ,ATEX) | CAL PERIOD MONTHS | OEM | CALIBRATION | REPAIR | CSOR | CSOR / OEM VERSION | CALIBRATION STANDARD REQUIRED | COMMENTS | Q1 Std Calibration Price | Q2 Std Repair & Calibration price | Q3 Service provided In-House or Sub-Con | Q4 Item covered under Schedule of UKAS Accreditation by the LAB carrying out the Work. | Q5 If service is provided at Sub-Con please specify supplier detail | Q6 UKAS Calibration Price | Q7 UKAS Repair and Calibration Price | Q8 Service provided In-House or Sub-Con | Q9 Item covered under Schedule of UKAS Accreditation by the LAB carrying out the Work. | Q10 If service is provided at Sub-Con please specify supplier detail.
M01 | 1 | Z4 | 6680999328516 | AC-7 | ICP ACCELEROMETER, AC-7 | ACCELEROMETRY | N | N | 12 | SKF | YES | NO | - | - | STD
M01 | 2 | W116 | 6625991260691 | EWAD-VIB-01 | ON-SITE CALIBRATION OF VIBRATION TEST SYSTEM | ACCELEROMETRY | N | N | 12 | LDS TEST AND MEASUREMENT LTD | YES | YES | - | - | UKAS
M01 | 3 | W116 | 4920991079584 | 6384 OR NDN6258 | FCS MK30 SENSORS TEST SET | ACCELEROMETRY | MAIN ASSY | N | 12 | SMITHS INDUSTRIES | YES | YES | - | - | STD
M01 | 4 | W116 | 5998991424501 | NDN 6384 32 | ELEC CIRCUIT PANEL | ACCELEROMETRY | 4920991079584 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | -
M01 | 5 | W116 | 4920991191576 | NDN5740-201 | CASE TEST SET | ACCELEROMETRY | 4920991079584 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 6 | W116 | 4920992220074 | NDN5705 | REPEATER GYRO MOUNTING PLATFORM | ACCELEROMETRY | 4920991191576 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 7 | W116 | 4920991170698 | 7690 | MOUNTING JIG | ACCELEROMETRY | 4920992220074 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 8 | W116 | 4920992220073 | NDN5714 | PARALLEL ACCTUATOR TEST RIG | ACCELEROMETRY | 4920991191576 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 9 | W116 | 4920992220075 | NDN 5698 | TOOL ASSEMBLY COVER | ACCELEROMETRY | 4920991191576 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 10 | W116 | 6625997168006 | NDN6384 | TEST SET SENSORS | ACCELEROMETRY | 4920991079584 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 11 | W116 | 5995991079515 | NDN5732 | CASE CABLE ASSEMBLY | ACCELEROMETRY | 4920991079584 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 12 | W116 | 4920991079586 | NDN5726 | CABLE ASSEMBLY | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 13 | W116 | 4920991079594 | NDN5707 | CABLEFORM ASSEMBLY | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 14 | W116 | 4920991079591 | NDN5709 | CABLE ASSEMBLY SPECIAL PURPOSE ELECTRICAL | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 15 | W116 | 4920991079590 | NDN5710 | CABLE ASSEMBLY SPECIAL PURPOSE ELECTRICAL | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 16 | W116 | 4920991079589 | NDN5711 | CABLE ASSEMBLY SPECIAL PURPOSE ELECTRICAL | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 17 | W116 | 4920991079588 | NDN5712 | CABLE ASSEMBLY SPECIAL PURPOSE ELECTRICAL | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 18 | W116 | 4920991079587 | NDN5713 | CABLE ASSEMBLY SPECIAL PURPOSE ELECTRICAL | ACCELEROMETRY | 5995991079515 | N | CNR | SMITHS INDUSTRIES | NO | YES | - | - | -
M01 | 19 | W116 | 4920992223812 | EDL 2704 | TEST SET CRUISE GUIDE | ACCELEROMETRY | N | N | 36 | ELECTRONIC DESIGNS LTD | YES | YES | - | - | STD
M01 | 20 | W116 | 4920994361393 | TT3000 | TABLE TILT MK3 | ACCELEROMETRY | N | N | 12 | FENNS | YES | YES | 0097M | 1 | STD
M01 | 21 | W116 | 4920996379291 | 1606/4TE | AUTOSTAB TEST SET | ACCELEROMETRY | N | N | 12 | SMITHS | YES | YES | - | - | STD
M01 | 22 | W116 | 4920996641376 | NDN9018-03 | TEST SET ATTITUDE HEADING 2ND LINE | ACCELEROMETRY | N | N | 12 | SMITHS | YES | YES | - | - | STD
M01 | 23 | W116 | 7021998398662 | CMXA44-RN | DATA COLLECTOR | ACCELEROMETRY | MAIN ASSY | N | 12 | SKF | YES | YES | - | - | STD | COMPRISING ITEMS ARE AT LINE 25,26 AND 58 TO 67
M01 | 24 | 3V7 | 5995998145263 | CA-35 | CABLE ASSEMBLY SPECIAL PURPOSE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 25 | 3V7 | 5995996680151 | CA-52 | CABLE ASSEMBLY SPECIAL PURPOSE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 26 | W116 | 7021991337888 | CMXA-44-RN | VIBRATION ANALYSIS DATA COLLECTOR KIT. | ACCELEROMETRY | MAIN ASSY | N | 12 | SKF | YES | YES | - | - | STD | COMPRISING ITEMS ARE AT LINE 68 TO 80
M01 | 27 | - | NIVN IV 35/7794 | 8309 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | BRUEL KJAER | YES | NO | - | - | UKAS
M01 | 28 | - | NIV35/7798 | 394C06 | HANDHELD CALIBRATOR | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 29 | - | NIV35/7017 | 4393 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | BRUEL KJAER | YES | NO | - | - | UKAS
M01 | 30 | 4XV | 6680223088791 | 4504 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | BRUEL KJAER | YES | NO | - | - | UKAS
M01 | 31 | - | NIV35/7771 | 352C65 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 32 | - | NIV36/0290 | 1018 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENVIRONMENTAL EQUIPMENTS LTD | YES | NO | - | - | UKAS
M01 | 33 | - | NIVDSG/0425 | J353B34 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 34 | - | NIVDSG/0003 | 626B03 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ICP ELECTRONICS INC | YES | NO | - | - | UKAS
M01 | 35 | - | NIV35/7799 | AC-8 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ICP ELECTRONICS INC | YES | NO | - | - | UKAS
M01 | 36 | - | NIV | 3002 | VELOMETER | ACCELEROMETRY | N | N | 12 | AIRFLOW MEASUREMENTS | YES | NO | 0019E | 1 | UKAS
M01 | 37 | - | ICPDIPCB307B | 307B | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 38 | - | ICPDIPCB307A | 307A | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 39 | - | NIV35/7788 | 353B15 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 40 | - | END2220D | 2220D | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 41 | - | NIVDSG/0037 | 352B10 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 42 | - | NIVDSG/0035 | 352A | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 43 | - | END2273A | 2273A | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 44 | - | NIV35/7770 | 4520 | TRIAXIAL ACCELEROMETER | ACCELEROMETRY | N | N | 12 | BRUEL KJAER | YES | NO | - | - | UKAS
M01 | 45 | - | NIVDSG/0036 | 353B33 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 46 | - | NIVDSG/0004 | 353B03 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 47 | - | NIVDEC/0049 | Velocity | SPEED GUN | ACCELEROMETRY | N | N | 12 | BUSHNELL | YES | NO | - | - | UKAS
M01 | 48 | O951 | 6680009459136 | 7201-50 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 49 | - | NIV35/7019 | 2222C | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 50 | - | NIVDSG/0515 | 213E | PIEZOELECTRIC ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 51 | - | NIV35/6761 | 2270 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 52 | - | NIVDSG/0514 | 233E | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 53 | - | NIV35/7021 | 2221D | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 54 | - | NIVDSG/0516 | 226C | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | ENDEVCO | YES | NO | - | - | UKAS
M01 | 55 | - | NIV35/7814 | 302A07 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB | YES | NO | - | - | UKAS
M01 | 56 | - | NIV35/7815 | A353B17 | ACCELEROMETER | ACCELEROMETRY | N | N | 12 | PCB | YES | NO | - | - | UKAS
M01 | 57 | 3V7 | - | CMXA44 | CMXA INSTRUMENT | ACCELEROMETRY | 7021998398662 | N | 12 | SKF | YES | NO | 0046E | 1 | -
M01 | 58 | 3V7 | - | 090-46000 | USER GUIDE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 59 | 3V7 | - | BP-12 | BATTERY PACK (NOTE:- ALREADY IN THE UNIT) | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 60 | 3V7 | 6150991313067 | CA-26 | RS232 CABLE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 61 | 3V7 | 6150992302719 | CA-38 | SPLITTER CABLE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 62 | 3V7 | 6150992302719 | CA-38 | SPLITTER CABLE | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 63 | 3V7 | 6130997245875 | PSU-8 | UNIVERSAL INPUT PSU | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 64 | 3V7 | 7021993717736 | STR-8 | HAND STRAP | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 65 | 3V7 | 7021998956382 | RB-1 | RUBBER BOOT | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 66 | 3V7 | 7021996132630 | STR-9 | SHOULDER STRAP | ACCELEROMETRY | 7021998398662 | N | CNR | SKF | NO | NO | - | - | -
M01 | 67 | 3V7 | - | CORDSET | UK CORDSET (POWER LEAD) | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 68 | 3V7 | - | CMXA44 | CMXA INSTRUMENT | ACCELEROMETRY | 7021991337888 | N | 12 | SKF | YES | NO | 0046E | 1 | -
M01 | 69 | 3V7 | - | 090-46000 | USER GUIDE | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 70 | 3V7 | - | BP-12 | BATTERY PACK (NOTE:- ALREADY IN THE UNIT) | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 71 | 3V7 | 6150991313067 | CA-26 | RS232 CABLE | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 72 | 3V7 | 5995998145263 | CA-35 x2 | ACCELEROMETER CABLE | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 73 | 3V7 | 6150992302719 | CA-38 | SPLITTER CABLE | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 74 | 3V7 | 5995996680151 | CA-52 x2 | HAND HELD PROBE CABLE | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 75 | 3V7 | 6130997245875 | PSU-8 | UNIVERSAL INPUT PSU | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 76 | 3V7 | 7021993717736 | STR-8 | HAND STRAP | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 77 | 3V7 | 7021998956382 | RB-1 | RUBBER BOOT | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 78 | 3V7 | 7021996132630 | STR-9 | SHOULDER STRAP | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 79 | - | NIV | CORDSET | UK CORDSET (POWER LEAD) | ACCELEROMETRY | 7021991337888 | N | CNR | SKF | NO | NO | - | - | -
M01 | 80 | W116 | 4910994326857 | BRAKESAFE | BRAKESAFE | ACCELEROMETRY | - | N | 12 | TURNKEY | YES | YES | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE. UKAS NOT AVAILABLE
M01 | 81 | - | NIVDEC/0497 | BRAKECHECK | BRAKECHECK SERIES 2 | ACCELEROMETRY | - | N | 12 | BOWMONK | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 82 | - | NIVDEC/7805 | 4384 | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | BRUEL KJAER | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 83 | - | NIV35/7803 | 4369 | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | BRUEL KJAER | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 84 | - | NIVDEC/0054 | 7945901 | RSL SPEED SIMULATOR | ACCELEROMETRY | - | N | 12 | STONERIDGE ELECTRONICS | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 85 | - | NIVDEC/0214 | 394C06 | VIBRATION EXCITER | ACCELEROMETRY | - | N | 12 | PCB | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 86 | 4XV | 6625223076181 | 4294 | VIBRATION EXCITER | ACCELEROMETRY | - | N | 12 | BRUEL KJAER | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 87 | - | NIVDEC/0835 | VZM 100 | DECELEROMETER VZM 100 | ACCELEROMETER | - | N | 12 | MASCHINEBAU HALDENWANG | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 88 | - | NIV35 /7022 | 2221D | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | ENDEVCO | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 89 | - | NIVDSG/0004 | 353B03 | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 90 | - | NIVDSG/0516 | 226C | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | ENDEVCO | YES | NO | - | - | STD | CALIBRATION PERFORMED ACROSS FULL SPECIFIED RANGE
M01 | 91 | 3V7 | 6625995557949 | 7945901 | RSL SPEED SIMULATOR | ACCELEROMETRY | - | N | 12 | STONERIDGE ELECTRONICS | YES | NO | - | - | STD
M01 | 92 | - | NIVDSG/0036 | 353B33 | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M01 | 93 | - | NIV35/7771 | 352C65 | ACCELEROMETER | ACCELEROMETRY | - | N | 12 | PCB PIEZOTRONICS | YES | NO | - | - | UKAS
M03 | 1 | W116 | 4920994660646 | 6130-001 | REFERENCE LEAK HELIUM | CHEMICAL | N | N | 12 | OVEC SYSTEMS LTD | YES | YES | - | - | UKAS | NIST CALIBRATION IN USA
M03 | 2 | W116 | 6665995100804 | 3000IS OR GC3SABXS-X | REFRIGERANT GAS DETECTOR | CHEMICAL | N | N | 12 | ION SCIENCE LTD | YES | YES | - | - | STD
M03 | 3 | W116 | 6665994222056 | SS1000FM | DETECTOR GAS CONFINED SPACE PGD2 | CHEMICAL | N | N | 6 | STATUS SCIENTIFIC CONTROLS LIMITED | YES | YES | 0173M | 1 | STD
M03 | 4 | W116 | 6665999576835 | SS1000 | GAS INDICATOR KIT (FUEL CONFINED SPACE) PDG2 | CHEMICAL | N | N | 6 | STATUS SCIENTIFIC CONTROLS LIMITED | YES | YES | 0173M | 1 | STD
M03 | 5 | W116 | 6665992256057 | SS1000CO | DETECTOR GAS CARBON MONOXIDE | CHEMICAL | N | N | 6 | STATUS SCIENTIFIC CONTROLS LIMITED | YES | YES | 0173M | 1 | STD
M03 | 6 | W116 | 1680995986300 | F3000 | BREATHING AIR PURITY ANALYSER | CHEMICAL | MAIN ASSY | N | 12 | FACTAIR LIMITED | YES | YES | 0057M | 1 | STD
M03 | 7 | 3V7 | 6665994637544 | F2187 | TUBE TIP CUTTER | CHEMICAL | 1680995986300 | N | CNR | FACTAIR LIMITED | NO | NO | - | - | -
M03 | 8 | 3V7 | 6665993980938 | F2154 | DETECTOR TUBE CONTAINER | CHEMICAL | 1680995986300 | N | CNR | FACTAIR LIMITED | NO | NO | - | - | -
M03 | 9 | W116 | 6630999575623 | F2001 | SAFE AIR TESTER | CHEMICAL | N | N | 12 | Factair | YES | YES | - | - | STD
M03 | 10 | W116 | 6665996133897 | F4000ED | SAFE AIR TESTER | CHEMICAL | MAIN ASSY | N | 12 | Factair | YES | YES | - | - | STD
M03 | 11 | 3V7 | 7530997510194 | F1767 | RESULTS PAD - 25 SHEETS | CHEMICAL | 6665996133897 | N | CNR | Factair | NO | NO | - | - | -
M03 | 12 | 3V7 | 6665994637544 | F2187 | TUBE TIP CUTTER | CHEMICAL | 6665996133897 | N | CNR | Factair | NO | NO | - | - | -
M03 | 13 | 3V7 | 6665993980938 | F2154 | DETECTOR TUBE CONTAINER | CHEMICAL | 6665996133897 | N | CNR | Factair | NO | NO | - | - | -
M03 | 14 | W116 | 8120996607797 | MM2007330 | OXYGEN CYLINDER ASSY | CHEMICAL | N | N | 12 | MEL AVIATION | YES | YES | - | - | STD
M03 | 15 | W116 | 6630992249101 | SETA 1374 | FLASH POINT TESTER KIT | CHEMICAL | N | N | 12 | STANHOPE-SETA LTD | YES | YES | - | - | STD
M03 | 16 | W116 | 6665997934763 | AESP6665-E-105-741 | GAS GUARD MONITOR MULTIGAS | CHEMICAL | N | N | 6 | DRAEGER LIMITED | YES | YES | 0086M | 1 | STD
M03 | 17 | W116 | 4940995726512 | B0370177 | LEAK DETECTOR REFRIGERANT GAS | CHEMICAL | N | N | 12 | MSA BRITAIN LIMITED | YES | YES | - | - | STD
M03 | 18 | W116 | 6665996675938 | TETRA3 | FOUR SENSOR, GAS DETECTION KIT | CHEMICAL | MAIN ASSY | N | 6 | CROWCON LIMITED | YES | YES | - | - | STD
M03 | 19 | W116 | 6665998131801 | T3-AGAAAIAH-A-001-Z | GAS MONITOR | CHEMICAL | 6665996675938 | N | 12 | CROWCON LIMITED | YES | YES | - | - | STD
M03 | 20 | 3V7 | 6665998131806 | C011054 | CARRY CASE | CHEMICAL | 6665996675938 | N | CNR | CROWCON LIMITED | NO | NO | - | - | -
M03 | 21 | 3V7 | 6130995518144 | C011020 | BATTERY CHARGER | CHEMICAL | 6665996675938 | N | CNR | CROWCON LIMITED | NO | NO | - | - | -
M03 | 22 | 3V7 | 6150992365966 | C01293 | CABLE | CHEMICAL | 6665996675938 | N | CNR | CROWCON LIMITED | NO | NO | - | - | -
M03 | 23 | W116 | 6630997322569 | F2235 | DIVE-CHECK KIT | CHEMICAL | N | N | 12 | Factair | YES | YES | - | - | STD
M03 | 24 | W116 | 6630145143536 | RDIPHM201 | PORTABLE PH METER | CHEMICAL | N | N | CNR | RADIOMETER | NO | YES | - | - | -
M03 | 25 | 6C | 4920997926171 | E692094A | TEST SET GNOME FCS FIELD | CHEMICAL | N | N | 12 | AT ENGINE CONTROLS LTD | YES | NO | - | - | STD
M03 | 26 | E304 | 6630011657133 | GTPSC-B/2HB-C | ADDITIVE TESTING KIT | CHEMICAL | N | N | 12 | GAMMON TECHNICAL PRODUCTS INCORPORATED | YES | NO | - | - | STD
M03 | 27 | E304 | 6630992155830 | K1-100 | OIL TEST CENTRE | CHEMICAL | N | N | 12 | KITTIWAKE DEVELOPMENTS LIMITED | YES | NO | - | - | STD
M03 | 28 | 19B1 | 6630992245332 | DC2257 | ADAPTOR SAMPLER MILLIPORE | CHEMICAL | N | N | 12 | FLUID TRANSFER INTERNATIONAL LTD | YES | NO | - | - | STD
M03 | 29 | H6 | 6630995736967 | RFA620N | ANTIFREEZE BATTERY TESTER | CHEMICAL | N | N | 12 | FISHER SCIENTIFIC U.K. LIMITED | YES | NO | - | - | STD
M03 | 30 | LRT | 6665123538016 | 6526951 | AEROTEST SIMULTAN HP | CHEMICAL | N | N | 12 | B/E AEROSPACE SYSTEMS GMBH | YES | NO | - | - | STD
M03 | 31 | - | 6665995515635 | Apex Pro I.S. (182160B) | PERSONAL AIR SAMPLING PUMP (NIV35/6853) | CHEMICAL | N | N | 12 | CASELLA CEL LTD | YES | NO | - | - | STD
M03 | 32 | - | NIVDSG/0397 | Water proof 800 | PH/CONDUCTIVITY/TDS METER | CHEMICAL | N | N | 12 | Palintest | YES | NO | - | - | STD
M03 | 33 | - | NIVN IV 35/6726 | AQ5000Pro | AIR QUALITY METER | CHEMICAL | N | N | 12 | COLE-PARMER | YES | NO | - | - | STD
M03 | 34 | - | NIVN IV 35/6734 | AMS-950 | AEROSOL MONITOR | CHEMICAL | N | N | 12 | CASELLA CEL LTD | YES | NO | - | - | STD
M03 | 35 | TSCS | 4940013870948 | 16600 | REFRIDGERANT LEAK DETECTOR | CHEMICAL | N | N | 12 | BOSCH AUTOMOTIVE SERVICE SOLUTIONS | YES | NO | - | - | STD
M03 | 36 | 4XP | 6635990214709 | UCC SYSTEM 20 | SYSTEM 20 OIL MONITOR | CHEMICAL | N | N | 12 | PARKER HANNIFIN UK LTD | YES | NO | - | - | STD
M03 | 37 | O987 | 6665995174706 | QC200 | GAS DETECTOR | CHEMICAL | N | N | 12 | ION TRACK INSTRUMENTS | YES | NO | - | - | STD
M03 | 38 | - | NIV35/6767 | SI-400B | ALCOLMETER | CHEMICAL | N | N | 12 | LION LABORATORIES LTD | YES | NO | - | - | STD
M03 | 39 | K102 | 6665991315123 | 2302B1311 | IMPACT PORTABLE GAS MONITOR KIT | CHEMICAL | N | N | 12 | Honeywell | YES | NO | - | - | STD
M03 | 40 | K102 | 4940013982978 | TIF 5050 | LEAK DETECTOR REFRIGERANT GAS | CHEMICAL | N | N | 12 | FCO MANUFACTURING | YES | NO | - | - | STD
M03 | 41 | 63C | 6630011152398 | 1152 | DIGITAL CONDUCTIVITY METER | CHEMICAL | N | N | 12 | EMCEE Electronics | YES | NO | - | - | STD
M03 | 42 | DAS10 | 7320993004908 | HI-765-00 | CALIBRATION TEST PLUG | CHEMICAL | N | N | 12 | Hanna Instruments | YES | NO | - | - | STD
M03 | 43 | - | NIV35/0577 | Salts Detector | SALTS DETECTOR | CHEMICAL | N | N | 12 | Protimeter | YES | NO | - | - | STD
M03 | 44 | - | NIVDSG/0224 | PGD3-1R | PORTABLE GAS DETECTOR | CHEMICAL | N | N | 12 | Status Scientific Controls | YES | NO | - | - | STD
M03 | 45 | 4STTE | 4940997537130 | Haloteck | REFRIGERANT LEAK DETECTOR | CHEMICAL | N | N | 12 | AI Cambridge Ltd | YES | NO | - | - | STD
M03 | 46 | - | NIVDSG/0435 | 2771A-1 | CHARGE CONVERTOR | CHEMICAL | N | N | 12 | Endevco | YES | NO | - | - | STD
M03 | 47 | - | NIV35/4442 | Purge | MONITOR | CHEMICAL | N | N | 12 | Huntington Fusion Techniques | YES | NO | - | - | STD
M03 | 48 | - | NIV35/3950 | Neutral Density Filters | OPTICAL FILTERS FOR OMNITEC SMOKEMETER | CHEMICAL | N | N | 12 | OMNITEC | YES | NO | - | - | STD
M03 | 49 | - | NIVDSG/0673 | Neutral Density Filters | OPTICAL FILTERS FOR OMNITEC SMOKEMETER | CHEMICAL | N | N | 12 | OMNITEC | YES | NO | - | - | STD
M03 | 50 | W116 | 4920996345495 | QC360 & QC360/1 | TEST SET | CHEMICAL | N | N | 12 | SMITHS / GE AVIATION | YES | YES | - | - | STD
M03 | 51 | W116 | 6630993464583 | 30000-0 | TESTER, FLASH POINT | CHEMICAL | N | N | 24 | STANHOPE SETA | YES | YES | - | - | STD
M03 | 52 | - | NIVDEC/0157 | RLDP382 | REFRIDGERANT LEAK DETECTOR | CHEMICAL | N | N | 12 | VARIOUS | YES | NO | - | - | STD
M03 | 53 | - | NIVDSG/0710 | SL-400A | ALCOMETER | CHEMICAL | N | N | 12 | LION | YES | NO | - | - | STD
M03 | 54 | W116 | 6665991846730 | Detector Kit, Gas MultiRAE | DETECTOR KIT, GAS MULTI-RAE | CHEMICAL | N | N | 12 | RAE SYSTEMS LTD | YES | YES | - | - | STD
M03 | 55 | W116 | 6630992714690 | G810 | PORTABLE OXYGEN ANALYSER | CHEMICAL | N | N | 12 | HI TECH | YES | YES | - | - | STD
M03 | 56 | MD110 | 6630993710908 | Waterproof 800 - Pt No 146 | PH CONDUCTIVITY METER | CHEMICAL | N | N | 12 | PALINTEST | YES | NO | - | - | STD
M03 | 57 | 7FXH | 4130992295076 | 2295076 | MANIFOLD | CHEMICAL | N | N | 12 | VARIOUS | YES | NO | - | - | STD
M03 | 58 | - | NIVDEC/0357 | HI 9025 | MICROCOMPUTER PH METER | CHEMICAL | N | N | 12 | HANNA | YES | NO | - | - | STD
M03 | 59 | - | NIVDEC/0358 | HI 9033 | CONDUCTIVITY METER | CHEMICAL | N | N | 12 | HANNA | YES | NO | - | - | STD
M03 | 60 | 6630 | 6630995804579 | OTS60PB | OIL DIELECTRIC | CHEMICAL | N | N | 12 | MEGGER | YES | NO | - | - | STD
M03 | 61 | 71GD | 8120997318997 | MC1978250-01 | CYLINDER CHARGING TROLLEY | CHEMICAL | N | N | 12 | MEL AVIATION LTD | YES | NO | - | - | STD
M03 | 62 | 3V7 | 6665123171753 | GASALERT MICRO 5 | BW TECHNOL GAS ALERT MICRO 5 PID | CHEMICAL | N | N | 12 | HONEYWELL | YES | NO | - | - | STD
M03 | 63 | - | NIVDEC/0806 | AMMONIA DUO | COMPACT AMMONIA DUO METER | CHEMICAL | N | N | 12 | PALINTEST | YES | NO | - | - | STD
M03 | 64 | 9MBT5 | 4320999612108 | OLA 70 | REFRIDGERANT HANDLING | CHEMICAL | N | N | 12 | POLAR PUMP | YES | NO | - | - | STD
M03 | 65 | WTE3 | 6650993155519 | REF-102 | REFRACTOMETER | CHEMICAL | N | N | 12 | VARIOUS | YES | NO | - | - | STD
M03 | 66 | W116 | 6665996675938 | TETRA 3 | CROWCON TETRA 3 GAS MONITOR | CHEMICAL | N | N | 12 | CROWCON | YES | YES | - | - | STD
M03 | 67 | MD110 | 6630996695339 | MICRO600 | PH / CONDUCTIVITY METER |  | N | N | 12 | PALINTEST | YES | NO | - | - | STD
M05 | 1 | W116 | 4920013211839 | 3300223-6001 | FIELD OXYGEN REGULATOR TEST SET | FLOW | N | N | 12 | LITTON SYSTEMS | YES | YES | 0014M | 1 | STD
M05 | 2 | W116 | 6680994360474 | C1068 | FLOW TESTER MK 5A - OXY | FLOW | N | N | 12 | MOBREY | YES | YES | 0100M | 1 | STD
M05 | 3 | W116 | 6680998808445 | ZDM-2215V2V0 | HYD FLOWMETER IMPELLER TYPE 0.1-10 LTR/HR ZDM | FLOW | N | N | 12 | KOBOLD INSTRUMENTS LTD | YES | YES | - | - | STD
M05 | 4 | W116 | 6660998400154 | IMF 159 - 60 KNOTS | ANEMOMETER | FLOW | N | N | 12 | MUNRO METEOROLOGICAL | YES | YES | 0078M | 1 | STD
M05 | 5 | W116 | 6695991226620 | TA2/30 | HOT WIRE ANEMOMETER | FLOW | N | N | 12 | AIRFLOW DEVELOPMENTS LIMITED | YES | YES | 0079M | 1 | STD
M05 | 6 | W116 | 6660995207125 | IM 159 - 60 MPH | ANEMOMETER | FLOW | N | N | 12 | MUNRO METEOROLOGICAL | YES | YES | 0078M | 1 | STD
M05 | 7 | W116 | 6680007381959 | A905G2 | TEST SET FLOW RATE | FLOW | N | N | 12 | GEC MARCONI | YES | YES | - | - | STD
M05 | 8 | W116 | 6680015033404 | 822-13-OV1-PV1-V1 | MASS FLOW METER | FLOW | N | N | 12 | SIERRA | YES | YES | 0014M | 1 | STD
M05 | 9 | MD530 | 6515992105169 | Mark 14 | RESPIROMETER | FLOW | N | N | 12 | NSPIRE HEALTH LIMITED | YES | NO | - | - | STD
M05 | 10 | 95A1G | 6680991911415 | ZDM-6140-V2-V0/4GPO12V | POSITIVE DISPLACEMENT FLOWMETER | FLOW | N | N | 12 | KOBOLD INSTRUMENTS LTD | YES | NO | - | - | STD
M05 | 11 | 95A1G | 6680994853446 | ZDM-4120V2V0 | POSITIVE-DISPLACEMENT FLOWMETER | FLOW | N | N | 12 | KOBOLD INSTRUMENTS LTD | YES | NO | - | - | STD
M05 | 12 | - | NIVN IV 35/7250 | Defender 510 | AIR FLOW CALIBRATOR | FLOW | N | N | 12 | MESA LABS | YES | NO | - | - | STD
M05 | 13 | 8STTE | 4730991730300 | 892/00268 | FLOW MONITORING UNIT | FLOW | N | N | 12 | JC BAMFORD EXCAVATORS LTD | YES | NO | - | - | STD
M05 | 14 | - | NIV | 212-578 | ANEMOMETER AM-4201 | FLOW | N | N | 12 | RS | YES | NO | 0019E | 1 | STD
M05 | 15 | - | NIV35/6854 | TOXIPRO CO | GAS MONITOR | FLOW | N | N | 12 | SPERIAN | YES | NO | - | - | STD
M05 | 16 | - | NIV35/6855 | TOXIPRO H2S | GAS MONITOR | FLOW | N | N | 12 | SPERIAN | YES | NO | - | - | STD
M05 | 17 | 1730 | 1730992556094 | MC1324 | FLYING CLOTHING TEST CABINET | FLOW | N | N | 12 | MEL AVIATION | YES | NO | - | - | UKAS
M05 | 18 | W116 | 6680996577862 | HA6A145-10GA | HAND ANEMOMETER | FLOW | N | N | 12 | R.W.MUNRO LTD | YES | YES | - | - | STD
M05 | 19 | 9AS9 | 6660992249425 | 7372606 | ANEMOMETER | FLOW | N | N | 12 | ROTOTHERM | YES | NO | - | - | STD
M05 | 20 | W116 | 6680993974405 | ULLC2001 | LIQUID LEVEL INDICATOR | FLOW | N | N | 12 | COLTRACO LIMITED | YES | YES | - | - | STD
M05 | 21 | - | 6660121215824 | 14383 | HANDHELD ANEMOMETER | FLOW | N | N | 12 | LAMBRECHT | YES | NO | - | - | STD
M05 | 22 | 3AS | 6660993632102 | LCA 6000VT | ANEMOMETER | FLOW | N | N | 12 | AIRFLOW DEVELOPMENTS LTD | YES | NO | - | - | STD
M05 | 23 | - | NIVDSG/0568 | LCA30 VT | ANEMOMETER | FLOW | N | N | 12 | AIRFLOW INSTRUMENTATION | YES | NO | - | - | STD
M05 | 24 | - | AIFAV-2 | AV-2 | AIR VELOCITY & VOLUME FLOW METER | FLOW | N | N | 12 | AIRFLOW DEVELOPMENTS LTD | YES | NO | - | - | STD
M05 | 25 | 4920 | 4920993834869 | MC1918 | 1144B AIRCREW SERVICES PACKAGE LEAK TEST RIG | FLOW | N | N | 12 | MEL AVIATION | YES | NO | - | - | UKAS
M05 | 26 | 4920 | 4920994142058 | MC1293 | 1144 AIRCREW SERVICES PACKAGE LEAK TEST RIG | FLOW | N | N | 12 | MEL AVIATION | YES | NO | - | - | UKAS
M05 | 27 | - | 0079947 | SYSTEM 20 | FLOW MONITORING UNIT | FLOW | N | N | 12 | UCC | YES | NO | - | - | STD
M05 | 28 | - | NIV35/6732 | KAN8004 | ANEMOMETER | FLOW | N | N | 12 |  | YES | NO | - | - | STD
M05 | 29 | 4G | 1660992248343 | G15/21 | AIR/NIT REGULATOR | FLOW | MAIN ASSY | N | 12 | HALE | YES | NO | - | - | STD
M05 | 30 | 4G | 6685997492719 | GM-B-89203 | GAUGE 600 BAR | FLOW | 1660992248343 | N | 12 | HALE | YES | NO | 0014M | 1 | STD
M05 | 31 | 4G | 6685997492720 | GM-B-89204 | GAUGE 400 BAR | FLOW | 1660992248343 | N | 12 | HALE | YES | NO | 0014M | 1 | STD
M05 | 32 | - | NIVDEC/0211 | KATFLOW200 | ULTRASONIC FLOWMETER | FLOW | N | N | 12 | KATRONIC | YES | NO | - | - | STD
M05 | 33 | W116 | 6660990212499 | 23510 | HAND-HELD ANEMOMETER | FLOW | N | N | 12 | MUNRO LTD | YES | YES | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 34 | - | NIVDEC/0517 | 506-9650 | ANEMOMETER AVM-01 | FLOW | N | N | 12 | RS COMPONENTS | YES | NO | - | - | STD
M05 | 35 | W116 | 6695999367850 | TA440 | VELOCITY METER | FLOW | N | N | 12 | TSI | YES | YES | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 36 | W116 | 1660991106743 | 125 | OXYGEN FLOW METER | FLOW | N | N | 12 | FISHER CONTROLS | YES | YES | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 37 | - | NIVDEG/0756 | 280 | RHEOMETER | FLOW | N | N | 12 | FANN | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 38 | - | NIVDEC/0810 | H360A-105 | OIL FLOWMETERS 38LPM & 3000p.s.i GAUGE | FLOW | N | N | 12 | HEDLAND | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 39 | - | NIVDEC/0820 | HP 802S-075 | OIL FLOWMETERS 40-280LPM | FLOW | N | N | 12 | HEDLAND | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 40 | - | NIVDEC/0821 | QN 1.5M3/L | SISMA WATER FLOW TOTALISER | FLOW | N | N | 12 | SISMA ITALY | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 41 | - | NIVDEC/0871 | 4278 | 100 GPM HYDRAULIC FLOW METER | FLOW | N | N | 12 | OTC | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 42 | - | NIVDEC/0933 | 2000 | FLOWMETER | FLOW | N | N | 12 | KDG INSTRUMENTS | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M05 | 43 | - | NIVDEC/0468 | LT150-FM-8-8-6 | HYDRAULIC FLOW METER | FLOW | N | N | 13 | WEBTEC | YES | NO | - | - | STD | NO UKAS CALIBRATION FOR THIS CLASS OF INSTRUMENT
M07 | 1 | NCBR90 | 6635998637648 | USK7B | ULTRASONIC FLAW DETECTOR | ULTRASONICS | N | N | 12 | AGFA NDT LTD | YES | NO | - | - | UKAS
M07 | 2 | NCBR90 | 6635992536705 | KRBUSK-8B | ULTRASONIC FLAW DETECTOR | ULTRASONICS | N | N | 12 | KRAUTKRAMER | YES | NO | - | - | UKAS
M07 | 3 | O657 | 6665997667754 | 8902C/8900-25A | ULTRASONIC LEAK DETECTOR/TRANSMITTER | ULTRASONICS | N | N | 12 | DAWE | YES | NO | - | - | UKAS
M07 | 4 | - | NIVDEC/0772 | SMART SENSOR 850/850+ | ULTRASONIC THICKNESS GAUGE KIT | ULTRASONICS | N | N | 12 | NDT | YES | NO | - | - | UKAS
M07 | 5 | W116 | 6680993974405 | ULLC2001 | ULTRASONIC LIQUID LEVEL DETECTOR | ULTRASONICS | N | N | 12 | CHUBB ELECTRONIC SECURITY LTD | YES | YES | - | - | UKAS | calibration will be based on distance of sensor to liquid level for activation