## Setup (hidden)
DOCUMENT SETUP PAGE
Workbook Setup
|  | Document Title: |  | Pricing Document
|  | Project Title: |  | Horniman Museum Butterfly House
|  | Date Issue: |  | 2016-11-16
|  | Report nr: |  | 1
|  | RIDGE Office: |  | RD
Report Section:
Contractors Name:
Document Revision: |  |  | 1 | 2016-11-16
Do Not Print This Page Out
Notes : (Please Read Before using the Speadsheets)
• | All items in { } are to be inputted as part of the setup of the workbook
• | All items in 'Green' text are titles and should not be altered
• | The data inputted above is linked and transferred to the headers on the each workbook sheet
• | Within the Workbook the following conventions apply;
| • | Any items in 'Blue' text are the results of formulas or linked items - Do Not amend
| • | Any areas in 'Orange' are for the input of data which is used elsewhere for automatic calculations
| • | Any areas in 'Yellow' are for Side calculations and should be hidden before printing
• | Always Print out in Black & White. Only Covers should be printed in colour
• | The Spreadsheet are generally set up of the central printer, please check page lengths & widths before
printing.
• | Always set at 100% print. Adjust the last column to fit on a page.
• | Never adjust the Header rows 1 to 5.
• | RIDGE Office Addresses (Look-up table)
| BM | 2 Cranbrook Way | Solihull Business Park | Solihull | B90 4GT | Tel: 0121 713 8000
| BR | Eden Office Park | 65 Macrae Road | Ham Green | Bristol | BS20 0DD | Tel: 01275 813500
| CA | Sophia House | 28 Cathedral Road | Cardiff | CF11 9LJ | Tel: 029 2002 0015
| LE | Jupiter Court | 1A Dominus Way | Meridian Business Park | Leicester | LE19 1RP | Tel: 0116 245 6600
| LI | 8th Floor | Horton House | Exchange Flags | Liverpool | L2 3YL | Tel: 0151 243 3500
| LO | Harling House | 47-51 Great Suffolk Street | London | SE1 0BS | Tel: 020 7593 3400
| OX | The Cowyards | Blenheim Park | Oxford Road | Woodstock | OX20 1QR | Tel: 01993 815000
| MA | 1B Abito | 85 Greengate | Manchester | M3 7NA | Tel: 0161 833 9579
| RD | Beaumont House | 59 High Street | Theale | Reading | RG7 5AL | Tel: 0118 932 3088
| WI | Partnership House | Moorside Road | Winchester | SO23 7RX | Tel: 01962 834400
Note on E5: Information: Document Title Should Not be amended
Note on E11: Information: Dark Orange denotes "Selection from a drop down list"
Note on F11: Ref Key: BM = Birmingham BR = Bristol CA = Cardiff LE = Leicester LI = Liverpool LO = London MA = Manchester OX = Oxford RE = Reading WI = Winchester

## Cover-Print (hidden)
{Insert Client Logo}
Pricing Document
Horniman Museum Butterfly House
2016-11-16
1
Prepared for | Prepared by
A Sample Client | Ridge and Partners LLP
A building | Beaumont House
A Road | 59 High Street
A Town | Theale
A County | Reading
Postcode | RG7 5AL
Tel: 01993 000000 | Tel: 0118 932 3088
Note on C9: Note: Enter Ridge office ref on the setup page. The Address will change

## Cover-PDF
Horniman Museum and Gardens
Pricing Document
Horniman Museum Butterfly House
2016-11-16
| Prepared for | Prepared by
| Horniman Museum Trust | Ridge and Partners LLP
| 100, London Road, | Beaumont House
| Forest Hill | 59 High Street
| London | Theale
| SE23 3PQ | Reading
RG7 5AL
Tel: 0118 932 3088
Note on C9: Note: Enter Ridge office ref on the setup page. The Address will change

## Content
Pricing Document |  |  |  | RIDGE
Client Name : |  | Horniman Museum Trust |  | Contents
Project Title : |  | Horniman Museum Butterfly House
Project Nr : |  | 5001240
VERSION CONTROL
VERSION | DATE | DESCRIPTION | CREATED BY | REVIEWED BY
1 | 2016-11-16 | Pricing Document | PS
2 | 17.11.2016 | Reviewed and updated with client | RW
3 | 21.11.2016 | Further review | RW/KW
CONTENTS
Sections
| 1 | Preliminaries / General Conditions
| 2 | Scope of Works
| 3 | Main Summary
| 4 | Form of Tender
| 5 | Certificate of Bona Fide Tender
Appendices
| A | Schedule of Drawings
| B | Pre Construction Health and Safety Plan

## Flysheet (1)
Section Nr 1
Preliminaries / General Conditions
RIDGE

## 1. Prelims
Pricing Document | [5 empty] | RIDGE
Client Name : |  | Horniman Museum Trust |  |  |  | Section 1
Project Title : |  | Horniman Museum Butterfly House |  |  |  | Preliminaries
Project Nr : |  | 5001240
1. PRELIMINARIES / GENERAL CONDITIONS
1.2 | Pricing Schedules | [5 empty] | Fixed Related |  |  | Time Related | Elem. Code | Total
Ref. | Description |  |  |  | F £ | TR £ | Start | Stage | End
1 | Main Contractor's Cost Items
0
| Costs relating to preliminaries items that are not specifically | [10 empty] | 0
| identified in the contractor’s full and detailed breakdown shall be | [10 empty] | 0
| deemed to have no cost implications or have been included | [10 empty] | 0
| elsewhere within the contractor’s rates and prices. | [10 empty] | 0
0
1.1 | Employer's requirements | [10 empty] | 0
0
1.1.1 | Site accommodation | [10 empty] | 0
| 1 | Site accommodation |  |  | n/a | n/a | [5 empty] | 0
| 2 | Temporary works in connection with site establishment |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 3 | Furniture and equipment |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 4 | IT systems |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 5 | Consumables & services |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 6 | Brought-in services |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 7 | Sundries |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
0
1.1.2 | Site records | [10 empty] | 0
| 1 | Operation and maintenance manuals. |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
| 2 | Compilation of health and safety file. |  |  | 0 | 0 |  |  |  |  | 9.1 | 0
0
1.2 | Main Contractor's Cost Items | [10 empty] | 0
0
1.2.1 | Management & Staff | [10 empty] | 0
0
1.2.1.1 | Project Specific Management & Staff: | [10 empty] | 0
| 1 | Project manager/director |  |  | 0 | 0 | [5 empty] | 0
| 2 | Construction manager/Supervisors |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Health & Safety manager/officer |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 4 | Commissioning manager (building engineering services) |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 5 | Planning / programming manager and staff. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 6 | Senior / managing quantity surveyor. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 7 | Project/package quantity surveyors. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 8 | Administrative staff |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 9 | Other management and staff. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.1 | Management & Staff | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.1.2 | Visiting Management & Staff | [9 empty] | 9.2 | 0
| 1 | Managing/regional directors & the like |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Quality manager |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Contracts / commercial manager |  |  | 0 | 0 | [5 empty] | 0
| 4 | Health & Safety Manager / Officer |  |  | 0 | 0 | [5 empty] | 0
| 5 | Other visiting management & staff |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.1.3 | Extraordinary Support Costs | [9 empty] | 9.2 | 0
| 1 | Other extraordinary support costs |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Day transport |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Personnel transport |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 4 | Temporary living accommodation |  |  | 0 | 0 | [5 empty] | 0
| 5 | Subsistence payments |  |  | 0 | 0 | [5 empty] | 0
| 6 | Out of Hours working |  |  | 0 | 0 | [5 empty] | 0
0
1.2.2 | Site establishment | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.2.1 | Site facilities | [9 empty] | 9.2 | 0
| 1 | Site accommodation |  |  | n/a | n/a |  |  |  |  | 9.2 | 0
| 2 | Temporary works in connection with site establishment |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Furniture and equipment |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 4 | IT systems |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 5 | Consumables & services |  |  | 0 | 0 | [5 empty] | 0
| 6 | Brought-in services |  |  | 0 | 0 | [5 empty] | 0
| 7 | Sundries |  |  | 0 | 0 | [5 empty] | 0
0
1.2.3 | Temporary services | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.3.1 | Site facilities | [9 empty] | 9.2 | 0
| 1 | Temporary water supply |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Temporary gas supply |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Temporary electricity supply |  |  | 0 | 0 | [5 empty] | 0
| 4 | Temporary telecommunication systems |  |  | 0 | 0 | [5 empty] | 0
| 5 | Temporary drainage |  |  | 0 | 0 | [5 empty] | 0
0
1.2.4 | Security | [10 empty] | 0
0
1.2.4.1 | Site facilities | [10 empty] | 0
| 1 | Security staff |  |  | 0 | 0 | [5 empty] | 0
| 2 | Security equipment |  |  | 0 | 0 | [5 empty] | 0
| 3 | Hoardings, fences and gates |  |  | 0 | 0 | [5 empty] | 0
0
1.2.5 | Safety and environmental protection | [10 empty] | 0
0
1.2.5.1 | Site facilities | [10 empty] | 0
| 1 | Safety programme |  |  | 0 | 0 | [5 empty] | 0
| 2 | Barriers & safety scaffolding |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Environmental protection measures |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.6 | Control and protection | [10 empty] | 0
0
1.2.6.1 | Site facilities | [10 empty] | 0
| 1 | Survey, inspections & monitoring |  |  | 0 | 0 | [5 empty] | 0
| 2 | Setting out |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Protection of works |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 4 | Samples |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 5 | Environmental control of building |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.7 | Mechanical plant | [10 empty] | 0
0
1.2.7.1 | Site facilities | [10 empty] | 0
| 1 | Generally |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Tower cranes |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Mobile cranes |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 4 | Hoists |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 5 | Access plant |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 6 | Concrete plant |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 7 | Other plant |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.8 | Temporary works | [10 empty] | 0
0
1.2.8.1 | Site facilities | [10 empty] | 0
| 1 | Access scaffolding | [9 empty] | 0
|  | · | External |  | 0 | 0 | [5 empty] | 0
|  | · | Internal |  | 0 | 0 | [5 empty] | 0
| 2 | Temporary works |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.9 | Site records | [10 empty] | 0
0
1.2.9.1 | Site records | [10 empty] | 0
| 1 | Photography |  |  | 0 | 0 | [5 empty] | 0
| 2 | Works records |  |  | 0 | 0 | [5 empty] | 0
0
1.2.10 | Completion and post-completion requirements | [10 empty] | 0
0
1.2.10.1 | Requirements | [10 empty] | 0
| 1 | Testing and commissioning plan |  |  | 0 | 0 | [5 empty] | 0
| 2 | Handover |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Post-completion services |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
0
1.2.11 | Cleaning | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.11.1 | Requirements | [10 empty] | 0
| 1 | Site tidy |  |  | 0 | 0 | [5 empty] | 0
| 2 | Maintenance of roads, paths and pavings |  |  | 0 | 0 | [5 empty] | 0
| 3 | Building clean |  |  | 0 | 0 | [5 empty] | 0
[11 empty] | 9.2 | 0
1.2.12 | Fees and charges | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.12.1 | Fees & Charges | [10 empty] | 0
| 1 | Rates on temporary accommodation. |  |  | 0 | 0 | [5 empty] | 0
| 2 | Licences in connection with hoardings, scaffolding, | [9 empty] | 0
|  | gantries & the like. |  |  | 0 | 0 | [5 empty] | 0
[11 empty] | 9.2 | 0
1.2.13 | Site services | [9 empty] | 9.2 | 0
0
1.2.13.1 | Temporary works | [10 empty] | 0
| 1 | Temporary works that are not specific to an element. |  |  | 0 | 0 | [5 empty] | 0
0
1.2.13.2 | Multi-service gang | [10 empty] | 0
| 1 | Ganger |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Labour |  |  | 0 | 0 | [5 empty] | 0
| 3 | Fork lift driver. |  |  | 0 | 0 | [5 empty] | 0
| 4 | Service gang plant and transport. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.14 | Insurance, bonds, guarantees and warranties | [9 empty] | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.14.1 | Works insurance | [10 empty] | 0
| 1 | Contractor’s ‘all risks’ (CAR) insurance. |  |  | 0 | 0 | [5 empty] | 0
| 2 | Contractor’s plant and equipment insurance. |  |  | 0 | 0 | [5 empty] | 0
| 3 | Temporary buildings insurance. |  |  | 0 | 0 | [5 empty] | 0
| 4 | Terrorism insurance. |  |  | 0 | 0 | [5 empty] | 0
| 5 | Professional indemnity insurance (£1m) |  |  | 0 | 0 | [5 empty] | 0
0
1.2.14.2 | Public liability insurance | [10 empty] | 0
| 1 | Non-negligence insurance. |  |  | 0 | 0 | [5 empty] | 0
| 2 | Professional indemnity insurance. |  |  | 0 | 0 | [5 empty] | 0
0
1.2.14.3 | Employer’s (main contractor’s) liability insurance | [10 empty] | 0
| 1 | Management and staff, including administrative staff. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Works operatives. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
1.2.14.4 | Other insurances | [10 empty] | 0
| 1 | Employer’s loss of liquidated damages. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 2 | Latent defects cover. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 3 | Motor vehicles. |  |  | 0 | 0 | [5 empty] | 0
| 4 | Other insurances. |  |  | 0 | 0 | [5 empty] | 0
| 5 | Insurance premium tax (IPT). |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
| 6 | Allowance for recovery of all or part of premium excess. |  |  | 0 | 0 |  |  |  |  | 9.2 | 0
[11 empty] | 9.2 | 0
|  |  |  | £ | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[5 empty] | £ | 0 |  |  | 0
[5 empty] | Total to main summary £ | 0 |  | Check totals?: | P | P |  | P
Instruction:
Insert figures in the ORANGE sections of the sheet

## Flysheet (2)
Section Nr 2
Scope of Works
RIDGE

## 2. Schedule of Works
Pricing Document |  |  |  | RIDGE
Client Name : |  | Horniman Museum Trust |  | Section 4
Project Title : |  | Horniman Museum Butterfly House |  | Schedule of Works
Project Nr : |  | 5001240
2. MEASURED WORKS
2.1 | Itemised Work
Ref. | Description |  |  | £
General Notes
• | The following schedule is indicative only and does not constitute a full scope of
works for the project
• | The schedule has been prepared in order for a detailed cost breakdown to be
provided, to aid the assessment of the tender and to assist in the preparation
of interim payments
• | The Contractor is to take responsibility for the schedule and is to ensure its
completeness with regards to the proposed scope of works as defined within
the Tender Documents.
• | The Contractor is to add and omit items to / from the schedule in order to
provide a definitive costing for the proposed works.
• | All items contained within the schedule must be individually priced where ever
possible and items should not be grouped together quoting lump sum prices.
1 | Demolitions, Repairs and Alterations
Generally
Strip out and dispose of off site
1.1 |  | Removal of asbestos and soft strip of existing building | Item
|  | Demolition of existing building, relocation / disposal of existing shed / structures | Item
|  | General site clearance | Item
2.1 | Existing services
|  | Scan site and identify and locate all existing services | Item
|  | Make safe all existing services affected by the works | Item
|  | Include a Provisional Sum of £5,000 for the upgrade of existing services to accommodate new biulding |  | 5000
3.1 | Earthworks
|  | Clear and level existing ground to required level | Item
|  | Remove and retain existing top soil, deliver to a point set aside by the employer | Item
|  | Design and construct a suitable foundation to carry the works | Item
|  | Design of a suitable drainage system with potential water recycling scheme. | Item
4.1 | Construction
|  | Design and construct suitable floor to carry 500mm of topsoils, incorporate suitable draining points, and suitable shop floor, finishing at ground level. Allow for three tree pits measuring approx 1.5m x 1.5m. At one end, provide a suitable floor for the shop - footprint 12 m x 4 m. | Item
|  | Construct concrete base 9ft x 6ft to carry puparium shed (supplied by others) | Item
|  | Design and construct to BS5502, Design Classification 1 freestanding glass house with a 12.000 x 20.000m footprint, maximum height 4.300m with white powder coated frame finish and 4mm toughened galss. (All steel to be galvanised). | Item
|  | Extra for Polycarbonate/solid partition 12.000m wide and max 4.300m high | Item
Option for full glass partition
|  | Extra for solid panels in Lieu of glass exterior walls form "shop" | Item
|  | Extra for 2 No. Entrance doors: Double manual sliding doors with holdback function and security lock. | Item
|  | Extra for 2 No. Internal doors in partition doorways to have "slide back" functionality | Item
|  | Extra for hanging plastic curtaining to internal doors | Item
|  | Extra for IN50 netting to encapsulate whole butterfly area | Item
|  | Design and construct rainwater harvesting system including gutters and waterbutts | Item
|  | Include for 80m linear metres 1.2m wide Hoggin path or suitable alternative | Item
5.1 | Services
|  | Design and install a suitable heating system to achieve a constant 30 degree celsius temperature as per the suggested system in the tender instructions | Item
|  | Installation of 5 No internal water taps and 1 external for watering. | Item
|  | Contractor to price for an optional misting system to assist with the requirement for high humdity levels. | Item
|  | Extra for 4 No.fans as per the Specification or similar (exact positions to bee located at a later date | Item
|  | 15 No manually operated roof vents | Item
Extra for optional electrical actuators to operable windows
|  | Design and install a suitable low voltage power, data and lighting supply to the structure possible to operate in a high temperature, high humidity environment to include for 3 No waterproof double switch socket outlets to the butterfly area and 6 No double switch socket outlets to the shop area and sufficient emergency lighting to the butterfly area. | Item
Extra for providing house lighting infrastructure only to butterfly area.
|  | Design and install suitable data handling system to include for 6 No data points to the shop area. | Item
Allow for extending existing Museum fire alarm system to the new structure
Allow for extending existing Museum intruder alarm system to the new structure
10 | Other items
Itemise other items evident from tender specifications, drawings or site visit (add lines as necessary)
10.1 |  | …………………………………………………….. | Item
10.2 |  | …………………………………………………….. | Item
10.3 |  | …………………………………………………….. | Item
10.4 |  | …………………………………………………….. | Item
|  |  | Total to main summary £ | 5000

## Flysheet (3)
Section Nr 3
Main Summary
RIDGE

## 3. Main Summary
Pricing Document |  |  |  |  | RIDGE
Client Name : |  | Horniman Museum Trust |  |  | Section 3
Project Title : |  | Horniman Museum Butterfly House |  |  | Main Summary
Project Nr : |  | 5001240
Pricing Document
Horniman Museum Butterfly House
3. MAIN SUMMARY
3.1 | Summary
Ref. | Description |  |  |  | £
1 | PRELIMINARIES/GENERAL CONDITIONS
|  | Total page 1/4 (17.5%) |  |  | 0
2 | MEASURED WORKS/SCHEDULE OF WORKS
|  | Total page 2/3 |  |  | 5000
5000
3 | CONTINGENCY ITEMS
Contingency Sum
|  | Allow the Provisional Sum of £5,000 for unforeseen items (net cost value - main contractor allowances for overheads and profit are to be included below) |  |  | 5000
|  |  |  | Sub-total: £ | 10000
4 | MAIN CONTRACTOR OVERHEADS AND PROFIT
Add a percentage to cover all Main Contractor overheads and profits based
on the value of this tender submission. The percentage is to allow for all
adjustments to the net value of work (including Main Contractor Discount).
No other adjustments shall apply.
%
Contractor :
Address :
Date :
|  |  |  | To Form of Tender £ | 10000

## Flysheet (4)
Section Nr 4
Form of Tender
RIDGE

## 04 Form of Tender
Pricing Document |  |  |  |  | RIDGE
Client Name : |  |  | Horniman Museum Trust |  | Section 4
Project Title : |  |  | Horniman Museum Butterfly House |  | Form of Tender
Project Nr : |  |  | 5001240
Tender for: |  | Horniman Museum Butterfly House
To: |  | Horniman Museum and Park Trust
100, London Road,
Forest Hill
London
SE23 4QA
From: |  | …………………………………………….
…………………………………………….
…………………………………………….
…………………………………………….
…………………………………………….
We have examined the following documents:
• | Pricing Document (including appendices);
• | Tender instructions and client requirements including the proposed form of contract and all appendices
• | Pre-construction information document
We offer to carry out the whole of the Works described in accordance with the documents referred to
above;
for the sum of |  |  | …………………………………………………………………………………………….... (in words)
£ ……………………………………………..… (in figures) exclusive of any VAT chargeable
Lead in period |  |  |  | .....................................
Proposed duration of the Works |  |  |  | .....................................
We enclose our fully priced document as per the Tender instructions.
We agree that if any obvious errors in pricing or errors in arithmetic are discovered in the priced document[s] before acceptance of this offer, they shall be dealt with in accordance with the Alternative 2 procedure set out in JCT Practice Note 6 - Main Contract Tendering, as specified in the Preliminaries.
We undertake in the event of your acceptance to execute with you a formal contract embodying all the conditions and terms contained in this offer within 21 days of being required to do so by the Employer.
Tender for: |  | Horniman Museum Butterfly House
This tender remains open for acceptance for 90 days from the latest date fixed for the submission of tenders.
We confirm that this tender is submitted at our expense and agree that the Employer need not necessarily accept the lowest or any other tender.
Signed by or on behalf of : |  |  |  | …………………………………………………………………………………….
Signature : |  |  |  | …………………………………………………………………………………….
Position : |  |  |  | …………………………………………………………………………………….
Date : |  |  |  | …………………………………………..
NOTE: | The completed Form of Tender must be received by The Horniman Museum at the above address not later than 5pm on Monday 12th December 2016.
Tender for: |  | Horniman Museum Butterfly House
LIST OF PRINCIPLE DOMESTIC SUB CONTRACTORS
I/We confirm the following Principle Domestic Sub Contractors will be employed on this project. I/We confirm their sub contract tenders have been used within our tender and, where necessary, all these domestic sub contractors have accepted the wording of
Our list of proposed sub-contractors are:
· | Steelwork : |  |  | ………………………………………………………………………………………
· | Curtain Walling : |  |  | ………………………………………………………………………………………
· | Mechanical : |  |  | ………………………………………………………………………………………
· | Electrical : |  |  | ………………………………………………………………………………………
· | Cladding : |  |  | ………………………………………………………………………………………
· | Partitions : |  |  | ………………………………………………………………………………………
· | Groundworks : |  |  | ………………………………………………………………………………………
· | Mechanical : |  |  | ………………………………………………………………………………………
· | Others : |  |  | ………………………………………………………………………………………
………………………………………………………………………………………
………………………………………………………………………………………
………………………………………………………………………………………
………………………………………………………………………………………
………………………………………………………………………………………

## Flysheet (5)
Section Nr 5
Certificate of Bona Fide Tender
RIDGE

## 05 Cert of Bona Fide Tender
Pricing Document |  |  |  | RIDGE
Client Name : |  |  | Horniman Museum Trust | Section 5
Project Title : |  |  | Horniman Museum Butterfly House | Certificate of Bone Fide Tender
Project Nr : |  |  | 5001240
Tender for: |  | Horniman Museum Butterfly House
CERTIFICATE OF BONA FIDE TENDER
The essence of selective tendering is that the Client shall receive bona fide competitive tenders from all those tendering. In recognition of the principle, I certify that this is a bona fide tender, intended to be competitive and that we have not fixed or adjusted the amount of the tender by or under or in accordance with any agreement or arrangement with any other person. I also certify that we have not done and we undertake that will not do at any time before the hour and date specified for return of this tender any of the following acts:-
A) | Communication to a person other than the person calling for those tenders the amount or approximate amount of the proposed tender, except where the disclosure, in confidence, of the approximate amount of the tender was necessary to obtain insurance premium quotations required for the preparation of the tender
B) | Entering into any agreement or arrangement with any other person that he shall refrain from tendering or as to the amount of any tender to be submitted
C) | Offering or paying or giving or agreeing to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other tender or proposed tender for the said work any act or thing or sort described above
In this certificate the word "person" includes any person any body or association, corporate or unincorporate and "any agreement or arrangement" includes any such transaction, formal or informal, and whether legally binding or not.
Signed : |  |  | ..................................................................................................................................
Sole proprietor/Partners/Directors duly authorised to sign
for and on behalf of |  |  | ..................................................................................................................................
Date : |  |  | ..................................................................................................................................