## Sheet1
# | RFQ FY19-43 Vibration table : Q&A
1 | In the technical requirements. Lina A7 states that the Armature Diameter shall be 400mm or above. The vibration in our range which meets all of the other requirements has a 320mm diameter armature. We could meet this requirement with the use of a Head Expander. Can you advise if this would be acceptable, or would the fact that our system has a 320mm diameter armature automatically cause a fail. In this instance would our proposal be automatically eliminated?
Yes ok
2 | With regard to the controller configuration, the RFP doc does not specify a number of channels required. Please could you provide me with an idea of how many would be needed?
Channels required: DAQ with at least 40 channels
3 | Head Expander It states that the system should be suitable for use with a head expander. Can you please define what size and shape of head expander you would intend to use. This can then be included in the proposal as an optional extra. If as yet undefined, then this can be quoted at a later date when required.
quote at later date
4 | Vibration Controller and Software. From the description of the requirements a vibration controller with Sine, Random and Transient control modes will be included. However can you please advise the number of control and response channels you require.
Not known, please suggest
5 | Accelerometers Can you please advise if you require accelerometers to be included in the scope of supply and if so how many, and is there a size and mass restriction.
Please provide as additional quote, quantity 12, size prefer small for attachment for small satellite (<200kg) and with mass sub 250g.
6 | The Acknowledgement states that by signing we agree to Catapult t’s and c’s. However there is a statement in the acknowledgement section that implies potential contract negotiation further in the process. If selected, and prior to signing a contract, B&K VTS Ltd will require some amendments to the Catapult t’s and c’s. The question is – how/where should we present our request for amendments? Should we:- 1) Simply state on the Acknowledgement return that we will require Catapult to agree to amendments? Or, 2) List the amendments we will want Catapult to agree to as part of the Acknowledgement return?
We cannot enter into discussion around the T&Cs. We need to appoint a vendor by the end of March. Entities wishing to bid must complete Annex C