SCHEDULE ‘E’ TO FORM OF TENDER

SCHEDULE OF RATES FOR RESPONSIVE MAINTENANCE

OF

AERIAL SYSTEM (IRS)

INCORPORATING THE SERVICE PROVIDER’S TENDERED RATES

SCHEDULE ‘E’ TO FORM OF TENDER

SCHEDULE OF RATES FOR RESPONSIVE MAINTENANCE-AERIAL SYSTEM

The Bidder shall insert his required rates for carrying out the Work as indicated in accordance with the Specification contained in the Contract Documents.  The rates for all items shall be deemed to include for the costs of all labour, plant, equipment, transport and consumables of whatsoever nature and all overheads and profit (i.e. fully all inclusive rates), whether or not specifically stated in item descriptions. The rates shall exclude VAT.

Work required to be carried out and which is required to be measured and valued in accordance with the Schedule of Rates shall be undertaken upon the specific instruction of the CA.

| Item | Description | Unit | Rate |
| --- | --- | --- | --- |
| AE005 | HOURLY RATE: QUOTED OR PLANNED REPAIR WORKS All inclusive rate per hour for aerial engineer during the clients normal working hours as defined in the Contract Details for quoted or planned repair work. | HR |  |
| AE006 | HOURLY RATE: ATTEND TO FAULTS IN WORKING HOURS All inclusive rate for engineer during the clients normal working hours as defined in the Contract Details for attending to faults- Trace reported faults, repair/adjust all component parts as Required, re-balance system, re-align aerial/sat dish, rectify faults and leave in working orders-Charged for the actual working hours at dwellings or schemes (all non-productive and travelling time deemed to be inclusive in the rate) | HR |  |
| AE007 | TV OUTLET: REMOVE, RECONNECT, REFIX TV Outlet: Take off any type of existing flush or surface mounted outlet box, remake connections, re-fix and test, make good on completion. | NO |  |
| AE008 | TV OUTLET: RENEW SURFACE BOX TV Outlet: Take off any type of existing flush or surface mounted outlet box, supply and fix new surface box, remake all connections and test, make good on completion. | NO |  |
| AE009 | TV OUTLET: RENEW FLUSH BOX TV Outlet: Take off any type of existing flush mounted outlet box,supply and fix new flush box, remake all connections and test, make good on completion. | NO |  |
| AE010 | TV AERIAL/SAT DISH: REMOVE AND REFIX TV AERIAL OR DISH TV Aerial: Refix loose TV Aerial or satellite dish to high level structure including chimney stacks, adjust aerial direction, remake all connections and test, make good on completion. | NO |  |
| AE011 | TV AERIAL/SAT DISH: REWIRE COAXIAL NE 10M TV Aerial: Take out existing and or supply and fix new TV coaxial cabling from existing outlet to aerial in length ne 10.00m, run in existing conduit or surface fixed including remake all joints and test, make good on completion. | NO |  |
| AE012 | TV AERIAL/SAT DISH: REWIRE COAXIAL 10-20M TV Aerial: Take out existing and or supply and fix new TV coaxial Cabling from existing outlet to aerial in length over 10.00 and ne 20.00m run in existing conduit or surface fixed including remake all joints and test, make good on completion. | IT |  |
| AE013 | TV AERIAL/SAT DISH: REWIRE COAXIAL OVER 20M TV Aerial: Take out existing and or supply and fix new TV coaxial cabling from existing outlet to aerial in length over 20.00m, run in existing conduit or surface fixed including remake all joints and test, make good on completion. | IT |  |
| AE014 | TV AERIAL: XG8 HIGH GAIN UHF 52 ELEMENTS Remove the defective element and s/f new XG8 high gain UHF, remake all joints and test, make good on completion and remove waste debris | NO |  |
| AE015 | TV AERIAL: XG14 ULTRA GAIN UHF/TRIAX 100 ELEMENTS Remove the defective element and s/f new XG14 ultra gain UHF, remake all joints and test, make good on completion and remove waste debris | NO |  |
| AE016 | TV AERIAL: FM OMNI-DIRECTIONAL Remove the defective part and s/f new omni-directional, remake all Connections and test, make good on completion and remove waste debris | NO |  |
| AE017 | TV AERIAL: FM 3 ELEMENT Remove the defective part and s/f FM3 Element, remake all Connections and test, make good on completion and remove waste Debris | NO |  |
| AE018 | TV AERIAL/SAT DISH: RENEW SAT DISH-80CM Remove the defective satellite dish and supply/fit new sat dish to match existing, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE019 | TV AERIAL/SAT DISH: RENEW SAT DISH-43CM Remove the defective satellite dish and supply/fit new sat dish to match existing, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE020 | TV AERIAL/SAT DISH: LNB (QUATTRO) Remove the defective part and s/f Quattro LNB, remake all connections and test, make good on completion and remove waste Debris | NO |  |
| AE021 | TV AERIAL/SAT DISH: RENEW MAST NE 10FT & CABLE NE 15M Remove the defective mast and s/f new mast (ne 10ft) and cable (ne 15m), remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE022 | TV AERIAL/SAT DISH: RENEW MAST 16 FT & CABLE 20M Remove the defective mast and s/f new 16 ft mast with 20m cable, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE023 | TV AERIAL/SAT DISH: ARRAY COMPLETE Supply and fit array complete with 16ft mast, XG14 ultra gain and FM Omni, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE024 | TV AERIAL/SAT DISH: PRE-AMP 20DB GAIN+PSU Supply and fit pre-amp 20db gain and PSU, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE025 | TV AERIAL/SAT DISH: DISTRIBUTOR AMP 30DB GAIN Supply and fit distributor amp 30db gain, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE026 | TV AERIAL/SAT DISH: 5-WIRE LAUNCH AMP, SPLIT-BAND 40/53DB GAIN Supply and fit launch 5-wire launch amp, split-band 40/53db gain, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE027 | TV AERIAL/SAT DISH: 9-WIRE LAUNCH AMP, SPLIT-BAND 40/53DB GAIN Supply and fit launch 9-wire launch amp, split-band 40/53db gain, remake all connections and test, make good on completion and remove waste debris |  |  |
| AE028 | TV AERIAL/SAT DISH: 5-WIRE REPEATER AMP Supply and fit repeater amp, remake all connections and test, make good on completion and remove waste debris |  |  |
| AE029 | TV AERIAL/SAT DISH: CHANNEL EQUALIZER Supply and fit new channel equalizer as required, remake all connections and test, make good on completion and remove waste debris | NO |  |
| AE030 | TV AERIAL/SAT DISH: 5-WIRE Multi-Switch 4 Way Supply and fit new multi-switch unit 4 way, remake all Connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE031 | TV AERIAL/SAT DISH: 5-WIRE Multi-Switch 8 Way Supply and fit new multi-switch unit 8 way, remake all Connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE032 | TV AERIAL/SAT DISH: 5-WIRE Multi-Switch 12 Way Supply and fit new multi-switch unit 12 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE033 | TV AERIAL/SAT DISH: 5-WIRE Multi-Switch 24Way Supply and fit new multi-switch unit 24 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE034 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 4 Way Supply and fit new multi-switch unit 4 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE035 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 8 Way Supply and fit new multi-switch unit 8 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE036 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 12 Way Supply and fit new multi-switch unit 12 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE037 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 16 Way Supply and fit new multi-switch unit 16 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE038 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 24 Way Supply and fit new multi-switch unit 24 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |
| AE039 | TV AERIAL/SAT DISH: 9-WIRE Multi-Switch 32 Way Supply and fit new multi-switch unit 32 way, remake all connections, re-set and test, make good on completion and remove waste debris | NO |  |