| Project Title: INSTALLAION OF INSULATED RENDER SYSTEM TO DAME DOROTHY CRESCENT, ZETLAND SQUARE, VICTOR STREET, DOCK STREET & CHURCH STREET |  | Location: ROKER, SUNDERLAND | Element of Works: Installation of insulated render system to the ground floors of 5no. towerblocks at Roker. |  | Page no. 1 of 2 |  |
| --- | --- | --- | --- | --- | --- | --- |
| ## HAZARD ## IDENTIFICATION | ### PERSONS ### AT RISK | ARE DESIGN SOLUTIONS OR LESS HARMFUL ALTERNATIVES AVAILABLE? (YES/NO) ### If No please detail | DESIGN SOLUTION (REPLACEMENT/SUBSTITUTE) | RESIDUAL RISK & RISK CONTROL SOLUTIONS |  |  |
| Working within occupied buildings. | Site operatives / occupants | # Yes | Identify Neighbourhood Housing Manager (NHM) responsible for tenant liaison and notify occupants of proposed works and timescales to ensure adequate preparations are made. Identify via NHM any occupants who may have special requirements or may present risk to operatives or themselves. | Health risks to occupants. Potential problems to be raised at pre-start meeting between Principal Contractor and area office staff prior to commencement of contract. |  |  |
| Site traffic | Site operatives/ public | No. Traffic inevitable throughout site. | There will be an increase in traffic due to the on-going works and it is envisaged that parking within the residential streets will be used. Reversing should be kept to a minimum and only where unavoidable. | Collisions/injuries to site operatives/public. Site staff are to walk between site addresses due to the compact nature of the site. |  |  |
| Site delivery and delivery to properties | Site operatives/ public | No. Delivery to site and properties a necessity. | Off-site storage of materials to be considered. | Collisions/injuries to site operatives/public. Liaise with suppliers to ensure control measures are adhered to and site specific risk assessments to be completed as above. Use of appropriate signage. Given the compact nature of the site, Banksmen should be utilised. |  |  |
| Work at height | Site operatives / occupiers | No. Works at height will be required, though this will be limited to ground floor areas. | Safe means of access to be utilised. | Injury to site operatives and occupants. Site induction to be held with all operatives. It is a requirement operatives are trained and use suitable and safe means of access – these will also need to comply with the relevant British Standards. |  |  |
| Project Title: INSTALLAION OF INSULATED RENDER SYSTEM TO DAME DOROTHY CRESCENT, ZETLAND SQUARE, VICTOR STREET, DOCK STREET & CHURCH STREET |  | Location: ROKER, SUNDERLAND | Element of Works: Installation of insulated render system to the ground floors of 5no. towerblocks at Roker. |  |  | Page no. 2 of 2 |
| Hazardous materials (asbestos) | Site operatives / occupants / Public | No – it is suspected that asbestos could be present within textured coatings to surfaces within the ground floors. | Asbestos Strategy and reports will be issued to the Principal Contractor prior to works commencing on site. | Risk of exposure to asbestos. Contractor to ensure they have receipt of asbestos reports and Strategy before works commence. Principal Contractor to maintain record of material for inclusion in H&S file. Appointed asbestos removal team appointed to carry out any asbestos removal works as required. It should be noted that there is a requirement for the Principal Contractor and Principal Designer to review the asbestos information supplied by Gentoo Group once the electrical/mechanical contractor has been appointed, as further survey information will be required once cable routes etc and the location of m&e service runs / penetrations have been confirmed by the m&e contractor. It cannot be assumed that the asbestos strategy and surveys supplied at tender stage are sufficient to allow the works to commence safely. |  |  |

Name (Print Name): Steven Thompson		Signature of Designer:  S Thompson 				Date:  05/10/2017

Name (Print Name): Steven Thompson		Signature of Principal Designer:	 S Thompson			Date: 05/10/2017