## Sheet1
RFQ FY19-30 Clean room Q&A
1 | Now that we have had the opportunity to study the tender documents in more detail, it would appear that Item 11 on the spreadsheet headed Cleanroom Response template, calls for multiple 480V and 3PH power supplies capable of delivering 450 A per phase. This is indeed quite a large requirement and as it is 60Hz it would have to be generated on site, unless you have this frequency and power supply available
Power Multiple 480V-3PH-60HZ (capable of 450A per phase) drops in the vehicle integration/test room. Multiple 240V-3PH-60HZ in the production area 120V equivalent available in all other areas., this is for all internal equipment as well as plant.