## Sheet1
Status | Importance | Building | Floor | Room | Asset Code | Description | Equipment ID | Type | Placement | Serial No. | Manufacturer | Model | FGAS | KG | General | Division | Active
A |  | CBRM | 5 | 4.01 | 527 | CBRM - FEED WATER DEGASSER | 6223 | STEAM SYSTEM |  | 6223 | STILMAS | TK09 - 1 |  |  | 100 lt Degassing system feeding clean steam plants | SPD2 PLANT ROOM | Yes
A |  | CBRM | 5 | 4.01 | 528 | CBRM - PURE STEAM - GENERATOR | 300278 | STEAM SYSTEM |  | 300278 | CELESTER | GVP500 (CPS 400) |  |  |  | SPD2 PLANT ROOM | Yes
A |  | CBRM | 5 | 4.01 | 529 | CBRM - PURE STEAM - GENERATOR | 299685 | STEAM SYSTEM |  |  | MUELLER | P7145 |  |  |  | SPD2 PLANT ROOM | Yes
A |  | CBRM |  |  | 5680 | CBRM - PURE STEAM SYS (INC HEAD) | 9054 or 0054 | STEAM SYSTEM | [6 empty] | Pure Steam system, includes (Newade) Header, isolation valves, safety devices and pipework to Freeze Driers and Autoclaves. | SPD2 PLANT ROOM | Yes