## Sheet1
Soft Market Testing Questionnaire For Lift Maintenance and Refurbishment
Respondent Contact Details
| Name of organisation: | please enter here
| Address of organisation: | please enter here
| Name of contact: | please enter here
| Email address: | please enter here
| Phone number: | please enter here
| Submission Deadline: | 10th March 2017, noon GMT
Taking the requirements into consideration, please could you answer the following questions.
!! We advise to allow 24 hours to upload your response, it is recommended to not leave until the final hour !!
| Questions | Please answer Yes or No
Are you able to provide or achieve the following:
1 | We require an emergency response time for trapped passengers for all types of lifts 30 minutes maximum. Do you believe this to be achievable? | Yes or No- If No please provide reasons why you are unable
2 | Response times for site arrival for callouts 1 hour for where only one lift serves the building and 2 hours for all other lifts in the same property. Do you believe this is achievable? | Yes or No-If No please provide reasons and details of what you believe to be achievable. | ,
3 | We expect over 90% call outs and repairs to be completed on first visit. Is this achievable, if not please provide what you believe to be a fair target? | Yes or No - Reasons for not being able to achieve minimum of 90% target
4 | Targets for all non Urgent call outs and repairs to be completed within 48 hours? | Yes or No- If not achievable please provide reasoning.
5 | Customer satisfaction to be minimum 96 %? | Yes or No
6 | All engineers to be qualified to a minimum of NVQ3? | Yes or No
7 | We require a schedule of servicing dates for maintenance to be provided and approved by an engineer, at least one month before scheduled visit. Can your company provide this information before any maintenance visits are undertaken? | Yes or No- If No please provide reasons why you are unable
8 | No parts to be kept on site? | Yes or No
9 | All lift require emergency alarm system with voice conversation to be installed with SMS. Some of the existing units appear to be "closed" systems. Are you able to take over the full responsibility of these units? | Yes or No-If you are not able to take on this systems please provide details of a proposed solution.
10 | Operatives are required to pass the DBS checks to operate on some sites. Are you able to provide a workforce that have the relevant checks. | Yes or No
11 | We are considering inclusion of the servicing of Ceiling and Wall Mounted Hoists within this contract. Is this an area of work you would be able to undertake? | Yes or No
12 | We are very keen that the transition between the existing and new contracts, which may or may not involve a change in system provider is as seamless as possible so there is no disruption in system functionality. Please outline how this can be achieved and your estimated timescales for the key milestones to achieve this, including any periods of downtime. | Please answer with no more than 500 words, font size 11.
13 | We are keen to minimise revenue costs and make savings in this new contract. Whilst we are unable to disclose the detail of the existing revenue costs, please advise what are the biggest elements in cost of delivering services. Please rank them in importance, eg staff, materials, cashflow, transport. How could the Council help you minimise these costs if you were providing these services? | Please answer with no more than 500 words, font size 11.
14 | What length of contract would you be looking for to deliver the best service/pricing? Please give your reasons. | Please answer with no more than 500 words, font size 11.
15 | How would you propose to manage the performance of these services using your proposed procurement model? Please explain the client benefits of this approach. | Please answer with no more than 500 words, font size 11.
16 | What experience or ideas do you have for delivering social value in a contract? Eg, utilisation of local suppliers, local employment and internships/training to improve employability for all groups. | Please answer with no more than 500 words, font size 11.
THANK YOU FOR YOUR TIME