SECTION TWO: SPECIFICATION

Section two of this ITT sets out the requirement for which the Customer invites Bidders to submit a Tender Response.

- SUMMARY

A bench-top Digital X-Ray machine capable of X-raying seed and botanical specimens with PC/ monitor and software (Windows 7/10 compatible) capable of image capture and analysis.

- ESSENTIAL REQUIREMENTS

The Digital X-Ray machine must provide the following features:

| Requirement reference | Criteria | Weighting |
| --- | --- | --- |
| Technical Performance |  |  |
| 1 | Bench-top model | 5% |
| 2 | Shielded cabinet | 5% |
| 3 | 220-230v with UK 13amp plug | 5% |
| 4 | Includes PC, monitor and keyboard with Windows 7/10 compatible software capable of image capture and analysis. | 5% |
| 5 | Energy range of at least 10-50Kv | 6% |
| 6 | Image sensor of at least 15cm x 10cm | 7% |
| 7 | Magnification to at least x5 | 7% |
| 8 | Automatic calibration | 10% |
| 9 | Automatic / manual exposure options | 10% |
| Service Requirements |  |  |
| 10 | Parts and labour warranty provided for at least 1 year | 4% |
| 11 | The supplier or manufacturer of the X-Ray machine must be able to acknowledge and respond to calls to repair the equipment, whilst under warranty, within a reasonable amount of time after the Customer has contacted the supplier | 3% |
| 12 | Software upgrades and patches are provided for the life of the machine at minimal cost to the Authority | 3% |
| Commercial |  |  |
| 5 | Total Cost | 30% |
| Total |  | 100% |

- DELIVERY DATES

Delivery to the Millennium Seed Bank, Wakehurst, Ardingly, Haywards Heath, Sussex, RH17 6TN.  Set-up, a brief demonstration of equipment and removal of waste packaging must be completed by 31st March 2017.

- TRAINING

The successful supplier is to provide training for relevant Kew staff to ensure that they are familiar with the full functionality of the instruments and software.  Additional support materials such as software tutorials are also desirable.

- PAYMENT PROFILE

| Deliverable | Amount due (%) |
| --- | --- |
| Delivery, set-up and demonstration of all instrumentation | 100% of Equipment cost |