## Sheet1
Guidance for completion - When inserting additional rows in the requirements table below (Starting at row 16), please ensure that you drag the formulas from Column A down from the row above into the newly inserted row. - Do not delete the top and bottom rows of the requirements table (Starting Row 16 and finishing Row 48). Only insert rows between these points and do not add any lines after these points. - Hide row 5 if lots arent applicable
| User Requirement Specification | CPI Tender Reference & Title:- | 1938 | Framework for the Supply, Delivery of HF and UHF testing systems and accessories.
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column C, of which the total Quality element score of this sheet will equate to value in cell F6 | Scoring Criteria 0 = no response/answer not relevant to requirement 1 = limited response to requirements 2 = less than adequate, filfils some of the basic requirements 3 = adequate response, fulfils all basic requirements 4 = good response, fulfils all requirements to a high standard 5 = excellent response, fulfils requirements to an exceptionally high standard |  | The total percentage available which will contribute towards the Quality scoring element of this tender | 40%
USER REQUIREMENT |  |  |  | TENDERER RESPONSE
Requirement Codes |  |  |  | Guidance
M | Mandatory. (This must be the minimum requirement for the usage for the equipment, any further performance requirements above the minimum, must be marked as desirable) |  |  | Tenderers must provide responses within the following columns; 1. Column F - please provide details of your equipment functionality in relation to CPI requirements specified in column E 2. Column G - please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response |  | Y
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase |  |  |  |  | N
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
# | Parameter | Requirement | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N) | N
System Performance
M1 | HF systems | Operating range 10 – 30 Mhz | M |  |  | 1 | 0 | 0
M2 |  | testing the following Protocols - TTO 16 and 64 protocol, 15693, 14443A and 3M3 | M |  |  | 2 | 0 | 0
D1 |  | testing at multiple Frequencies and Power levels | D
D2 |  | Solutions for Production testing and R&D testing | D |  |  | 2 | 0 | 2
M3 | UHF systems | Operating Range 800 – 1000 Hz | M |  |  | 3 | 0 | 2
M4 |  | testing the following protocols - ISO 18000-6B, GB/T29768, SINIAV | M |  |  | 4 | 0 | 2
D3 |  | Solutions for Production testing and R&D testing | D |  |  | 4 | 0 | 3
D4 | Measurement | PC Based Measurement software | D |  |  | 4 | 0 | 4
0 | Installation and Utilities |  |  |  |  | 4 | 0 | 4
M5 | Installation | Equipment is to fit on a bench top | M |  |  | 5 | 0 | 4
M6 | Site Requirements | A full site requirements guide must be provided as part of the Tender response, including requirements for specialist lifting and manual handling equipment | M |  |  | 6 | 0 | 4
M7 | Electrical Power | The system should operate from a standard UK mains supply (240Vac, 50Hz, single phase) | M |  |  | 7 | 0 | 4
0 | Software and Connectivity |  |  |  |  | 7 | 0 | 4
D5 | Software | Equipment must have a driver which enables 3rd party programming control software to interface | D |  |  | 7 | 0 | 5
D6 |  | Additional licences should be available to allow the software to be installed onto a number of computers for offline data analysis | D |  |  | 7 | 0 | 6
0 | Regulatory, Support and Warranties |  |  |  |  | 7 | 0 | 6
M8 | CE Marking | The Equipment shall be permanently CE Marked to confirm that it is in accordance with all relevant EU Directives, and a suitable conformance certificate shall be provided | M |  |  | 8 | 0 | 6
M9 | Training | Full training should be provided along with access to technical support | M |  |  | 9 | 0 | 6
M10 | Warranties | Warranty period should cover at least 18 months from installation | M |  |  | 10 | 0 | 6
M11 | Extended Warranty | Extended warranty of up to 3 years | M |  |  | 11 | 0 | 6
M12 | Service Support | On site support within 72 hours of requesting assistance. Please provide details of expected call-out charges. | M |  |  | 12 | 0 | 6
M13 |  | Details of preventative maintenance programmes required (if any) above Warranty requirements | M |  |  | 13 | 0 | 6
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CHANGE THIS IN ACCORDANCE WITH THE TENDER DOC