## Schedule of Works
0
0
0
0
0
0
0
| City College Plymouth |  |  |  | 0
| Kings Rd |  |  |  | 0
| Plymouth |  |  |  | 0
0
0
| PROJECT DETAILS: |  |  |  | 0
| Piquet Barracks - Ocean Conference Suite. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Qty | Item | Rate | £ p
0
| This draft cost plan is priced in conjunction site drawings CCP-GP-PQ-01, CCP-GP-PQ-02 |  |  |  | 0
0
| PROJECT REQUIREMENTS |  |  |  | 0
0
1 | Remove walls and doors as indicated with dash lines and dispose. |  |  |  | 0
0
2 | Allow to make good to ceiling, walls and floor following removal. |  |  |  | 0
0
3 | Build with timber stub EPA Bays, as indicated with cyan colour lines. |  |  |  | 0
0
4 | Allow for new LED lighting and emergency lighting to include for altering switching for new layout. |  |  |  | 0
0
5 | Allow for 2nr double sockets at high level above each work station hung by chains. Allow for 6nr double sockets above fixed work bench. |  |  |  | 0
6 | Allow for consultation with Chubb Fire & Security for any associated alterations needed. |  |  |  | 0
0
7 | New new work bench to include worktops support rails and legs. |  |  |  | 0
0
8 | Allow for decoration to new walls and timber work. |  |  |  | 0
9 | Allow to uplift existing flooring and lay new Altro Walkway 20 to all rooms. allow for all overboarding with 12mm plywood to include latex, adhesive and welding of joints. Colour to be Fog. |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0