## Schedule of Works
0
0
0
0
0
0
0
| City College Plymouth |  |  |  | 0
| Kings Rd |  |  |  | 0
| Plymouth |  |  |  | 0
0
0
| PROJECT DETAILS: |  |  |  | 0
| Construction EPA Bay Project |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Qty | Item | Rate | £ p
0
| This draft cost plan is priced in conjunction with drawings CCP-CB0-EP-03, CCP-CB0-EP-04 |  |  |  | 0
0
| PROJECT REQUIREMENTS |  |  |  | 0
0
1 | Uplift flooring and dispose. |  |  |  | 0
0
2 | Allow to relocate existing radiators to wall as indicated in drawings. |  |  |  | 0
0
3 | Remove suspended ceiling and allow to make good to all services and containment currently above ceiling. |  |  |  | 0
0
4 | Build 100mm timber frame along rear wall to contain pipework finished with 18mm plywood |  |  |  | 0
0
5 | Build 100mm timber frame to 6 no EPA Bays, with timber joist ceiling finished with 18mm plywood |  |  |  | 0
6 | Make all preparations to floor surface and apply suitable anti slip floor paint. |  |  |  | 0
0
7 | Fit new LED surface lighting and emergency lighting. |  |  |  | 0
0
8 | Allow for 1no 13a spur to Bay 1,2,3 at high level. |  |  |  | 0
9 | Allow to install 22mm cold water mains to Bay 1,2,3,4,5,6 to include a 22mm inline isolation ball valve. |  |  |  | 0
10 | Allow for SVP (SERVICE VENT PIPE) to Bay 4,5,6. to be connected to existing Soil stack externally |  |  |  | 0
11 | Allow for 200mm deep facia board fitted at high level as indicated with magenta coloured lines |  |  |  | 0
0
12 | Build new timber walls finished with 12mm plywood to form store cupboard to include complete door set, architrave, skirting and furniture |  |  |  | 0
13 | Allow for consultation with Chubb Fire & Security for any associated alterations needed. |  |  |  | 0
14 | Allow for decoration to new walls and timber work. |  |  |  | 0
0
0
0
0
0
0
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0