## Schedule of Works
0
0
0
0
0
0
0
| City College Plymouth |  |  |  | 0
| Kings Rd |  |  |  | 0
| Plymouth |  |  |  | 0
0
0
| PROJECT DETAILS: |  |  |  | 0
| Construction Entrance Alteration Project |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Qty | Item | Rate | £ p
0
| This draft cost plan is priced in conjunction with Drawings CCP-CB0-EP-01, CCP-CB0-EP-02. |  |  |  | 0
0
| PROJECT REQUIREMENTS |  |  |  | 0
0
Room KW044 & KW053C (Corridor)
1 | Uplift existing rubber floor and make all preparations to surface and apply suitable anti slip floor paint to enlarged classroom KW044. |  |  |  | 0
0
2 | Build new walls to include relocation of glazed section |  |  |  | 0
0
3 | Replace all metal ceiling tiles with new Dune Supreme tiles fitted in existing grid in both Room KW044 & KW053C. |  |  |  | 0
0
4 | Fit new LED recessed lighting and emergency lighting to new enlarged classroom and corridor. |  |  |  | 0
0
5 | Allow to alter and extend existing high level extraction to cover new enlarged classroom to include cutting hole through block wall. |  |  |  | 0
6 | Allow for consultation and attendance with Chubb Fire & Security for any associated fire alarm alterations as needed. |  |  |  | 0
0
7 | Allow for decoration to new walls and timber work. |  |  |  | 0
0
8 | Allow for 10nr new double sockets to hang from the roof on chains to be located over work bench in new area created in room KW044. |  |  |  | 0
| Room KW041B |  |  |  | 0
1 | Make all preparations to floor surface and apply suitable anti slip floor paint to include concrete steps and damaged section to top landing. |  |  |  | 0
0
2 | Fit new LED Surface lighting and emergency lighting fitted as existing.
0
3 | Build with 100mm concrete block 8no EPA Bays, dimensions to be 3 x 2.4mm with timber joist ceiling finished using 12mm plywood
0
4 | Allow for 2no double sockets to each EPA Bay at high level hung on chains. |  |  |  | 0
0
5 | Allow for consultation with Chubb Fire & Security for any associated alterations needed.
0
6 | Allow for decoration to walls and timber work.
0
0
0
0
0
0
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0