## Sheet1
ITT - HMS WARRIORHEAD PLATFORM REPAIRS
Pricing Schedule
Section | Description Preliminaries | Rate type | Quantity | Rate | Value
A1 | MANAGEMENT AND STAFF
| Project Management/ Site Supervision | Week
| Within 5 days of commencement of works and following completion of all access installations (scaffolding) INSPECT all areas of the works and record the results on an inspection report to the NMRN. | Sum | 1
A2 | SITE ACCOMMODATION
| Welfare | Week
| Waste disposal from welfare | Week
| Mess room | Week
| Mobilisation site setup | Sum | 1
| Demobilisation | Sum | 1
A3 | WASTE AND RUBBISH DISPOSAL
| General waste | sum | 1
| Contaminated waste (rust/ blast media grit) | sum | 1
A4 | CONTRACTOR’S GENERAL COST ITEMS: TEMPORARY WORKS
ACCESS SCAFFOLDING
| cantilever scaffold system or similar | sum | 1
| Shrink wrap cantilever system | sum | 1
| Total to section |  |  |  | 0
Section | Description | Rate type | Quantity | Rate | Value
B1 | HEAD PLATFORM WORKS
Fully refurbish the Head Platform including:
Replace side cladding (timber battens)
Renew the timber cross beams as the condition merits
Replace main rail and mould
Replace lower rail and mould
Replace centre cladding
Remove, shot blast and paint gratings
Renew the aft head timber, mid head timber and fore head timber
HP FW wash 3000psi minimum, clean down all areas to be repaired or coated to remove all dirt, grease, oil, salts and other contamination.
Prepare corroded areas by use of hand or power tools to achieve a minimum St3 standard as per ISO 8501-1:2007.
Paint works as per specification or equivalent
Any other works as identified
| Total to section |  |  |  | 0
B2 | HEAD BOX
For the purposes of pricing at this stage assume the following to be allowed allow for:
Steel plate and inserted grating bar: HP Fresh Water wash 3000psi minimum, clean down all areas to be repaired or coated to remove all dirt, grease, oil, salts and other contamination. Prepare corroded areas by use of hand or power tools to achieve a minimum St3 standard as per ISO 8501-1:2007.
Timber: Abrade existing paint work to provide a key, remove all dust and debris.
Paint works as per specification or equivalent
| Total to section |  |  |  | 0
B3 | GUARD RAILS
Remove canvas covers and replace with new
Remove Guard rail (handrail and stanchions), shot blast back to bare metal and a holding coat applied.
Paint works as per specification or equivalent
Reinstate guard rail and canvas covers
| Total to section |  |  |  | 0
B4 | BEAK TOP
For the purposes of pricing at this stage assume the following to be allowed allow for:
HP Fresh Water wash 3000psi minimum, clean down all areas to be repaired or coated to remove all dirt, grease, oil, salts and other contamination. Blast steelwork to achieve a minimum Sa 2.5 standard as per ISO 8501-1:2007.
Paint works as per specification or equivalent
| Total to section |  |  |  | 0
B5 | FIGUREHEAD
For pricing purposes please allow for a full repaint and re-gild.
| Total to section |  |  |  | 0
| Total Preliminaries A1 to A4 |  |  |  | 0
| Total Works Sections B1 to B5 |  |  |  | 0
| Total to form of tender |  |  |  | 0
Section | Day Rates applicable for additional / emergent works | Rate type | Quantity | Rate
Labour Rate
| Design engineer | hour | 1
| Draftsman | hour | 1
| Works foreman / Project Management | hour | 1
| Skilled fabricator (site) | hour | 1
| Skilled welder to BS EN ISO 15614-1 (inclusive consumables) | hour | 1
| Skilled shipwright/ boat builder | hour | 1
| Carver or similar (Figurehead works) | hour | 1
| Mechanical fitter | hour | 1
| Skilled labourer | hour | 1
| Labourer | hour | 1
| Painter | hour | 1