**BIDDERS DAY QUESTIONS**

1. November 2019

Q Is there a scaled layout of the drainage?

A No there isn’t, However, aerial photographs are attached to show the layout

Q Is a sub – base required under the Mulch?

A Yes. This is detailed in the tender brief

Q Is there any surplus soil on site that can be used for project?

A Yes – There is a bank of soil along the eastern edge of the lower field which may be used. However, the area would need to be re-instated after. Attached is a photograph.