APPENDIX B

SERVICE DESCRIPTION

CONTENTS

1.	INTRODUCTION	2

2.	PURPOSE	2

3.	BACKGROUND TO THE AUTHORITY	2

4.	BACKGROUND TO REQUIREMENT/OVERVIEW OF REQUIREMENT	2

5.	SCOPE OF REQUIREMENTS	3

6.	SERVICE LEVELS AND PERFORMANCE	5

7.	LOCATION	6

8.	SECURITY REQUIREMENTS	6

9.	PROJECT TIMETABLE	7

10.	BUDGET	8

# INTRODUCTION

## The Office for Low Emission Vehicles (OLEV) seeks a service provider or providers to conduct audits of (i) domestic and (ii) non-domestic charging infrastructure funded through its various infrastructure grant schemes (since 2010) by making on-site visits to carry out technical/electrical assessments at the addresses of a sample of installations.

## This Service Description is for a contract to provide services in respect of the non-domestic charging infrastructure audit.

# PURPOSE

## The purpose of the on-site visits to a sample of non-domestic chargepoint installations is to determine the level of compliance, by grant claimants and installers, of the terms and conditions of OLEV’s various infrastructure grant schemes.

# BACKGROUND TO THE AUTHORITY

## OLEV has staff and funding from Department of Transport (DfT), the Department for Business, Innovation & Skills (BIS) and the Department of Energy & Climate Change (DECC).  OLEV works across government to support the early market for ultra-low emission vehicles (ULEV).  This will contribute to economic growth and will help reduce greenhouse gas emissions and air pollution on our roads.

## OLEV has had a number of infrastructure grant schemes to support the early ULEV market to help with the cost of domestic chargepoints at home and charging infrastructure away from home.  To date, OLEV has funded the following chargepoint installations:

### 4,200 through OLEV’s Plugged in Places (PiP) schemes (2010–2014);

### 250 rapids through OLEV’s Local authority rapids scheme (2013-2015);

### 80 through OLEV’s Train station car parks (2013-2015);

### 500 through OLEV’s Public sector estate scheme (2013-2015); and

### Over 50,000 domestic chargepoints through the Domestic Recharging Scheme and the Electric Vehicle Homecharge Scheme, with grants of 75% of the installation cost.

# BACKGROUND TO REQUIREMENT/OVERVIEW OF REQUIREMENT

## Background to requirement

## For the non-domestic infrastructure grant schemes, an audit (of which this specification covers) is required to give a level of independent and objective assurance of compliance by the installers and customers – this is to be done through on-site visits to installations for the non-domestic charging infrastructure grant schemes.

## Non-domestic chargepoints are typically (i) slow chargers (3Kw/3.7Kw/7Kw) or fast chargers (22Kw) (all modes 2 and 3) for opportunistic and destination charging; or rapid chargers (50Kw DC/43Kw AC) (mode 4) to facilitate the longer journeys.  As part of the various non-domestic charging infrastructure grant scheme requirements, there has to be a facility to capture and transmit usage data.

## Overview of requirement (by grant scheme)

## Local Authority On-street Chargepoint Scheme

## This scheme for residents without off-street parking facilities is still open.

## The number of chargepoint installations for the Local Authority On-street Chargepoint Scheme to 30 September 2015 is 7.

## For the Local Authority On-street Chargepoint Scheme, this will involve on-site visits to a sample of locations to ensure compliance with the grant scheme/grant award letter terms and conditions.  A copy of the Local Authority On-street Chargepoint Scheme terms and conditions (in the combined Residential On-street and Rapid Chargepoints guidance) is annexed to this document.

## National Infrastructure Grant Schemes

## In February 2013 the Secretary of State for Transport announced a series of grant schemes for chargepoints.  These schemes were:

### Local authority rapids: Grants to local authorities access to part fund the procurement and installation of rapid chargepoints to facilitate the longer journeys and for plug-in vehicle fleets, e.g. at taxi ranks;

### Train station car parks: Grants to train operating companies to part fund the procurement and installation of chargepoints at train station car parks for train users; and

### Public sector estates: Grants to eligible public sector bodies to part fund the procurement and installation of chargepoints on their estate for workplace charging.

### These schemes are now closed.

## The number of chargepoint installations for the National Infrastructure Grant Schemes is over 800.

## For the National Infrastructure Grant Schemes, this will involve on-site visits to a sample of installations to ensure compliance with the grant scheme/grant award letter terms and conditions.  A copy of the various National Infrastructure Grant Scheme terms and conditions is annexed to this document.

# SCOPE OF REQUIREMENTS

## All requirements are to be considered mandatory.

## Grant schemes in scope for this audit are:

### the current Local Authority On-street Chargepoint Scheme; and

### the closed National Infrastructure Grant Schemes for local authority rapid chargepoints, and chargepoints at train stations and on public sector estates.

## On-site visits are required for a sample of installations completed under both above-mentioned schemes.

## There are future grant schemes which incorporates charging infrastructure, namely the Go Ultra Low City Scheme and Ultra Low Emission Vehicle Taxi Schemes announced as part of the £500m package to grow the market for ultra-low emission vehicles (ULEVs) from 2015-20.  Whilst these grant schemes are not currently in scope for this audit, OLEV may wish to include these at a later time in this audit.

## On-site visits should be conducted by experienced and qualified electrical inspectors.  The experience should consist of time served as a qualified electrician and of time served as an electrical inspector.  The minimum qualifications should be C&G 2391 & 2392, C&G 2360 Part 1 and 2 with AM1 & 2 or equivalent.  The electrical inspectors needs to be conversant with the theoretical intentions of the technical specifications for installations of chargepoints.

## Auditing grant claims under Local Authority On-street Chargepoint Scheme

## The service provider will be required to carry out on-site visits for the Local Authority On-Street Chargepoint Scheme sampled from all the installations carried out under this schemes to ensure the grant scheme is being implemented appropriately.  The sample size is expected to be 2 chargepoint installations (both in London) and the sample will be provided by OLEV.

## The service provider will need to carry out the following checks for each chargepoint installation as a minimum:

## Prior to the on-site visit:

### Verify that the chargepoint is listed in the National Chargepoint Registry (where applicable and noting any parking restrictions in the relevant field).

## On-site visit checks:

### Determine that a chargepoint has been installed and is working;

### Determine that the chargepoint installation meets the requirements set out in the grant offer letter and scheme guidance (e.g. the chargepoint is publicly accessible where required);

### Determine compliance with technical specifications (eg. chargepoints are fitted safely and securely; meeting the requirements set out in the IET Code of Practice; UK wiring regulations; and building regulations.); and

### Determine that the chargepoint has ‘Pay-as you-Go’ (PAYG) capability (where applicable) and that it is clear to plug-in vehicle users that PAYG is available; and

### Each on-site visit to be recorded on an on-site worksheet (with photographs).

## The service provider will provide summary reporting (as detailed below).

## Auditing grant claims under Local Authority Rapid Chargepoints, Train Station and Public Sector Estate grant schemes

## The service provider will be required to carry out on-site visits for each of the national infrastructure grant schemes (Local Authority Rapid Chargepoints, Train Stations and Public Sector Estate) sampled from all the installations carried out under this schemes to ensure the grant scheme is being implemented appropriately.  The sample size is expected to be up to 30 chargepoint installations across the UK and the sample will be provided by OLEV.

## The service provider will need to carry out the following checks for each chargepoint installation as a minimum:

## Prior to the on-site visit:

### Verify that the chargepoint is listed in the National Chargepoint Registry (where applicable and noting any parking restrictions in the relevant field).

## On-site visit checks:

### Determine that a chargepoint has been installed and is working;

### Determine that the chargepoint installation meets the requirements set out in the grant offer letter and scheme guidance (e.g. the chargepoint is publicly accessible where required);

### Determine compliance with technical specifications (eg. chargepoints are fitted safely and securely; meeting the requirements set out in the IET Code of Practice; UK wiring regulations; and building regulations.); and

### Determine that the chargepoint has ‘Pay-as you-Go’ (PAYG) capability (where applicable) and that it is clear to plug-in vehicle users that PAYG is available; and

### Each on-site visit to be recorded on an on-site worksheet (with photographs).

## The service provider will provide summary reporting (as detailed below).

## Reporting

## Summary reports should be produced every month and submitted to OLEV electronically using a mixture of formats to display information concisely and legibly so they are understandable (e.g. narrative, graphs, charts and tables) demonstrating the range of audit checks.

## The format of the summary reports is to be determined in agreement between OLEV and the service provider, subject to that the summary reports should include as a minimum:

## the numbers of on-site visits to chargepoint locations;

## the number of issues found broken down by issue type;

## the number of monthly passes/fails;

## cumulative number of checks in the financial year;

## cumulative number of issues broken down by issue type in the financial year; and

## cumulative number of passes/fails in the financial year.

## A final review report document is to be provided by the service provider and agreed by OLEV within 4 weeks of the end of the on-site visits.  The final review report is to include lessons learned from both the various infrastructure grant schemes and on the on-site visits audit, with recommendations for the grant schemes including any for risk reduction.

# SERVICE LEVELS AND PERFORMANCE

## OLEV will measure the quality of the service provider’s delivery by achievement of Milestones in The Project Timetable below:

## OLEV shall have the right to require the service provider to include any reasonable changes or provisions in The Project Timetable.

## The service provider shall perform its obligations so as to achieve each Milestone by the Milestone Date.

## Changes to the Milestones shall only be made in accordance to an agreed variation procedure and provided that the service provider shall not attempt to postpone any of the Milestones using the variation procedure or otherwise (except in the event of a OLEV default which affects the service provider's ability to achieve a Milestone by the relevant Milestone Date).

## OLEV will monitor the service provider’s performance through monthly, and ad hoc reporting and through review meetings. Review meetings will be monthly, but for the first 2 months will be every two weeks to ensure the smooth transfer of administration. Ad hoc meetings can be arranged to discuss any issues which arise.

## At the end of the contract, OLEV expects the service provider to do a handover, with a final review report.

# LOCATION

## The location of the chargepoint installations for OLEV’s infrastructure grant schemes are across the United Kingdom.

# SECURITY REQUIREMENTS

## All information provided by OLEV will be at Government security classification of OFFICIAL.  There might be instances that information originally provided by commercial concerns will be commercially sensitive.

# PROJECT TIMETABLE

| Milestone | Deliverables (bulleted list showing all Deliverables (and associated tasks) required for each Milestone) | Duration (Working Days) | Milestone Date | OLEV Responsibilities (if applicable) |
| --- | --- | --- | --- | --- |
| On-site visit audit of Local Authority On-street Chargepoint Scheme sampled chargepoint installations | On-site visits evidenced by production of on-site worksheets and photographs; and monthly reports for on-site visits | 40 (over 8 weeks) | 10 weeks of contract award | OLEV will provide the locations of the sampled domestic chargepoint installations for desk-checks; and on-site visits OLEV will liaise with service provider regarding summary report format and contents OLEV to attend review meetings |
| On-site visit audit of Local Authority Rapid Chargepoint Scheme sampled chargepoint installations | On-site visits evidenced by production of on-site worksheets and photographs; and monthly reports for on-site visits | 40 (over 8 weeks) | 10 weeks of contract award | OLEV will provide the locations of the sampled domestic chargepoint installations for desk-checks; and on-site visits OLEV will liaise with service provider regarding summary report format and contents OLEV to attend review meetings |
| On-site visit audit of Train Station Grant Scheme sampled chargepoint installations | On-site visits evidenced by production of on-site worksheets and photographs; and monthly reports for on-site visits | 40 (over 8 weeks) | 10 weeks of contract award | OLEV will provide the locations of the sampled domestic chargepoint installations for desk-checks; and on-site visits OLEV will liaise with service provider regarding summary report format and contents OLEV to attend review meetings |
| On-site visit audit of Public Sector Estate Scheme sampled chargepoint installations | On-site visits evidenced by production of on-site worksheets and photographs; and monthly reports for on-site visits | 40 (over 8 weeks) | 10 weeks of contract award | OLEV will provide the locations of the sampled domestic chargepoint installations for desk-checks; and on-site visits OLEV will liaise with service provider regarding summary report format and contents OLEV to attend review meetings |
| Production of a final review report document | Final review report document | 20 (over 4 weeks) | 14 weeks of contract award | OLEV will liaise with service provider regarding final review report format and contents |

# BUDGET

## OLEV requires for the following:

## a blended pricing with a capped element and a call-off element;

## the capped element being:

## a fixed price for the overheads of the contract; and

## a fixed price for each on-site visit of a non-domestic chargepoint installation (maximum number of on-site visits: 32).

## the call-off element being (for the occurrence of any further checks required for either previous or any new non-domestic infrastructure grant schemes):

## a fixed price for each on-site visit of a non-domestic chargepoint installation.

## The above excludes any travel and subsistence costs.  Travel and subsistence costs to be submitted as expenses and are to be in accordance with Department for Transport Travel and Subsistence policies.

## These should be submitted in pounds sterling and be inclusive of expenses and exclusive of VAT.

## The duration of this contract will cover the period from contract start date to end of March 2018 with the option to extend at OLEV’s discretion.

## OLEV would expect invoices to be issued in line with the satisfactory completion of the deliverables in accordance with The Project Timetable.