## Work schedules
Purley-on-Thames Op 2
PART A: EARTHWORKS
Item | Description | Unit | Number | £/unit | Cost (£)
P1-P6 | Transport and Preliminaries. | Item | 1 |  | 0
A1 | Setting Out
1.1 | Setting out working area. | Item | 1 |  | 0
A2 | Site Clearance
2.1 | Spray off vegetation using total herbicide. | m2 | 26600 |  | 0
A3 | Topsoil cultivation and removal
3.1 | Rotovation of topsoil. | m2 | 26600 |  | 0
3.2-3.3 | Topsoil strip including removal to stockpile on-site. | m2 | 26600 |  | 0
A4 | Cut and fill remodelling earthworks
4.1-4.2 | Cut and fill earthworks to create new levels (Cut = 2841 m3, Fill = 2841 m3). Volumes quoted IN THE SOLID. | m3 | 2841 |  | 0
4.3 | Grading to final levels and tolerances. | m2 | 20000 |  | 0
4.4-4.5 | Trimming embankments and cuttings. | m2 | 6600 |  | 0
4.6 | Subsoil loosening (2 directions). | m2 | 20000 |  | 0
4.7 | Tracking to consolidate surface. | m2 | 20000 |  | 0
A5 | Topsoil return
5.1 | Return and place nominally 300 mm depth of preserved topsoil from stockpile. | m2 | 26600 |  | 0
5.2 | Undertake in-situ stone separation operation and remove arisings to disposal on-site. | m2 | 26600 |  | 0
A6 | Cultivations
6.1 | Cultivation. | m2 | 26600 |  | 0
6.2 | Stone separation (burial). | m2 | 26600 |  | 0
6.3 | Final grading. | m2 | 26600 |  | 0
A7 | Rootzone carpet
7.1-7.3 | Supply and spread specified 50 mm deep rootzone carpet. | m2 | 20000 |  | 0
7.4 | Supply and incorporate rootzone amendments. | m2 | 20000 |  | 0
7.5-7.6 | Grade to specified tolerances. | m2 | 20000 |  | 0
A8 | Fertiliser
8.1 | Fertiliser application. | m2 | 26600 |  | 0
A9 | Seeding
9.2 | Supply and mix mycorrhizal seed coating. | kg | 8 |  | 0
9.1-9.2 | Supply and drill seed. | m2 | 26600 |  | 0
9.3 | Rolling. | m2 | 26600 |  | 0
A10 | Reinstatement
10.1 | Reinstatement of damage. | Item | 1 |  | 0
A11 | As-built survey / O&M / H&S File
11.1 | As-built survey. | Item | 1 |  | 0
11.2 | O&M and H&S file. | Item | 1 |  | 0
TOTAL PART A TO SUMMARY (EXCL. VAT) |  |  |  |  | 0
PART B: CRICKET SQUARE CONSTRUCTION
Item | Description | Unit | Number | £/unit | Cost (£)
P1-P6 | Transport and Preliminaries. | Item | 1 |  | 0
B1 | Setting Out
1.1 | Setting out working area. | Item | 1 |  | 0
B2 | Construction of Cricket Square [5-pitch]
2.1-2.8 | Excavation to 150 mm depth below proposed finished level, grading and formation surface preparation of Cricket Square. | m3 | 50 |  | 0
| Create a tilth to depth 10 mm. | m2 | 380 |  | 0
| Import, place, grade and consolidate 50 mm (consolidated depth - @ dbd 1.65 Mg m-3) cricket base loam. | m2 | 380 |  | 0
| Create a tilth to depth 10 mm. | m2 | 380 |  | 0
| Import, place, grade and consolidate cricket loam (100 mm depth @ dbd 1.65 Mg m-3) and marry in to surrounds. | m2 | 380 |  | 0
| Remove & dispose spoil on site. | m3 | 50 |  | 0
B3 | Final seedbed preparations, fertiliser application and seeding of the Cricket Square
3.1-3.3 | Stone rake and supply and spread fertiliser. | m2 | 380 |  | 0
| Supply and sow seed. | m2 | 380 |  | 0
B4 | Installation of a water supply to the cricket square
4.1, 4.4,4.5 | Supply and install a mains-fed 10,000L tank and pump system as per the specification. | Item | 1 |  | 0
4.2, 4.4,4.5 | Supply and install water pipe to connect square hydrant to pressurised supply from water tank (location to be confirmed). | Lin. m | 500 |  | 0
4.3 | Supply and install hydrant box and connect (to existing and new square). | Item | 4 |  | 0
4.4 | Supply and install water pipe to the mains water system and fittings. | Lin. m | 25 |  | 0
4.5 | Connection of the irrigation pump to the mains electricity supply . | Lin. m | 25 |  | 0
4.6 | Remove all spoil from site. | Item | 1 |  | 0
TOTAL PART B TO SUMMARY (EXCL. VAT) |  |  |  |  | 0
PART C: NON-TURF CRICKET PITCH
Item | Description | Unit | Number | £/unit | Cost (£)
C | Supply and installation of a non-turf cricket pitch. | Item | 1 |  | 0
TOTAL PART C (excl. VAT) TO SUMMARY |  |  |  |  | 0
PART D: AGRONOMIC MAINTENANCE TO HANDOVER [OUTFIELD]
Item | Description | Unit | Number | £/unit | Cost (£)
P1-P6 | Transport and Preliminaries. | Item | 1 |  | 0
D1 | Mowing. | Nr | 30 |  | 0
D2 | Granular fertiliser. | Nr | 4 |  | 0
D3 | Liquid fertiliser. | Nr | 2 |  | 0
D4 | Controlled release fertiliser. | Nr | 2 |  | 0
D5 | Plant growth regulator | Nr | 1 |  | 0
D6 | Herbicide. | Nr | 1 |  | 0
D7 | Overseeding . | Nr | 1 |  | 0
D8 | Verti-draining. | Nr | 2 |  | 0
D9 | Pest & Disease control (if required). | Nr | 1 |  | 0
D10 | Marking out | Nr | 1 |  | 0
D11 | Supply and installation of pitch corner markers. | Nr | 16 |  | 0
TOTAL PART D (excl. VAT) TO SUMMARY |  |  |  |  | 0
PART E: AGRONOMIC MAINTENANCE TO HANDOVER [CRICKET SQUARE]
Item | Description | Unit | Number | £/unit | Cost (£)
P1-P6 | Transport and Preliminaries. | Item | 1 |  | 0
E1 | Mowing. | Nr | 40 |  | 0
E2 | Fertiliser. | Nr | 4 |  | 0
E3 | Herbicide. | Nr | 1 |  | 0
E4 | Pest & Disease control (if required). | Nr | 1 |  | 0
E5 | Verti-cutting. | Nr | 6 |  | 0
E6 | Scarification. | Nr | 1 |  | 0
E7 | Spiking. | Nr | 2 |  | 0
E8 | Overseeding. | Nr | 1 |  | 0
E9 | Topdressing with cricket loam. | kg | 500 |  | 0
E10 | Rolling. | Nr | 10 |  | 0
TOTAL PART E (excl. VAT) TO SUMMARY |  |  |  |  | 0
SUMMARY
PART A: EARTHWORKS |  |  |  |  | 0
PART B: CRICKET SQUARE CONSTRUCTION |  |  |  |  | 0
PART C: NON-TURF CRICKET PITCH |  |  |  |  | 0
PART D: AGRONOMIC MAINTENANCE TO HANDOVER [OUTFIELD] |  |  |  |  | 0
PART E: AGRONOMIC MAINTENANCE TO HANDOVER [CRICKET SQUARE] |  |  |  |  | 0
SUB-TOTAL |  |  |  |  | 0
PROJECT CONTINGENCY (10%) |  |  |  |  | 0
TOTAL ESTIMATED COST OF CONTRACT (EXCL. VAT) |  |  |  |  | 0