## Cover
SPECIFICATION & PRICING DOCUMENT
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
for
THE FORESTRY COMMISSION
30th October 2016
Ref: 16518 Old Fold Farm Carlton Schedule of Works.xlsx
Note on G51: John Hayward:

## 1 Project Directory
SECTION 1 - PROJECT DIRECTORY
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
1.1 |  | Client & Contract Administrator (CA)
| Company | The Forestry Commission
| Address | Outgang Road,Pickering,Yorkshire,YO18 7EL
| Tel | +441751-472771
| Contact | Ian Langford
| mobile | +447747768022
| email | Ian.langford@forestry.gsi.gov.uk
1.2 |  | Quantity Surveyor
| Company | Mike Jackson Associates
| Address | St, Stephens House,St Leonards Road,Rotherham, S65 1PA
| Tel | 01709 382323
| email | Mikejacksonassoc@aol.com
1.3 |  | Principal Designer
| Company | Mike Jackson Associates
| Address | St, Stephens House,St Leonards Road,Rotherham, S65 1PA
| Tel | 01709 382323
| email | Mikejacksonassoc@aol.com

## 2 Prelims
SECTION 2 - PRELIMINARIES
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item |  | Description | Cost
2.1 |  | Description of the Project
1 | Project Team | Refer to Section 1 Project Directory
2 | Nature | Refurbishment of cottage
3 | Location | Old Fold Farm, Carlton, Nr Hemsley, North Yorkshire
4 | Works off Site | There are no works off site in connection with the works
5 | Start | Mid January 2017
6 | Complete | May / June 2017
7 | Works By Others | There will be no other contractors on site during the works.
8 | Form of Contract | NEC3 Engineering and Construction Short Contract 2013
2.2 |  | TENDERING
1 | Site Visit | The tendering contractor should visit the site and fully aquaint himself with al aspects of the project prior to submitting his tender. Arrangements to visit the site are to made with the CA, giving a minimum of 24 hours notice.
2 | Tendering Procedure | In accordance with JCT Practice Note 6 (Series 2) Main Contractor Tendering
3 | Errors | Alternative 2 is to apply
4 | Exclusions | Immediately advise the Quantity Surveyor (QS) if any parts of the work as defined in the tender documents cannot be priced, define those parts and state the reasons.
5 | Acceptance | The Employers and the QS offers no guarantee that any tender will be recommended for acceptance or be accepted.
The Employers will not be responsible for any cost incurred in the preparation of any tender.
6 | Validity | After submission of the tender, the Tenderer shall keep the tender open for consideration for not less than 13 weeks
7 | Pricing Preliminaries | The Project Directory, Pre-construction Information and Preliminaries are not set out in compliance with SMM7,
8 | Pricing Schedules of Work | Alterations and qualifications to the Schedules of Work must not be made without the written consent of the Quantity Surveyor. Tenders containing unauthorised alterations or qualifications may be rejected
The Schedule of Works must not be regarded as a complete statement of everything included in the Building Contract. The Contractor shall be deemed to have included for all work described on the drawings and in the Schedule of works as being necessary for the complete and proper execution of the works.
Measurements: Where not stated, ascertain from the drawings or site.
Costs relating to items, which are not priced, will be deemed to have been included elsewhere in the tender
The Tenderer shall allow for carrying out the works specified without inconvenience, nuisance and without danger to the work force or the public
The Contractor must programme all works to achieve completion within the designated Contract Period. The contractor must provide a programme of works prior to commencement on site.
The Employer will not accept any claim from the Contractor for working outside the hours defined in order to complete the whole of the works within the Contract Period.
All provisional sums and contingencies are to be expended either in whole or part at the discretion of the CA . Do not expend such sums without written instructions otherwise payment cannot be guaranteed.
The Employer and QS reserves the right to amend or omit the final scope of any items of the work options by instruction. No claims for loss, expense or delay shall be allowed in connection with the issue of any such instructions.
The Contractor shall indemnify the Employer against all third party claims emanating from the work.
9 | Priced Schedules | The priced schedule of works must be submitted with the tender. Each item must be separately priced and fully extended. All prices shall be exclusive of VAT.
10 | The Tender | Tenders must include for all work shown or described in the tender documents as a whole or clearly apparent as being necessary for the complete and proper execution of the Works.
11 | Fluctuations | Tenders are to be fixed price for the duration of the works.
12 | Programme | The Principal Contractor's proposed programme showing the sequence and timing of the principal parts of the Works, periods for planning and design, and itemising any work which is excluded must be submitted with the tender
13 | Method Statement | A draft method statement must be submitted with the tender describing how and when the Principal Contractor proposes to undertake and carry out the works which should include the information set out in the Pre Construction Information.
A site establishment drawing showing Principal Contractor's access to the works and maintenance of fire escape routes shall be issued by the Principal Contractor with his tender submission for discussion with the Contract Administrator.
14 | Proposed Sub-Contractors | The Principal Contractor shall include with his tender details of any proposed sub-contactors that he intends to use .
15 | Substitute Products | If the Contractor wishes to substitute products of different manufacture to those specified, details must be submitted with the tender giving reasons for each proposed substitution. Substitutions which have not been notified at tender stage may not be considered.
16 | Quality Control | A statement must be submitted with the tender describing the organisation and resources which the Contractor proposes and undertakes to provide to control the quality of the Works, including the work of subcontractors. The statement must include the number and type of staff responsible for quality control, with details of their qualifications and duties
2.3 |  | SUBLETTING / SUPPLY
1 | Domestic Subcontractors | Comply with the Construction Industry Board 'Code of Practice for the selection of subcontractors'
Before the start of work to which the list relates enter into a binding subcontract agreement and confirm that this has been done, giving the name of the selected subcontractor
2 | Co-ordination of Trades | The Contractor shall submit the names of all sub-contractors he intends using on the project to the CA for his approval.
2.4 |  | DOCUMENTS
1 | Drawings & Document | All documents provided on behalf of the Employers will be provided electronically
2 | Dimensions | Do not rely on scaled dimensions
3 | Measured Quantities | All quantities are indicative and are not subject to adjustment The accuracy and sufficiency of measured quantities is not guaranteed. The drawings shall take precedence over any measured quantities
4 | Specification | All sections must be read in conjunction with the Pre Construction Information, Preliminaries and the Main Contract conditions
Bring to the attention of the CA any discrepancy between the specification on the drawings and any instructions that are contrary to the Manufacturer’s recommendations.
2.5 |  | MANAGEMENT OF THE WORKS
1 | Supervision | Accept responsibility for coordination, supervision and administration of the Works, including subcontracts
Arrange and monitor a programme with each subcontractor, supplier, local authority and statutory undertaker, and obtain and supply information as necessary for coordination of the work
Provide a resident site working foreman to supervise the works for the duration of the contract period. The foreman shall be contactable by phone at all times.
The site foreman is to remain the same throughout the duration of the works, be experienced in this type of work, be responsible for supervision and control of these works and able to programme resources accurately and to effectively monitor and co-ordinate sub-contractors and suppliers.
No sub-contractors are to arrive on any site for the first time without being met and briefed by the main contractor’s site staff.
Prior to starting on site, the main contractor must provide ‘out of hours’ (24 hours a day, 7 days a week) emergency contact numbers - mobile telephones with answer machine service, for the contracts manager and site foreman and these personnel must be in a position to attend site within a reasonable period of time to deal with any event which poses a threat to the property.
The project team and all contractors must ensure that their management and operatives are polite and conduct themselves appropriately at all times.
2 | Insurance | Before starting work on site submit details, and/ or policies and receipts for the insurances required by the Conditions of Contract.
3 | Insurance Claims | If any event occurs which may give rise to any claim or proceeding in respect of loss or damage to the Works or injury or damage to persons or property arising out of the Works, immediately give notice to the Employer, the CA and the Insurers.
Indemnify the Employer against any loss, which may be caused by failure to give such notice.
| Facilities & Welfare | Welfare facilities shall be provided for the whole duration of the project which will not be allowed to commnce until adequaite welfare facilities are avaialable for all those working on the project.The level of welfare facilities should be appropriate to the numbers working on site at any time.The facilities are to comply as a minimum in all respects with Scheduule 2 of CDM 2015 and shall be maintained in a clean, sanitary and orderly conditions and kept well stocked with all consumable items
4 |  | The Principal Contractor shall allow for providing adequate accommodation for his managment staff and also for regular site meetings attended by 3 visitors suitably equiped with table, chairs, and adequate heating, lighting and attendance. Separate accommodation is not required.
5 | PPE | The Principal Contractor will be responsible for ensuring that all work people and sub-contractors are appropriately dressed at all times and that suitable clean personal protective equipment (PPE) is available for each operative. Any operative not wearing PPE as instructed in their method statements will be removed from the site and not permitted to return
6 | Lighting and Power for the works | Temporary supplies of small power can be taken from the existing electricity suppy located in the pantry of the cottage. The Employer will not be responsible for the consequences of failure or restriction in supply.
7 | Temporary Lighting | The Principal Contractor is to provide temporary lighting as required to meet his programme and achieve the quality required.
8 | Water for the works | Temporary supplies of water can be taken from the existing suppy located in the cottage . The Employer will not be responsible for the consequences of failure or restriction in supply.
9 | Telephone & Email | The Contractor shall provide temporary telephone and email facilities on the site as required for carrying out the Works. The Contractor's site agent/contracts manager is to have a mobile phone at all times.
10 | Security | The Contractor is to ensure that the building and site is left secure at the end of each working day. The Contracts Manager for the work should be in attendance at the end of each working day and must ensure that agreed security measures have been carried out.
11 | Existing cables & services | Allow for protecting any cables or services running adjacent to areas of work.
12 | Climatic Conditions | Record accurately and retain:
Daily maximum and minimum air temperatures (including overnight)
Delays due to adverse weather, including description of the weather, types of work affected and number of hours lost
13 | Plant | The Principal Contractor shall provide all plant for his works and that of all of his sub-contractor's and suppliers for the execution of the works as set out on the drawings
14 | Hoisting | The Contractor shall be responsible for and shall allow for the unloading, placing in and removal from store and hoisting of all materials and plant, during the course of the works.
15 | Noise Control | Comply generally with the recommendations of BS 5228-1, clause 9.3 to minimise noise levels during the execution of the Works.
Equipment: Fit compressors, percussion tools and vehicles with effective silencers of a type recommended by manufacturers of the compressors, tools or vehicles.
16 | Pollution | Protect the site, the Works and the general environment including streams and waterways against pollution
If pollution occurs inform immediately inform the Employer the CA and the appropriate Authorities and provide relevant information
17 | Nuisance | Prevent nuisance from smoke, dust, rubbish, vermin and other causes
Prevent hazardous build-up of surface water on site, in excavations and to surrounding areas and roads.
Take measures to control the generation of dust, prevent dust accumulation by regular removal and provide suitable PPE to operatives including gloves, masks and protective clothing
18 | Pesticides | The use of pesticides is prohibited
19 | Moisture | Take necessary measures to achieve satisfactory humidity levels to undertake finishing trades & services
Prevent wetness or dampness where this may cause damage to the Works
Drying out: Control humidity and the application of heat to prevent:
Blistering and failure of adhesion.
Damage due to trapped moisture.
Excessive movement.
20 | Infected Timber | Remove any infected timber from site
21 | Drainage | The Principal Contractor must take all precautions to prevent wastes, gullies, drains and manholes, whether within the site curtilage or without, being used for the disposal of slurry, paint cleanings, plaster waste etc. Particular attention will be paid to this matter by the supervisory staff and the Contractor will be required to clear away waste found. All drains will be required to be tested and a CCTV survey carried out prior to Practical Completion being achieved
22 | Advertising | The advertising rights are reserved by the Employer and the Contractor is to keep the site, etc., and fencing and hoardings, etc., free from all unauthorised advertisements.
2.6 |  | PROTECTON
1 | Existing Services | Prior to commencement of works, the contractor and all works personnel shall make themselves familiar with the positions of all existing services within the site area.
Maintain all existing drainage during the progress of the works.
Confirmation: Notify all service authorities, statutory undertakers and/or adjacent owners of proposed works not less than one week before commencing site operations.
Identification: Before starting work, check and mark positions of mains/services. Where positions are not shown on drawings obtain relevant details from service authorities, statutory undertakers or other owners.
Work adjacent to services:
Comply with service authority's/statutory undertaker's recommendations.
Adequately protect, and prevent damage to services: Do not interfere with their operation without consent of service authorities/statutory undertakers or other owners.
Identifying services:
Below ground: Use signboards, giving type and depth;
Overhead: Use headroom markers.
Damage to services: If any results from execution of the Works:
Immediately give notice and notify appropriate service authority/statutory undertaker.
Make arrangements for the work to be made good without delay to the satisfaction of service authority/statutory undertaker or other owner as appropriate.
Any measures taken to deal with an emergency will not affect the extent of the Contractor's liability.
Marker tapes or protective covers: Replace, if disturbed during site operations, to service authority's/statutory undertakers recommendations
2 | Roads & Footpaths | Duty: Maintain roads and footpaths within and adjacent to the site and keep clear of mud and debris.
Damage caused by site traffic or otherwise consequent upon the Works: Make good to the satisfaction of the Employer, Local Authority or other owner
3 | Existing Work | The Contractor is to allow for providing adequate protection to all surfaces, retained furniture, finishes and equipment at all times. Coverings/ Finishes to be retained are to be adequately boarded over and protected.
4 | Building Interiors | Prevent exposure to weather during course of alteration work
5 | Furniture, Fittings &Equipment | All materials stored on site shall be adequately protected from the elements during the course of the works. At no time will the Contractor leave any exposed works unprotected overnight. Any damage shall be the sole responsibility of the Contractor and will be required to be made good to the satisfaction of the CA.
6 | Items for Re-use | Materials noted to be taken down or otherwise removed for “reuse” should be carefully stored on site, protected from damage or theft and re-fixed as described. Any damage caused to materials removed for “reuse” shall be made good entirely at the expense of the Principal Contractor. Unless otherwise specifically permitted and described, no materials arising from these works shall be used in the finished works.
7 | Existing Structures | Duty: Check proposed methods of work for effects on adjacent structures inside and outside the site boundary.
Obtain design loads, support as necessary and prevent overloading
Provide and maintain all incidental shoring, strutting, needling and other supports as may be necessary to preserve stability of existing structures on the site or adjoining, that may be endangered or affected during the execution of the Works.
Do not remove until new work is strong enough to support existing structure.
Prevent overstressing of completed work when removing supports.
Standard: Comply with BS 5975 and BS EN 12812.
2.7 |  | Security,
1 | Security | Safeguard the site, the Works, products, materials, and any existing buildings affected by the Works from damage and theft.
2.8 |  | PROGRAMME / PROGRESS
1 | Programme | Immediately when requested and before starting work on site submit to the CA for comment and approval a master programme for the Works, which must include details of:
Planning and mobilisation by the Contractor
Subcontractor's work.
Work resulting from instructions issued in regard to the expenditure of provisional sums.
Work by others concurrent with the Contract
2 | Commencement | Confirm to the CA at least seven working days before the proposed date for commencement of work on site that the works are to proceed.
3 | Monitoring | Record progress on a copy of the programme kept on site.
If any circumstances arise which may affect the progress of the Works submit proposals or take other action as appropriate to minimize any delay and to recover any lost time.
4 | Site Meetings | Site meetings will be held to review progress and other matters arising from the administration of the Contract.
frequency - at intervals of 4 weeks or more frequently if required
location - Contractors Site Meeting Room
chair - CA - will take and circulate notes of the meeting
Attendees: The Principal Contractor shall attend meetings and inform subcontractors and suppliers when their presence is required.
The Principal Contractor is to arrange meeting with his own sub-contractors and suppliers as necessary to facilitate progress and the accurate performance thereof.
5 | Contractors Report | Submit a progress report to the CA three days prior to each CA's site meeting. Notwithstanding the Contractor's obligations under the Contract the report must include:
A progress statement.
Details of any matters materially affecting the regular progress of the Works.
Any requirements for further drawings or details or instructions to enable the CA to fulfil his obligations under the Contract
6 | CA Instructions | The Contractor is to accept instructions from the Contract Administrator or his authorised representative only. The Contract Administrator cannot guarantee payment for any works that the Contractor has undertaken from instructions given from any other person.
7 | Adverse Weather | Use all reasonable and suitable building aids and methods to prevent or minimise delays during adverse weather conditions
8 | Extension of Time | When a notice of the cause of any delay or likely delay in the progress of the works is given under the contract, written notice must also be given of all other causes which apply concurrently. The Principal Contractor must submit the following information with the notice:
Relevant particulars of the expected effects, if appropriate, related to the concurrent causes.
An estimate of the extent, if any, of the expected delay in the completion of the Works beyond the date for completion.
All other relevant information required
2.9 |  | CONTROL OF COST
1 | Cash Flow Forecast | As soon as possible and before starting work on site submit to the CA a forecast showing the gross valuation of the Works at the date of each Interim Certificate throughout the Contract period and based upon the programme for the Works
2 | Removal / Replacement of Existing Work | Agree scope prior to commencement and carry out in ways that minimize the extent of works
3 | Proposed Instruction | If requested in a proposed instruction submit estimate within 5 working days
4 | Measurement | Give notice before covering work to be measured
5 | Interim Applications | Include details of amounts due under the Contract together with all necessary supporting information, application to be submitted two days prior to the date that the interim application is due.
2.1 |  | INSPECTION AND DEFECTIVE WORK
1 | Access | Provide at all reasonable times access to the Works and to other places of the Contractor or subcontractors where work is being prepared for the Contract.
2 | Defects in Existing Work | When undocumented defects are discovered, immediately give notice. Do not proceed with affected related work until response has been received
Do not execute work which may:
Hinder access to defective products or work; or
Be rendered abortive by remedial work
3 | Tests & Inspections | Not Applicable
4 | Defective Products | Proposals: Immediately any work or product is known, or appears, to be not in accordance with the Contract, the Contractor shall submit proposals for opening up, inspection, testing, making good, adjustment of the Contract Sum, or removal and re-execution.
The CA will issue contrary instructions if Contractors proposal is unacceptable
5 | Damage | The Principal Contractor shall make good any damage to retained finishes, surfaces and paving caused as a direct result of the access equipment and plant, or to the compound area shall be rectified at his own expense.
The Principal Contractor must make good, at his own expense, any damage to the property of the Employer, caused as a result of the works, which damage could have been reasonably foreseen and prevented.
2.11 |  | COMPLETION
1 | Prior to Completion | Make good all damage and defects consequent upon the Works
2 | Notice of Completion | The Principal Contractor shall give the CA a minimum period of two weeks notice of the anticipated dates of completion of the whole or parts of the Works.
The Principal Contractor shall ensure necessary access, services and facilities are complete.
3 | Practical Completion | The Certificate of Practical Completion will not be issued by the CA until the Principal Designer has confirmed receipt of a draft Health & Safety File from the Principal Contractor.
4 | Security | Leave the Works secure with, where appropriate, all doors closed and locked and hand over to the Employer 4 sets of labelled keys for each external door and any sundry locking handles or keys
5 | Making Good Defects | Notify the CA when remedial works have been completed
|  | TOTAL PRELIMINARIES TO FORM OF TENDER | 0

## 4 Preamble
SECTION 4 PREAMBLE
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description
5.1 | Preamble
1 | A selection of photographs are contained in Site Record Sheets dated 15th Septenber 2016 to help with your understanding of the specified works and working areas.
2 | This Schedule of Works has been prepared to indicate the format and minimum requirements of the build up of the tender amount. The Employer does not guarantee and takes no responsibility for the accuracy of the scope and any quantities stated in the Schedule of Works below. The Contractor should therefore list and include for any items of work described on the Contract Drawings and Specifications not included on the Schedule of Works below in the space provided.
3 | Dispose means remove to rubbish collection area and remove from site to certified tip
4 | Dry Lining internal walls means lining the internal face of external walls and existing internal walls with 12.5mm plasterboard mounted on suitable metal of timber battens, breathable insulation and finish with 3mm skim coat to finish including trimming to window and door openings, all necessary stainless steel angle beads and extending skin coat to reaveals of windows door returns whereaplicable. Quantity measured over openings
5 | Dry Lining sloping means lining the internal face of sloping eaves with 12.5mm plasterboard foil bacaked insulated plasterboards screwed through existing finish with 3mm shim coat finish including trimming to window and door openings, all necessary stainless steel angle beads and extending skin coat to reaveals of windows door returns whereaplicable. Quantity measured over openings.
6 | Dry lining ceilings means lining the internal face of the existing ceilings with 12.5mm plasterboard screwed through existing ceiling finish to the joists with 3mm skim coat to finish
7 | Make good timber suspended flloors means; carefully replace any damaged or previously removed boards, firmly fix down all loose and rocking boards, sand down as necessary to receive floor finish by others
8 | Fit skirtings means supply and fit 150 x 19 mm MDF skirting, square section, internal and external angles, square stop ends mechanically fixed to dry lined walls
9 | Fit window board means supply and fit 450 x 25 mm MDF window board section with twice pencil rounded edges to arisses and returns, square stop ends mechanically fixed to window opening.
10 | 80mm stud work partition means supply and fit lightweight partition of 38 x 55mm timber/ metal studwork, 12.5mm plasterboard on each side, suitable acoustic insulation ( min 25mm thick, 10kg/m3 acoustic partition roll ) in void
| TOTAL PREAMBLE TO FORM OF TENDER | 0

## 5 Schedule of Works
SECTION 5 SCHEDULE OF WORKS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
| Works for Ground and First Floors | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
5.1 | Demolitions & Alterations
1 | Make safe electrical supply, located in Pantry and provide temporary supply for the duration of the works | 1 | item |  | 0
2 | Protect cold water supply, use for duration of the works and leave ready for re-connection | 1 | item |  | 0
3 | Take down and remove all asbestos containing materials from the site and dispose in a licenced tipping facility *See asbestos survey dated……….. for full details) | 1 | item |  | 0
4 | Disconnect and remove from site all sinks, sanitary fittings, etc | 1 | item |  | 0
5 | Disconnect and remove from site all radiators, etc | 1 | item |  | 0
6 | Remove all electrical fittings, light fittings, sockets and spurs | 1 | item |  | 0
7 | Inspect first floor, floor boards and take up any that are damaged | 1 | item |  | 0
8 | Take down ceilings where damaged or where access required for removing / installing services | 1 | item |  | 0
9 | Strip out all hot and cold water supply and heating pipework | 1 | item |  | 0
10 | Remove all electrical fittings, light fittings, sockets and spurs | 1 | item |  | 0
11 | Strip out all electrical wiring. | 1 | item |  | 0
12 | Remove existing window and cill, frame, and internal linings, dispose and prepare opening ready for fitting new windows . | 7 | No |  | 0
13 | Remove externall door, dispose and prepare opening to receive new door set | 3 | No |  | 0
14 | Remove internal door, dispose and prepare opening to receive new door set | 5 | No |  | 0
15 | Strip softwood timber cladding from sitting room wall | 1 | item |  | 0
16 | Remove and dispose kitchen fittings and white goods | 1 | item |  | 0
17 | Form opening through external walls for kitchen extract and washer / dryer vent, and fit external grill with insect mesh | 2 | No |  | 0
18 | Sweep chimney, overhaul fireplace o/a 1.82 x 1.55m high in Kitchen and leave ready for use | 1 | item |  | 0
19 | Sweep chimney, overhaul fireplace o/a 1.48 x 1.75m high in Sitting Room and leave ready for use | 1 | item |  | 0
20 | Fill in recess in side wall of store o/a 0.8 x 0.55 x 0.45m deep | 1 | item |  | 0
21 | Provisional sum for provision of flue liners or further work to chimneys | 1 | item | 500 | 500
500
5.2 | Ground Floor
1 | Take up existing flags and set aside for re-use | 50 | m2 |  | 0
2 | Excavate to reduce levels to receive new insulated concrete floor - 250mm deep and dispose of excavated material | 12 | m3 |  | 0
Lay new concrete floor comprising :
3 | Level and compact sub floor | 50 | m2 |  | 0
4 | Visqueen 1200 DPM turned up walls at perimeter | 50 | m2 |  | 0
5 | 100mm Celotex GA400 under slab insulation | 50 | m2 |  | 0
6 | 125mm Grade C30 concrete slab with tamped finish | 50 | m2 |  | 0
7 | 15mm Flexcell joint between new floor and existing walls | 60 | m |  | 0
8 | Take from store selected stone flags and lay on new concrete floor , bedded and jointed in mortar ( Provisional) | 25 | m2 |  | 0
9 | Supply new stone flags and lay on new concrete floor , bedded and jointed in mortar ( Provisional) | 25 | m2 |  | 0
10 | Install injected damp proof course to the perimeter of the ground floor external walls and internal walls and provide certificate and guarantee | 1 | item |  | 0
New concrete floor to garage ( Provisional)
11 | Excavate to reduce levels to receive new floor - 150mm deep and dispose of excavated material | 3 | m3 |  | 0
12 | Level and compact sub floor | 18 | m2 |  | 0
13 | Visqueen 1200 DPM turned up walls at perimeter | 18 | m2 |  | 0
14 | 150mm Grade C30 concrete slab with tamped finish | 18 | m2 |  | 0
15 | 15mm Flexcell joint between new floor and existing walls | 17 | m |  | 0
0
5.3 | First Floor
1 | Treat first floor joists, wall plates and floor boards with approve dry rot / fungicidal treatment and provide certificate and guarantee | 1 | item |  | 0
2 | Check all floor boards and ensure securely fixed, make good timber suspended floors | 43 | m2 |  | 0
3 | Replace damaged floor boards and relay ( Provisional) | 15 | m2 |  | 0
4 | Lay on existing floor boards Collecta Fibre Fon Micro 50 sound absorbant matting | 43 | m2 |  | 0
5 | Cellecta Deckfon Quattro 39 acoustic T & G boarding laid on floor boards or joists | 43 | m2 |  | 0
6 | Resilient floating strip, Collecta Yelofon ES5/100 around perimeter of each room to isolate the floor from the walls and skirtings. | 47 | m |  | 0
7 | Provisional Sum for work to or repacing straight flight staircase and balustrade | 1 | tem | 1500 | 1500
1500
5.4 | Roof Structure including Garage
1 | Strip existing roof tiles, battens and underlay, gutters and down pipes etc and dispose off site | 124 | m2 |  | 0
2 | Treat roof structure rafters,joists, wall plates etc with approve dry rot / fungicidal treatment and provide certificate and guarantee | 1 | item |  | 0
3 | Remove / cut out damaged section of structural timber and replace with 100 x 50 mm structural grade treated timber (Provisional) | 50 | m |  | 0
4 | Remove / cut out damaged section of structural timber and replace with 100 x 75 mm structural grade treated timber (Provisional) | 30 | m |  | 0
5 | Remove / cut out damaged section of structural timber and replace with 150 x 50 mm structural grade treated timber (Provisional) | 20 | m |  | 0
6 | Treated 19mm softwood eaves / soffit boarding o/a girth 300mm | 18 | m2 |  | 0
7 | Supply and Install new 500 x 750mm velux double glazed roof window to the new bathroom including flashing kit to roof tiles,and galzed in obscure glass | 1 | no |  | 0
8 | Supply and Install new 500 x 750mm velux double glazed roof window to the new bathroom including flashing kit to roof tiles,and galzed in clear glass | 1 | no |  | 0
0
5.5 | Roof Covering including Garge
1 | New clay roof tiles to match extsing on 19 x 12mm treated softwood battens on single layer of sarking felt | 124 | m2 |  | 0
2 | New clay ridge tiles | 18 | m |  | 0
3 | Extra for detail and eaves and gables | 54 | m |  | 0
4 | Overhaul chimney including raking out loose mortar and repointing in lime mortar, replace lead flashing and provide new cowel | 2 | No |  | 0
5 | Lay 100mm of mineral wool quilt insulation ( 10-36 kg /m3) between joist | 38 | m2 |  | 0
6 | Lay a further layer of 100mm mineral quilt insulation (10-35 kg /m3) at right angles to the rafters over insulation | 38 | m2 |  | 0
7 | Lay 100mm of mineral wool quilt insulation ( 10-36 kg /m3) above sloping soffits | 33 | m2 |  | 0
8 | Black PVC 100mm half round gutters fixed to eaves boarding including all joints, brackets etc fixed as manufacturers instructions, including plastic leaf mesh clipped to top of gutter and plastic balloons to outlets | 35 | m |  | 0
9 | Black PVC down pipes fixed to stone walls including all joints, holderbatts etc fixed as manufacturers instructions (4 No) | 14 | m |  | 0
0
5.6 | External Walls including Garage
1 | Provide new steel lintol over opening to garage | 1 | item |  | 0
2 | Cut out cracks in stone joints insert 12mm re-bar and repoint ( Provisional ) | 20 | m |  | 0
3 | Provisonal sum for further repairs | 1 | item | 1500 | 1500
4 | Rake out loose mortar and repoint external stonework in lime mortar | 155 | m2 |  | 0
1500
5.7 | Internal Walls / Dry Lining
1 | Hack off any loose or damp affected plaster (Provisional) | 50 | m2 |  | 0
2 | Dub out walls where plaster has been hacked off to receive dry lining ( Provisional) | 50 | m2 |  | 0
3 | Dry line internal walls to ground floor comprising battens mechanically fxied to walls, breathable insulation and single layer 12mm plasterboard | 124 | m2 |  | 0
4 | Dry line internal walls to ground floor comprising battens mechanically fxied to walls, breathable insulation and single layer 12mm plasterboard | 70 | m2 |  | 0
5 | Dry line sloping eaves with insulated foil backed plasterboard | 33 | m2 |  | 0
6 | Dry line ceiling with plasterbaord | 45 | m2 |  | 0
7 | Skim coat plaster on dry lined walls | 194 | m2 |  | 0
8 | Skinm coat plaster on dry lined sloping soffit | 33 | m2 |  | 0
9 | Skim coat plaster on dry lined soffit | 45 | m2 |  | 0
10 | 80mm studwork partition to form two sides of new Bathroom in corner of Bedroom 2 o/a 1.60 x 1.90m on plan inc one door opening | 7 | m2 |  | 0
11 | 80mm studwork partition to form landing at top of stairs 5.07m girth including two external angles and one door opening | 10 | m2 |  | 0
12 | Skim coat plaster on dry lined partitions | 34 | m2 |  | 0
0
5.8 | Finishes & Decorations
1 | Supply and fit 150 x 19 mm MDF skirting, square section skirting including internal and external angles, square stop ends mechanically fixed to dry lined walls, primed both sides before fixing | 123 | m |  | 0
2 | Supply and Fit 450 x 25 mm MDF window board with twice pencil rounded front edges, square stop ends mechanically fixed to window opening o/a 0.8 to 1.00 m long , primed both sides before fixing | 3 | No |  | 0
3 | Supply and Fit 450 x 25 mm MDF window board with twice pencil rounded front edges, square stop ends mechanically fixed to window opening o/a 1.20 to 1.40m long , primed both sides before fixing | 3 | No |  | 0
4 | Sand and wash down exposed joists and timber soffit to ground floor and paint with two coats of satin stain | 43 | m2 |  | 0
5 | Prepare for redecoration and paint ceiling and sloping soffis with one mist and two coats of Dulux trade matt; white. | 78 | m2 |  | 0
6 | Prepare for redecoration and paint ceiling and sloping soffis with one mist and two coats of Dulux trade matt; white. | 228 | m2 |  | 0
7 | Sand and wash down window linings, door linings and architraves, skirtings and other woodwork ,prepare for decoration and paint one undercoat and two coats of Dulux trade oil paint finshed satin, white | 1 | item |  | 0
8 | Supply and lay broadloom carpet (PC £15/m2 supply only) on and including suitable underlay - to Bedrooms | 40 | m2 |  | 0
9 | Supply and lay vinyl tiles (PC £15/m2 supply only ) on and 12mm including plywood sheathing layer - to Bathroom | 3 | m2 |  | 0
10 | Supply and fix ceramic tiles (PC £20/m2 supply only ) on and including skimmed plaster - to Kitchen & Pantry splashback, Bathroom-bath suround & basin splashback,including plastic edging to exposed edges | 8 | m2 |  | 0 |  | ♦
0
5.9 | Fixtures and Fittings
1 | Provisional Sum for supply of pre-assembled kitchen / pantry base, wall fittings and work tops | 1 | Item | 1500 | 1500
2 | Provisional Sum for supply hob, oven, extractor, fridge and washer/ dryer | 1 | Item | 1200 | 1200
3 | Install pre-assembled kitchen fittings,plinths, plumbing in sink etc | 1 | Item |  | 0
4 | Install and connect hob, oven, extractor, fridge and washer/dryer | 1 | Item |  | 0
5 | Purpose made soft wood shelving and door to kitchen recess o/a 700 x1,250mm hig x 350mm deep with braced and ledges door, primed boths sides before fixing including prepare for decoration and paint one undercoat and two coats of Dulux trade oil paint finshed satin, white | 1 | Item |  | 0
2700
| TOTAL SCHEDULE OF WORKS TO FORM OF TENDER |  |  |  |  | 6200

## 6 Windows and External Doors
SECTION 6 WINDOWS AND EXTERNAL DOORS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
6 | Windows & External Doors
6.1 | Supply only windows and external doors
1 | Purpose made to suit existing openings,replacement high performance treated softwood Yorkshire casement windows with factory applied hi-build stain finish with matching cils externally beaded casements with full integated weather stripping, system 4 trickle ventilation, factory fitted glazing with minimum 24 mm ( 4mm-16mm cavity-4mm) argon filled double glazed units with low -emissivity coating. All opening casements are to be fitted with easi-clean hinges (to enable all windows to be cleanable from inside without the need for external access) and polished chrome handles.
2 | External doors and frames to be in softwood with factory applied hi-build stain finish, ledged and braced construction, purpose made to suit existing openings fitted with Yale and mortice lock part M hardwwood theshold
3 | All windows and doors to meet the ventilation requiremnts of the current Buiilding Regulations and Better by Design security standard.
9 | Kite marked safety glass in compliance with BS6206 and Approved Document K of the Building Regulations to be used in all critical locations - ie any glazing occuring below 800mm above FFL or below 1500mm in external doors,side panels etc.
10 | Take site measureemnts of prepared openings prior to manufacture | 1 | item |  | 0
11 | Kitchen Window - 1,327 x 1,040mm high | 1 | No |  | 0
12 | Sitting Room Windows -1,241 x 840mm high | 1 | No |  | 0
13 | Store Room Window - 1,192 x 900 mm high | 1 | No |  | 0
14 | Bedroom 2 Window - 1,265 x 800mm high | 1 | No |  | 0
16 | Bedroom 1 Window - 847 x 640mm high | 1 | No |  | 0
17 | Bedroom 3 Windows -869 x 610mm high | 1 | No |  | 0
18 | Front Door - 983 x 1,900mm high | 1 | No |  | 0
19 | Rear Door to Store -1,062 x 1,740mm high | 1 | No |  | 0
20 | External WC Door - 850 x 1,800mm high | 1 | No |  | 0
21 | Garage Door - 2141 x 1,800mm high - paiir of ledgesd and braced garage doors with rebated meetiing stiles | 1 | No |  | 0
22 | Supply only internal ironmongery sets ( 3 No Doors) | 3 | No |  | 0
23 | Supply only internal ironmongery sets ( 1 Pair Garage Doors) | 1 | No |  | 0
0
6.2 | Fix Windows & External Doors -
1 | Fix only the following:
2 | Kitchen Window - 1,327 x 1,040mm high | 1 | No |  | 0
3 | Sitting Room Windows -1,241 x 840mm high | 1 | No |  | 0
4 | Store Room Window - 1,192 x 900 mm high | 1 | No |  | 0
5 | Bedroom 2 Window - 1,265 x 800mm high | 1 | No |  | 0
6 | Bedroom 1 Window - 847 x 640mm high | 1 | No |  | 0
7 | Bedroom 3 Windows -869 x 610mm high | 1 | No |  | 0
8 | Front Door - 983 x 1,900mm high | 1 | No |  | 0
9 | Rear Door to Store -1,062 x 1,740mm high | 1 | No |  | 0
10 | External WC Door - 850 x 1,800mm high | 1 | No |  | 0
11 | Fix only ironmongery sets - External doors | 3 | No |  | 0
12 | Fix only ironmongery sets - Garage Door | 1 | No |  | 0
11 | Mastic point all sides of the windows and doors internally and externally with non-hardening polysulphide mastic with 10mm convex pointing | 1 | item |  | 0
0
| TOTAL WINDOWS & EXTERNAL DOORS TO FORM OF TENDER |  |  |  |  | 0

## 7 Internal Doors
SECTION 7 INTERNAL DOORS & JOINERY
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
7 | Internal Doors
7.1 | Supply only internal doors
Supply only purpose made braced and ledged pattern doors sets with MDF frames/ linings, stops and architraves, all primed ready for painting
1 | Site measure all internal door openings prior to confirming order for doors - | 1 | item |  | 0
2 | Pantry Door - 800 x 1,800mm high | 1 | No |  | 0
3 | Sitting Room Door - 980 x 1,700mm high | 1 | No |  | 0
4 | Store Room Door -850 x 1,750mm high | 1 | No |  | 0
5 | Bedroom 3 Door - 730 x 1,670mm high | 1 | No |  | 0
Supply only BWF certified FSD30 purpose made soild core flush doors with side and top edge intumescent seals, MDF frames/ linings, stops and architraves, all primed ready for painting
6 | Bedroom 1 Door - 820 x 1,730mm high | 1 | No |  | 0
Supply only BWF certified FSD30 standard soild core flush doors with side and top edge intumescent seals, MDF frames/ linings, stops and architraves, all primed ready for painting
7 | Bedroom 2 Door - 900 x 1,960mm high | 1 | No |  | 0
Supply only standard soild core flush doors MDF frames/ linings, stops and architraves, all primed ready for painting
8 | Bathrom Door - 900 x 1,960mm high | 1 | No |  | 0
36 | Supply only internal ironmongery sets ( 7 No Doors) | 1 | item |  | 0
0
7.2 | Fix Internal Doors & Frames -
1 | Fix only door and frame sets - Existing openings | 5 | No |  | 0
2 | Fix only door and frame sets - New openings | 2 | No |  | 0
3 | Fix only ironmongery sets | 7 | No |  | 0
4 | Mastic point sides and top of the architraves both sides with non-hardening polysulphide mastic with 5mm convex pointing | 7 | No |  | 0
0
| TOTAL INTERNAL DOORS TO FORM OF TENDER |  |  |  |  | 0

## 8 Sanitary Installations
SECTION 8 SANITARY INSTALLATIONS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
8 | Sanitary Installations
1 | Sanitary Fittings to be in white vitreous china to BS 3402
2 | All fittings are to comply with Building Regulations Approved Document G 2015 Edition - the estimated water consumption of the dwelling must not exceed 125 litres per person per day. A Water Efficiency Calculation is to e provided in respect of the kitchen, utility and sanitary fitting suppliers
3 | Provide water efficiency calculation is respect of kitchen, utility and sanitary fittings | 1 | Item |  | 0
8.1 | Waste Plumbing
1 | Install waste plumbing installation to BS 5572 in white PVCu pipes and fittings, SVP's and WC's in 100mm, Sink, baths and showers in 50mm, hand basins in 40mm ( 32mm in runs under 2m) , all traps 75mm | 1 | Item |  | 0
2 | Allow for terminating SVP,minimum 900mmabove any window head including installation of vent tile and proprietory flashing | 1 | Item |  | 0
3 | Allow for air admiitence valves to SVP's which are not at the head of a drain run | 1 | Item |  | 0
4 | Allow for encasing all soil and vent pipes in plasterboard duct casings finished with a skim coat for painting, including provison of an acess panel for rodding, and packing duct with acoustic insulation.and also packing floor voids with acoustic insulation where the pipes pass through floors | 1 | Item |  | 0
5 | Allow for all necessary builders work in connection with the sanitary instalation | 1 | Item |  | 0
6 | Upon completion of new sanitary plumbing installation, test in accordance with minimum standard set by relevant Codes of Practice and the local authority and issue satisfactory test certificate | 1 | Item |  | 0
0
8.2 | Family Bathrrom
1 | Floor -mounted WC pan and cistern with horizontal outlet,white plastic seat & cover with stainles steel rod and chrome plated hinges | 1 | Item |  | 0
2 | 30cm inset washin | 1 | Item |  | 0
3 | Chrome-plated monoblack pillar washbasin mixer with pop-up waste | 1 | Item |  | 0
4 | White melamine vanity unit -600mm wide
5 | White enamelled steel bath with chrome plated mixer tap and a wall | 1 | Item |  | 0
6 | Chrome plated mixer tap with wall mounted thermostatic shower attachement
7 | Glass shower panel to edge of bath with support brackets and wall struts etc. | 1 | Item |  | 0
8 | Assemble and install the foregoing sanitary fittings including connection to hot and cold water supplies and waste pipes | 1 | Item |  | 0
0
8.3 | External Toilet
1 | Floor -mounted WC pan and cistern with horizontal outlet, white plastic seat & cover with stainless steel rod and chrome plated hinges | 1 | Item |  | 0
2 | 30 cm wall mounted wash hand basin | 1 | Item |  | 0
3 | Chrome-plated monoblack pillar washbasin mixer with pop-up waste | 1 | Item |  | 0
4 | Assemble and install the foregoing sanitary fittings including connection to hot and cold water supplies and waste pipes | 1 | Item |  | 0
0
| TOTAL SANITARY INSTALLATION TO FORM OF TENDER |  |  |  |  | 0

## 9 Mechanical Instalations
SECTION 9 MECHANICAL INSTALLATIONS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
9 | Mechanical Installation
1 | Contractor to design mechanical services installation with concealed pipework and wiring giving due consideration to specification of pipework in insulated zones,ie - ceiling voids and roof spaces and ensuring that where cabling passes through floors or ceilings the opening is to be packed with acoustic quilt.
2 | The heating shall be designed to provide the internal temperatures listed below with an external ambient of temperature of -3°C. Allowance should be made for 1 air change per hour due to infiltration together with any allowances required due to mechanical ventilation as stated below in item 3.06 ventilation
Location Air Temp
Cottage 19 degrees C
3 | Instal extract ventilation to Kitchen & Bathroom including builders work as required, installation of wind & weatherproof external extract grill with insect mesh. Should it be necessary to route ductwork through the roof it shall terminate with weatherproof upstand flashing, proprietary ridge or vent tiles and finished with a weatherproof cowl 900mm above any window head
9.1 | Heating and Hot and Cold Water
1 | Design hot & cold water and heating installation to Cottage including agreement of location of radiators with the CA | 1 | Item |  | 0
2 | Provide internal electrical supply from new distribution board to electric boiler ( located on external wall of Pantry) | 1 | Item |  | 0
3 | Provide new cold water installation from incoming main including new supplies to kitchen, pantry, bathroom, external WC and outside tap | 1 | Item |  | 0
4 | Domestic hot water and heating installation by electric condensing boiler with two control zones and three channel programmer with separate circuits for each floor with local temperature control by TRV controlled radiators | 1 | Item |  | 0
5 | 150 litre megaflow type twin coil unvented, insulated hot water cylinder complete with thermostat and motorised valves, isolation valve and fitted with immersion heater loacted in bathroom | 1 | Item |  | 0
6 | Wall mounted Misson SX Select Compact radiators sized to suit each room, with as a general guide a radiator below each window, each radiator fitted with thermostatic radiator valves. Allow for chrome towel rails to bathroom fitted with electric heaters for summer use . | 1 | Item |  | 0
7 | Provide in concealed locations flow and return hot and cold water and heating pipework | 1 | Item |  | 0
8 | Provide insulation | 1 | Item |  | 0
9 | Allow for all necessary builders work in connection with the heating and hot and cold water installation | 1 | Item |  | 0
10 | Upon completion of new heating and hot water installation, test in accordance with minimum standard set by relevant Codes of Practice and the local authority and isssue satisfactory test certificate and provide operation & maintenance manuals | 1 | Item |  | 0
0
9.2 | - Ventilation
1 | Provide extract ductwork to cooker hood extractor in Kitchen | 1 | Item |  | 0
2 | Provide extract ductwork and intermittent low energy extract fan to bathroooms - first floor - minimum rate 15 l /sec with 15 minute overun | 1 | Item |  | 0
7 | Allow for insulating ductwork running in roof space | 1 | Item |  | 0
8 | Allow for all necessary builders work in connection with the ventilation installation
9 | Upon completion of new heating and hot water installation, test in accordance with minimum standard set by relevant Codes of Practice and the local authority and issue satisfactory test certificate and provide operation & maintenance manuals | 1 | Item |  | 0
0
| TOTAL MECHANICAL INSTALLATION TO FORM OF TENDER |  |  |  |  | 0

## 10 Electrical Instalations
SECTION 10 ELECTRICAL INSTALLATIONS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
10 | Electrical Installation
1 | Contractor to design electrical installation with concealed wiring giving due consideration to specification of cabling in insulated zones,ie - ceiling voids and rof spaces and ensuring that where cabling passes through floors or ceilings the opening is to be packed with acoustic quilt.
2 | All electrical works to be in accordance with requiremants of Approved Document P installed and checked by a suitably qualified Competent Person
3 | Ensure all luminaires are equally spaced to suit the environment and required lighting levels
4 | All switches, sockets, spurs and other items of ancillary equipment shall be flush white as manufactured by MK Logic range.
5 | Sockets, spurs , cooker sockets etc fitted above worktops are to be in brushed stainless steel
6 | Lighting to shall comprise low energy recessed chrome plated ceiling down lighters in the kitchens, pantry, sitting room, store bathroom ( IP Rated) with low energy ceiling pendants fitted in the bedrooms and external WC (IP Rated) . Each luminaire is to be complete and fitted with an energy efficient LED lamp of luminous efficacy of 45 lumens circuit-watts or great efficiency in accordance with Domestic Building Services Compliance Guide
7 | All main switches, sub-main switches, distribution boards and time switches, shall be clearly labelled in accordance with the 17th Edition of the IEE Regulations with the following information:-
1 -Item description :
2 - Item voltage
3 - Item served
4 -Supplied from.
8 | Labels should be traffolyte with black letters on white and fixed to the item by rivets or screws. Adhesive fixing of labels shall be unacceptable
9 | Circuits shall be marked on the boards as well as contained in plastic folders in the boards.
10 | The Contractor shall carry out all testing called for in the I.E.E. regulations and issue a test and completion certificate prior to Practical Completion
11 | A new incoming electrical installtion has already been provided
10.1 | - Electrical Instalation
1 | Design electrical installtion including agreement of layout of fittings with the CA |  | Item |  | 0
2 | From the new electrical mains in the Pantry provide distribution boards, isolators, switches and fuse gear including earth leakage circuit breaker. M.C.B. distribution board to be provided with 25% spare ways including connection to exsiting mains supply. |  | Item |  | 0
3 | Ceiling light with plastic pendant including switch | 4 | No |  | 0
4 | Ceiling chrome plated recessed fittings including switch | 22 | No |  | 0
5 | Ceiling light with plastic pendant including two way light switches | 1 | No |  | 0
6 | Under cupboard linear LED fittings to Kitchen wall units 600 mm long including one switching | 2 | No |  | 0
7 | External light ( PC £75 per fitting) including single switch and automatic daylight control - minimum 45 lumens circuit watts or greater efficiency located adjacent to external doors | 3 | No |  | 0
8 | Double socket | 14 | No |  | 0
11 | Double socket with twin USB sockets | 3 | No |  | 0
12 | Double socket above work top | 4 | No |  | 0
13 | Fused appliance switch with warning light | 5 | No |  | 0
14 | Cooker panel | 1 | No |  | 0
15 | Immersion heater switch | 1 | No |  | 0
16 | Fused switched spur for cooker hood | 1 | No |  | 0
17 | Dual voltage shaver socket | 1 | No |  | 0
18 | Fused switched spur for illuminated mirror | 1 | No |  | 0
19 | Fused switched spur for extract fan | 1 | No |  | 0
20 | Fused switched spur with warning light for towel rail heater mounted outside bathrooms | 1 | No |  | 0
21 | Provide sky satellite dish, receiver and distribution installation and twin TV points to 2 No rooms | 1 | item |  | 0
22 | Provide telephone / broadband cabling installation from BT DP point to twin telephone points to 2 No rooms | 1 | item |  | 0
24 | Provide switched spur for boiler and all associated wiring for the heating, hot water and ventialtion installation | 1 | item |  | 0
25 | Provide mains operated fire detector and fire alarm system in accordance with BS 5839-6 :2004 with a rechargeable battery back up and a a suitable number ( one within 7.5m of every habitable room) of heat and smoke detectors in the circulation areas on each floor (cellar, ground, first and second) | 1 | item |  | 0
26 | Provide conduit and draw wires for security / CCTV installation | 1 | item |  | 0
27 | Provide external elctricity supply to garage including isolator switch, sub- MCB distribution board, with 25% spare ways , 3 No flourescent lighting with one way switchse to garage, 2 No double sockets . | 1 | item |  | 0
28 | Provide external elctricity supply to 2 No external lights ( PC £75 each )single internal switch and automatic daylight control - minimum 45 lumens circuit watts or greater efficiency loacted at boundary say 50 m from house ( Provisional) | 1 | item |  | 0
29 | Upon completion of new electrical installation installation , test in accordance with minimum standard set by relevant Codes of Practice and the local authority and isssue satisfactory test certificate and provide operation & maintenance manuals | 1 | Item |  | 0
0
| TOTAL ELECTRICAL INSTALLATION TO FORM OF TENDER |  |  |  |  | 0

## 11 External Works
SECTION 11 EXTERNAL WORKS
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Item | Description |  |  |  | ITEM | ELEMENT
|  | QUANT. | UNIT | RATE | TOTAL | TOTAL
|  |  |  | £ | £ | £
11 | External works - All Provisional
11.1 | Services
Incoming BT service
1 | Excavate trench ne 750 mm deep and backfill with excavated material | 50 | m |  | 0
2 | 150mm duct with draw wire and 2 No draw strings | 1 | m |  | 0
3 | Bend / riser and terminate in Entrance Hall | 1 | No |  | 0
4 | Sand bed and surround including warning tapes | 50 | m |  | 0
Incoming Water Main from Existing borehole
5 | Excavate trench ne 750 mm deep for water main | 50 | m |  | 0
6 | Provide 100mm duct and bend /riser through foundations and terminate in ground floor WC | 1 | No |  | 0
7 | 25mm water pipe laid in trench | 50 | m |  | 0
8 | Sand bed and surround including warning tapes | 50 | m |  | 0
0
New incoming electrial supply previously arranged by the Employer
11.2 | Waste Disposal
1 | Provide hardstanding area in 38mm PCC paving slab overall size 2.00 x 900mm including 100mm Type 1 sub-base and 50mm sand blinding | 1 | No |  | 0
2 | Provide 1,500mm high feather edge treated softwood timber fencing to bin store area | 6 | m |  | 0
3 | Extra for pair of gates 1800mm o/a wide x 1500mm high with galvanised hinges and clasp | 1 | No |  | 0
4 | Provide one 240 litre green wheeled bin | 1 | No |  | 0
5 | Provide one 240 litre blue wheeled bin | 1 | No |  | 0
6 | Provide one 240 litre black wheeled bin | 1 | No |  | 0
0
11.3 | Drainage
0
11.4 | Pavings / Hardstandings
0
| TOTAL EXTERNAL WORKS TO FORM OF TENDER |  |  |  |  | 0

## Sched of Dims
DIMENSION SCHEDULE
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
| Room |  | Length | Depth | Area |  | Girth | Height | Wall Area
Ground
1 | Kitchen |  | 4.07 | 4.5 | 18.315 |  | 17.14 | 2.32 | 39.7648
2 | Sitting Room |  | 4 | 3.92 | 15.68 |  | 15.84 | 1.96 | 31.0464
3 | Store |  | 2.4 | 3.92 | 9.408 | 43.403 | 12.64 | 2.2 | 27.808 |  |  | 1.7
4 | Pantry |  | 2.39 | 1.92 | 4.5888 |  | 8.62 | 1.85 | 15.947 |  |  | 2
5 | WC |  | 0.85 | 1.8 | 1.53 |  | 5.3 | 1.85 | 9.805 |  |  | 1.85
| Sub-Total |  |  |  | 49.5218 |  | 59.54 |  | 124.3712
| Garage |  | 4.8 | 3.71 |  |  | 17.02 |  | 17.808
| Room |  | Length | Depth | Area |  | Girth | Height | Wall Area |  | Height to slope |  |  |  | Sloping Soffit
First
| Bed 1 |  | 4 | 4.21 | 16.84 |  | 16.42 | 2.31 | 37.9302 |  | 1.4 |  | 22.988 | 2 | 11 | 1.5 | 33
| Bed 2 |  | 4.07 | 4.5 | 18.315 |  | 17.14 | 2.07 | 35.4798 |  | 1.4 |  | 23.996
| Bed 3 |  | 2.4 | 4.21 | 10.104 |  | 13.22 | 2.1 | 27.762 |  | 1.4 |  | 18.508
[10 empty] | 2 | 4 | 0.6 | 4.8 |  | Ceiling
| stairs |  |  |  |  | -2
| bathoom |  |  |  |  | -3.04 | [7 empty] | 1st | 11 | 3.5 | 38.5
| Sub-Total |  |  |  | 45.259 |  | 46.78 |  | 101.172 |  |  |  | 70.292
[14 empty] | panty |  |  | 4.5888
| TOTAL |  |  |  | 94.7808 |  | 106.32 |  | 225.5432 |  |  |  |  | wc |  |  | 1.53
| Bathrooom partition | [5 empty] | 7 | [9 empty] | 44.6188
| landing | [5 empty] | 10
123.32
| External Walls |  | Length | Depth | Area |  | Girth | Height | Wall Area
| Ground |  | 8 | 13.5 |  |  | 43 | 2 | 86
| First |  | 5.5 | 17.5 |  |  | 46 | 1.5 | 69
155
Roof Area inc Garage
|  | 2 | 17.5 | 3.1 | 108.5
|  |  | 5 | 3.1 | 15.5
124
| Ridge |  |  |  | 17.5
| Eaves & Gables | 2 | 17.5 |  | 35
|  | 4 | 3.1 |  | 12.4
|  | 2 | 3.1 |  | 6.2
53.6

## Room Schedule Electric
ELECTRICAL ROOM SCHEDULE
REFURBISHMENT OF COTTAGE
OLD FOLD FARM, CARLTON ( nr HEMSLEY)
Room Number | Room Description | LIGHTING |  |  |  |  | POWER | [9 empty] | TV / TELEPHONE
|  | Ceilimg Light - Pendant - Single switch | CP circular recessed fittngs | CP circular recessed fittngs- two way switched | Under -cupboard linear Fittings t0 wall cupboards as plan | External Light | Double Sckets | Double Socket above work top | Double Socket with USB slot | Fused Appliance Switch with warning light | Cooker Socket | Immersion Heater Switch with warning light- two way | Dual Voltage Shaver Socket | Switched spur illuminated miror | Fused Switched Spur for extract fan | Fused Towel Rail Switch with warning light | Twin Aerial Socket | Twin Telephone Socket
Cottage
1 | Kitchen |  | 6 |  | 2 |  | 2 | 2 | 1 | 3 | 1 | 1
2 | Pantry |  | 4 |  |  |  | 1 | 2 |  | 2
3 | Sitting Room |  | 4 |  |  |  | 4 | [9 empty] | 1 | 1
4 | Store |  | 4 |  |  |  | 2
5 | External WC | 1
6 | Landing |  |  | 1 |  |  | 1
7 | Berdoom 2 | 1 |  |  |  |  | 2 |  | 1
8 | Bedroom 1 | 1 |  |  |  |  | 2 |  | 1 | [7 empty] | 1 | 1
9 | Bathroom |  | 4 | [9 empty] | 1 | 1 | 1 | 1
10 | Bedroom 3 | 1
11 | Garage
12 | External Lights |  |  |  |  | 2
| TOTALS | 4 | 22 | 1 | 2 | 2 | 14 | 4 | 3 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2