REQUEST FOR PROPOSALS FOR

SOLAR PROJECT DEVELOPMENT

Bude-Stratton Town Council

# Issued by:	Housing On Main Example (HOME)

Contact Name:	Stephen Hayes

Email:	shayes@bude-stratton.gov.uk

RFP Issued:	February 10 2023

Responses Due:	April 10 2023

Table of Contents

- OVERVIEW	1

  - Introduction	1

  - About HOME	1

  - RFP Timeline	1

- SCOPE	2

  - Solar PV Projects	2

  - Required Site(s)	2

  - Additional Project Information	2

- RESPONDING TO THIS RFP	3

  - Prior to Submission	3

  - Proposal Submittal Date, Format, and Method	3

  - Evaluation of Responses	3

  - RFP Terms and Conditions	4

- Information to Submit in the Proposal	4

COVER PAGE	5

SECTION I:	Company Background and Qualifications	5

SECTION II:	Solar PV Project Development Approach	5

SECTION III:	Proposed Solar PV System Description	6

SECTION IV:	Solar PV Cost Proposal	6

SECTION V:	Sample Power Purchase Agreement/Project Contracts	7

Attachment A: Listing of Sites and Site Electricity Usage	8

Attachment B: Solar PV System Minimum Equipment and Construction Requirements .. Error! Bookmark not defined.

Attachment C: Contractor Insurance Requirements	13

Attachment D: Cost Proposal Form	16

# OVERVIEW

## Introduction

The purpose of this Request for Proposals (RFP) is to find a highly qualified and cost-effective solar project developers for solar photovoltaic (PV) systems on HOME’s affordable housing properties.

Interested solar project developers (“Respondents”) are requested to provide a full proposal for the phased development of solar power systems in the Midwest. Proposals received from this RFP will assist HOME (“Buyer”) in making decisions to pursue clean energy solutions and engage in contract discussions with Respondents.

HOME is interested in rapid, cost-effective deployment of solar PV systems on the facilities that it manages, beginning with the most viable properties in Minnesota and Wisconsin as part of a strategy to reduce greenhouse gas (GHG) impact while realizing material electricity cost savings for housing operations and residents. HOME intends to develop potential solar PV system(s) of 1,500kW of total solar project capacity over a 3-year period. A selected solar project developer will provide excellence and timeliness in solar PV system design and construction, understanding of unique requirements in the affordable housing sector, attractive pricing, and financed solutions with standardized documents and processes. Upon selection of a solar project developers, HOME intends to release a public statement regarding the partnership. The release will highlight HOME’s participation in the RENEW300 campaign, a part of President Obama’s climate action plan to increase solar power deployment on low- and moderate-income housing, and how development of these renewable energy systems are intended to help HOME toward its renewable energy pledge.

This RFP is not a contract offer and should not be construed as intent, commitment, or promise to acquire products or services presented by any Respondent.

## About HOME

HOME manages 15 low- and moderate-income housing facilities as identified in Attachment A, and is a non-profit property owner and manager.

HOME is pursing energy efficiency and renewable power options across its entire portfolio of facilities to help reduce costs and reach 20% net energy reductions while achieving organizations sustainability goals to improve our communities and environment. HOME develops, manages and provides program- enriched affordable housing across the Midwest and primarily serve veterans and low-income families. More information is available at: Home.Website.url

## RFP Timeline

Below is a list of major milestone dates for this RFP process. Buyer maintains the right to adjust the schedule at its discretion.

| Event | Target Dates |
| --- | --- |
| RFP Issued | January 3, 2017 |
| Webinar to Review Required Site(s) | January 26, 2017 at 2:00pm Central Time |
| RFP Questions Due No Later Than | February 10, 2017 at 5:00pm Central Time |
| RFP Responses Due | February 28, 2017 at 5:00pm Central Time |
| Response Evaluation Period | March and April 2017 |

| Event | Target Dates |
| --- | --- |
| Buyer/Respondent Meetings to solicit more information, if needed. | March 2017 |

# SCOPE

## Solar PV Projects

HOME is seeking a strong and experienced partner for developing and/or constructing solar PV projects at four sites initially. The focus for project development is designing, engineering, permitting, financing, installing, and operating on-site solar PV systems to reduce HOME’s operating costs while increasing the use of renewable energy. Off-site development is also of interest via virtual net metering programs or community/shared solar.

The initial phase is planned to begin no later than July 1, 2017 with a target of completing 1,500kW of solar systems within three years across all viable sites. Respondents are expected to provide proposals that include the required site(s) and describe their management approach to complete the projects within the overall timeline; nevertheless, the specific sites to be developed under contract may be modified during final negotiations.

HOME has a strong preference for long term leasing, PPAs, or equivalent financing mechanisms that deliver similar risk, cost, and performance characteristics.

The contemplated Agreement would include overall terms and conditions to enable and encourage rapid pursuit of all viable solar projects by the selected Respondent, along with performance criteria and management expectations.

## Required Site(s)

In general, HOME’s low- and moderate-income housing facilities are typically in low-rise suburban areas; however, each location may have unique conditions.

Attachment A is an Excel document identifying each site and its electricity usage and demand data. A summary of the site list that each Respondent must use in building its proposal is provided below:

| ID # | Site Name | Site Address |
| --- | --- | --- |
| A1 | Site A Name | 123 Main Street, Minneapolis, MN |
| B2 | Site B Name | 234 Center Avenue, Rochester, MN |
| C3 | Site C Name | 345 First Street, Madison, WI |
| D4 | Site D Name | 567 Broad Street Madison, WI |

## Additional Project Information

Respondents are expected to include proof of all required business and contractor certifications and be in compliance with the equipment, construction, and insurance requirements included in Attachments B and C to this RFP. All paperwork for project permitting, construction, and interconnection would be managed by the Respondent in compliance with all applicable laws, regulations, ordinances, and industry best practices.

In addition to the detailed information that Respondents are providing on required sites, Respondents are asked to describe their development plan for reasonably and prudently maximizing the installed capacity that can be developed in partnership with HOME on additional low- and moderate-income housing units that it owns or manages. These additional projects may come from any location within HOME’s portfolio of properties. This plan should be included as part of Section II (“Development Approach”) in the Respondent’s proposal.

# RESPONDING TO THIS RFP

Interested Respondents are encouraged to respond to this RFP with the requested information and documentation by the stated response deadline. Prior to submitting the RFP response, Respondents have the opportunity to submit questions. After collecting responses to this RFP, the HOME evaluation team will review the responses as described below.

## Prior to Submission

Respondents may obtain additional information as follows:

    - RFP Questions. Questions about this RFP shall be submitted to the e-mail address on the cover of this RFP with a subject line that reads: “HOME Solar RFP.” All questions must be received by February 10, 2017 in order to guarantee a response. Questions will be promptly answered via email.

    - Webinar in lieu of Site Visits. Given the location of buildings across the HOME portfolio, an in-person site walk for potential locations is not planned. A webinar will be held on the day indicated in Section 1.3 to review visual data and site characteristics. Respondents are requested to indicate their interest in attending the webinar with the contact listed above via email. Attendance is not required for a Respondent’s proposal to be considered valid, but attendance is encouraged and questions will be answered during the session.

## Proposal Submittal Date, Format, and Method

Full responses to this RFP must be received no later than February 28, 2017 at 5:00pm Central Time.

All responses must be submitted electronically in PDF format as an attachment to an email and sent to the email address shown above. The subject line of the email should be: “HOME Solar RFP Response.” It is required that attachments with file sizes exceeding 8MB be compressed (i.e., zipped) and/or divided into multiple PDFs and e-mails with individual files labeled Volume I, Volume II, etc. to ensure message delivery. A confirmation of receipt will be provided within one (1) business day. If this receipt is NOT received, please send a separate email to request confirmation or address issues with file delivery.

All official notifications and communications will be made via email.

All costs associated with responding to this RFP will be borne by the Respondent.

## Evaluation of Responses

Review of responses submitted to this RFP will be managed by Buyer evaluation team. Respondent will be notified by email no later than April 30, 2017 if its response is of interest to Buyer.

Responses will be reviewed based on a variety of factors, including:

    - Organizational Capabilities. Buyer is interested in Respondents that have strong organizational capabilities and an experienced team to provide innovative solutions and services over the long term.

xperEience with Low	- and Moderate-Income Housing. Buyer is interested in Respondents who have demonstrated experience working with the affordable housing sector for renewable energy projects.

    - Solar Project Development Approach. Buyer is looking for a strategic approach to developing solar projects, with hands-on experience driving results quickly within a phased work plan. The overall quality, reasonableness, and efficiency of development plans for the sites are important to the Buyer.

    - Realized Energy Cost Savings. Proposed technologies that are the most cost-effective (not necessarily the lowest capital cost) with the greatest potential to reduce long-term operating costs will be given highest priority.

    - Technical Viability and Quality. Buyer is focused on solar systems and components that have a demonstrated track record of performance with robust warranties; meet the needs and requirements of its facilities; and provide reliable, safe, and high quality construction methods.

    - Power Purchase Agreement Terms and Contracting Processes. Buyer is interested in favorable, standardized contract terms with a streamlined contracting process.

    - Additional Community Benefits. Buyer will consider community and tenant benefits, including workforce development programs, as an optional enhancement to the response.

At the discretion of the evaluation team, respondents responding to this RFP may be invited to provide additional information and/or make a presentation to the evaluation committee to further refine their proposals for evaluation.

## RFP Terms and Conditions

This RFP is not a contract offer and should not be construed as intent, commitment, or promise to acquire products or services presented by any Respondent.

Information received from responses to this RFP will be used in the evaluation of potential solar energy project developers. Buyer reserves the right to discontinue or modify the RFP process at any time and makes no commitments, implied or otherwise, that this process will result in a business transaction or negotiation with one or more Respondents.

Buyer will not pay for any information herein requested, nor be liable for any costs incurred by Respondent.

Based on Respondent responses, meetings may be scheduled between Respondent and Buyer in person and/or remotely to expedite the review, evaluation, and potential contract discussions.

Exclusive or concurrent negotiations may be conducted with responsible Respondent(s) for the purpose of altering or otherwise changing the conditions, terms, and price of the proposed development agreement.

# Information to Submit in the Proposal

Respondents interested in this RFP should provide proposals with straightforward information that clearly communicates the information requested below.

The proposal shall describe products and/or services being offered by Respondent in order to meet the goals and areas of interest stated in this RFP. Each Respondent must clearly demonstrate how its

products and/or services meet relevant industry standards and requirements by providing detailed product specification materials and installation methods that are in compliance with federal, state, local, and utility regulations as well as industry best practices.

All Respondent information will only be shared with the Buyer evaluation committee and NOT shared publicly or with other Respondents.

The proposal must have a complete package of information, strictly organized in the format and the order of information described below. Proposals with a different organization may be rejected.

The following information must be submitted in the proposal in the order shown.

# COVER PAGE

Each proposal must include a cover page that includes “HOME Solar RFP Proposal”, business name, primary address, contact person, contact information, and table of contents using the section numbers shown below.

# SECTION I:	Company Background and Qualifications

Respondent should provide a summary of no more than ten (10) pages of background information about its company in this section. RFP responses shall include:

- Description of Respondent’s capabilities in providing its products and/or services.

- Organizational background and experience in providing solar projects in states, and/or specific utility markets, represented in HOME’s housing portfolio.

- Brief bios of the key team members who would work on individual projects and/or broader development agreements executed under this RFP and identification of the project manager.

- Three (3) examples of similar projects with references and contact information.

- Description of experience with low- and moderate-income housing.

- List and brief description of planned sub-contractors and/or partners, along with description of how Respondent has worked with the sub-contractors and partners in the past.

- Brief description of any bankruptcies or legal proceedings against the Respondent or its planned sub-contractors or partners with relation to solar projects in the past three (3) years.

- Description of any additional community and/or tenant benefits that may be incorporated with the deployment of solar projects including, but not limited to, local hiring, resident engagement, and/or workforce development.

- Dun & Bradstreet report, audited financial statements, or similar information summarizing the financial standing of Respondent.

# SECTION II: Solar PV Project Development Approach

Respondent must describe its overall strategy and approach to being a proactive partner to support deployment of solar PV across candidate sites in the HOME portfolio of housing.

Respondent should include any prior or current experience as a development partner in the affordable housing sector, along with results achieved.

Respondent should describe the ongoing support, management, and resources that will be provided to HOME throughout the development agreement contract period, including any unique value-add services that it wishes to highlight.

This section should be no more than five (5) pages.

# SECTION III: Proposed Solar PV System Description

Respondent must include the following information in its response for every required site:

detaAiled technical description of each proposed solar PV system including basic loc	ation diagrams, system designs, and all components.

- Supporting information that includes technical specifications for major equipment components including PV panels and inverters, warranties, and production guarantees.

- Description and specifications of the mounting equipment and installation techniques including how roof warranties will be maintained (for rooftop solar systems) and how any parking- and ground-mounted solar arrays will be maintained with respect to HOME’s property requirements.

- System electricity output schedule on a monthly basis for the first year of system operation and supporting information directly from a recognized software modeling tool (e.g., Helioscope or PVSyst outputs must be included).

- Projected annual system performance degradation.

- Sample construction and commissioning schedule (can be the same for each of the sites) assuming a contract is signed on July 1, 2017.

- Major inclusions and exclusions in bid.

# SECTION IV: Solar PV Cost Proposal

Cost proposals should be made based on estimates using the requirements defined in this RFP and must be consistent with the responses in Section III above and the requirements in the Attachments.

Respondent’s pricing for PPA financing shall be all-inclusive of system costs, installation, monitoring, inverter replacement at the conclusion of the inverter warranty period, and operations & maintenance. Respondent’s pricing for a direct purchase shall be all-inclusive of system costs, installation, and monitoring, with annual costs for operations & maintenance. All assumptions and forecasts must be documented and explained covering an estimated 20-year transaction.

Respondents must provide two pricing offers, if different: one assuming that HOME keeps all the Renewable Energy Credits (RECs) and other environmental attributes in the cost proposal and one assuming the Respondent retains the RECs and other environmental attributes.

Respondent must completely fill out the Cost Proposal Form that covers all required sites and submit it with the proposal. The Cost Proposal Form is available as Attachment D and must be provided in Microsoft Excel format. Respondent can indicate the duration over which the proposed costs will be held constant, but that period should not be less than thirty (30) days.

Respondent must also include forecasted savings calculations over a 20-year contract term for each of the required sites with documented assumptions, calculations, and forecast methods. Respondent should do so in its own document (i.e., do not use the Attachment D Cost Proposal form for this purpose).

Cost information will only be shared with the Buyer evaluation committee and NOT shared publicly or with other Respondents.

# SECTION V: Sample Power Purchase Agreement/Project Contracts

Sample power purchase agreement (PPA), site license/real estate access, and/or other contract documents including all related schedules and addenda must be included in this section for review and evaluation if Buyer is seeking a PPA transaction. If Buyer is seeking a direct purchase transaction, a sample contract must be included with warranty information and operations and maintenance agreements.

# Attachment A: Listing of Sites and Site Electricity Usage

Attachment A is a separate Microsoft Excel document.

- Tab 1 contains a list of HOME’s sites. The information includes the Property ID, property name, street address, owner electricity usage, owner electricity cost, electric rate schedule and electric utility name.

- Tab 2 to 5 identifies the electricity usage and demand for each Site.

# Attachment B:

Solar PV System Minimum Equipment and Construction Requirements

## General

- All power generation and transmission equipment must be UL listed for its designed use.

- Construction must comply with current adopted State Building Code, which encompasses:

  - 2015 International Building Code (or most recently adopted)

  - 2014 National Electric Code (NEC) (or most recently adopted)

  - All other relevant state and national codes

- There must be a minimum 10-year warranty for all materials and workmanship.

- System integrator is responsible for conducting all required building, utility, and rebate inspections, system integrator must complete all construction and documentation in a manner necessary to pass such inspections, and the work must be conducted in accordance with industry standard best practices.

- System integrator must possess current state electric and solar contractors license from State’s Contractors Licensing Board to perform the work being proposed.

## Solar PV Modules

- System modules shall be UL1703 listed and CEC-listed.

- System modules must have a 10-year warranty on a minimum of 90% nameplate energy production and 25-year warranty on minimum of 80% nameplate energy production.

- All warranties must be documented in advance and be fully transferable to Buyer.

## Inverters

- Inverters shall be UL1741 listed and must be CEC-listed with an efficiency of 95% or higher.

- Inverters must carry a minimum 10-year warranty.

- All warranties must be documented, in advance and be fully transferable to Buyer.

## Balance of System Equipment

- Each proposed PV system shall include, at a minimum, one fused DC disconnect and one fused AC disconnect for safety and maintenance concerns.

- String combiner boxes must include properly-sized fusing, and all metal equipment and components must be bonded and grounded as required by NEC.

- All system wiring and conduit must comply with applicable local code and NEC stipulations.

- Wall penetrations must be sealed in compliance with NEC and National Fire Protection Association (NFPA) regulations.

- All wiring materials and methods must adhere to industry-standard best practices.

- Material requirements:

  - Fasteners and hardware throughout system shall be stainless steel or material of equivalent corrosion resistance.

## Interconnection

- Racking components shall be anodized aluminum, hot-dipped galvanized steel, or material of equivalent corrosion resistance.

- Unprotected steel not to be used in any components.

  - System interconnection must comply with NEC and Utility regulations and must be approved by the local Utility and the Authority Having Jurisdiction (AHJ)’s Building Department before any PV system construction is begun.

  - Interconnection points will be at facility main switchgear locations.

  - Emergency back-up generation may exist on-site and must be factored into proposed PV system electrical plans.

  - All placards required by Buyer, the AHJ, the Utility, and/or State Solar Initiative program must be provided and installed according to Buyer and NEC guidelines.

## Monitoring and Reporting Systems

  - System monitoring and reporting must comply with State solar program requirements and must be provided at no additional cost for a minimum of five (5) years.

  - Monitoring shall include revenue-grade metering of PV system production and building consumption, pyranometer, and ambient air temperature sensor.

  - Proposals must include Internet hosting of monitoring with on-line access for Buyer personnel and touchscreen kiosk or video monitor for public display of data.

  - System integrator must work with the Buyer to determine best location and technique for monitoring communications interconnection.

  - System integrator will be responsible for providing all required monitoring communications and power wiring and conduit, with Buyer guidance on approved locations.

## System Design and Permitting

  - For each site, within 90 days of contract being signed, Respondent shall create a construction plan set which includes at a minimum:

    - Site overview

    - Detailed array layout with stringing configuration

    - Mounting and racking details

    - Details of electrical transmission showing conduit routing and location of electrical enclosures, conduit support details, and enclosure mounting details

    - Electrical single-line diagram

    - Electrical three-line diagram

    - Monitoring plan

    - Construction project plan with timeline

  - All proposed system designs and construction techniques must be approved by the AHJ’s Building Department.

builAding permit is required for each system and must be obtained through normal permitting processes by Respondent.

  - Respondent shall obtain structural PE stamp verifying the integrity of the existing facility to handle additional weight load of proposed PV system.

  - Respondent shall obtain electrical PE stamp verifying the integrity and code compliance of proposed PV system and interconnection with facility.

  - Roof-mounted array layouts shall be designed to provide minimum of three (3) feet of walking access around the perimeter of the roof and convenient access to existing roof- mounted HVAC equipment in addition to any applicable setbacks for access, safety and smoke ventilation required by the AHJ.

  - Ground-penetrating array layouts shall adhere to all soil and geographical requirements and concerns in terms of ground penetration and trenching.

  - Final array layouts shall be designed to avoid shading from 9am to 3pm annually. If this shading requirement cannot be strictly met, Respondent shall specify the predicted solar availability and performance losses.

  - Wire loss in DC circuits to be < 1.5%.

  - Wire loss in AC circuits to be < 1.5%.

## Construction

  - Integrator shall prepare, maintain, and abide by Site Safety Plan to include, at a minimum, all applicable Occupational Safety and Health Administration (OSHA) workplace safety and Personal Protective Equipment (PPE) requirements.

  - Construction work shall be designed to minimize impact to facility operations. Integrator shall develop a construction plan for site access, staging, and equipment storage and obtain approval from the Buyer prior to beginning construction.

  - All asphalt, concrete, landscaping, and other areas that are disturbed during construction shall be remediated and returned to original condition, or equivalent condition as approved by the Buyer.

  - After completion of work, site shall be left clean and free of any dirt or debris that may have accumulated during construction. All construction equipment, spoils, and other construction byproducts shall be removed from the site.

  - All electrical enclosures and equipment shall be installed to be readily accessible to qualified personnel only. Fences or other protection may be required per Buyer specifications.

  - All visible conduits and electrical equipment shall be painted or aesthetically dressed per Buyer specifications.

  - Location of existing underground utilities must be marked by USA/Dig Alert or equivalent private service prior to any underground work.

## Documentation and Process Control

In addition to construction requirements listed above, system integrator will be required to:

  - Apply for and receive interconnection approval from the local Utility for proposed PV systems.

b tainOSolar rebates and/or Renewable Energy Credits (if applicable).

  - Provide Operations & Maintenance training to Buyer staff and prepare press releases and a ribbon-cutting ceremony at Buyer request.

  - Provide 20 years of system maintenance (at Buyer’s sole discretion, priced separately), with annual reports of system performance and consistent oversight of system monitoring.

    - Respondent shall be required to respond to system downtime within 24 hours of first occurrence of incidence. If corrective action is not immediately feasible, Respondent shall notify Buyer of action plan and timeline for execution.

    - Respondent shall be required to respond to warranty related issues not affecting production within 72 hours of notification.

  - Provide As-Built drawings of PV system, which must include finalized module layout and stringing chart.

# Attachment C: Contractor Insurance Requirements

Prior to the commencement of any work, the contractor (“Contractor,” which equates to the “Respondent”) shall purchase and maintain insurance as required by law and not less than the following insurance coverage and limits of liability. Aggregate limits may be met through a combination of primary and excess policies.

## Commercial General Liability:

Combined Bodily Injury and Property Damage Liability:

| General Aggregate | $ 1,000,000 | Limit of Liability |
| --- | --- | --- |
| Products - Completed Operations Aggregate | $ 1,000,000 | Limit of Liability |
| Each Occurrence | $ 500,000 | Limit of Liability |
| Personal Injury | $ 500,000 | Limit of Liability |

Umbrella/Excess Liability with minimum Combined Single Limit of $5,000,000 per occurrence. The following coverages must be included:

  - Premises/Operations

  - Contingent liability for work performed by Subcontractors/Vendors

  - Explosion, Collapse, and Underground

  - Broad Form Property Damage (including Completed Operations)

  - Personal Injury liability (with contractual exclusion deleted)

  - The policy shall state that it is primary and non-contributory with any insurance maintained by Owner, their subsidiaries, directors, officers, employees and agents.

  - Contractual liability (including construction contracts)

  - The policy shall be endorsed so that the General Aggregate will apply to this Project only. The following endorsements are required under Contractor’s policy:

  - Additional Insureds for Ongoing Operations (Form Contractor 20 33 10/01) and Additional Insureds for Completed Operations (Form Contractor 20 37 10/01) or their equivalent. These endorsements shall cover: The Owner, its subsidiaries, affiliates and their respective trustees, officers, employees and agents.

No exclusions can be attached for residential rental construction projects, subsidence, or damages arising out of work performed by subcontractors; furthermore, certificates of insurance must affirmatively state there are no exclusions for these items. Contractor shall maintain Products and Completed Operations Liability Insurance, and the Additional Insured and Primary and Non- contributory coverage as specified in this Article for the state applicable statute of repose after either 90 days following Substantial Completion or final payment, whichever is earlier. Contractor shall continue to provide evidence of such coverage to Owner (i.e., “Buyer”) on an annual basis during the aforementioned period including all of the terms of the insurance and indemnification requirements of

## this agreement. Upon each insurance policy renewal, Contractor shall provide copies of the Additional Insured endorsements to the Owner.

- Workers’ Compensation and Employer’s Liability:

Coverage A

| Statutory Coverage: | As required by the State in which the project is located. |
| --- | --- |

Coverage B

| Employers Liability Coverage: | $1,000,000 Each Accident $1,000,000 Disease, Policy Limit $1,000,000 Disease, Each Employee |
| --- | --- |

## Business Auto Policy

| Combined Bodily Injury and Property Damage Liability (Combined Single Limit): | $1,000,000 Each Accident |
| --- | --- |
| Liability Coverage for the following must be included: | Any Automobile OR Owned, Non-Owned and Hired Automobiles |

- Professional Liability:

To be carried by all Contractors and/or Subcontractors providing design or design/build services, such as mechanicals, electrical, third party construction management, etc. Minimum amount of coverage required is One Million ($1,000,000) each claim and Two Million ($2,000,000) annual aggregate which may be written on a claims-made form. If coverage is not renewed after any given policy year, a 3-year extended reporting period must be provided.

## Property Insurance:

Property insurance for any tools, apparatus, equipment, machinery, scaffolding, hoists, forms, staging, shoring, and other property of Contractor on an “all-risk” or equivalent policy form and shall include, without limitation, insurance against the perils of fire (with extended coverage) and physical loss or damage including, without duplication of coverage, theft, vandalism, malicious mischief, collapse, windstorm, falsework, testing and startup, temporary buildings and debris removal including demolition occasioned by enforcement of any applicable legal requirements, and shall cover reasonable compensation for architect’s and contractor’s services and expenses required as a result of such insured loss.

## Certificates of Insurance:

The Contractor shall furnish original certificates of insurance to show that the insurance specified in this Agreement is in force, stating policy numbers, dates of expiration, limits of liability, coverages

there-under, the name of the Project, and with Mercy and its designated affiliates, lenders, investors and other parties of interest, to be listed as additional insured as follows:

Upon notification, Contractor shall add any other lenders, investors, and other parties of interest as additional insureds to the policies and/or dual obliges to any bond required under the contract.

## Such other insurances (if any) as are required for the particular project as set out on the last page of this attachment.

ADDITIONAL REQUIREMENTS:

- Notwithstanding anything to the contrary herein or in the General Conditions, all liability insurance policies maintained by Contractor with respect to the Project shall be written on an occurrence basis.

- All policies are to be written through insurance companies duly entered and authorized to transact that class of insurance in the state in which the project is located. The Insurance Companies must have an A.M. Best rating of A-, VIII, or better in the most recent Best’s Key Rating Guide.

- Approval, disapproval, or failure to act by the Owner regarding any insurance supplied by the Contractor shall not relieve the Contractor of full responsibility or liability for damages and accidents. Neither shall the bankruptcy, insolvency, or denial of liability by the insurance company exonerate the Contractor from liability.

- Owner shall make no special payments for any insurance that the Contractor may be required to carry; all are included in the contract price and in the contract unit prices.

- Contractor will provide Owner with copies of Contractor’s Site Safety Plan and Site Security Plan.

# Attachment D: Cost Proposal Form

Attachment D is a separate Microsoft Excel document.