Lancaster & Morecambe College is looking for a supplier to decommission, install, recommission and connect the following appliances.

Where brand names are referred to please quote alternatives where appropriate.

In the first instance we require a pricing schedule, exc. VAT, and some information about your company so that we can perform a credit check if we want to take things further. Access to a website and/or some company literature would also be helpful.

Apply by email to [j.pollard@lmc.ac.uk](mailto:j.pollard@lmc.ac.uk) with LMC/SDF1/001 in the subject field. If you would like a site visit please send an email to [j.pollard@lmc.ac.uk](mailto:j.pollard@lmc.ac.uk) with the same reference in the subject field.

**Bay 1**

Open flue bach boiler (leaving in situ, refurbish appliance)

Free standing cooker (glass top) – Stoves/Belling (Hydrogen ready)

Full LFE Fire Suite (Brand to be confirmed)

Smart Meter u6

Combination boiler (Baxi Hydrogen ready)

Room sealed water heater

Wired co/heat alarm

Gas proving system + 2 ECV’s

**Bay 2**

Open Flue Floor standing condensing boiler (Baxi BBU if possible, Hydrogen ready)

Free standing cooker (glass top) – Stoves/Belling (Hydrogen ready)

Full LFE Fire Suite (Brand to be confirmed)

Smart meter G4

Heat only boiler (Baxi, Hydrogen ready)

**Bay 3**

Combination Condensing Boiler (Baxi, Hydrogen ready)

Free standing cooker (glass top) – Stoves/Belling (Hydrogen ready)

Full LFE Fire Suite (Brand to be confirmed)

Smart meter

Open flue baxi floor standing boiler new parts upgraded

Wired Co/Heat alarm

Flueless water heater (Hydrogen ready)

Regular Boiler (Baxi, Hydrogen ready)

**Bay 4**

Free standing cooker (glass top) – Stoves/Belling (Hydrogen ready)

Radiant Gas fire suite

Floor standing Combi to remain

Regular + system Boiler x2 1x reg 1x combi (Baxi, Hydrogen ready)

LFE Fire suite (Balanced flue, Hydrogen ready)

New gas Pipe Work to include faults

E6 Smart Meter

Wired Co alarm / heat alarm

**Bay 5**

1 LPG Cooker

1 LPG Close Flue Fire

1 LPG LFE boiler

All Hydrogen ready

**EPA Room**

Unvented Hot Water Cylinders x2

Hand Basin Domestic x2

Combi boilers x2 (Hydrogen ready)

Gas meter, Smart U6 and U16

Cooker with gas safety lid x2 (Hydrogen ready)

LFE Gas Fire Suite x2

Gas Pipe with faults on x2

**General**

3x New 1400 x 600 Dc Radiators

3x Honeywell heating control boards

New flue Bay – Twinwall (Vertex), Flue block, positive pressure boiler

1x Combi boiler (Hydrogen ready)

1x Regular boiler (Hydrogen ready