**Specification:**

* 1 yr preventative maintenance service contract for 9x CareFusion oscillators/ ventilators with one annual visit, call-outs, labour, travel included

|  |  |  |  |
| --- | --- | --- | --- |
| **Location** | **Model** | **Equipment** | **S/N** |
|  |  |  |  |
| PICU/TC5 | 3100B | Oscillator/Ventilator | AHW01565 |
| PICU/TC5 | 3100B | Oscillator/Ventilator | BBW01069 |
| PICU/TC5 | 3100B | Oscillator/Ventilator | BAW01623 |
| PICU | 3100B | Oscillator/Ventilator | BAW01625 |
| PICU | 3100A | Oscillator/Ventilator | BEW02176 |
| NICU | 3100A | Oscillator/Ventilator | BEW02126 |
| NICU | 3100A | Oscillator/Ventilator | TMA33594 |
| NICU | 3100A | Oscillator/Ventilator | AFW01103 |
| NICU | 3100A | Oscillator/Ventilator | BEW02161 |

* Location: Kings College Hospital NHS Foundation Trust, Denmark Hill, SE5 9RS
* Service type – preventative with one annual service visit
* Call-outs charge – please confirm the cost
* Labour charge – please confirm
* Travel charge – please confirm
* Coverage times – please confirm
* Cancellation terms – please confirm
* Payment terms – please confirm
* Is your service available on any Framework i.e. NHS Supply Chain Framework, SBS Framework etc