## Bill 6
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS
COMPLETE BUILDINGS
FIRE COMPARTMENTATION WORKS
DT & PE Building
All in accordance with Trident Fire Protection Solutions
survey in Appendix F
392 | A | #506 | 1 | Item |  | 0
393 | B | #507 | 1 | Item |  | 0
394 | C | #508 | 1 | Item |  | 0
395 | D | #509 | 1 | Item |  | 0
396 | E | #510 | 1 | Item |  | 0
397 | F | #511 | 1 | Item |  | 0
398 | G | #513 | 1 | Item |  | 0
399 | H | #515 | 1 | Item |  | 0
400 | I | #516 | 1 | Item |  | 0
401 | J | #519 | 1 | Item |  | 0
402 | K | #521 | 1 | Item |  | 0
403 | L | #522 | 1 | Item |  | 0
404 | M | #530 | 1 | Item |  | 0
405 | N | #533 | 1 | Item |  | 0
406 | O | #535 | 1 | Item |  | 0
407 | P | #536 | 1 | Item |  | 0
408 | Q | #540 | 1 | Item |  | 0
409 | R | #541 | 1 | Item |  | 0
410 | S | #546 | 1 | Item |  | 0
411 | T | #549 | 1 | Item |  | 0
412 | U | #550 | 1 | Item |  | 0
413 | V | #552 | 1 | Item |  | 0
|  | Page : 6/2H/1 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE COMPARTMENTATION WORKS (Cont'd)
414 | A | #557 | 1 | Item |  | 0
415 | B | #558 | 1 | Item |  | 0
416 | C | #560 | 1 | Item |  | 0
Main Block Building
All in accordance with Trident Fire Protection Solutions
survey in Appendix F
383 | D | #567 | 1 | Item |  | 0
384 | E | #568 | 1 | Item |  | 0
385 | F | #574 | 1 | Item |  | 0
386 | G | #582 | 1 | Item |  | 0
387 | H | #583 | 1 | Item |  | 0
388 | I | #584 | 1 | Item |  | 0
389 | J | #585 | 1 | Item |  | 0
390 | K | #587 | 1 | Item |  | 0
391 | L | #589 | 1 | Item |  | 0
382 | M | #602 | 1 | Item |  | 0
368 | N | #610 | 1 | Item |  | 0
369 | O | #611 | 1 | Item |  | 0
370 | P | #612 | 1 | Item |  | 0
371 | Q | #614 | 1 | Item |  | 0
372 | R | #615 | 1 | Item |  | 0
373 | S | #619 | 1 | Item |  | 0
374 | T | #624 | 1 | Item |  | 0
375 | U | #628 | 1 | Item |  | 0
376 | V | #629 | 1 | Item |  | 0
|  | Page : 6/2H/2 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE COMPARTMENTATION WORKS (Cont'd)
377 | A | #631 | 1 | Item |  | 0
378 | B | #635 | 1 | Item |  | 0
379 | C | #639 | 1 | Item |  | 0
380 | D | #652 | 1 | Item |  | 0
381 | E | #657 | 1 | Item |  | 0
South Block Building
All in accordance with Trident Fire Protection Solutions
survey in Appendix F
344 | F | #430 | 1 | Item |  | 0
345 | G | #441 | 1 | Item |  | 0
346 | H | #442 | 1 | Item |  | 0
347 | I | #443 | 1 | Item |  | 0
348 | J | #444 | 1 | Item |  | 0
349 | K | #448 | 1 | Item |  | 0
350 | L | #450 | 1 | Item |  | 0
351 | M | #454 | 1 | Item |  | 0
352 | N | #456 | 1 | Item |  | 0
353 | O | #460 | 1 | Item |  | 0
354 | P | #462 | 1 | Item |  | 0
355 | Q | #463 | 1 | Item |  | 0
356 | R | #465 | 1 | Item |  | 0
357 | S | #466 | 1 | Item |  | 0
358 | T | #467 | 1 | Item |  | 0
359 | U | #473 | 1 | Item |  | 0
360 | V | #481 | 1 | Item |  | 0
|  | Page : 6/2H/3 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE COMPARTMENTATION WORKS (Cont'd)
361 | A | #485 | 1 | Item |  | 0
362 | B | #486 | 1 | Item |  | 0
363 | C | #487 | 1 | Item |  | 0
364 | D | #488 | 1 | Item |  | 0
365 | E | #490 | 1 | Item |  | 0
366 | F | #492 | 1 | Item |  | 0
367 | G | #494 | 1 | Item |  | 0
FIRE DOORS
Drop down brush strip; in accordance with Trident
Fire Protection Solutions schedule in Appendix E
343 | H | installation of lorriant or equivelant drop down brush
strip face mounted or rebated to existing fire door
#482; Supply and Fit Intumescent Cold Smoke Strips
to FD30 Fire Door to include removal of existing
intumescent strips and instalation of new. Like for like
in width and colour, include making good as
necessary such as filling/trimming/spot painting
surfaces. Allow for all tidying and site clearance.
343 |  | (Price to be per door leaf) | 1 | Item |  | 0
339 | I | installation of lorriant or equivelant drop down brush
strip face mounted or rebated to existing fire door
#524; Supply and Fit Intumescent Cold Smoke Strips
to FD30 Fire Door to include removal of existing
intumescent strips and instalation of new. Like for like
in width and colour, include making good as
necessary such as filling/trimming/spot painting
surfaces. Allow for all tidying and site clearance.
(Price to be per door leaf); including side hardwood
339 |  | lipping to assist ease and adjustment | 1 | Item |  | 0
|  | Page : 6/2H/4 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE DOORS (Cont'd)
New FD30 door into existing frame; in accordance
with Trident Fire Protection Solutions schedule in
Appendix E
342 | A | replace exisiting door #474 with a FD30 door which is
certifire approved into the existing door frame reusing
all existing ironmongery signage and closure if
possible. Esnure the door to frame gaps are within
2-4mm tolerance as defined in BS8214 and threshold
342 |  | gaps do not exceed 6mm. | 1 | Item |  | 0
New FD30s door set and vision panels; in accordance
with Trident Fire Protection Solutions schedule in
Appendix E
328 | B | remove existing escape route door #434, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
328 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
329 | C | remove existing escape route door #445, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
329 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
330 | D | remove existing escape route door #455, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
330 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
|  | Page : 6/2H/5 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE DOORS (Cont'd)
331 | A | remove existing escape route door #457, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
331 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
332 | B | remove existing escape route door #469, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
332 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
333 | C | remove existing escape route door #471, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
333 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
334 | D | remove existing escape route door #479, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
334 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
|  | Page : 6/2H/6 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE DOORS (Cont'd)
335 | A | remove existing escape route door #483, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
335 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
336 | B | remove existing escape route door #502, make good
structures and finishes to receive new, disposal off
site; Supply and install factory finished Fire Door set
supplied with copy of certification and door labelled to
show compliance all in accordance with
manufacturer’s installation instruction. Include for
glazed panels, hardware to include 3No steel hinges
CE marked, door closers, push plates, 'D' handles
kick plates, complete with architraves to both sides
336 |  | and ‘Fire Door Keep Closed’ fire safety signage | 1 | Item |  | 0
New FD30s set blank; in accordance with Trident Fire
Protection Solutions schedule in Appendix E
340 | C | remove existing store door #429 and frame, make
good structures and finishes to receive new; disposal
off site; supply and install New Store Door including all
hardware and decoration to door and frame; certificate
340 |  | of manufacture and installation. | 1 | Item |  | 0
341 | D | remove existing store door #477 and frame, make
good structures and finishes to receive new; disposal
off site; supply and install New Store Door including all
hardware and decoration to door and frame; certificate
341 |  | of manufacture and installation. | 1 | Item |  | 0
|  | Page : 6/2H/7 |  |  | To Part Summary | 0
BQ Id | Ref | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
COMPLETE BUILDINGS (Cont'd)
FIRE DOORS (Cont'd)
New fire rated door furniture; in accordance with
Trident Fire Protection Solutions schedule in
Appendix E
337 | A | remove existing mortice lock & handle to existing fire
door #491 and replace with new 5 Lever Sashlock to
suit existing; adjust mortice and keep with
intumescent paper or intumescent mastic Remove
existing mortice Mortice Lock case with case depth to
suit existing door leaf mortice. Door lock to be tested
to EN 1634 and BS 476 and be CE stamped. Allow for
adjusting mortice and keep and install intumescent
pad/paper all in accordance with manufacturer’s
instruction. Test door & lock to ensure functional,
Allow for all tidying and site clearance; Supply and Fit
Intumescent Cold Smoke Strips to FD30 Fire Door to
include removal of existing intumescent strips and
instalation of new. Like for like in width and colour,
include making good as necessary such as
filling/trimming/spot painting surfaces. Allow for all
337 |  | tidying and site clearance. (Price to be per door leaf) | 1 | Item |  | 0
|  | Page : 6/2H/8 |  |  | To Part Summary | 0
37800 | Ref | Description |  |  |  | Amount
| Ref | SECTION NO 5 - FIRE COMPARTMENTATION WORKS - SUMMARY
|  | Page : 6/2H/1 |  |  |  | 0
|  | Page : 6/2H/2 |  |  |  | 0
|  | Page : 6/2H/3 |  |  |  | 0
|  | Page : 6/2H/4 |  |  |  | 0
|  | Page : 6/2H/5 |  |  |  | 0
|  | Page : 6/2H/6 |  |  |  | 0
|  | Page : 6/2H/7 |  |  |  | 0
|  | Page : 6/2H/8 |  |  |  | 0
|  | Page : 6/2H/9 |  |  | To Grand Summary | 0
37800