Provision of Landfill Monitoring Services

TENDER REFERENCE: STSC-FB-0005

Tender Issue Date:  29th May 2018

Tender Return Date: 20th June 2018

South Tees Site Company Limited

Procurement Department

Teesside Management Offices

Redcar

TS10 5QW

# Contents

- Introduction

- Indicative Timetable

- Procedure for Submitting Tenders

- Evaluation of Responses

- Terms & Conditions applying to this Invitation to Tender

- Further Instructions to Tenderers

- Checklist of Documents to be Returned

- Job Background

- Scope

- Drawings & Specifications

- Standards

- Site Visit

- Health & Safety

- Budget

- Price/Quality Evaluation Criteria

- Procurement

- Freedom of Information

- Appendices

Declaration 5 – Agreement to Published terms & Conditions

Declaration 6 – Use of Sub-Contractors

Declaration 7 – Health & Safety Policy

Declaration 8 – Enforcement/remedial orders

Declaration 9 – Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions

# Introduction

South Tees Site Company Limited (STSC) have been appointed to maintain the safety of the Redcar site (formally SSI Steel).

South Tees Site Company is a Government owned Company that is part of the BEIS (Business, Energy & Industrial Stratergy) Department.

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows. STSC reserves the right to vary this timetable. Any variations will be published on Contracts Finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and invitation to tender issued | 29th May 2018 |
| Mandatory Site Visit | 7th June 2018 |
| Deadline for questions relating to the tender | 12th June 2018 |
| Responses to questions published | 15th June 2018 |
| Deadline for receipt of tender | 20th June 2018 (by 2pm) |
| All suppliers informed of outcome | 27th June 2018 |
| Contract award on signature by both parties | TBD |
| Contract start date | TBD |

The contract is to be for the period of three (3) years unless terminated or extended by the Authority in accordance with the terms of the contract.

# Procedure for Submitting Tenders

The maximum page limit for tenders is 6 pages (excluding declarations).

Please send your proposal clearly marked as “TENDER” and include the Tender Reference Number e.g. STSC- FB-0005 before the deadline of 2pm on 20th June 2018 to Procurement via email

procurement@stscltd.co.uk.

For questions regarding the procurement process please contact procurement@stscltd.co.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered no later than the appointed time on the appointed date. STSC does not undertake to consider tenders received after that time. STSC requires tenders to remain valid for a period indicated in the specification of requirements.

STSC shall have the right to disqualify a bidder from the procurement if they fail to fully complete their response, or do not return all of the fully completed documentation and declarations requested in this ITT. STSC shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposal, please email procurement@stscltd.co.uk. All questions should be submitted by 12th June 2018; questions submitted after this date may not be answered. Should questions arise during the tendering period, which in our judgement are of material significance, we will publish these questions with our formal reply by the end of 15th June 2018. All contractors should then take that reply into consideration when preparing their own bids, and we will evaluate bids on the assumption that they have done so.

You will not be entitled to claim from STSC any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

# Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the Price/Quality Evaluation Criteria Section.

There will be an overall 30/70 cost/quality weighting on the evaluation.

# Terms and Conditions applying to this Invitation to Tender

The length of the Agreement will be for three (3) years with the option to extend for two (2) further years on an annual basis (3+1+1), and is subject to continuation of funding.

The Terms and Conditions published with this invitation to tender on Contracts Finder will apply to this contract.

These can be downloaded from Contracts Finder.

# Further Instructions to Contractors

STSC reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 18th June 2018. Where amendments are significant, STSC may at its discretion extend the deadline for receipt of tenders.

STSC reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation STSC is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

# Documents to be Submitted

| Requirement | Assessment |
| --- | --- |
| Declaration 5: Agreement to published T&C’s without deviation | Pass/Fail |
| Declaration 6: Use of Sub-Contractors | Pass/Fail |
| Declaration 7: Confirmation of Health and Safety Policy that complies with current legislative requirements. | Pass/Fail |
| Declaration 8: Enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? | Pass/Fail |
| Declaration 9: Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions | Informative |
| Pricing Schedule | Quantitative |
| Response to Quality Assessment Questions | Qualitative |
| Copy of Environmental Policy | Informative |

Note: Failure to comply with one or more pass/fail requirements will deem your tender non-compliant and it will not be evaluated.

# Job Background

The CLE3/8 landfill is covered by landfill permit RP3434HP. It is a landraise located to the north and west of the former SSI UK steelworks BOS plant, and to the east of South Bank Coke Ovens. Disposal activities pre-date the current environmental permitting regime. The permit boundary occupies an area of 29.5 hectares, comprising mostly of the existing waste mass but also a portion of industrial land to the west of the landfill.

The landfill was managed by Sahaviriya Steel Industries UK (SSI UK) until it entered liquidation on 2nd October 2015. South Tees Site Company (STSC) presently manages the area on the behalf of the Official Receiver.

Prior to the current environmental permitting regime, the landfill was covered by two separate licences. CLE3 accounts for roughly one-fifth of the waste mass and was licensed for the following hazardous wastes:

- Biological sludge;

- Tar residue;

- Impure sulphur;

- Stretford effluent;

- Stretford sludge;

- Lime slurry;

- Sinter plant dust;

- Asbestos;

- Prepared blast furnace slag or works ballast;

- Other industrial wastes.

The remainder of the waste mass was covered by the CLE8 licence, which permitted the following wastes:

- General iron and steelworks ballast and waste;

- Electric arc and furnace slurry;

- BOS slurry;

- Blast furnace slurry;

- Ferromanganese furnace slurry;

- Blast furnace dust;

- Flux handling dust;

- Other industrial wastes;

- Paper/canteen wastes.

As stated above, CLE3/8 pre-dates the current environmental permitting regime, and as such is unlined and therefore not compliant with the Landfill Directive. In 2012 construction was completed on a compliant cell (Cell J) and associated leachate lagoon in the south-west corner of the landfill. For part of SSI UK’s operational period this cell accepted BOS slag and, under permit RP3434HP, was licensed to accept non-hazardous waste. Due to the largely industrial and inert nature of the waste (approximately 96%), the site is expected to produce very low volumes of landfill gas, and this is reflected in the Landfill Gas Risk Assessment. No new material has been deposited into the landfill since September 2013.

Under permit RP3434HP, certain monitoring parameters were required to be covered on a monthly, quarterly or annual basis. Following the liquidation of SSI UK, these parameters were confined to quarterly and annual reporting. A copy of this permit is available upon request.

Providers of Landfill Monitoring services to STSC must meet the standards and expectations below.

# Scope

South Tees Site Company (STSC) wish to appoint a suitably qualified and experienced provider for the supply of landfill monitoring and analysis services as required by the landfill environment permit EPR/RP3434HP.

The service will comprise of the following elements:

- Monitoring / Sampling

- Analysis

- Reporting of Results

## 9.1 MONITORING REQUIREMENTS

This tender is for the provision of routine sampling that is required by the landfill environment permit EPR/RP3434HP. There are currently 19 monitoring points. For reference, a summary of the individual monitoring points and their locations is provided in Appendix A.

The sampling of eight combined gas and groundwater boreholes, eight groundwater boreholes and three leachate monitoring wells is to be carried out quarterly, although this may change depending on activities pertaining to the redevelopment of the site and discussions with the regulator.

Some of these are shared with a commercial landfill (Highfield Environmental) and others are on land occupied by a third party (Tarmac). Personnel carrying out monitoring will therefore have to be inducted with these companies as well as STSC. Monitoring points LWJ, MJ and MJ1 are located on Cell J and therefore also function as leachate extraction points.

## 9.2 ANALYTICAL REQUIREMENTS

The Tenderer is also asked to provide analysis of these samples. Different analytical suites are required on a quarterly and annual basis, although this may change depending on activities pertaining to the redevelopment of the site and discussions with the regulator.

In addition to the quarterly requirements, a Hazardous (List 1) Substance screen must be carried out on an annual basis (during the Quarter 4 period).

The field readings and analytes the samples should be tested for are listed in Appendix B.

## 9.3 REPORTING REQUIREMENTS

The results of the analytical tests must be submitted to STSC by the 15th day of the month after the end of the previous calendar quarter.

Results shall be submitted in a format that can be sent directly to the Environment Agency, an acceptable example is attached in Appendix C. They should also be submitted in Microsoft Excel format to allow trends to be graphed and tracked.

## 9.4 Schedule

STSC intends for the service to commence in Q3 2018.

During the on-boarding stage upon formation of the contract, the provider will work with STSC’s EHS representatives to develop and finalise the schedule for 2019 onwards.

For Q3 and Q4 2018, sampling and subsequent analysis should occur in the second month of the quarter, i.e. Aug-18 and Nov-18 respectively.

| Year | Period | Month |
| --- | --- | --- |
| 2018 | Q3 | August |
|  | Q4 | November |
|  | Annual | November |
| 2019 | Q1 | January |
|  | Q2 | April |
|  | Q3 | July |
|  | Q4 | October |
|  | Annual | October |
| 2020 | Q1 | January |
|  | Q2 | April |
|  | Q3 | July |
|  | Q4 | October |
|  | Annual | October |
| 2021 | Q1 | January |
|  | Q2 | April |

## 9.5 Contract Management

### 9.5.1 Review Meetings

A meeting programme will be issued to the supplier on award of contract. The below is an indication of the STSC requirements, including but not limited to:

- Health & Safety

- Work Schedules

- Any unplanned work/issues

- Access problems

- Actual contract spend versus budget

- Operational issues – barriers/enablers

- Cost reduction/innovation

- Additional service requirements

### 9.5.2 Key Performance Indicators

KPI’s to be reviewed and developed alongside the contract. Once formulated, the contractor’s performance against the KPI’s will be measured on a quarterly basis.

See example KPI’s listed in Appendix D.

# Drawings & Specifications

Please refer to the specifications stated in the above scope of works in conjunction with the supplementary information provided in Appendices A, B, and C.

# Standards

All sampling is to be conducted in accordance with Environment Agency documents:

- Guidance on the Hydrogeological Risk Assessments for Landfills (LFTGN01)

- Guidance on the Monitoring of Landfill Leachate, Groundwater and Surface Water (LFTGN02)

- Guidance on the management of landfill gas (LFTGN03)

The successful Tenderer must be able to demonstrate that the sampling team has had suitable and sufficient training to undertake this task.

Samples should be analysed, as far as possible, by a UKAS certified laboratory.

# Site Visit

A site visit is required for this work.  This site visit is mandatory and MUST be confirmed via email to procurement@stscltd.co.uk by 5pm on 5th June 2018.  Failure to confirm attendance will mean you will not be permitted on the site visit and will therefore not be considered further for this tender.

Date:		7th June 2018

Time:		1.00pm

Site Host: 	David Bradley

You will be required to complete a site induction, this will take around 30 minutes, please make time for the induction.

# Health & Safety

South Tees Site Company Ltd is a top tier COMAH site and as such, is heavily regulated.  All contractors and sub-contractors are required to complete the VA01 contractor approval form and return with required documentary evidence (including relevant insurances, ISO and training certificates as are appropriate) in order to be added to the approved contractor register.  This also applies to any sub-contractors who may be used on this procurement.

Note: The below documents are for information at this stage, However, the successful contractor will be required to complete, prior to any actual contract award.

If one is held, please include a copy of your Environmental Policy within this tender.

# Budget

The budget for this project is £32,000 to £48,000 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

STSC aims to pay all correctly submitted invoices within 30 days in line with standard terms and conditions of contract.

# Price/Quality Evaluation Criteria

The weighting for each criterion is presented in brackets.

## 15.1	Price 30 Points

This includes the ‘Tender Total’. The number of points will be awarded such that the lowest tender receives 30 points, the others will receive points based on their percentage above the lowest tender.

Example

Lowest Tender Total: £34k – 30 Points

Next Lowest Tender: £41k – (34/41 x 30) – 25 Points

Next Lowest Tender: £47k – (34/47 x 30) – 22 Points

## 15.1.1		Pricing Schedule

Bidders are required to complete the attached Excel Pricing Schedule to provide a full and detailed breakdown of costs (including options where appropriate).

All prices shall be exclusive of VAT.

All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived.

## 15.2	Quality 70 Points

## 15.2.1 	Scoring Methodology

| 0 | The Question is not answered or the response is completely unacceptable. |
| --- | --- |
| 10 | Extremely poor response – they have completely missed the point of the question. |
| 20 | Very poor response and not wholly acceptable. Requires major revision to the response to make it acceptable. Only partially answers the requirement, with major deficiencies and little relevant detail proposed. |
| 40 | Poor response only partially satisfying the selection question requirements with deficiencies apparent. Some useful evidence provided but response falls well short of expectations. Low probability of being a capable supplier. |
| 60 | Response is acceptable but remains basic and could have been expanded upon. Response is sufficient but does not inspire. |
| 80 | Good response which describes their capabilities in detail which provides high levels of assurance consistent with a quality provider. The response includes a full description of techniques and measurements currently employed. |
| 100 | Response is exceptional and clearly demonstrates they are capable of meeting the requirement. No significant weaknesses noted. The response is compelling in its description of techniques and measurements currently employed, providing full assurance consistent with a quality provider. |

Where an evaluation criterion is worth 10% then the 0-100 score achieved will be multiplied by 10.

Example if a Bidder scores 60 from the available 100 points this will equate to 6% by using the following calculation: Score/Total Points available multiplied by 10 (60/100 x 10 = 6)

## 15.2.2		Quality Questionnaire

| 15.2.2.1 | Methodology and Technical Merit |
| --- | --- |
|  | Bidders are asked to provide a comprehensive methodology of how they would undertake the work, together with details of technical ability to meet the required specifications as detailed in the scope. The bidder is required to: a) Outline their understanding of the requirements b) Provide a programme of work detailing how they propose to deliver the services and objectives that STSC seek to achieve in relation to the specification c) Detail their technical ability to complete the required work |
| Bidder Guidance | Please attach your answer as a pdf document limited to three sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 30% |
| Bidder Response | Attachment |

| 15.2.2.2 | Implementation Plan |
| --- | --- |
|  | Please set out your implementation plan for the on-boarding stage of the provision of Landfill Monitoring services |
| Bidder Guidance | Please attach your answer as a pdf document limited to two sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 15% |
| Bidder Response | Attachment |

| 15.2.2.3 | Risk Management |
| --- | --- |
|  | Please identify what you feel would be the top 3 risks and how you plan to mitigate these risks. |
| Bidder Guidance | Please attach your answer as a pdf document limited to two sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 15% |
| Bidder Response | Attachment |

| 15.2.2.4 | Reporting |
| --- | --- |
|  | Please provide examples of the sample analysis results and reports which you intend to issue to STSC Ltd. |
| Bidder Guidance | Please attach your answer in pdf format |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 10% |
| Bidder Response | Attachment |

# Procurement

All communication relating to this tender must be made via the Procurement Team.

Email: procurement@stscltd.co.uk

Please use this email address to:

- Confirm the Tenderer intends to submit a tender.

- Raise any questions during the tender period.

- Return the completed tender.

# Freedom of Information

In accordance with the obligations and duties placed upon public authorities by the Freedom of Information Act 2000 (the ‘FoIA’) and the Environmental Information Regulations 2004 (the ‘EIR’) (each as amended from time to time), the Contracting Authority may be required to disclose information submitted by the Bidder.

In respect of any information submitted by a Bidder that it considers to be commercially sensitive the Bidder should complete the Freedom of Information declaration question below.

Where a Bidder identifies information as commercially sensitive, the Contracting Authority will endeavour to maintain confidentiality. Bidders should note, however, that, even where information is identified as commercially sensitive, the Contracting Authority may be required to disclose such information in accordance with the FoIA or the Environmental Information Regulations.  In particular, the Contracting Authority is required to form an independent judgment concerning whether the information is exempt from disclosure under the FoIA or the EIR and whether the public interest favours disclosure or not.  Accordingly, the Contracting Authority cannot guarantee that any information marked ‘confidential’ or “commercially sensitive” will not be disclosed.

Where a Bidder receives a request for information under the FoIA or the EIR during the procurement, this should be immediately passed on to the Contracting Authority and the Bidder should not attempt to answer the request without first consulting with the Contracting Authority.

Bidders are reminded that the Government’s transparency agenda requires that sourcing documents, including RFP templates such as this, are published on a designated, publicly searchable web site, and, that the same applies to other sourcing documents issued by the Contracting Authority, and any contract entered into by the Contracting Authority with its preferred supplier once the procurement is complete.  By submitting a response to this RFP Bidders are agreeing that their participation and contents of their Response may be made public.

# Appendices

## Appendix A

### Monitoring Point Locations

| Borehole | Function | Easting | Northing | Latitude | Longitude | Access |
| --- | --- | --- | --- | --- | --- | --- |
| BHA | Groundwater | 454303 | 521588 | 54.58658 | -1.16125 | STSC |
| BHB | Groundwater/Gas | 454302 | 521588 | 54.58658 | -1.16126 | STSC |
| BHC | Groundwater/Gas | 454011 | 521952 | 54.58988 | -1.1657 | STSC |
| BHD | Groundwater/Gas | 453936 | 522097 | 54.5912 | -1.16682 | STSC |
| BHE | Groundwater/Gas | 453803 | 522213 | 54.59225 | -1.16887 | Tarmac |
| BHF | Groundwater | 453804 | 522213 | 54.59225 | -1.16885 | Tarmac |
| BH1 | Groundwater | 454456 | 521640 | 54.58703 | -1.15887 | STSC |
| BH4R | Groundwater | 454063 | 522382 | 54.59374 | -1.16481 | STSC |
| BH5 | Groundwater | 454007 | 522436 | 54.59423 | -1.16567 | Tarmac |
| BH6 | Groundwater | 454040 | 522470 | 54.59423 | -1.16515 | Tarmac |
| BH15 | Groundwater/Gas | 454349 | 522153 | 54.59165 | -1.16043 | Highfield |
| BH204A | Groundwater/Gas | 454301 | 522765 | 54.59716 | -1.16106 | Tarmac |
| BH205 | Groundwater | 454063 | 522656 | 54.5962 | -1.16476 | Tarmac |
| BH206 | Groundwater/Gas | 454418 | 522050 | 54.59072 | -1.15938 | Highfield |
| BH207 | Groundwater | 454493 | 521942 | 54.58974 | -1.15824 | Highfield |
| BH208 | Groundwater/Gas | 454701 | 521787 | 54.58833 | -1.15505 | STSC |
| LWJ | Leachate | 454299 | 521633 | 54.58699 | -1.1613 | STSC |
| MJ | Leachate | 454264 | 521650 | 54.58714 | -1.16184 | STSC |
| MJ1 | Leachate | 454325 | 521652 | 54.58715 | -1.16089 | STSC |

### 18.1.2 Map of Monitoring Points

## Appendix B

### 18.2.1 Analytical requirements – Gas

| Function | Monitoring Points | Frequency | Parameters |
| --- | --- | --- | --- |
| Gas | BHB BHC BHD BHE BH15 BH204A BH206 BH208 | Quarterly | Atmospheric Pressure (mb) |
|  |  |  | Carbon Dioxide (% vol) |
|  |  |  | Differential Pressure (mb) |
|  |  |  | Dip to base (m) |
|  |  |  | Dip to water (m) |
|  |  |  | Electrical Conductivity (µS/cm) |
|  |  |  | Methane (% vol) |
|  |  |  | Oxygen (% vol) |
|  |  |  | pH |
|  |  |  | Temperature (°C) |
|  |  |  | Meteorological data should also be recorded at the time of sampling |

### 18.2.2 Analytical Requirements – Groundwater

| Function | Monitoring Points | Frequency | Parameters |
| --- | --- | --- | --- |
| Groundwater | BHA BHB BHC BHD BHE BHF BH1 BH4R BH5 BH6 BH15 BH204A BH205 BH206 BH207 BH208 | Quarterly | Alkalinity as CaCO3 |
|  |  |  | Ammoniacal Nitrogen as N |
|  |  |  | Arsenic |
|  |  |  | Atrazine |
|  |  |  | Barium |
|  |  |  | Benzene |
|  |  |  | Biological Oxygen Demand ATU 5 day |
|  |  |  | Boron |
|  |  |  | Cadmium |
|  |  |  | Calcium |
|  |  |  | Chemical Oxygen Demand total (1hr settled) |
|  |  |  | Chloride |
|  |  |  | Chromium |
|  |  |  | Copper |
|  |  |  | Cyanide |
|  |  |  | Dissolved Oxygen |
|  |  |  | Electrical Conductivity |
|  |  |  | Ethylbenzene |
|  |  |  | Fluoride |
|  |  |  | Hydrocarbons (TPH CWG Aliphatic/Aromatic Speciated) |
|  |  |  | Iron |
|  |  |  | Lead |
|  |  |  | Magnesium |
|  |  |  | Manganese |
|  |  |  | Mecoprop |
|  |  |  | Mercury |
|  |  |  | Naphthalene |
|  |  |  | Nickel |
|  |  |  | Nitrate |
|  |  |  | pH |
|  |  |  | Phenols |
|  |  |  | Phosphate |
|  |  |  | Potassium |
|  |  |  | Sodium |
|  |  |  | Sulphate as SO4 |
|  |  |  | Temperature (°C) |
|  |  |  | Toluene |
|  |  |  | Total Organic Content (filtered) |
|  |  |  | Total Oxidised Nitrogen as N |
|  |  |  | Xylene (m-, p-, o-) |
|  |  |  | Zinc |
|  |  | Annually | Hazardous (List 1) substances monitoring methods in accordance with the EA's guidance 'Hydrogeological Risk Assessments for Landfills' (LFTGN01) |

### 18.2.3 Analytical Requirements – Leachate

| Function | Monitoring Points | Frequency | Parameters |
| --- | --- | --- | --- |
| Leachate | LWJ MJ MJ1 | Quarterly | Alkalinity as CaCO3 |
|  |  |  | Ammoniacal Nitrogen as N |
|  |  |  | Arsenic |
|  |  |  | Atrazine |
|  |  |  | Barium |
|  |  |  | Benzene |
|  |  |  | Biological Oxygen Demand ATU 5 day |
|  |  |  | Boron |
|  |  |  | Cadmium |
|  |  |  | Calcium |
|  |  |  | Chemical Oxygen Demand total (1hr settled) |
|  |  |  | Chloride |
|  |  |  | Chromium |
|  |  |  | Copper |
|  |  |  | Cyanide |
|  |  |  | Dissolved Oxygen |
|  |  |  | Electrical Conductivity |
|  |  |  | Ethylbenzene |
|  |  |  | Fluoride |
|  |  |  | Hydrocarbons (TPH CWG Aliphatic/Aromatic Speciated) |
|  |  |  | Iron |
|  |  |  | Lead |
|  |  |  | Magnesium |
|  |  |  | Manganese |
|  |  |  | Mecoprop |
|  |  |  | Mercury |
|  |  |  | Naphthalene |
|  |  |  | Nickel |
|  |  |  | Nitrate |
|  |  |  | pH |
|  |  |  | Phenols |
|  |  |  | Phosphate |
|  |  |  | Potassium |
|  |  |  | Sodium |
|  |  |  | Sulphate as SO4 |
|  |  |  | Temperature (°C) |
|  |  |  | Toluene |
|  |  |  | Total Organic Content (filtered) |
|  |  |  | Total Oxidised Nitrogen as N |
|  |  |  | Xylene (m-, p-, o-) |
|  |  |  | Zinc |
|  |  |  | Leachate Depth |
|  |  |  | Depth to base of monitoring well |
|  |  | Annually | Hazardous (List 1) substances monitoring methods in accordance with the EA's guidance 'Hydrogeological Risk Assessments for Landfills' (LFTGN01) |

## Appendix C

### Reporting FormatS

Results shall be submitted in a format that can be sent directly to the Environment Agency, acceptable examples are attached below.

## Appendix D

### Example Key Performance Indicators

1. Health Safety Environment

a. Safety performance occurrences (incidents by category/near misses).

b. Audits conducted by type

c. Waste Performance (Total waste generated by category).

2. Cost

a. Final Cost vs Estimated Cost (project/key task basis).

b. Estimated Cost vs Cost to date vs Final Anticipated Cost including “earned value”.

c. Total Spend (£ & hours) normal & overtime for all areas by discipline, monthly/quarterly/cumulative year to date.

3. Savings & Cost Avoidance

a. Monthly savings (£ & hours) by individual Service and manufacturing area & total area.

b. Cumulative savings (£ & hours) monthly/quarterly/cumulative year to date.

4. Activities

a. Total Notifications / Service Requests received vs Outstanding vs Completed.

b. SHE Notifications / Service Requests received vs Outstanding vs Completed.

c. Attendance to site morning meetings and weekly planning meetings

d. Proportion (% hours) of planned works vs reactive.

e. Proportion of same day requests.

f. Tasks rejected due to insufficient package data.

5. Delays

a. Time lost (hours) by delay category type e.g. Awaiting work control permit, 3rd party (subcontractor), non-availability of spares, etc.

b. In the case of work control permit contractor must specify plant area where delay has occurred on published KPI. Time and date of delay must be recorded for feedback to Employer such that delay may be remedied.

6. Opportunities for Improvement

a. Monthly summary and count of suggestions for improvement.

b. Value of individual suggestions for improvement.

c. Brief description of suggestions for improvement.

Declaration 5: Agreement to Published Terms &Condition

To: South Tees Site Company Limited

We confirm agreement to the published Terms and Conditions in relation to this tender without deviation.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 6: Use of Sub-Contractors

To: South Tees Site Company Limited

We intend to use the below sub-contracts in delivering this tender.

| Sub-contractor | Nature of Work |
| --- | --- |

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

OR

We do not intend to use sub-contractors in delivering this tender.

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 7: Health & Safety Policy

|  | Please self-certify that your organisation has a Health and Safety Policy that complies with current legislative requirements. These should consider not only were your organisation is based but also any needs that are required in the country of delivery of the procurement. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 8: Enforcement/remedial orders

|  | Has your organisation or any of its Directors or Executive Officers been in receipt of enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? |
| --- | --- |
| Bidder Guidance | The Bidder Shall answer yes or no Yes = *Fail No = Pass If your answer to this question is “Yes”, please provide details in a separate Appendix of the conviction or notice and details of any remedial action or changes you have made as a result of conviction or notices served. The Contracting Authority will not select bidder(s) that have been prosecuted or served notice under Health and Safety legislation in the last 3 years, unless the authority is satisfied that appropriate remedial action has been taken to prevent future occurrences/breaches. |
| Scoring criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 9: FREEDOM OF INFORMATION ACT 2000 (FOI) AND / OR ENVIRONMENTAL INFORMATION REGULATIONS 2004 (EIR) EXEMPTIONS

Please complete this section only if you have agreed for your information to be disclosed under the FOI Act or:

If you have not agreed to your information to be disclosed under the FOI Act please complete a field ‘N/A’ (Not applicable)

If you have agreed for your information to be disclosed under the FOI Act please tell us what exemptions or exceptions may apply to your information and why?

If you are not relying on any exemptions or exceptions please complete each field ‘N/A’ (Not applicable)

| Bidder guidance | The Bidder shall provide details of their proposed exemptions/exception in the table below. The Bidder (irrespective of submitting a successful or unsuccessful Bid) shall note that if the Contracting Authority believes that the suggested Exemptions or Exceptions have not been applied properly as per the Act or Regulation, the Contracting Authority will disclose the requested information unless another exemption or exception can be applied by the Contracting Authority. Be aware that by completing and answering ‘Yes’ you have agreed for STSC Ltd to disclose the provided information under the Freedom of Information Act 2000 or Environmental Information Regulation 2004, therefore you will not be approached for consent. |  |
| --- | --- | --- |
| Scoring Criteria | For information only |  |
| Bidder Response | Confidential Information | Justification for exemption/exception under FOI Act |
|  | Commercially sensitive information | Justification for exemption/exception under FOI Act |