## Sheet1
Appendix 1 - Pricing Schedule
Measured term contract for student residences light touch refurbishments
Intructions:
1. Insert figures in all cells as required
2. Use schedule as an opportunity to reflect any differences appropriate to works being delivered at individual room, flat or on a whole block basis
3. Note preliminaries are to be entered as a percentage of priced schedule items appropriate to the scale of refurbishment selected
4. Tender return is to include completed schdule submitted in .xls format
5. For Loxwood Block, treat each of the 4 "Halls" as a flat, with the stairwell in each in lieu of flat corridor works.
Location | Item | Per bedroom | Per flat | Per block
Preliminary items
| Contractor to include here for all necessary site establishment and preliminary cost items and overheads, including (but not limited to): plant, tools, access, protection, welfare, safety, site supervision and office administration. Contractor's role to include fulfilling duties of Principal Contractor as defined by both the CDM regulations and the Building Safety Act. Uplift for preliminary items to be applied at the percentage stated here to works items instructed. Contractor to identify different rates depending upon whether works are being instructed on an individual bedroom, whole flat or per block basis | …...% | …...% | …...%
Stairwells |  | £ | £ | £
| Walls: make good, prepare and repaint: light grey - Dulux 75GY 81/005 (eggshell) | N/A | N/A
| Ceiling: prepare, bring forward and repaint: brilliant white (matt) | N/A | N/A
| Metal handrails: rub down, prepare and and repaint: black (gloss) | N/A | N/A
| Architraves and skirting boards: fill, rub-down and repaint: Dulux trade – flint grey 3029 (silk) | N/A | N/A
| Radiator and associated exposed pipework: rub down, prepare and redecorate brilliant white (gloss) | N/A | N/A
| Special Note: Plaster walls where plaster has cracked around ends of corner lintels: allow to deep chase, rake out, fill and make good | N/A | N/A
| Contract Note: Existing veneered doors are to be protected but not redecorated | N/A | N/A
| Vinyl floor: allow to deep clean. Rake out also and re-seal mastic around perimeter - colour: clear. | N/A | N/A
| Vinyl floor: Provde extra-over previous item to lift and replace vinyl floor to entire stairwell including landings, stair treads and risers. Item to include making good screed and installation of new aluminium stair nosings and edging trims. Vinyl to be from Polyflor Polysafe Quattro PUR range. Colour: Coastal Flint 5764. Step nosing inserts to be anthracite | N/A | N/A
| Lockable noticeboards on landings (one per floor): Carefully take down, store and then refit after redecoration | N/A | N/A
| Lockable noticeboards on landings: extra-over item to remove and dispose of old and supply and fit 1No. 1500mm wide x 1200mm high new replacement aluminium framed lockable noticeboard to match existing were existing is deemed in unsatisfactory condition for re-use by the Contract Administrator | N/A | N/A | £…... per notice board
| Entrance barrier matting: lift from matwell inside front entrance door and dispose. Replace with new from Burmatex “Armour” barrier carpet range (colour: black) | N/A | N/A
| UPVC Windows: allow to supply and fit blanking plates internally where handles to tilt/turn windows have previously been removed. Deep clean also around all window frames and re-mastic to remove mould and grime. | N/A | N/A
Flat corridors |  | £ | £ | £
| Walls: make good, prepare and repaint: light grey - Dulux 75GY 81/005 (eggshell) | N/A
| Ceiling: prepare, bring forward and repaint: brilliant white (matt) | N/A
| Architraves and skirting boards: fill, rub-down and repaint: Dulux trade – flint grey 3029 (silk) | N/A
| Radiator and associated exposed pipework: rub down, prepare and redecorate brilliant white (gloss) | N/A
| Contract Note: Existing veneered doors are to be protected but not redecorated | N/A
| Floor finish: Lift and dispose of existing carpet. Make good screed, laytex as necessary and replace with Burmatex 600mm x 600mm carpet tiles, laid chequerboard style. Carpet tiles to be from “Go to” range: Colour: Medium grey stripe | N/A
| Dry-wipe message board signs on corridor face of bedroom doors: Remove and dispose from site. Tighten fixing screws and washers in their existing fixing holes to avoid filling or making good holes in the outside face of veneered door. | N/A
Bedrooms |  | £ | £ | £
Walls: make good, prepare and repaint: light grey - Dulux 75GY 81/005 (matt) - Note: matt finish. Curtain batten also to be repainted to match wall.
Contract Note: In corner bedrooms with corner windows allow to deep chase, rake out, fill and make good where plaster has cracked
Ceiling: prepare, bring forward and repaint: brilliant white (matt)
Architraves and skirting boards: fill, rub-down and repaint: Dulux trade – flint grey 3029 (silk)
Contract Note: Existing veneered doors are to be protected but not redecorated
Radiator and associated exposed pipework: rub down, prepare and redecorate brilliant white (gloss)
Floor finish: Lift and replace carpet tiles with new vinyl floor covering; preparing floor with laytex levelling compound as necessary. New vinyl to be Polysafe Wood fx PUR: Parish Oak Parquet (3391). Clear mastic seal to be provided to perimter of floor. Note: the fitted wardrobe and chest of drawer unit in each bedroom has been installed on top of the old carpet. Allow therefore to temporarily remove and refit these items.
Pin-board: Remove existing Sundeala pin-board and frame. Make good wall and replace with new smaller 1200mm x 900mm fabric faced aluminium framed pinboard (fabric colour: light grey). Noticeboard to be sourced from Viking Direct or equivalent (Viking part No.5372694)
Viking Notice Board Wall Mounted Felt 120 (W) x 0.81 (D) x 90 (H) cm Aluminium Grey ¦ Viking Direct UK
Windows: Deep clean around seals and frame to remove mould and grime. Cut out and replace mastic seals around window frames. Install blanking plates where handles have previously been removed by others
| Extra over to remove and replace 1No. 1010mm x 920mm (or smaller) sealed double-glazed unit where fogged, complete with internal decorative glazing bars to match existing. (Precise sizes and quantities of panes required to be confirmed on site) | £…....per unit | £…....per unit | £…....per unit
Curtains: Allow to carefully remove and dispose of existing, retaining and refitting existing track and fittings (after redecotation of curtain batten). Replacement curtains are to be sourced and installed by the University.
En-suite bathrooms |  | £ | £ | £
Plastered wall behind WC and basin: Allow to make good, fill, repair and re-emulsion. Colour to be retained as brilliant white (eggshell finish)
Ceiling: prepare, bring forward and repaint: brilliant white (eggshell) Note: eggshell finish
Architraves: fill, rub-down and repaint: Dulux trade – flint grey 3029 (silk)
Contract Note: Existing veneered doors are to be protected but not redecorated
Radiator: allow to remove 400mm wide by 450mm high single panel radiator and dispose. Re-pipe and replace with Terma 660mm x 500mm 985BTU White Flat Designer Towel Radiator (Available form Screwfix Code 955RH). Towel rail to be fitted also with new TRV
Terma 660mm x 500mm 985BTU White Flat Designer Towel Radiator - Screwfix
Exposed metal pipework: rub-down and repaint in undercoat and gloss. Colour: brilliant white
Wall tiles: steam clean grouting to remove mould
Floor covering: Lift and replace existing cap and cove vinyl floor finish; preparing floor with levelling compound and installing new cap and cove trims and formers as necessary. New vinyl to be Polyflor Polysafe Quattro PUR range. Colour: Sea Spray 5763
Shower: allow to deep clean tray, replace chrome waste, replace shower hose and shower head. Rake out and replace mastic seal around shower tray. Rake out and re-mastic also tiled opening around services access hatch
| Extra-over to dispose and replace 1No. shower tray on an ad-hoc basis if existing tray is deemed in an unsuitable condition to re-use by the Contact Administrator. Tray to match existing removed in all respects. | £..…. per tray | £..…. per tray | £..…. per tray
| Extra over to allow to supply and replace 1 No. shower mixer valve on an ad hoc basis as instructed by the Contract Administrator. Shower valve to match existing or be equal and approved. | £…... per valve | £…... per valve | £…... per valve
Wash basin: allow to remove from wall, deep clean, replace taps, chrome waste, chain and plug. Refit, re-plumb and re-mastic. Taps to be:
· Bristan Club basin taps with metal heads Chrome Plated ¦ Wolseley (Code C690613)
| Extra-over to dispose and replace 1No. wash hand basin on an ad-hoc basis as instructed by the Contract Administrator if basin is deemed in an unsuitable condition to re-use. Basin to match existing removed in all respects. | £….. per basin | £….. per basin | £….. per basin
Allow to deep clean WC pan. Rake-out exisiting mastic also and remastic around.
| Extra-over to dispose and replace 1No. WC pan on an ad-hoc basis if existing is deemed in an unsuitable condition to re-use by the Contact Administrator. Pan to match existing removed in all respects. | £..…. per pan | £..…. per pan | £..…. per pan
Shower curtain: allow to carefully take down and dispose from site, retaining exisiting track and fittings. (Replacement curtain to be sourced and installed by the University)
Mirror: take down and dispose of existing. Replace with 450mm wide x 900mm high (to match existing)
Bathroom extract fan: clean dust from air intake. Check and securely fix fan body to ceiling and confirm correct operation
| Extra-over to allow for replacement of 1No. bathroom extract fan should existing unit prove unserviceable. Replacement fan to match existing Manrose CF200T 100mm centrifugal fan unit with timer | £…... per fan | £…... per fan | £…... per fan
Kitchens |  | £ | £ | £
| Walls: make good, prepare and repaint: light grey - Dulux 75GY 81/005 (eggshell) | N/A
| Ceiling: prepare, bring forward and repaint: brilliant white (eggshell) Note: eggshell finish | N/A
| Louvred door to plant cupboard and architrave: rub-down and redecorate (Brilliant white eggshell) | N/A
| Architrave to kitchen entrance door: fill, rub-down and repaint: Dulux trade – flint grey 3029 (silk) | N/A
| Contract Note: Existing veneered doors are to be protected but not redecorated | N/A
| Floor finish: Lift and replace existing cap and cove vinyl floor finish; preparing floor with levelling compound and installing new cap and cove trims and formers as necessary. New vinyl to be Polyflor Polysafe Quattro PUR range. Colour: Sea Spray 5763 | N/A
| Deep clean existing stainless-steel sink | N/A
| Extra over to supply and fit 1No. replacement single bowl, single drainer two taphole stainless steel sink if existing is deemed in an unsuitable condition to re-use by the Contact Administrator. | N/A | £...…. per sink | £...…. per sink
| Supply and fit replacement sink taps. Taps to be Bristan Lever Contemporary Single Lever High Neck Pillar Kitchen Taps Chrome 1 Pair - Screwfix (Code 805JE), or equal and approved. | N/A
| Fitted kitchen: Allow to deep clean kitchen cupboards and worktops | N/A
| Fitted kitchen: Allow to install additional fixings under the sink unit kitchen carcass unit to reinforce its plinth. This is currently being kicked underneath the carcass unit by occupants standing at the sink. | N/A
| Supply and fit wall mounted door stop to prevent door handle from marking the wall behind | N/A
| Contract note: free-standing cookers are to be selectively removed and replaced by University Accommodation team | N/A
Roof insulation |  | £ | £ | £
| Allow to supply and loose-lay additional to increase thickness by 200mm | N/A | N/A
Cleaning on completion |  | £ | £ | £
Allow to carry out “builder’s clean” upon completion of works
Extra over for “sparkle clean” to be provided by contract cleaning sub-contractor at completion.
Daywork (where instructed) - including Schedule of Hourly Charges for directly employed labour - TO BE FIXED FOR DURATION OF CONTRACT
| Craftsman: all-in labour rate (inclusive of all overtime allowances, incidental costs, overheads and profit) | £….. per hour | £….. per hour | £….. per hour
| Tradesman: all-in labour rate (inclusive of all overtime allowances, incidental costs, overheads and profit) | £….. per hour | £….. per hour | £….. per hour
| Labourer: all-in labour rate (inclusive of all overtime allowances, incidental costs, overheads and profit) | £….. per hour | £….. per hour | £….. per hour
| Materials: percentage addition to invoice price for Overheads and profit | …...% | …...% | …...%
| Plant, Services and Consumable Stores: percentage addition to invoice price for Overheads and profit | …...% | …...% | …...%
| Sub-Contractors: percentage addition to invoice price for Overheads and profit | …...% | …...% | …...%