- Technical Support – Work Order Specification

Title: Provision of Technical Review/Technical Assessment of Selected Radioactive Waste Management Systems for the GDA Reference Design for the UK HPR1000

Background to the project In January 2017 the UK Government formally asked ONR and EA to begin the Generic Design Assessment (GDA) of the UK HPR1000. The UK HPR1000 is a reactor design proposed for deployment at Bradwell-on-Sea, Essex. General Nuclear System LTD (GNS) is a UK-registered company that was established as the Requesting Party (RP) to implement the GDA of the UK HPR1000 reactor on behalf of three joint requesting parties, i.e. China General Nuclear Power Corporation (CGN), EDF and General Nuclear International (GNI). The GDA process calls for a step-wise assessment of the RP’s safety and security submissions with the assessments increasing in detail as the project progresses. Step 1 of the UK HPR1000 GDA commenced in January 2017 and Step 2 finished in November 2018. Step 3 commenced on 15 November 2018 and Step 4 on 13 February 2020. The ONR Assessment Report for Radioactive Waste Management, Decommissioning and Spent Fuel Management for Step 2 of the UK HPR1000 GDA is available at: - http://www.onr.org.uk/new-reactors/uk-hpr1000/reports.htm In undertaking assessment activities, ONR often calls upon technical support contractors (TSCs) to provide expert, independent advice in specialised areas, in support of its overall judgements regarding the acceptability of the design or supporting safety case presented by an RP during GDA. ONR have identified that such support is required for Step 4 of GDA in the radioactive waste management topic, to support our assessment of the radioactive waste management systems of the UK HPR1000 design. More detail on the exact nature of the scope of the services required is provided in Section 2 below. However, the main purposes of this contract are to: Undertake an independent review/assessment of a sample of the RP’s safety case submissions which identify and substantiate the adequacy of the design of the radioactive waste management systems for the UK HPR1000 design for normal operations; Advise ONR on the adequacy of the design of the radioactive waste management systems proposed for the UK HPR1000 in support of ONR’s assessment of whether the risks associated with radioactive waste management are as low as reasonably practicable (ALARP). These activities/purposes will input into the basis of ONR’s Step 4 radioactive waste management assessment of the UK HPR1000 design. ONR will therefore use the outputs of this contract to: judge if the claims and arguments are adequate (i.e. complete) and to judge whether suitable and sufficient evidence has been provided by the RP to substantiate them; determine if the RP has provided adequate evidence concerned with the sample of radioactive waste management systems for UK HPR1000 considered in this contract; ensure ONR’s regulatory decision making remains demonstrably robust.

SCOPE OF THE SERVICES REQUIRED To be able to deliver the scope of services required for this contract, the successful TSC will need to have developed an adequate understanding of the UK HPR1000 generic design and safety case. This will involve the TSC reviewing a sample of the RP’s submissions which provide general UK HPR1000 design information and information most pertinent to the radioactive waste management systems considered in this contract. ONR will advise the successful TSC which documents to review to gain design familiarisation. However, the TSC should be aware a public version of the UK HPR1000 Safety Security and Environmental Report (SSER) is available on the RP’s website: - http://www.ukhpr1000.co.uk/documents-library/step-3/ ONR would not expect the TSC to plan for a significant amount of time to be spent on this part of the work. A number of systems are involved in radioactive waste management and/or the production of radioactive wastes in the UK HPR1000. These are interconnected in that some radioactive wastes are transferred from one system to another depending on their characteristics. The scope of the radioactive waste management systems to be considered in this contract excludes the following reactor auxiliary systems: - the Reactor Coolant System (RCP [RCS]); - the Chemical Volume and Control System (RCV [CVCS]); - the Coolant and Storage Treatment System (TEP [CSTS]); - Reactor Boron and Water Makeup System (REA [RBWMS]); and the - Nuclear Sampling System (REN [NSS]). These systems are excluded because consideration of their adequacy is being undertaken elsewhere in this GDA assessment. The scope of this contract also excludes consideration of the highest safety category (F-SC1) containment isolation valves in the Nuclear Vent and Drains System (RPE [VDS]) and the Gaseous Waste Treatment Systems (TEG [GWTS]), for the same reason. The scope of the work covered by this contract also excludes the minimisation of the generation and accumulation of radioactive wastes, the interim storage facilities for Intermediate Level Waste and Spent Fuel and the Spent Fuel Pool. The radioactive waste management systems included in the scope of this contract are: - The Nuclear Island Vent and Drain System (RPE [VDS]) (excluding the F-SC1 containment isolation valves as noted above); - Nuclear Island Liquid Waste Discharge System (TER [NLWDS]); - Liquid Waste Treatment System (TEU [LWTS]); - Gaseous Waste Treatment System (TEG [GWTS]) excluding the F-SC1 containment isolation valves as noted above; - Solid Waste Treatment System (TES [SWTS]); and - Steam Generator Blowdown System (APG [SGBS]) – this has a broader function than radioactive waste management but has been included because of its role in producing effluent and solid wastes associated with the secondary circuit. The RP has made a number of claims and sub-claims that are relevant to the radioactive waste management systems addressed in this contract: - Claim 3: The design and intended construction and operation of the UK HPR1000 will protect the workers and the public by providing multiple levels of defence to fulfil the fundamental safety functions, reducing the nuclear safety risks to a level that is as low as reasonably practicable. - Claim 3.3: The design of the processes and systems has been substantiated and the safety aspects of operation and management have been substantiated. - Claim 3.3.11: The design of radioactive waste management systems has been substantiated. The successful TSC will be expected to undertake direct review/assessment of a sample of the RP’s submissions relevant to the selected sample of radioactive waste management systems, to determine whether the claims listed above have been adequately substantiated by arguments and evidence. This specification provides lists of submissions for assessment, noting the need for assessment of other submissions may arise during the contract as the assessment progresses. The TSC may also consider it necessary/desirable to request drawings and/or flow diagrams as part of their assessment. The availability of drawings and/or flow diagrams is not expected to be comprehensive and ONR will address any requests on a case-by-case basis. The RP’s submissions the TSC will be asked to review/assess, from a radioactive waste management perspective are listed below. The length of the submissions listed varies from approximately 10 pages to over 100 pages. Although all of these submissions fall within the scope of this contract, the TSC should be aware that the breadth and depth of the assessment required for them will be different - General Reports: Methodology of Safety Categorisation and Classification, GHX00100062DOZJ03GN, Revision B, CGN, 2018; PCSR Chapter 23 Radioactive Waste Management, which includes the relevant claims, arguments and links to the evidence for radioactive waste management systems; PCSR Chapter 11 Steam and Power Conversion System (for the Steam Generator Blowdown System); Topic Report on the Commissioning Requirements of Radioactive Waste Management Systems, GHX71200001DNFF03GN, Revision A, CGN, 2019; Topic Report on the Periodic Test Requirements of Radioactive Waste Management Systems, GHX71200002DNFF03GN, Revision A, CGN, 2019; Analysis Report of Applicable Codes and Standards, GHX00100024DNFF02GN@D, Revision D, CGN, 2019. - . - Sizing Reports Sizing Report of the Activated Charcoal Delay Beds, GHX00100039DNFF03GN@D Revision D, CGN, 2019; Sizing Report of Main Equipment in Solid Radioactive Waste Treatment System, GHX00100068DNFF03GN@D, Revision D, CGN, 2019; Sizing Report of Main Equipment in Liquid Waste Management System, GHX00100067DNFF03GN@D, Revision D, CGN, 2019. - System Design Manuals: APG-Steam Generator Blowdown System Design Manual Chapter 2 Brief Introduction to the System, GHX17APG002DNHX45GN, Revision A, CGN, 2018; APG Steam Generator Blowdown System Design Manual Chapter 3 System Functions and Design Bases, HX17APG003DNHX45GN, Revision B, 2018; APG Steam Generator Blowdown System Design Manual Chapter 4 System and Component Design, GHX17APG004DNHX45GN, Revision B, CGN, 2018; APG Steam Generator Blowdown System Design Manual Chapter 5 Layout Requirements and Environment Condition, GHX17APG005DNHX45GN, Revision B, CGN, 2018; APG Steam Generator Blowdown System Design Manual Chapter 6 System Operation and Maintenance, GHX17APG006DNHX45GN, Revision C, CGN, 2018; APG Steam Generator Blowdown System Design Manual Chapter 9 Flow Diagrams, GHX17APG009DNHX45GN, Revision B, CGN, 2018; TER-Nuclear Island Liquid Waste Discharge System Design Manual Chapter 2 Brief Introduction to the System, GH917TER002DNFF45GN, Revision A, CGN, 2019; TER Nuclear Island Liquid Waste Discharge System Design Manual Chapter 3 System Functions and Design Bases, GH917TER003DNFF45GN, Revision B, CGN, 2018; TER Nuclear Island Liquid Waste Discharge System Design Manual Chapter 4 System and Component Design, GH917TER004DNFF45GN, Revision B, CGN, 2018; TER-Nuclear Island Liquid Waste Discharge System Design Manual Chapter 5 Layout Requirements and Environment Condition, GH917TER005DNFF45GN, Revision C, CGN, 2019; TER Nuclear Island Liquid Waste Discharge System Design Manual Chapter 6 System Operation and Maintenance, GH917TER006DNFF45GN, Revision B, CGN, 2018; RPE - Nuclear Island Vent and Drain System Design Manual Chapter 2 Brief Introduction to the System, GHX17RPE002DNFF45GN, Revision B, CGN, 2019; RPE-Nuclear Island Vent and Drain System Design Manual Chapter 3 System Functions and Design Bases, GHX17RPE003DNFF45GN, Revision D, CGN, 2019; RPE-Nuclear Island Vent and Drain System Design Manual Chapter 4 System and Component Design, GHX17RPE004DNFF45GN, Revision E, CGN, 2019; RPE - Nuclear Island Vent and Drain System Design Manual Chapter 5 Layout Requirements and Environment Condition, GHX17RPE005DNFF45GN, Revision B, CGN, 2019; RPE-Nuclear Island Vent and Drain System Design Manual Chapter 6, System Operation and Maintenance, GHX17RPE006DNFF45GN, Revision C, CGN 2019; TEG-Gaseous Waste Treatment System Design Manual Chapter 2 Brief Introduction to the System, GHX17TEG002DNFF45GN, Revision C, CGN, 2019; TEG Gaseous Waste Treatment System Design Manual Chapter 3 System Functions and Design Bases, GHX17TEG003DNFF45GN, Revision B, CGN, 2018; TEG Gaseous Waste Treatment System Design Manual Chapter 4 System and Component Design, GHX17TEG004DNFF45GN, Revision B, 2018; TEG-Gaseous Waste Treatment System Design Manual Chapter 5 Layout Requirements and Environment Condition, GHX17TEG005DNFF45GN, Revision B, CGN, 2019; TEG Gaseous Waste Treatment System Design Manual Chapter 6 System Operation and Maintenance, GHX17TEG006DNFF45GN, Revision B, CGN, 2018; TEU-Liquid Waste Treatment System Design Manual Chapter 1 System Design Manual Content and State, GH917TEU001DNFF45GN, Revision D, 2019; TEU-Liquid Waste Treatment System Design Manual Chapter 2 Brief Introduction to the System, GH917TEU002DNFF45GN, Revision A, CGN, 2019 TEU-Liquid Waste Treatment System Design Manual Chapter 3 System Functions and Design Bases, GH917TEU003DNFF45GN, Revision D, CGN, 2019; TEU-Liquid Waste Treatment System Design Manual Chapter 4 System and Component Design, GH917TEU004DNFF45GN, Revision D, CGN, 2019; TEU-Liquid Waste Treatment System Design Manual Chapter 6 System Operation and Maintenance, GH917TEU006DNFF45GN, Revision C, 2019; TEU-Liquid Waste Treatment System Design Manual Chapter 9 Flow Diagrams, GH917TEU009DNFF45GN, Revision B, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 1 System Design Manual Content and State, GHX17TES001DNFF45GN, Revision E, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 2 Brief Introduction to the System, GHX17TES002DNFF45GN, Revision D, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 3 System Functions and Design Bases, GHX17TES003DNFF45GN, Revision E, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 4 System and Component Design, GHX17TES004DNFF45GN, Revision E, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 5 Layout Requirements and Environment Condition, GHX17TES005DNFF45GN, Revision C, CGN, 2019; TES-Solid Waste Treatment System Design Manual Chapter 6 System Operation and Maintenance, GHX17TES006DNFF45GN, Revision D, CGM, 2019; TES-Solid Waste Treatment System Design Manual Chapter 9 Flow Diagrams, GHX17TES009DNFF45GN, Revision D, CGN, 2019. In undertaking the review/assessment of the RP’s submissions, the key themes ONR would expect the TSC to examine/consider for the radioactive waste management systems in the scope of this contract are: The substantiation of design and system functional requirements; The substantiation of the categorisation and classification of the systems and main system components for normal operations; The adequacy of the approaches to commissioning and examination, inspection, maintenance and testing, noting the stage of development of the designs; The prevention and minimisation of releases of radioactive wastes within and from the systems in normal operation, This should consider, as a minimum: - The means of confinement of radioactive wastes; - The provision of further containment barriers; - The suitability and sufficiency of monitoring devices, alarms and leakage monitoring. To achieve the above objectives the contractor will be expected to consider appropriate sources of what ONR considers to be relevant good practice (RGP) – including relevant parts of ONR’s Safety Assessment Principles (SAPs) and the relevant ONR Technical Assessment Guides (TAGs). ONR will advise the successful TSC which SAPs and TAGs are most relevant. ONR will also be expecting the TSC to draw upon their own expert knowledge, skills and experience in the field, to form the benchmark of what constitutes good practice in radioactive waste management system design and inform the judgement of whether the RP has met the standard or not. The overall objective of Step 4 of a GDA is to undertake an in-depth assessment of the RP’s safety case evidence. The TSC should therefore plan on the basis that their review of the RP’s submissions pertinent to this contract, should be sufficiently detailed when reporting against the adequacy of the RP’s design of the radioactive waste management systems in the scope of this contract as compared against the expectations in ONR’s SAPs/TAGs, and other sources of standards/guidance judged to represent good practice. Whilst ONR has listed the primary submissions the TSC will be expected to review as part of this work, the TSC should also plan on the basis that there may possibly be other documentation referenced by these submissions which may subsequently form part of the scope of the assessment. This should be discussed and agreed with ONR as the work proceeds. Importantly, regulatory decisions on the adequacy of the submissions will ultimately be made by ONR. The main outcome of the TSC’s assessment/review should be to make recommendations to ONR where the RP’s approach may not satisfy RGP and/or where further justification may be required by the RP. The contractor will be expected to document the outcome of their review/assessment of the submissions in an appropriate format. The output should be produced in a format that can be directly referenced from ONR’s formal Step 4 Assessment Report (which will be published on ONR’s website) and must include a clear rationale for the conclusions reached and advice/recommendations provided to ONR. It will be at the TSC’s discretion, with prior agreement from ONR, as to how they decide to report the outcome of the review i.e. one or a series of reports. The TSC should also plan to receive and address ONR’s comments on the report(s) before they are finalised. To be able to deliver the various parts of this work package, the scope of the work should also include, where appropriate: The identification of any necessary UK HPR1000 information required from the RP. ONR will formally submit these to the RP as Regulatory Queries (RQs), but the contractor is expected to identify the information required and be involved in drafting the RQs. Review of part, or all, of any responses provided by the RP in answer to any RQs raised in conjunction with completing the work package. The response time to the questions is at the discretion of the RP and will depend upon the complexity and number of queries. However, the successful TSC should plan on a minimum response time of 6 weeks for planning purposes. Support to ONR during some technical meetings with the RP. This might include, for example, discussions on information required to undertake the review. ONR would expect the TSC to be present when the final results of the work are discussed with the RP. This may involve attending video/teleconferences or face-to-face meetings in the UK. Provide monthly progress reports, either via meetings or teleconference, for the duration of the contract. - WORK BREAKDOWN AND DELIVERABLES - In summary, the contractor is required to: Attendance at an initial kick-off meeting at ONR’s offices in Redgrave Court, Bootle, Liverpool or Cheltenham or at the contractor’s offices to discuss and agree the final scope of work to be undertaken. Produce a detailed work plan including: full details of the proposed approach to the work, timescales, invoice schedule and staff details for approval. Become familiar with the UK HPR1000 design and undertake an assessment of a sample of the RP’s safety case submissions which justify the design of the selected radioactive waste management systems for the UK HPR1000. Assist ONR in engaging with the RP at key Level 4 technical exchange meetings. The TSC’s response should assume up to six meetings in London may be required. There is no requirement for foreign travel as part of this contract. Raise requests for additional information (RQs) from the RP (via ONR), and review their responses. In some cases, this may require the contractor to attend meetings with the RP to discuss and clarify questions and responses. Such requests for information would be aimed at establishing the quality and relevance of the RP’s designs for the selected radioactive waste management systems and information. Routine engagement and progress updates with ONR via meetings or by telephone, particularly in the event that significant omissions or shortfalls are identified in the RP’s approach, should also be planned for. Produce report(s) and submit to ONR to formally capture the outcome of the TSC’s independent assessment of a sample of the RP’s safety case submissions which identify and substantiate the adequacy of the design of the radioactive waste management systems for the UK HPR1000 design for normal operations. The deliverable(s) should capture the TSC’s expert advice to ONR and contain recommendations to ONR where the RP’s approach may not satisfy RGP and/or where further justification may be required. The TSC is expected to use their discretion, with prior ONR agreement, to decide how best to formally report the basis and outcome of their assessment. A close-out meeting will be held upon completion of the contract. This meeting will take place either at the ONR offices in in Redgrave Court, Bootle or Cheltenham or at the contractor’s offices. Videoconference facilities are also available if necessary. - TIMESCALES The following timescales can be assumed, noting that progress meetings and updates should be provided concurrently: May 2020 - Start of contract expected May 2020. November 2020 - Issue draft assessment report(s) to ONR for review and comment. February 2021 - Issue final assessment report(s) to ONR. July 2021 - End of contract.

OBJECTIVES In summary, the required outcomes of this work are for the contractor to: Provide an independent technical review of the claims, arguments and evidence presented by the RP in relation to the design of the selected radioactive waste management systems in the UK HPR1000 during both normal operations; Make recommendations to ONR where the RP’s approach may not satisfy RGP and/or where further justification may be required by the RP.

CONSTRAINTS Provide details of anything that may constrain the ability of potential suppliers to meet the requirement such as: The work is expected to start and conclude in accordance with the overall timescales given above, and a project programme will be agreed with the contractor upon contract award. ONR will provide the latest versions of relevant documentation submitted by the RP. Further information will need to be identified and requested by the contractor through regulatory queries (via ONR). The timescales for both of these processes are largely outside of ONR’s direct control and therefore delays to the receipt of information may occur. The TSC should also be aware that in some limited cases, the information requested may only be available in Chinese and translation into English (undertaken by the RP) may be required, which normally takes three months. The quality of any response cannot be guaranteed. A pragmatic and flexible approach will need to be adopted by the contractor to deal with these circumstances, both technically and contractually, should they arise. It is expected that the successful contractor will also draw upon their experience, resources and publicly available information to perform this work. The TSCs undertaking the work will be expected to have demonstrable experience in relation to the scope of this contract. All information received from the RP will need to be treated in accordance with the ONR Technical Support Contact Framework agreement and non-disclosure agreement. The information or a certificate of destruction will need to be returned to ONR at the end of the contract. Information in this contract will contain protectively marked information and if so, will need to be handled accordingly. Most information will contain proprietary markings. Information in this contract is not expected to contain Sensitive Nuclear Information (SNI). No information with a security marking above UK OFFICAL - SENSITIVE is anticipated as part of this contract. The contractor will need to provide assurances that it has all necessary export control licences to exchange information with ONR. The transmittal of all documents between ONR and the contractor will be through ONR's Joint Programme Office (JPO). This will use the egress system, regardless of the security marking (unless the documents are publicly available on the internet). The contractor may be asked to sign Export Control End User Undertakings (EUU) to receive controlled technology. The contractor will be required to work in accordance with ONR’s Export Control Instruction in order to facilitate engagement with the GDA RP. The contractor shall not utilise any additional third party support not named in the bid documentation without ONR’s prior written consent. Any conflict of interest should be declared. Where a potential conflict exists, the contractor should describe how this will be managed. The aim of this work package is to inform and advise ONR. However, it is ONR’s intention to brief the RP on the conclusions of the work. The RP will be provided with copies of any reports produced for information and will be invited to comment on their factual accuracy. It is not ONR’s intention to publish the reports produced through this contract. However, it is likely they will be referenced in publicly available reports and therefore subject to freedom of information requests. This should not constrain or limit the produced reports but should be taken into account with the style and format. The contractor shall ensure they have the relevant permissions for all codes, standards, technology, software and/or information required to deliver the scope of work. The contractor should identify any constraints that may impact delivery of the intended scope of work. The contractor is responsible for making all arrangements required to support meetings in China. However, ONR will facilitate the provision of Invitation letters.

CONTRACT MANAGEMENT The Procurement Unit will provide contractors with details of: who in ONR will be responsible for managing delivery and certifying completion of the required work; and ONR'S expectations in terms of being kept updated about delivery of the required work including review meetings, interim/final reporting arrangements, and management information requirements ONR will require to be kept updated about progress and delivery of the required work via monthly meetings, to include a contract start-up meeting at Redgrave Court, Bootle, Liverpool or Cheltenham or at the contractor’s offices. Subsequent progress meeting should be arranged with the ONR Project Office and can be held at ONR’s office in Bootle, or the contractor’s office.

TECHNICAL RESPONSE

Response The Technical Response should demonstrate a clear understanding of the work required. Please provide: a description of how you will deliver the scope of work (methodology) and the proposed delivery team you will use, clearly signposting to relevant sections within your Capability Prospectus where appropriate/relevant; a demonstration of up-to-date knowledge of relevant national and international benchmarks, approaches, standards etc. and research programmes etc. in the design of radioactive waste management systems; a description of the proposed teams’ expertise and experience in the assessment of safety cases for and the design of radioactive waste management systems for nuclear facilities (especially for Pressurised Water Reactors (PWRs)); an overview of any prior experience with the HPR1000 design and/or undertaking similar pieces of work to that requested in this contract, for other PWRs; a description of proposed deliverables and/or outputs; an outline of anticipated engagement (project meetings & management); details of proposed cost and associated effort assumptions; a project delivery plan showing activities and milestones; a planned invoice schedule; and details of any assumptions or constraints.