# Annex A

| Title of Project | ODA Environmental Pollution Programme Mobile Laboratory |
| --- | --- |
| Date and Time for Return of Bids | Monday 27 November 2023 @16:00 hours (GMT) |
| Contract Reference Number | C23-0493-1830 |
| Address for Bid Submission | 1 electronic copy to be sent to TenderResponse@jncc.gov.uk PLEASE DO NOT SEND BIDS DIRECTLY TO (PAUL ROBINSON OR PROCUREMENT TEAM VIA THEIR WORK EMAIL ADDRESSES AS THIS WILL INVALIDATE YOUR BID. Bids must be less than 10 MB in size. On receipt of your bid, you will receive an automated e-mail to confirm receipt by the JNCC Support Co. If you do not receive this automated email, please contact the number below; (00 44 1733 866 988) |
| Contacts for Technical Information relating to this Project Specification | Joint Nature Conservation Committee Name: Paul Robinson Email: Paul.Robinson@jncc.gov.uk Telephone: 01733 866867 |
| Contact for Queries Regarding the Procurement Procedure | Procurement Team Joint Nature Conservation Committee Email: contractqueries@jncc.gov.uk Telephone: 01733 866894 |
| Proposed Start Date | w/b 4 December 2023 |
| Proposed End Date | 8th March 2023 |

ODA Environmental Pollution Programme Mobile Laboratory

Contents

1.	Joint Nature Conservation Committee	3

2.	Project Aims	3

3.	Project Background	3

4.	Project Objectives	4

5.	Product Specification	4

6.	Timescale	6

7.	Health and Safety	6

8.	Project Management	6

9.	Instructions for Bid Submission	7

10.	Evaluation Criteria	8

11.	Payment	8

12.	Additional Requirements	9

## Joint Nature Conservation Committee

The Joint Nature Conservation Committee (JNCC) is the statutory adviser to the UK Government and devolved administrations on UK and international nature conservation

Our role is to provide scientific evidence, information, and advice to inform decisions to  protect the natural environment. Our specific role is to work on nature conservation issues that affect the UK as a whole and internationally, by:

advising Government on the development and implementation of policies for, or affecting, nature conservation in the UK and internationally;

providing advice and disseminating knowledge on nature conservation issues affecting the UK and internationally;

establishing common standards throughout the UK for nature conservation, including monitoring, research, and the analysis of results; and

commissioning or supporting research which it deems relevant to these functions.

Background to JNCC can be found on JNCC’s website at: https://jncc.gov.uk/about-jncc/

## Project Aims

The Environmental Pollution Programme is a UK Official Development Assistance (ODA) programme funded by the UK’s Department for Environment, Food & Rural Affairs (Defra) and delivered by JNCC. The programme is currently undertaking a series of multi-year projects in South Africa researching a range of issues and how they impact on local communities. The aim of this element of the work is to supply a mobile laboratory that can support the projects by providing a resource for accessing sites, sample processing, outreach activities and the safe returning of biological samples to host institutions.

## Project Background

The Reducing Pollution Through Partnership scoping year project (2021–2022), which explored the current state of pollution in six developing countries, informed the development of the multi-year Environmental Pollution Programme. JNCC is delivering that programme which consists of a range of research projects based in South Africa by collaborating with a range of partners.

As part of that programme the partners looked at approaches taken to this work in South Africa. At present, vehicles used in the field are often hired, or privately owned meaning they are not appropriately configured for collecting, storing and processing field samples. Furthermore, there are restrictions on hire vehicles as to acceptable temporary modifications.

In light of this it was considered that some form of mobile laboratory would facilitate project progression and future impact of the majority of the projects that are funded under this activity. A range of options were considered to improve this situation.

Following an initial workshop with partners, further dialogue and questionnaire with extended dialogue including a post analysis of the questionnaire, the final recommendation is for a fully independent mobile laboratory incorporated within a vehicle. Whilst more expensive to procure in the first instance, the utility of this option brings significant future benefits that outweigh any perceived or real risks and will contribute immediately to the success of this project including lasting legacy.

## Project Objectives

To meet the overall aims of this project (Section 2), the objectives are:

To provide a mobile laboratory space consisting of a modified 4x4 pick up vehicle with a purpose-built box mobile laboratory attached. The mobile lab is for use by partners in the Environmental Pollution Programme in South Africa. It will be manufactured in South Africa so that it can be delivered quickly and have all appropriate safety equipment. See Section 5 for the detailed specification required.

## Product Specification

This specification is for the conversion of a long wheel base pick up to a mobile laboratory to be constructed and delivered within South Africa. It will include a servicing package for first 90,000km to ensure regular routine maintenance.

The laboratory will be constructed on a long wheel base pick up, preferably a Toyota Landcruiser, although other suitable equivalents will be considered. The load bin will be removed and replaced with a chassis mounted body to house the laboratory space. The conversion will include the following as a minimum.

1. Laboratory body to include:

- A sliding window to be included on at least one side of the body with a security grille.

- A Single hinged, locking door with a fixed window at the rear.

- The floor to be lined with marine grade ply wood and covered with aluminium tread plate.

- A Luton over the drivers cab to create additional storage area.

- Fold down steps, with handrails at the rear to assist with entry and exit from the vehicle.

- Approximate body dimensions: 2600 (l) x 1900 (w) x 1800 (h)

- Exterior lockers below the chassis level for storage to either side of the body in the side skirts.

- Retractable awning on the side of the vehicle.

2. Generator:

- A 2500 watt generator to be fitted with an external access door.

3. Air conditioning

- An automotive 220 volt roof mounted air conditioning unit to be fitted.

4. Interior furniture and fittings to include:

- Worktops / desk area and a lockable storage cabinet.

- Drawer unit

- A 100 litre automotive fridge / freezer

- Typist style chair

- A hand wash basin, complete with a 100 litre clean water bottle, 100 litre waste water bottle, tap and submersible pump. A water level indicator to be fitted and drain taps.

- An external filler port for the fresh water tank.

- A wall mounted soap dispenser and paper towel holder will be fitted to the wall near the hand wash basin.

5. Lighting

- Interior light units to be fitted to the ceiling of the laboratory body. A switch to activate the lights at the rear doorway.

6. Electrical installation to include:

- A dual battery system with monitoring and charging system to be fitted to the vehicle to operate all auxiliary devices and ensure that the primary battery is fully charged.

•	An external 220 volt plug point to be fitted. A 20m extension lead and caravan plug to enable external power to be fed into the vehicle from either a generator or 220v power source and a changeover switch to select the power source.

•	Four 220 volt plug points to be fitted in the body above the worktop and in suitable ducting. A single exterior mounted 220 volt plug point to be fitted to the body.

•	Suitably rated circuit breakers to be fitted to a distribution board mounted in the vehicle.

•	A 1000 watt pure sine wave inverter to be supplied and connected to the auxiliary battery.

•	A battery charger to be fitted to enable charging of the auxiliary battery while the vehicle is connected to external power.

•	A 12 volt extractor fan to be mounted in the laboratory body with a separate switch.

7. Upgraded suspension

- Additional springs to be fitted to assist the suspension with the additional load on the chassis.

8. Branding

- Exterior branding to be applied to the exterior of the vehicle.

9. Roof rack

- A roof rack to be fitted to the roof of the body.

- A ladder with a tread plate kick plate to be fitted to the rear of the vehicle.

10. Equipment to be supplied as a minimum

- Fire Extinguisher

- First aid Kit

11. Collection

- Collection o be made by our in-country partner. Date to be confirmed with all parties concerned.

## Timescale

Provisional dates for delivery of the contact outputs are set out below. Exact dates are to be agreed at the start-up meeting based on Contractor and JNCC staff availability.

| Output | Provisional Date |
| --- | --- |
| Order placed | w/b 4 December 2023 |
| Vehicle procured | 11/12/2023 |
| Branding agreed | 22/12/2023 |
| Progress inspection | 02/02/2024 |
| Delivery of completed mobile lab | 08/03/2024 |

In agreeing exact dates please note that the potential for work under this contract to be funded into 2023/24 is subject to availability of funds.

## Health and Safety

The successful bidder is expected to follow appropriate Health & Safety procedures including adhering to JNCC’s policy on safeguarding. For further information  https://jncc.gov.uk/about-jncc/corporate-information/safeguarding/ and to be able to undertake appropriate risk assessments, evidence of which should be supplied to JNCC. (NB under no circumstances should any work or service commence prior to the receipt of written approval of the risk assessment by the JNCC H&S Advisor).

Any incidents occurring within the contract period should be immediately reported to JNCC.

## Project Management

The successful Contractor shall nominate a project manager who shall be responsible for ensuring the project is completed satisfactorily and who shall be the main contact point for JNCC.

JNCC’s main contact points will be:

Name: Paul Robinson

Email: Paul.Robinson@jncc.gov.uk

Telephone: +44 (0)1733 866867

Name: Isabella Gosetto

Email:  Isabella.Gosetto@jncc.gov.uk

Telephone: +44 (0)1733 866968

## Instructions for Bid Submission

The bid submission should include the following:

A brief summary of the bidder’s experience in relation to the requirements of this contract;

A proposed approach for achieving the objectives of the contract and delivering the detailed tasks identified within each objective. This should be sufficiently detailed to allow assessment against the evaluation criteria (Section 14);

A detailed project plan (including Gantt chart) with proposed work programme and an estimate of time required to achieve each objective;

Details of Quality Control procedures to be followed

Details of the bidder’s own internal Quality Management System;

Overall quote for the contract to include:

  - Day rates for all members of the Project Team;

  - Costs and time allocation should be clearly allocated to specific tasks within this contract/project; and

  - VAT if applicable. The contractor is to specify whether VAT at the prevailing rate would be applicable to this project and if so, provide their VAT registration number.

The following documentation (to submit in a zip folder separate from the proposal):

  - Copies of health and safety policy statements where available or a note regarding such items as lone working, emergency procedures and accident reporting;

  - Copies of current public and employer liability insurance certificates;

  - Copies of any appropriate risk assessments; and

  - Copies of any environmental policies should you have them.

In addition, note that the bid submission should provide sufficient information to allow assessment against the evaluation criteria outlined in Section 14.

## Evaluation Criteria

JNCC is not bound to accept the lowest priced or any bid. Having the technical expertise and experience to complete the work to a high standard and being able to complete it within the timescale are of the essence for this contract.

The bid evaluation may be undertaken by a panel consisting of JNCC staff and staff members from Natural England, Natural Resources Wales, NatureScot, DAERA-NI and Defra.  Unless otherwise stated in your bid submission, bids will be forwarded to these agencies for evaluation purposes only.

For information on how we handle personal data please see our Privacy Notice at https://jncc.gov.uk/about-jncc/corporate-information/privacy-statement/

Bids will be evaluated using the following criteria:

|  | EVALUATION CRITERIA | Maximum Score | Score |
| --- | --- | --- | --- |
| 1. Quality of Bid (60% of the total for the three assessment categories) |  |  |  |
|  | Clarity of proposal particularly work programme and deliverables | 5 |  |
|  | Understanding of the requirements in particular the adequacy of outputs | 5 |  |
|  | Demonstration that goods meet the required specification | 50 |  |
|  | Sub Total | 60 |  |
| 2. Cost (40% of the total for the three assessment categories) |  |  |  |
|  | Transparency and correctness of presentation what does presentation mean here in relation to cost? | 20 |  |
|  | Fairness/reasonableness for the level of work and expertise required | 20 |  |
|  | Sub Total | 40 |  |
| Total Score |  | 100 |  |

## Payment

Unless a payment schedule is stated in your submission and agreed by JNCC project manager. Payment will be made on completion of the objectives following the submission of invoice(s) and based on the satisfactory undertaking of the contractual elements to the agreed standard of the JNCC Project Officer.

PLEASE NOTE: All quotes and all payments must be based on British Pounds (£). If alternative currency payments are needed, please raise this at the earliest opportunity during the bid process so we can explore options.

## Additional Requirements

All bidders are requested to carefully read the Terms and Conditions applying to this contract. Payment will only be made upon delivery of key outputs.

It is assumed that all costs associated with the production of figures, reproduction of photographs and the final report are accounted for within the rates/fees given.

The bidder is expected to supply all necessary equipment, software, licences, etc. to carry out the obligations required under the contract.