## 2015-16 Calibrated
Appendix G - Equipment List
Provision of a Calibration Service
Reference - SO18178
Item | Calibration Standard | Equipment Description | Manufacturer | Type of Equipment e.g. balances, optical etc | On Site Calibration? | Serial Number | Range, Resolution, Accuracy where available state calibration figures for equipment (blank cell = full range of equipment)
1 | Standard | Audio Talkbox Acoustic Signal Generator | NTI Audio | Acoustic signal generator | No | TNN584
2 | Standard | Audio Talkbox Acoustic Signal Generator | NTI Audio | Acoustic signal generator | No | TNN599
3 | Standard | Alert s3 RF safety personal alert alarm | Narda | Alarm | No | C-0088
4 | Standard | 2636 Measuring Amplifier | Bruel & Kjaer | Amplifier | No | 1107867
5 | Standard | 2636 Measuring Amplifier | Bruel & Kjaer | Amplifier | No | 1107854
6 | Standard | Sound pressure level handheld meter for 2270 system | Bruel & Kjaer | Analyser | No | 2623032
7 | Standard | LCA 6000 VA Airflow anemometer | Airflow | Anemometer | No | 111442
8 | UKAS | 8350-1 Temperature/Velocity Meter | TSI | Anemometer | No | 1568
9 | Standard | Air Velocity, Vane Anemometer 20250-15 | Digi-Sense | Anemometer | No | 150611361 | As per manufactures specification
10 | Standard | Air Velocity, Vane Anemometer 20250-15 | Digi-Sense | Anemometer | No | 150611359 | As per manufactures specification
11 | Standard | Air Velocity, Vane Anemometer 20250-15 | Digi-Sense | Anemometer | No | 150611390 | As per manufactures specification
12 | Standard | 8496B Step Attenuator | Agilent | Attenuator | No | MY42140684
13 | Standard | 8494B 18GHz Step Attenuator | Agilent | Attenuator | No | MY42142140
14 | Standard | Audio analyser | Audio Precision | Audio test kit | No | SYS2-22524
15 | Standard | Lab weighing scales | Sartorius | Balance | Yes | 38120037
16 | Standard | Weighing Scales | Weighmaster | Balance | Yes | 89110259
17 | Standard | Kern Weighing scales | Kern | Balance | Yes | WD080073694
18 | UKAS | 184 Weighing scales | Salter | Balance | Yes | No serial number
19 | Standard | GR-200 Digital Balance 210 x 0.0001g | AND | Balance | Yes | 14223704
20 | UKAS | BB120 Digital Balance 6000g | Mettler | Balance | Yes | L81349
21 | Standard | BL310 Balance 310g | Sartorius | Balance | Yes | 11607440
22 | Standard | DE6K2N 6000g Digital Balance | Kern | Balance | Yes | WC0514993
23 | UKAS | S1403 weighing balance | Denver Instruments | Balance | Yes | 27507303
24 | UKAS | A2124 mpower analytical balance | Sartorius | Balance | Yes | 26609059
25 | Standard | PS250 platform scales load plate 90 | Salter | Balance | Yes | 000478
26 | Standard | L220 S-X Balance | Sartorius | Balance | Yes | 30701835
27 | UKAS | PCB2000 2000g d=0.1g 9 volt | Kern | Balance | Yes | WD080016360
28 | UKAS | SECURA213-1S 210g Precision Balance | Sartorius | Balance | Yes | 0032106925
29 | UKAS | SECURA213-1S Precision Balance | Sartorius | Balance | Yes | 0032106924
30 | UKAS | SECURA124-1S 120g Precision Balance | Sartorius | Balance | Yes | 0032107158
31 | UKAS | SECURA1102-1S Precision Balance | Sartorius | Balance | Yes | 0032107157
32 | UKAS | SECURA1102-1S Precision Balance | Sartorius | Balance | Yes | 0032107156
33 | UKAS | SECURA124-1S 120g Precision Balance | Sartorius | Balance | Yes | 0032107159
34 | UKAS | MSA6.6S-000-DM Precision Balance | Sartorius | Balance | Yes | 0032005386
35 | UKAS | SECURA 1102-1S Precision Balance | Sartorius | Balance | Yes | 0032107155
36 | UKAS | SECURA1102-1S Capacity 1100g Readability 0.01g | Sartorius | Balance | Yes | 33206935
37 | UKAS | 442-51N Electronic Balance | Kern | Balance | Yes | WC04196167
38 | Standard | Precision Ball Volume 3.185271 cm3 | Micromeritics | Ball | No | 28932-25
39 | Standard | Precision Ball Volume 3.185271 cm3 | Micromeritics | Ball | No | 28932-45
40 | Standard | Precision Ball Volume 6.370542 cm3 | Micromeritics | Ball | No | 212
41 | Standard | Precision Ball Volume 51.091446 cm3 | Micromeritics | Ball | No | 316
42 | Standard | Acoustical calibrator | Bruel & Kjaer | Calibrator | No | 2465471
43 | Standard | Digital Caliper | Mitutoyo | Caliper | No | 7119048
44 | Standard | 150mm digital caliper | Laser | Caliper | No | No serial number
45 | Standard | 536-256 8"/200mm Digital Caliper | Mitutoyo | Caliper | No | No serial number
46 | UKAS | 6in/150mm Absolute Digimatic Digital Caliper | Mitutoyo | Caliper | No | 05417011
47 | UKAS | Fingerprint Development Chamber FDC018 | Weiss Gallenkamp | Chamber | No | DEL201/1702
48 | Standard | 5015 Charge amp | Kistler | Charge amp | No | 1340440
49 | Standard | 817 Velocity Timer Unit with Interface Unit | MSI | Control Unit | No | 48
50 | Standard | TCP202 high voltage probe | Tektronix | Current probe | No | B030158
51 | Standard | OQ610 Squirell data logger | Grant | Data Logger | No | KR0718006
52 | Standard | PT104 4 channel temperature data logger | Pico | Data Logger | No | AR887/116
53 | Standard | DEWE 43 V Data Logger | Dewer | Data Logger | No | D0203D2A
54 | UKAS | RF513 Digital Temperature/Relative Humidity Transmitter | Comark | Data Logger | No | CC09140036
55 | UKAS | RF513 Digital Temperature/Relative Humidity Transmitter | Comark | Data Logger | No | CC09140013
56 | UKAS | RF513 Digital Temperature/Humidity Transmitter | Comark | Data Logger | No | CC10140006
57 | UKAS | RF512 Digital Temperature Transmitter | Comark | Data Logger | No | CA10140102
58 | UKAS | RF513 Digital Temperature/Humidity Transmitter | Comark | Data Logger | No | CC09140007
59 | UKAS | RF513 Digital Temperature/Humidity Transmitter | Comark | Data Logger | No | CC10140009
60 | Standard | 174H Temperature Logger | Testo | Data Logger | No | 36908344
61 | Standard | 174H Temperature Logger | Testo | Data Logger | No | 36695071
62 | UKAS | 174H Temperature Logger | Testo | Data Logger | No | 36695068
63 | UKAS | 174H Temperature Logger | Testo | Data Logger | No | 36695105
64 | UKAS | RF 512 Wireless Temperature Transmitter | Comark | Data Logger | No | CA1110523
65 | UKAS | RF 512 Wireless Temperature Transmitter | Comark | Data Logger | No | CA10110243
66 | UKAS | RF 513 Wireless Temperature Transmitter | Comark | Data Logger | No | CC11110120
67 | Standard | Compact PC1 PX1 1000B datalogger | National Instruments | Datalogger | No | V04X1058B
68 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11446 Probe 19014
69 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11469 Probe 19015
70 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11467 Probe 19013
71 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11447 Probe 19011
72 | Standard | Radeye SX External Scintillation Detector | Thermo Fisher | Detector | No | 11463 Probe 19012
73 | Standard | Photo Ionisation Detector | Shaw City | Detector | No | T-106232
74 | Standard | Photo Ionisation Detector | Shaw City | Detector | No | T-106231
75 | Standard | 505-646-50 vernier dial caliper | Mitutoyo | Dial caliper | No | 5148021
76 | Standard | 0.02mm Dial Caliper | Mitutoyo | Dial vernier guage | No | 10589210
77 | Standard | Absolute Digimatic CD-6" CP Vernier caliper | Mitutoyo | Digital Caliper | No | 015100
78 | Standard | LCD Portable digital thermometer | RS | Digital thermometer | No | No serial number
79 | Standard | Dispensette Digital 1-10ml | Brand | Dispensette | No | 10J63938 | 1-10ml
80 | Standard | Dispensette Digital 2.5-25ml | Brand | Dispensette | No | 12J86751 | 2.5-25ml
81 | Standard | Dispensette Digital 2.5-25ml | Brand | Dispensette | No | 12J86753 | 2.5-25ml
82 | Standard | Dispensette Digital 1-10ml | Brand | Dispensette | No | 01K01303 | 1-10ml
83 | Standard | Dispensette Digital 0.5-5ml | Brand | Dispensette | No | 02K22073 | 0.5-5ml
84 | Standard | Leica Disto X310 Laser Distance Meter | Leica | Distance meter | No | 834671517
85 | Standard | Series 900 mini monitor | Thermo Electron | Dose meter | No | M0005598
86 | Standard | 1000Mini-Rad X & Gamma dose rate above 60 keV | Mini Instruments | Dose monitor | No | 002507
87 | Standard | Series 900 dose monitor | Mini monitor | Dose monitor | No | M0004774
88 | Standard | Series 900 dose monitor | Mini monitor | Dose monitor | No | M0005593
89 | Standard | Series 900 dose monitor | Mini monitor | Dose monitor | No | M0005596
90 | Standard | Series 900 mini-monitor | Mini Instruments | Dose monitor | No | M0004564
91 | Standard | Series 900 mini-monitor | Mini Instruments | Dose monitor | No | M0005568
92 | Standard | Series 900 mini-monitor | Mini Instruments | Dose monitor | No | M0005597
93 | Standard | Identifier2 Radiation dose rate finder, identifier | Flir | Dose rate meter | No | 910386-10
94 | Standard | Thermo Dosimeter Mini 900g | Thermo | Dosimeter | No | 4082
95 | Standard | PD-12i gamma dosimeter | SAIC | Dosimeter | No | DM2288
96 | Standard | PD-12i gamma dosimeter | SAIC | Dosimeter | No | DM2032
97 | Standard | PD-12i gamma dosimeter | SAIC | Dosimeter | No | DM2281
98 | Standard | PD-12i gamma dosimeter | SAIC | Dosimeter | No | DM2278
99 | Standard | Electrostatic Tester | Vermason | Electrostatic | No | No serial number
100 | Standard | Broadband Field Meter EF1891 E Field Probe | Narda | Field meter | No | A0264
101 | Standard | CA43 RF field meter and probe | Chauvin Arnoux | Field meter | No | 123651TCV
102 | Standard | Intelligent digital flowmeter | Varian | Flow meter | No | US02821325
103 | UKAS | LPM AIR2-20 Flow Rate Meter | Cole Parmer | Flow meter | No | CP151292
104 | Standard | TG4001 Function Generator | Thurlby Thandar | Function Generator | No | 327882
105 | Standard | 3312A function generator | Hewlett Packard | Function Generator | No | 1502G02333
106 | Standard | AFG3021 function generator | Tektronix | Function generator | No | C010155
107 | Standard | Electronic Cilipar | Kroeplin | Gauage | No | LC310070
108 | Standard | Electronic Cilipar | Kroeplin | Gauage | No | MW330009
109 | UKAS | HV1 Vickers Hardness Reference Block | Buehler | Hardness Block | No | EP13162350
110 | UKAS | 50 HRC Rockwell Standardised Test Block | Wilson | Hardness Block | No | 13C68385
111 | UKAS | HV10 Vickers Reference Hardness Block |  | Hardness Block | No | EP14170770
112 | Standard | Reicherter UH250 Universal Hardness Tester | Wilson Hardness | Hardness tester | No | 401367WZ205-1
113 | Standard | Sample Concentrator - Heater | Techne | Heater | No | 166761-A
114 | Standard | Sample Concentrator - Heater | Techne | Heater | No | 168700-A
115 | Standard | RS 408-9170 Digital Height Gauge | RS | Height Gauge | No | G920624
116 | Standard | RET B Hotplate | IKA | Hotplate | No | 01649701
117 | Standard | EN17 Inclinometer | Solatronic | Inclinometer | No | No serial number
118 | Standard | EN17 Inclinometer | Fisco | Inclinometer | No | No serial number
119 | Standard | Climatic Chamber MK53 | Binder | Incubator | Yes | 08-34524
120 | Standard | Testing Indentor | Vickers | Indentor | No | 4890
121 | Standard | Testing Indentor | Rockwell | indentor | No | E003768
122 | Standard | Disto D5 laser range finder | Leica | Laser Range Finder | No | 300220093
123 | Standard | 545 Light Meter | Testo | Light Meter | No | 01305283-707
124 | UKAS | LS-100 Luminance Meter | Minolta | Luminance meter | No | 99211072
125 | UKAS | Vaisala Humidity Indicator HMI41 with HMP41 Probe | Vaisala | Measurement | No | V4450237 | HMP41: 50-97%RH, 15-25ºC, ±2%RH, ±0.2ºC
126 | Standard | Distance measuring wheel | York | Measurement | No | Wheel 2
127 | UKAS | TSI TA430 Thermal Anemometer | TSI | Measurement | No | TA4300925001
128 | UKAS | PM100 Optical Power Meter w/ PM212 Sensor | PM100 | Measurement | No | 0867D06
129 | Standard | 5000-611 Road Measuring Wheel | Trumeter | Measuring Wheel | No | 540952
130 | UKAS | MI70 & HMP77B temperature and humidity meter | Vaisala | Meter | No | H2620005 & H2740013
131 | Standard | 2250 sound meter | Bruel & Kjaer | Meter | No | 3002021
132 | Standard | NBM 550 Broadband Field Meter | Narda | Meter | No | B0420
133 | Standard | P Series N1911A Power meter | Agilent | Meter | No | MY50000881
134 | Standard | 337 True RMS Clamp Meter | Fluke | Meter | No | 92652713
135 | Standard | M210 Milli-Ohmeter | Rhopoint | Meter | No | MOEE09114850
136 | Standard | Fluke 83 III Multimeter | Fluke | Meter | No | 81460314
137 | Standard | Mavolux 5032B USB Lux Meter | Gossen | Meter | No | 9D21426
138 | Standard | Digimatic outside micrometer | Mitutoyo | Micrometer | No | 6122045
139 | Standard | M210 milliohmeter | Rhopoint | Milliohmeter | No | MOEE03088370
140 | Standard | Slimpack Thermic Lance | Clucas | MOE | No | FOY26163
141 | Standard | Backpack MKII Thermic Lance | Clucas | MOE | No | BREB-3058
142 | Standard | Tiger PID Photo Ionisation Monitor | Ion Science | Monitor | No | L104726 | Two point calibration - zero air + 100ppm Isobutylene. Certified gas expiry 02/07/2018
143 | Standard | Tiger PID Photo Ionisation Monitor | Ion Science | Monitor | No | L104725 | Two point calibration - zero air + 100ppm Isobutylene. Certified gas expiry 02/07/2018
144 | Standard | 116 true rms multimeter | Fluke | Multimeter | No | 94480947
145 | Standard | 189 true RMS multimeter | Fluke | Multimeter | No | 81250200
146 | Standard | Multimeter | Fluke | Multimeter | No | 74551104
147 | Standard | 179 digital multimeter | Fluke | Multimeter | No | 82890464
148 | Standard | 175 True RMS multimeter | Fluke | Multimeter | No | 85751116
149 | Standard | 189 Digital Multimeter | Fluke | Multimeter | No | 82870021
150 | Standard | 87III Multimeter | Fluke | Multimeter | No | 79670353
151 | Standard | M838 multimeter | Mastech | Multimeter | No | No serial number
152 | Standard | M838 multimeter | Mastech | Multimeter | No | No serial number
153 | Standard | True RMS Multimeter | Fluke | Multimeter | No | 80120317
154 | Standard | 185 True RMS Multimeter | Fluke | Multimeter | No | 78142023
155 | Standard | 175 True RMS multimeter | Fluke | Multimeter | No | 83900347
156 | Standard | Multimeter | Fluke | Multimeter | No | 85420597
157 | Standard | 115 multimeter | Fluke | Multimeter | No | 19931898
158 | Standard | IDM 305 True RMS Multimeter | Isotech | Multimeter | No | 34200186
159 | Standard | 233 True RMS Multimeter | Fluke | Multimeter | No | 11340078
160 | Standard | 177 True RMS multimeter | Fluke | Multimeter | No | 84380203
161 | Standard | 177 True RMS Multimeter | Fluke | Multimeter | No | 90730471
162 | Standard | 21 III multimeter | Fluke | Multimeter | No | 78780254
163 | Standard | Vector Network Analyser | Agilent | Network Analyser | No | US48110149
164 | Standard | TSMW Network Analyser | Rohde & Schwarz | Network Analyser | No | 100168
165 | Other | N91 Neutron monitor | Harwell | Neutron monitor | No | No serial number
166 | Standard | CR:110A Personal Noise Dosemeter and Reader Unit Kit | Cirrus Research | Noise Dosemeter | No | CA8367 (Reader unit 70977) Badge serial numbers: 8364, 8370, 8377, 8373, 8367
167 | Standard | Milli Ohmmeter | Rhopoint | Ohmeter | No | MOEE03088357
168 | UKAS | LS100 Luminance Meter | Minolta | Optical | No | 97211029 | Range: 0.01 - 200cd/m2, Resolution: 0.001 cd/m2, Accuracy: ±10% over range 0.01-0.09cd/m2, and ±3% over range 0.1-200cd/m2
169 | Standard | TDS3054 Oscilloscope | Tektronix | Oscilloscope | No | B017710
170 | Standard | TDS3014B Oscilloscope | Tektronix | Oscilloscope | No | B028838
171 | Standard | DPO3054 Digital Phosphor Oscilloscope | Tektronix | Oscilloscope | No | C010944
172 | Standard | DPO3034 Digital Phosphor Oscilloscope | Tektronix | Oscilloscope | No | C024377
173 | Standard | LP142 100MHz-MS/s Digital Storage Oscilloscope | LeCroy | Oscilloscope | No | 01746
174 | Standard | 64Xs 600MHz Wave Surfer Oscilloscope | LeCroy | Oscilloscope | No | LCRY0310M21684
175 | Standard | TDS224 Four Channel Digital Oscilloscope | Tektronix | Oscilloscope | No | B025083
176 | Standard | TDS3014B Oscilloscope | Tektronix | Oscilloscope | No | B030775
177 | Standard | TDS1002B oscilloscope | Tektronix | Oscilloscope | No | C060656
178 | Standard | TDS2002B oscilloscope | Tektronix | Oscilloscope | No | C051579
179 | Standard | WFM91 Hand Held oscilloscope | Tektronix | Oscilloscope | No | B030415
180 | Standard | Materials Testing Oven TC40 | Salvis Lab | Oven | No | 324/10
181 | Standard | Vacuum Oven | Binder | Oven | No | 05-79913
182 | Standard | Europa plus pat tester | Seaward | Pat tester | No | W301183
183 | Standard | RadEye PRD-ER radiation detector | Thermo Scientific | Personal radiation detector | No | 713
184 | Standard | RadEye PRD-ER radiation detector | Thermo Scientific | Personal radiation detector | No | 697
185 | Standard | 4224 picoscope | Pico | Picoscope | No | ZYJ66001
186 | Standard | 3204 picoscope | Pico | Picoscope | No | XMR42201
187 | Standard | Pipette P2 | Gilson | Pipette | No | EH86273 | 0.2-2ul
188 | UKAS | Eppendorf Pipette 1000 | Eppendorf | Pipette | No | 3418657 | 100-1000ul
189 | UKAS | Eppendorf Pipette 1000 | Eppendorf | Pipette | No | 3419387 | 100-1000ul
190 | UKAS | Eppendorf Pipette 1000 | Eppendorf | Pipette | No | 3765132 | 100-1000ul
191 | UKAS | Eppendorf Pipette 1000 | Eppendorf | Pipette | No | 106797 | 1000ul
192 | UKAS | Eppendorf Pipette 1000 | Eppendorf | Pipette | No | 4160654 | 100-1000ul
193 | UKAS | Eppendorf Pipette 100 | Eppendorf | Pipette | No | 2643132 | 10-100ul
194 | UKAS | Eppendorf Multipette Pro | Eppendorf | Pipette | No | 3006852 | Multi Pipette
195 | UKAS | 500 to 5000ml 5000 pipette | Eppendorf | Pipette | No | 1505085
196 | Standard | Gilson Pipette P2 | Gilson | Pipette | No | EH86269 | 0.2-2ul
197 | UKAS | Gilson Pipette P1000 | Gilson | Pipette | No | W74900A | 100-1000ul
198 | UKAS | Gilson Pipette P100 | Gilson | Pipette | No | U51689M | 20-100ul
199 | UKAS | Gilson Pipette P20 | Gilson | Pipette | No | W64557A | 2-20ul
200 | Standard | 100 to 1000 microlitre transferpette | Brand | Pipette | No | 07X1056
201 | Standard | 10 to 100 microlitres betapettte | Continental | Pipette | No | 79890965
202 | UKAS | 10 to 100 microlitres pipette | Brand | Pipette | No | 07X3717
203 | UKAS | 0.1 to 2.5ul pipette | Eppendorf | Pipette | No | 4422984
204 | UKAS | 0.1 to 2.5ul pipette | Eppendorf | Pipette | No | 4423064
205 | UKAS | Pipette P100 | Gilson | Pipette | No | EC65786 | 20-100ul
206 | UKAS | Pipette P20 | Gilson | Pipette | No | EK87230 | 2-20ul
207 | UKAS | Pipette P5000 | Gilson | Pipette | No | EG85595 | 1000-5000ul
208 | UKAS | 0.5ul to 10ul research plus pipette | Eppendorf | Pipette | No | G38852B
209 | UKAS | 10ul to 100ul research plus pipette | Eppendorf | Pipette | No | G40375B
210 | UKAS | 100ul to 1000ul research plus pipette | Eppendorf | Pipette | No | G29648B
211 | UKAS | 0.5ul to 10ul research plus pipette | Eppendorf | Pipette | No | G38713B
212 | UKAS | 10ul to 100ul research plus pipette | Eppendorf | Pipette | No | G40372B
213 | UKAS | 100ul to 1000ul research plus pipette | Eppendorf | Pipette | No | G29749B
214 | Standard | Pipette - 0.1 - 2.5 uL | Eppendorf | Pipette | No | 1549618
215 | Standard | Pipette - 0.5 - 10 uL | Eppendorf | Pipette | No | 4852197
216 | UKAS | Research Plus 30-300µL Pipette | Eppendorf | Pipette | No | 4713289
217 | UKAS | Research Plus 2-20µL Pipette | Eppendorf | Pipette | No | I12117C
218 | UKAS | Research Plus 30-300µL Pipette | Eppendorf | Pipette | No | 100471Z
219 | UKAS | Research Plus 2-20µL Pipette | Eppendorf | Pipette | No | I12180C
220 | Standard | Portable force indicator | Mecmesin | Portable force indicator | No | 00-0080-01
221 | Standard | Portacount - 8030 | TSI | Portacount | No | 8030114023 | within 15% of standard
222 | Standard | Portacount - 8030 | TSI | Portacount | No | 8030114017 | within 15% of standard
223 | Standard | Optical Power Meter PM100 | Thorlabs | Power Meter | No | M00218716
224 | Standard | 5000 digital power meter | Bird | Power meter | No | 2665
225 | Standard | 5000 Digital RF Power meter | Bird | Power Meter | No | 092000032
226 | Standard | NRT-Z43 power sensor | Rohde & Schwarz | Power Sensor | No | 100483
227 | Standard | PL320QMT power Supply | Thurlby Thandar | Power Supply | No | 103104
228 | Standard | Power Supply | Thurlby Thandar | Power Supply | No | 106483
229 | Standard | IPS 3610D Power Supply | Isotech | Power Supply | No | 207C004G1
230 | Standard | AX503 Power Supply | Metrix | Power Supply | No | 422654ZKX
231 | Standard | LT30-2 Twin Power Supply Unit | Farnell | Power Supply | No | 004240
232 | Standard | TS1410 14V-10A Power Supply | TTI | Power Supply | No | 029402
233 | Standard | TSM25A Regulated DC power supply | BSI | Power Supply | No | 070106878
234 | Standard | W20AM DC power supply | Watson | Power Supply | No | PR00284
235 | Standard | 650.676 DC power supply | Skytronic | Power Supply | No | 7133K0502030
236 | Standard | PL330 QMT 32V 3ATriple Power Supply | Thurlby Thandar | Power Supply | No | 128575
237 | Standard | Coherent Laser Power/Energy Meter | Coherent | Power/Energy Meter | No | 1125D08R
238 | Standard | DP1603 Pressure Calibrator | Druck | Pressure Calibrator | No | 60306536
239 | Standard | 2086P Pressure meter | Digitron | Pressure meter | No | 4811156186RC
240 | Standard | P5100A 500MHz 40MΩ Voltage Probe | Tektronix | Probe | No | C000449
241 | Standard | SRM3000 field probe and RF meter system | Narda | Probe | No | J0101
242 | Standard | SRM3006 field probe and RF meter system | Narda | Probe | No | C0026
243 | Standard | RAM Gene Mk2 radiation monitor | Rotem | Radiation Monitor | No | 12807-142
244 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207738
245 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207734
246 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207740
247 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207726
248 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207979
249 | Standard | EPD Mark 2 Radiation Monitor | Thermo Scientific | Radiation Monitor | No | 00207971
250 | Standard | RADEYE G-10 Radiation Meter | Thermo Scientific | Radiation Monitor | No | 0658
251 | Standard | RadHound Portable Radiation Monitor | Southern Scientific | Radiation Monitor | No | 6462
252 | Standard | RadEye PRD-ER radiation detector | Thermo Scientific | Radiation Monitor | No | 0472
253 | Standard | RadEye G10 radiation detector | Thermo Scientific | Radiation Monitor | No | 0728
254 | Standard | RadEye G10 radiation detector | Thermo Scientific | Radiation Monitor | No | 0738
255 | Standard | RadEye G10 radiation detector | Thermo Scientific | Radiation Monitor | No | 0739
256 | Standard | RadHound Portable Radiation Monitor | Southern Scientific | Radiation Monitor | No | 6461 & probe 6445
257 | Standard | RAM GENE-1 MarkII Dose Rate Meter | Rotem | Radiation Monitor | No | 12810-034
258 | Standard | ESPI test receiver | Rohde & Schwarz | Receiver | No | 101231
259 | Standard | ESPI test receiver | Rohde & Schwarz | Receiver | No | 101232
260 | Standard | 5S1G4 RF Power Amplifier | Amplifier Research | RF Amplifier | No | 17896
261 | Standard | Nardalert D8862 Presonal RF Monitor | Narda | RF monitor | No | 53026
262 | Standard | Nardalert D8862 Presonal RF Monitor | Narda | RF monitor | No | 53025
263 | Standard | SJ-210 Surface Roughness Tester | Mitutoyo | Roughness Tester | Yes | 307641311
264 | Standard | Black Finish Rigid Rule, 6"/150mm | RS | Rule | No | 7962924/1
265 | Standard | Flexible Steel Rule 150mm/6" | Rabone | Rule | No | 4501327/363
266 | Standard | Virtual Scope ADC-216 | Pico | Scope | No | KJL78/003
267 | Standard | Wideband power sensor | Agilent | Sensor | No | MY51230024
268 | Standard | Signal analyser 6000ex antenna analyser | Bird | Signal analyser | No | 094300250
269 | Standard | Site analyser 6000ex antenna analyser | Bird | Signal analyser | No | 094300247
270 | Standard | TSG95 PAL/NTSC Signal Generator | Tektronix | Signal Generator | No | B031802
271 | Standard | TSG95 PAL/NTSC Signal Generator | Tektronix | Signal Generator | No | B026049
272 | Standard | 3412 digital rf signal generator | IFR | Signal generator | No | 341001163
273 | Standard | 3412 250kHz - 2GHz Signal Generator | IFR | Signal Generator | No | 341001/162
274 | Standard | Type 4128C Head and Torso Simulator (HATS) | Bruel & Kjaer | Simulator | No | 2425981
275 | Standard | Optimus Class 1 (Red) Sound Level Meter Kit | Cirrus Research | Sound Level Meter | No | G068783
276 | Standard | Optimus Class 1 (Red) Sound Level Meter Kit | Cirrus Research | Sound Level Meter | No | G068791
277 | Standard | Optimus Class 1 (Red) Sound Level Meter Kit | Cirrus Research | Sound Level Meter | No | G068792
278 | Standard | Sound level meter 72-860a | Tenma | Sound level meter | No | 060519253
279 | Standard | N1996A CSA Spectrum analyser | Agilent | Spectrum analyser | No | MY47053176
280 | Standard | S332D site master and spectrum analyser | Anritsu | Spectrum analyser | No | 445105
281 | Standard | S332D site master and spectrum analyser | Anritsu | Spectrum analyser | No | 445049
282 | Standard | DSP2 Speech Intelligibility Meter | Goldline | Speech Meter | No | 06A1002E
283 | Standard | Digital stop watch | Oregon | Stop watch | No | No serial number
284 | Standard | SL928M 500 lap memory stopwatch | Oregon Scientific | Stop watch | No | No serial number
285 | Standard | SL928M 500 lap memory stopwatch | Oregon Scientific | Stop watch | No | No serial number
286 | Standard | SL928D 100 lap memory stopwatch | Oregon Scientific | Stopwatch | No | No serial number
287 | Standard | Stopwatch | Oregon Scientific | Stopwatch | No | No serial number
288 | Standard | Stopwatch | Fisher Scientific | Stopwatch | No | 72556722
289 | UKAS | ML600 Dual Syringe Pump Assembly | Hamilton | Syringe Pump | No | ML600DF5336
290 | UKAS | Heraeus UT6200 DFO Oven | Heraeus | Temperature | Yes | 93102456
291 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624607
292 | Standard | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36622634
293 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624712
294 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36622829
295 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624838
296 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624918
297 | Standard | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624920
298 | UKAS | RF512 temperature and humidity transmitter | Comark | Temperature and humidity | No | CA06120055
299 | UKAS | RF512 temperature and humidity transmitter | Comark | Temperature and humidity | No | CA06120051
300 | UKAS | RF512 temperature and humidity transmitter | Comark | Temperature and humidity | No | CA11110527
301 | UKAS | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624773 | Range: -20 - +70, 0-100%
302 | Standard | Testo Temperature and Humidity Logger | Testo | Temperature and humidity | No | 36624801
303 | Standard | Testo Temperature and Humidity Logger | Testo | Temperature and humidity logger | No | 36624925
304 | UKAS | Tensile test machine | Tinius Olsen | Tensile test machine | Yes | H10KT-0143
305 | Standard | 3920 tetra radio digital test set | Aeroflex | Test set | No | 299001143
306 | Standard | 3920 tetra radio digital test set | Aeroflex | Test set | No | 299001142
307 | Standard | 2968 tetra radio test set | IFR | Test set | No | 296501066
308 | Standard | Telaris 0100 loop tester | Beha | Tester | No | DTE0200XA
309 | Standard | Supernova pat tester | Seward | Tester | No | No serial number
310 | Standard | 337 current clamp tester | Fluke | Tester | No | 92652705
311 | Standard | 337 current clamp tester | Fluke | Tester | No | 86108610
312 | Standard | MOE fire box | Clucas | Thermic lance | No | CFB030
313 | Standard | 2006T thermocouple thermometer | Radleys | Thermocouple Thermometer | No | 5003175677RC
314 | UKAS | Lollipop thermometer | Fisher Scientific | Thermometer | No | 122041026 | Range 0.0 - 100.0oC, resolution 0.1 oC, accuracy ±0.5oC
315 | UKAS | Lollipop thermometer | Fisher Scientific | Thermometer | No | 122041037 | Range 0.0 - 100.0oC, resolution 0.1 oC, accuracy ±0.5oC
316 | Standard | 62 mini IR thermometer | Fluke | Thermometer | No | 14140613
317 | Standard | Raynger RAYST20XBEU Infra Red Thermometer | Raytek | Thermometer | No | 2306160101-0054
318 | UKAS | H193530 thermocouple thermometer | Hanna | Thermometer | No | 467918
319 | UKAS | Traceable digital thermometer | Fisher Scientific | Thermometer | No | 61804070
320 | UKAS | YC-727 2 channel Thermometer | YCT | Thermometer | No | 11031326
321 | Standard | 174H Temperature Logger | Optris | Thermometer | No | 12090002
322 | Standard | ETS-D5 External thermometer | IKA | Thermometer | No | 01651600
323 | Standard | HH311 Teperature/Humidity meter | Omegaette | Thermometer/Humidity meter | No | 091203916
324 | Standard | Coherent Thermopile PM150-50C | Coherent | Thermopile | No | 1237D08R
325 | Standard | 4696481 torque driver | Gedore | Torque driver | No | 6CJ014689
326 | Standard | Vernier caliper | Mitutoyo | Vernier caliper | No | 7063981
327 | Standard | VDS-6"DCX Digital Vernier | Mitutoyo | Vernier caliper | No | 0007946
328 | Standard | 9100 Absorption Wattmeter | Racal-Dana | Wattmeter | No | 064520
329 | UKAS | 20g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000094171
330 | UKAS | 1000g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000108059
331 | UKAS | 500g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000108060
332 | UKAS | 50g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000108062
333 | UKAS | 200g S/steel Cylindrical Weight | Troemnor | Weights | No | 1000108913