	


[image: image31.jpg]©cips

CORPORATE
CERTIFICATION

et b o 2000




	


INVITATION TO TENDER – TCA 3/7/1080 MCA DOVER REPLACEMENT WINDOWS
We have received the following supplier questions for the above-mentioned requirement:
Question 1:


Do you have a floor plan of the building showing window locations, numbers etc?

Question 2:

 
What rating etc. so you require the windows to be?

Answer 1: 


We are able to provide the latest floor plans for MCA Dover but, whilst these may not show window location, they will provide a general overview, we can also arrange site visits, if required, for compliant bidders.
Answer 2:


In terms of specification this has been left open to the contractors to recommended solutions but aesthetically our preference would be as near to like for like as possible and in terms of durability consideration needs to be given to the exposed location of the site and particular attention is drawn to the seaward facing side of the building which is significantly impacted by adverse conditions.
In addition:

The windows must include anti shatter proof film.
Floor Plans:


[image: image1.emf]0786-S-006.pdf



 EMBED AcroExch.Document.DC  [image: image2.emf]0786-S-005.pdf



 EMBED AcroExch.Document.DC  [image: image3.emf]0786-S-004.pdf



 EMBED AcroExch.Document.DC  [image: image4.emf]0786-S-003.pdf



 EMBED AcroExch.Document.DC  [image: image5.emf]0786-S-002.pdf



 EMBED AcroExch.Document.DC  [image: image6.emf]0786-S-001.pdf



 EMBED AcroExch.Document.DC  [image: image7.emf]0786-F-011.pdf



 EMBED AcroExch.Document.DC  [image: image8.emf]0786-F-010.pdf



 EMBED AcroExch.Document.DC  [image: image9.emf]0786-F-009.pdf



 EMBED AcroExch.Document.DC  [image: image10.emf]0786-F-008.pdf



 EMBED AcroExch.Document.DC  [image: image11.emf]0786-F-007.pdf



 EMBED AcroExch.Document.DC  [image: image12.emf]0786-F-006.pdf



 EMBED AcroExch.Document.DC  [image: image13.emf]0786-F-005.pdf



 EMBED AcroExch.Document.DC  [image: image14.emf]0786-F-004.pdf



 EMBED AcroExch.Document.DC  [image: image15.emf]0786-F-003.pdf



 EMBED AcroExch.Document.DC  [image: image16.emf]0786-F-002.pdf



 EMBED AcroExch.Document.DC  [image: image17.emf]0786-F-001.pdf



 EMBED AcroExch.Document.DC  [image: image18.emf]0786-004-AREA.pdf



 EMBED AcroExch.Document.DC  [image: image19.emf]0786-004.pdf



 EMBED AcroExch.Document.DC  [image: image20.emf]0786-003-AREA.pdf



 EMBED AcroExch.Document.DC  [image: image21.emf]0786-003.pdf



 EMBED AcroExch.Document.DC  [image: image22.emf]0786-002-AREA.pdf



 EMBED AcroExch.Document.DC  [image: image23.emf]0786-002.pdf



 EMBED AcroExch.Document.DC  [image: image24.emf]0786-001-AREA.pdf



 EMBED AcroExch.Document.DC  [image: image25.emf]0786-001.pdf



 EMBED AcroExch.Document.DC  [image: image26.emf]0786-S-011.pdf



 EMBED AcroExch.Document.DC  [image: image27.emf]0786-S-010.pdf



 EMBED AcroExch.Document.DC  [image: image28.emf]0786-S-009.pdf



 EMBED AcroExch.Document.DC  [image: image29.emf]0786-S-008.pdf



 EMBED AcroExch.Document.DC  [image: image30.emf]0786-S-007.pdf


Kathy Monk
Senior Procurement Officer
Maritime and Coastguard Agency
1st February 2019

[image: image32.png]Marltlme &
Coastguard
Agency



[image: image33.png]HM Coastguard



[image: image34.jpg]NVESTORS
N PEOPLE




  
[image: image31.jpg]

_1610538158.pdf


F
D


3
0


F
D


3
0


CO


EL


F
D


3
0


F
D


3
0


CO
F


D
3


0


H


H


F


D


3


0


F


D


3


0


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


14.39m²


56.68m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-010


A1


RD


1:50


Mar 16


SP


Sheet 4


Fire Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538162.pdf


RAD


24.10m²


19.20m²


18.75m²


18.15m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK
BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-003


A1


RD


1:50


Mar 16


SP


Sheet 3


Security Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538164.pdf


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


1600


NO


ACCESS


NO


ACCESS


RAD


RAD


DL


3L


RAD


RAD


D
L


RAD


RAD


RAD


DL


5L


5L


K


C


RAD


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-001


A1


RD


1:50


Mar 16


SP


Sheet 1


Security Layout as Existing


Ground, Lower Ground Floor


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538165.pdf


1600


WL


RAD


D
L


R
AD


RAD


RAD


D
L


D


L


5L


13.92m²


32.47m²


103.25m²


9.96m²


12.60m²


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-002


A1


RD


1:50


Mar 16


SP


Sheet 2


Security Layout as Existing


Ground, Lower Ground Floor


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538163.pdf


5L


5L


3L


18.15m²
23.83m²


38.15m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-004


A1


RD


1:50


Mar 16


SP


Sheet 4


Security Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538160.pdf


RAD


5


L


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-001


A1


RD


1:50


Mar 16


SP


Sheet 1


Security Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538161.pdf


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


3L


29.45m²


16.59m²


26.74m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-002


A1


RD


1:50


Mar 16


SP


Sheet 2


Security Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538159.pdf


C
O


E


F
D


3
0


N
1


F


H


H


63.02m²


63.02m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-011


A1


RD


1:50


Mar 16


SP


Sheet 1


Fire Layout as Existing


Mezzanine Plan


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538150.pdf


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


E


EL


E


E


FD60


H


EL


N3E


F


E


H


E


H


N3


N3N3


CO


P


CO


P


29.45m²


16.59m²


26.74m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASE
SCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-002


A1


RD


1:50


Mar 16


SP


Sheet 2


Fire Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538154.pdf


1600


H


FD30


F
D


3
0


F
D


3
0


EL


EL


EL


F
A


P


E


H


H


E


E


N1


FD30


FD30


N
1


E


N1


E


CO


N
1


N
1


N3


N3


F


H


H


C
O


C
O


F
D


3
0


F
D


3
0


N
1


P1


C


O


C


O


EL


N1


H


H


EL


N1


13.92m²


32.47m²


103.25m²


9.96m²


12.60m²


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-006


A1


RD


1:50


Mar 16


SP


Sheet 2


Fire Layout as Existing


Ground, Lower Ground Floor


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538156.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


F
D


3
0


F
D


3
0


N1 N1


N1N1N1


N1


F
D


3
0


CO


EL


F


D


3


0


F
D


3
0


F
D


3
0


CO


F


H


N3


E


H


CO


CO


F
D


3
0


N1


H


F


D


3


0


F


D


3


0


F


F


F


D


3


0


H


E


L


N1


F


D


3


0


N1


N1


F


D


3


0


F


F


E


N1


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-008


A1


RD


1:50


Mar 16


SP


Sheet 2


Fire Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538157.pdf


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


F


H


H


H


H


H


EL


EL


FAP


C
O


N1


F
D


3
0


F
D


3
0


EL


CO


CO


N1


F
D


3
0


H


34.04m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-009


A1


RD


1:50


Mar 16


SP


Sheet 3


Fire Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538155.pdf


F
D


3
0


F
D


3
0


CO


EL


F
D


3
0


F
D


3
0


CO
F


D
3


0


H


H


F


D


3


0


F


D


3


0


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


14.39m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-010


A1


RD


1:50


Mar 16


SP


Sheet 4


Fire Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538152.pdf


EB


EB


P1


N1


EL


P1


FD30


N3


E


P1


N3


H


E


EL


EB


EB


EB


E


E


E


FD60


H


EL


N3


N3N3


N3


18.15m²
23.83m²


38.15m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-004


A1


RD


1:50


Mar 16


SP


Sheet 4


Fire Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538153.pdf


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


1600


NO


ACCESS


NO


ACCESS


EB


EB


CO


F


F
D


3
0


H


FD30


H


H


N3


N2


F


N1


F
D


3
0


N1


N1


F


EL


FD30


F
D


3
0


F
D


3
0


EL


F
A


P


H


E


N
1


F
D


3
0


N1


F
D


3
0


FD30


N1


H
EL


N1


N1


F
D


3
0


FD30


N
1


E


E


N3


N3


N
1


N3


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-005


A1


RD


1:50


Mar 16


SP


Sheet 1


Fire Layout as Existing


Ground, Lower Ground Floor


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538151.pdf


E


F


COP


CO


E


H


P1


P1


EB


F
D


3
0


F
D


3
0


N1


F


CO


P1


N3


N


3


N3


24.10m²


19.20m²


18.75m²


18.15m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-003


A1


RD


1:50


Mar 16


SP


Sheet 3


Fire Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538146.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


UPPER GROUND FLOOR


AREA - 550.60m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-A-003


A1


RD


1:100


Mar 16


SP


as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538148.pdf


63.02m²


MEZZANINE PLAN


AREA - 96.89m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-A-004


A1


RD


1:100


Mar 16


SP


as Existing


Mezzanine Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538149.pdf


E


F


COP


E


CO


E


E


N


3


EL


CO


C
O


H


P1


FD30


N


3


N3


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²


23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


F


FIRE EXTINGUISHER - FOAM


CO


FIRE EXTINGUISHER - CARBON


DIOXIDE


FIRE


EMERGENCY LUMINAIRE


LEGEND


EMERGENCY LUMINAIRE - BULKHEAD


FIRE ALARM SOUNDER


E


FIRE EXIT SIGN


HEAT DETECTOR


H


SMOKE DETECTOR


S


EMERGENCY FUEL CUT OFF SWITCH


H


HEAT DETECTOR - INTEGRAL SOUNDER


S


SMOKE DETECTOR - INTEGRAL SOUNDER


FIRE BLANKET


FAP


FIRE ALARM PANEL


CALL POINT


P1


W


FIRE EXTINGUISHER - WATER


P


FIRE EXTINGUISHER - POWDER


E


COMPARTMENT WALL


EMERGENCY LIGHT - ILLUMINATED EXIT BOX


FIRE EXIT DIRECTIONAL SIGN


EMERGENCY LIGHT - ILLUMINATED DIRECTIONAL


EXIT BOX


EL


EB


FIRE NOTICE - GENERAL NOTICE
N1


FIRE NOTICE - STAFF NOTICE
N2


FIRE DOORFD


VISION PANELVP


SELF CLOSERSC


SELF CLOSER - AUTOMATIC RELEASESCA


FIRE NOTICE - KEEP DOOR SHUT


NOTICE


N3


FIRE NOTICE - KEEP DOOR


LOCKED SHUT NOTICE


N6


EVACUATION POINT(S)


SAND BUCKET


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-001


A1


RD


1:50


Mar 16


SP


Sheet 1


Fire Layout as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538147.pdf


63.02m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-004


A1


RD


1:100


Mar 16


SP


as Existing


Mezzanine Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538142.pdf


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


2950 770


2545


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²
23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


AREA - 29.37m²


BASEMENT


AREA - 212.92m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-A-001


A1


RD


1:100


Mar 16


SP


as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538144.pdf


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


GROUND/LOWER GROUND FLOOR


AREA - 401.59m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-A-002


A1


RD


1:100


Mar 16


SP


as Existing


Ground, Lower Ground Floor


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538145.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-003


A1


RD


1:100


Mar 16


SP


as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538143.pdf


1600


NO


ACCESS


NO


ACCESS


13.92m²


32.47m²


103.25m²


11.19m²


4.30m²


56.44m²


3.36m²


3.25m²


8.60m²


10.47m²


4.35m²1.98m²


9.96m²


12.60m²


14.07m²


3.47m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-002


A1


RD


1:100


Mar 16


SP


as Existing


Ground, Lower Ground Floor


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538140.pdf


C
O


E


F
D


3
0


N
1


F


H


H


63.02m²


63.02m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-F-011


A1


RD


1:50


Mar 16


SP


Sheet 1


Fire Layout as Existing


Mezzanine Plan


EDOMC122


MARITME RESCUE COORDINATION


SWINGATE


DOVER


KENT


CT15 5NA






_1610538141.pdf


ACCESS


PROPOSED OIL STORAGE


TANK ROOM.


COMPOUND


OVER


STORE ROOM


SERVICES


STORE ROOM


LIGHTWELL


GENERATOR ROOM


EXISTING 


 LOBBY


2950 770


2545


24.10m²


16.74m²


19.20m²


6.42m²


11.91m²


18.75m²


18.15m²
23.83m²


38.15m²


29.45m²


16.59m²


26.74m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-001


A1


RD


1:100


Mar 16


SP


as Existing


Basement, Generator & Oil Storage Plans


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538138.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


5L


RAD


34.04m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK
BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-009


A1


RD


1:50


Mar 16


SP


Sheet 3


Security Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538139.pdf


RAD


ISIS
IS


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


14.39m²


56.68m²


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK
BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-010


A1


RD


1:50


Mar 16


SP


Sheet 4


Security Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538137.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK
BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


RAD RAD
RAD


RAD


RAD


RAD RAD RAD


DL


ISIS
IS


IS


RAD


IS


R


A


D


I


S


I


S


R


A


D


K


C


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-008


A1


RD


1:50


Mar 16


SP


Sheet 2


Security Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






_1610538136.pdf


34.04m² 15.37m²


12.80m²


13.92m²


2.16m²


37.44m²


19.66m²


41.88m²


15.07m²


14.39m²


14.39m²


4.00m²


56.68m²


5L


SECURITY


5 LEVER MORTICE DEADLOCK
5L


GL


GARAGE DOOR LOCK


LEGEND


DC


DOOR CONTACT


PIR


PIR SENSOR


ALARM KEYPAD
KP


SAP


SECURITY ALARM PANEL


KL


RL


KEY OPERATED MULTIPOINT LOCK


RIM LOCK


INTERNAL LOCKING SNIB


DB
DEAD BOLT


IS


SL


SECURITY SPOT LIGHT


RAD RIM AUTOMATIC DEADLOCK


BK
BOLT & KEEP


LP LATCH PADLOCK


INTERCOM
IC


5 LEVER MORTICE DEADLOCK &


INTERNAL LOCKING SNIB


EMERGENCY DOOR RELEASE
ER


5 LEVER MORTICE DEADLOCK-EN12209
5D


5LS


PL


PADLOCK


CCTV CAMERA


CCTV


PIR


CCTV


CCTV CAMERA - PIR


PUSHBAR
PB


DIGITAL LOCK
DL


SECURITY SOUNDER


2 LEVER MORTICE DEADLOCK
2L


MORTICE LOCK
ML


WINDOW LOCK


WL


3 LEVER MORTICE DEADLOCK
3L


SP SPINDLE LOCK


SECURITY BARS


KC


KEYCARD


Hartnell Taylor Cook LLP


Somerset House,


18 Canynge Road,


Bristol.


BS8 3JX


Tel: 0117 923 9234


Fax: 0117 923 9237


Email : info@htc.uk.com


Web: www.htc.uk.com


client:


number


scale


date


drawn


title:


rev


checked


size


property:


E PIMS No:


00786-S-007


A1


RD


1:50


Mar 16


SP


Sheet 1


Security Layout as Existing


Upper Ground Floor Plan


EDOMC122


DOVER MRCC/MO/RS


SWINGATE


DOVER


KENT


CT15 5NA






