| Serial | Question | Response |
| --- | --- | --- |
| 1 | Is it possible to have a more legible copy of Appendix 1- Location map? | Please see attached PDF (HMCG 0632-005). |
| 2 | Please advise which sites are manned during the working day. | Shetland, Aberdeen, Dover, Falmouth, Liverpool, Stornoway. |
| 3 | If unmanned, please advise if we would have to collect and return any access keys at another location and where possible advise location if more than 5 miles from named site. | MCA is currently installing the keys to access remote radio sites in Key Safes local to the site. Most, if not all site access keys will be located within 5 miles of a remote radio site. Full details will be provided at Contract award. |
| 4 | Will all climbable structures have an “in date “safe to climb certificate? | Yes. |
| 5 | Will structures noted as “planned to be removed “No. 5 typically or “planned to be replaced” No. 13 typically, require to be inspected and reported on during this contract. | Bembridge; No. (The Mast has been removed). East Prawle and Fairlight: Yes. (New towers are expected to be erected during Q3, therefore they would require inspection during the second year of contract). |
| 6 | Can we assume that the contractor will be free to schedule visits by region / area and that all structures within those areas will be freely available to inspect. | Yes. |
| 7 | Does the MCA use a common fall arrest system throughout its structures, if so, please advise the type? We need to ensure our personnel have the appropriate testing certification for the systems in use. | The Latchway fall-arrest system is in use. |
| 8 | Does MCA hold original design calculations, construction drawings & geotechnical investigations? | This information is held by the incumbent contractor and will be made available after award of contract. |
| 9 | Are all structures & guys galvanised steel if no please specify material? | Steel |
| 10 | Will MCA provide effective site-access contact details for third-party landowners (ref. MTC #15)? | Yes. |
| 11 | How soon after 1st June will MCA issue sites’ details, landowner contact details, original designs & current MTC drawings | Approximately 4 weeks after contract award. |