Pulse Lavage Specification

RN3/001429/07/15/JB/PC

The Great Western Hospitals NHS Foundation Trust provides acute hospital services (at the Great Western Hospital) and community health services across Wiltshire. These services include community hospitals, community nursing, therapists and children's and young people's services.

At the Great Western Hospital we have all of the facilities you would expect to find in a busy general hospital including an Emergency Department, Delivery Suite, a full range of diagnostics tests such as X-ray, MRI and CT scans, outpatient clinics and 21 inpatient wards. We provide these services in a very modern environment ensuring patients have privacy and dignity throughout their care.

We have approximately 5,200 staff who pride themselves in delivering an outstanding service to patients and users.  We recognise that being cared for well is not just about having the right clinical treatment it is about much more - the way you are spoken to, the quality of the food, the level of privacy, dignity and respect you are treated with and so much more.

GWH is looking for a supplier who can provide a pulse lavage consumable that meets the following criteria:

* Ergonomic Design
* Well Balanced Design
* Single Use Pulse Lavage
* 2-Speed Trigger System enabling controlled pressure
* Pressure of 15 PSI
* Trusted Locking System of all types of Attachments
* Ease of changing attachments if required
* Independent Fluid and Suction Tubes
* Simple to Use
* Pulse Lavage Kit includes both Knee Tip (fan spray) and Coaxial Tip (hip femoral canal tip)
* Delivery within 48 Hours of order