**Specification:**

* 6 year maintenance service Comprehensive cover, to include annual 1 PM and probe calibration, software updates, support, call-outs and repairs or replacement parts due to normal use.
* Equipment: 3x Fibroscan 430+ s/n F93141, F93143 and F93142
* Location: 1x Liver outpatients - Barts mobile unit, 2x King’s College Hospital NHS Foundation Trust, 3rd floor, Cheyne wing - Liver Institute
* Loan equipment provided
* Response times:
* Coverage times: Please advise
* Cancellation terms: Please advise
* Payment terms: Please advise

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Location** | **Equipment** | **S/N** | **Probe S/N** | **Contract type & visit** |
| Liver outpatients - Barts mobile unit | Fibroscan 430+ | F93141 | M+ probe s/n S2003548 & XL+ probe S2003554. | Comprehensive with PM 1 |
| 3rd fl Cheyne wing - Liver institute | Fibroscan 430+ | F93143 | M+ probe s/n S2003550 & XL+ probe S2003556. | Comprehensive with PM 1 |
| 3rd fl Cheyne wing - Liver institute | Fibroscan 430+ | F93142 | M+ probe s/n S2003549 & XL+ probe S2003555. | Comprehensive with PM 1 |