[image: image1.png]IMPERIAL MUSEUMS





	
	Specification for the supply of track spots for 

 Churchill War Rooms and IWM London



	Please return quotes for the following specifications for Churchill War Rooms and IWM London. 
We would ask that you return one quote per venue, although we may purchase all light fittings as one order, therefore please indicate if this will offer any cost saving to the overall order.

Please return quotes to sbourne@iwm.org.uk by no later than 2pm on Friday 23 February. Please contact Simon Bourne on 020 7416 5257 or by email to confirm his receipt of your quote. It is the responsibility of the supplier to ensure that the quote is received by the return deadline and any returns received after this date for whatever reason will not be accepted



Venue 1

Specification for the supply of track spots for Churchill War Rooms

To supply track mount spots

Eutrac 3 CCT track fitting in a RAL 9006

Each trackspot to be adjustable with pan and tilt and also self-dimmable by potentiometer

The track spot to have the following properties

· No or exceedingly limited light leak from rear of fixture.

· 3CCT Eutrac Adaptor lock.

· Accessory Holder to accept standard range of glass accessories.

· Shallow depth to ensure discreet hanging, no more than 150mm from track face.

· Special Epoxy RAL finish paint for durability.

· All components replaceable for future proofing fixture.

· Fixed louvres for glare reduction.

M16 Light engine, the light engine to have the following properties

· A CRI of >95, 3,000 kelvin, 410+ lumens

· GaN on GaN™ technology for small, bright point sources.

· Accurate colour rendering across the visible spectrum from 400nm to 700nm, with CRI/95, R9/95, Rf/90, Rg/100 Whiteness rendering matching or exceeds that of halogen

· 3 Year Warrantee or 25,000 Hours whichever is sooner.

· Rated life of 35,000 hours

· Replacement Lens System to transform source from 9* to 36* or Linear Beams and Square Beams.

· Single handed Omnidirectional Lock off in one action to lock off fixture focus. Power supply enclosed in case with Potentiometer disguised for concealed access.

Quantities

· 330 x 10 degree trackspots as specified

· 50 x Frost Snap Lenses

· 65 x 10 x 36 Linear spreader Snap lenses

· 95 x 60 degree Snap lenses

· 200 x 36 degree Snap lenses
· 20 x spare lamps

Please advise minimum lead in time for delivery of the above items.
Venue 2

Specification for the supply of track spots for the IWM London

To supply track mount spots with Eutrac 3 CCT track fitting in White, each trackspot to be adjustable with pan and tilt and also self-dimmable by potentiometer

The track spot to have the following properties

· No or exceedingly limited light leak from rear of fixture.

· 3CCT Eutrac Adaptor lock.

· Accessory Holder to accept standard range of glass accessories.

· Shallow depth to ensure discreet hanging, no more than 160mm from track face, and weigh less than 1kg

· Special Epoxy RAL finish paint for durability.

· All components replaceable for future proofing fixture.

· Fixed louvres for glare reduction.

Using a14w Light engine, the light engine to have the following properties

· CRI of >95, 3,000 kelvin, driven at 500ma to produce 850+ lumens, a rated life of 35,000 hours

· GaN on GaN™ technology for small, bright point sources.

· Accurate colour rendering across the visible spectrum from 400nm to 700nm, with CRI/95, R9/95, Rf/90, Rg/100 Whiteness rendering matching or exceeds that of halogen

· 3 Year Warrantee or 25,000 Hours whichever is sooner.

· Replaceable lens system to transform source from 9* to 36* or Linear Beams and Square Beams.

· Power supply enclosed in case with Potentiometer disguised for concealed access

Quantities

Please offer quotes for both sets of quantities listed below.


	
	· 150 x Track spots as specified

· 100 x 17° Lens

· 100 x 25° Lens

· 100 x 36° Lens

· 50 x 60° Lens

· 100 x 10° x 36° Linear Spreader Lens

· 25 x 10° x 60° Linear Spreader Lens

· 150 x Honeycomb Louvre 




Please advise minimum lead in time for delivery of the above items. 
This award will be subject to the terms of conditions as attached.

The award will be awarded to the Supplier who offers the lowest overall costs and is able to confirm delivery of the light fittings before the end of March 2018.


2

