Section A: Introduction

In 2018, Royal Papworth Hospital (RPH) will move to a brand new, state-of-the-art hospital on the Cambridge Biomedical Campus. The vision for Pathology services on the Campus are to collaborate with Cambridge University Hospital (CUH)  to develop a shared service working together to realise benefits, whilst RPH maintain specialist cardiothoracic expertise in both routine and research areas. In order to share the Histopathology service on the campus a larger footprint is required; unfortunately the space planned for the merge of two Histopathology services has been delayed and will not be ready in time for the RPH move in September 2018.

RPH will continue to work with CUH on the shared vision for a joined up Histopathology service but as the New Papworth Hospital (NPH) has no provision for a laboratory the hospital are out to tender for these services as a contingency and interim until the space required is available.

NPH requires a Histopathology and Tissue Bank service that supports their specialist clinical services and research. The service must be provided to comply with the commissioning framework for services such as transplantation and meet diagnostic timelines required for thoracic oncology services.

The work has been split between what must be completed on the campus AND what will require processing off-site to support a full end to end Histopathology service at NPH whilst space is found to merge with CUH.

The following specification covers what NPH are out to tender for and what is required to support processing off-site.

The 2016/17 annual Histology workload amounts to around 4,145 histology requests (equating to approximately 6,301 samples, 15,109 blocks and 60,123 slides) (Appendix 1). To safely and effectively deliver these volumes, from receipt to reporting, requires an integrated team of Consultant Histo/Cytopathologists, Biomedical Scientists (BMS), Medical Laboratory Assistants (MLA) and Administrative staff.

Section B: Key Service Requirements

Aims and Outcomes

The key aims are to provide NPH with a diagnostic Histopathology service that meets the needs of clinicians and patients based on current turnaround times.  Also to meet the needs of tissue banking which supports current research projects and cardiorespiratory research locally.

Off-site Requirements

In terms of Histopathology and Cytopathology laboratory services ("the Services"), the Trust is seeking the following deliverables from within this Tender process;

- Processing of histology specimens from receipt of cassette to dispatch of slides

The reporting element of the service and the Consultant Pathologists including administrative staff will remain with NPH and therefore does not form part of this tender. i.e. the following are excluded

•	Provision of Clinical advice

•	Provision of a surgical cut-up service

- Consultant led reporting service

The on-site NPH Histopathology team will prepare cassettes with tissue samples to be sent out for processing, sectioning and staining, including immunohistochemistry (IHC). Once processed the slides and blocks will be sent back to the campus for reporting and storage.

Required Service Description

  - NPH staff will manage tracking out to 3rd party.	Currently use colour coded cassettes with BLUE covering urgent and complex samples often very small and delicate requiring specialist handling. Then WHITE cassettes covering general surgery and likely to be easier to process.

All cassettes will have a printed tracking documenting the following requirements

- Specimen type

- Orientation requirements for embedding

- Sectioning specification

- Pre-ordered special stains and/or IHC

  - NPH staff will prepare cassettes to transport tissue in formalin packed containers which will be picked up by 3rd party at agreed location on the campus (Location TBC)

- Containers and transport to be provided by the 3rd party

  - Off-site 3rd party will receive and process cassettes to wax blocks

- Note to be made on any embedding on tracking sheet

  - Cutting to specification on tracking sheet by 3rd party

- Serials (CT guided biopsies, Trans bronchial biopsies) Blue cassettes. Tissue sparing, serial slides if tissue is scanty, preserve tissue for further staining/molecular analysis. Haematoxylin and Eosin (H&E) stained alternative slides (1, 3,5,7,9). Spare slides as per guidance documented in Appendix 2 reserved for IHC/special staining as requested.

- EBUS clot samples: Serial sections pick up serial 5 and serial 9 on same slide for H&E staining. Individual sections per slide, 2 x slides at each spares for 6, 8 and 10 (6 spare slides in total) for IHC/specials. Serial 10 representative face (Preservation of tissue in block for subsequent molecular work).

- Levels (Pleural biopsies, lymph nodes, samples as requested:  3 step levels (L1, L2, L3), 3 slides at each level, 1 x slide at each level H&E, 2 slides at each level spare for special stains/IHC.

- Full face:  (Surgical blocks, white blocks) 1 section only at full face for H&E staining.

  - Slides to be sent back to NPH and tracked from 3rd party then logged against cassettes (process TBC and discussed with 3rd party)

  - Special stains: Selected specimen types with pre ordered special stains which are marked on the tracking sheet to be completed by 3rd party. (Appendix 3)

  - Reflex test when required NPH on-site team will request against a block number (process to manage this TBC and agreed with the 3rd party)

  - Special stains to include as per guidance documented in Appendix 3 list and to include positive control sections.

  - Immunohistochemistry (IHC) repertoire as per guidance documented in Appendix 3 list and to include positive and negative controls.

  - Despatch, return stained slides, tracked, courier provided by third party for Pathologist reporting at NPH. (Return of slides at next pick up and location TBC as Pathologists are in NPH)

  - Authorisation by Consultant Pathologists and once report is authorised on NPH LIMS the blocks will be returned to NPH for storage (Communication of this TBC and agreed with 3rd party)

  - Turnaround Times based on current:

Blue blocks (CT guided biopsy, transbronchial biopsies, EBUS) H&E slides returned within 24 hours, complete with IHC returned for reporting within 48 hours from receipt of block.

White blocks (Surgicals) H&E slides sections returned within 24 hours (reported within 10 days)

Quality Measures & Service Key Performance Indicators (KPIs)

The 3rd party provider will be responsible for governance of the service, compliance with all relevant outside agencies, i.e. UKAS, MHRA, HTA, HSE and accreditation to ISO 15189:2012 (or subsequent versions)  or Clinical Pathology Accreditation (CPA) accredited until the transition to UKAS is complete.

The new service provider should participate in all relevant and appropriate EQA schemes whenever possible. If an EQA scheme is not available, the laboratory shall develop other approaches and provide objective evidence for determining the acceptability of examination results. The new service provider will monitor and maintain records of results, providing reports, reporting poor performance to NPH and agreeing remedial actions within a specified timescale to ensure compliance.

NPH will use the KPIs and other specified service-related parameters and respective frequencies, as in (Appendix 5), for ongoing monitoring of the Histopathology service provided by the 3rd party service provider. These parameters are intended to provide measures of the service as experienced by NPH clinicians as well as indicative that the specification is being adhered to and quality maintained.

NPH reserves the right to review and alter these parameters in correlation with clinical and RCPath and the Pathology Quality Assurance Dashboard (PQAD) requirements.

The majority of the KPIs are referenced from:

- Draft Pathology Quality Assurance Dashboard (PQAD)

- RCPath (2013) Key Performance Indicators – Pilot 10/2013 – 04/2015. Note that work has deferred until the outcome of  Pathology Quality Assurance Review dashboard of key assurance indicators is known

- Medical laboratories – Requirements for quality and competence (ISO 15189:2012)

- The British In Vitro Diagnostics Association (BIVDA)

- Medicines and Healthcare products Regulatory Agency (MHRA)

Appendices 1 to 4

- Appendix 1  Specimen types	 (with approx. numbers including pre ordered stains)

- Appendix 2 Sectioning protocols by sample type sectioning protocols by sample type

- Appendix 3 Special stains

- Appendix 4 Summary of standard pre-ordered special stains panels.

- Appendix 5 Current Performance Management and KPIs

Appendix 1 - Specimen types

| Summary of Histology workload for the year 2016-17 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Requests | 4145 |  |  |  |
| Samples | 6301 |  |  |  |
| Blocks | 15109 |  |  |  |
| Slides | 60123 |  |  |  |
| Samples per request | 1.52 |  |  |  |
| Blocks per request | 3.65 |  |  |  |
| Slides per request | 14.5 |  |  |  |
| Blocks per sample | 2.4 |  |  |  |
| Slides per sample | 9.54 |  |  |  |
| Slides per block | 3.98 |  |  |  |

| Histology Sample types 2016-17 Sample highlighted (remove not required off-site) Must have 24hr turnaround (BLUE) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Type | No. | Blocks | Slides | Blocks per Sample | Slides per Sample | Slides per Block |
| Adipose tissue | 4 | 6 | 14 | 1.5 | 3.5 | 2.33 |
| Aorta | 169 | 370 | 1222 | 2.19 | 7.23 | 3.3 |
| Aortic valve | 96 | 113 | 387 | 1.18 | 4.03 | 3.42 |
| Archived block | 1 | 2 | 2 | 2 | 2 | 1 |
| Archived slides | 1 | 1 | 6 | 1 | 6 | 6 |
| Artery | 7 | 12 | 47 | 1.71 | 6.71 | 3.92 |
| Ascitic fluid | 1 | 2 | 2 | 2 | 2 | 1 |
| Atrial appendage | 52 | 98 | 259 | 1.88 | 4.98 | 2.64 |
| Bone | 4 | 5 | 36 | 1.25 | 9 | 7.2 |
| Bronchial biopsy | 85 | 86 | 1553 | 1.01 | 18.27 | 18.06 |
| Bronchial brush | 30 | 36 | 76 | 1.2 | 2.53 | 2.11 |
| Bronchial lavage | 299 | 313 | 735 | 1.05 | 2.46 | 2.35 |
| Bronchial lavage transplant | 205 | 207 | 613 | 1.01 | 2.99 | 2.96 |
| Bronchus | 21 | 28 | 145 | 1.33 | 6.9 | 5.18 |
| Bullae | 27 | 84 | 176 | 3.11 | 6.52 | 2.1 |
| Cartilage | 1 | 2 | 2 | 2 | 2 | 1 |
| Chest wall mass?? | 19 | 44 | 191 | 2.32 | 10.05 | 4.34 |
| Clot | 13 | 21 | 56 | 1.62 | 4.31 | 2.67 |
| Colon | 5 | 43 | 91 | 8.6 | 18.2 | 2.12 |
| CT Lung biopsy | 386 | 386 | 7094 | 1 | 18.38 | 18.38 |
| Cyst | 5 | 12 | 47 | 2.4 | 9.4 | 3.92 |
| Cyst fluid | 2 | 4 | 4 | 2 | 2 | 1 |
| Diaphragm | 4 | 11 | 33 | 2.75 | 8.25 | 3 |
| DMEM SAMPLE | 39 | 8 | 33 | 0.21 | 0.85 | 4.13 |
| Donor lung | 1 | 4 | 8 | 4 | 8 | 2 |
| Double lung transplant | 68 | 948 | 1495 | 13.94 | 21.99 | 1.58 |
| Endobronchial biopsy | 4 | 4 | 49 | 1 | 12.25 | 12.25 |
| Endobronchial FNA | 704 | 708 | 7848 | 1.01 | 11.15 | 11.08 |
| Endoscopic FNA | 89 | 89 | 1053 | 1 | 11.83 | 11.83 |
| Fine needle aspirate | 24 | 24 | 308 | 1 | 12.83 | 12.83 |
| Frozen tissue | 3 | 3 | 0 | 1 | 0 | 0 |
| Heart and lung transplant | 3 | 38 | 66 | 12.67 | 22 | 1.74 |
| Heart outside case | 38 | 613 | 1227 | 16.13 | 32.29 | 2 |
| Heart transplant | 48 | 709 | 1704 | 14.77 | 35.5 | 2.4 |
| Kidney | 2 | 33 | 44 | 16.5 | 22 | 1.33 |
| Liver biopsy | 2 | 3 | 3 | 1.5 | 1.5 | 1 |
| Lung | 237 | 2770 | 5136 | 11.69 | 21.67 | 1.85 |
| Lung Cryo Biospy | 1 | 1 | 13 | 1 | 13 | 13 |
| Lung fine needle aspiration | 2 | 2 | 24 | 1 | 12 | 12 |
| Lung wedge biopsy | 193 | 871 | 1965 | 4.51 | 10.18 | 2.26 |
| Lymph node | 847 | 1058 | 4344 | 1.25 | 5.13 | 4.11 |
| Lymph node biopsy | 6 | 6 | 128 | 1 | 21.33 | 21.33 |
| Lymph node fine needle asp | 9 | 9 | 115 | 1 | 12.78 | 12.78 |
| Mass | 24 | 104 | 341 | 4.33 | 14.21 | 3.28 |
| Mass biopsy | 3 | 3 | 59 | 1 | 19.67 | 19.67 |
| MATRIX Sample | 6 | 6 | 19 | 1 | 3.17 | 3.17 |
| Mediastinal | 25 | 104 | 333 | 4.16 | 13.32 | 3.2 |
| Mesobank Samples | 221 | 220 | 220 | 1 | 1 | 1 |
| Mitral valve | 37 | 68 | 292 | 1.84 | 7.89 | 4.29 |
| Mucosal biopsy | 1 | 1 | 15 | 1 | 15 | 15 |
| Muscle | 2 | 2 | 18 | 1 | 9 | 9 |
| Myocardial biopsy | 11 | 11 | 172 | 1 | 15.64 | 15.64 |
| Myocardium | 14 | 32 | 110 | 2.29 | 7.86 | 3.44 |
| Nerve | 1 | 1 | 8 | 1 | 8 | 8 |
| Open lung biopsy | 11 | 15 | 86 | 1.36 | 7.82 | 5.73 |
| Pericardial fluid | 21 | 55 | 201 | 2.62 | 9.57 | 3.65 |
| Pericardium | 16 | 33 | 111 | 2.06 | 6.94 | 3.36 |
| Pleura | 134 | 319 | 933 | 2.38 | 6.96 | 2.92 |
| Pleural biopsy | 48 | 60 | 858 | 1.25 | 17.88 | 14.3 |
| Pleural fluid | 85 | 232 | 541 | 2.73 | 6.36 | 2.33 |
| PM Blocks and Slides | 160 | 0 |  | 0 | 0 |  |
| PM Frozen Spleen | 19 | 19 | 0 | 1 | 0 | 0 |
| PM frozen tissue | 3 | 1 | 3 | 0.33 | 1 | 3 |
| PM Tissue | 96 | 928 | 1840 | 9.67 | 19.17 | 1.98 |
| Post-mortem referred tissue | 29 | 264 | 547 | 9.1 | 18.86 | 2.07 |
| Pulmonary thromboendarterectom | 381 | 1077 | 2208 | 2.83 | 5.8 | 2.05 |
| Pulmonary valve leaflets | 2 | 2 | 5 | 1 | 2.5 | 2.5 |
| Referred blocks | 81 | 274 | 593 | 3.38 | 7.32 | 2.16 |
| Referred CT images | 1 | 0 |  | 0 | 0 |  |
| Referred Myocardial biopsy | 2 | 2 | 30 | 1 | 15 | 15 |
| Referred slides | 277 | 321 | 2274 | 1.16 | 8.21 | 7.08 |
| Referred specimen | 1 | 0 |  | 0 | 0 |  |
| Research mouse heart | 60 | 60 | 366 | 1 | 6.1 | 6.1 |
| Rib | 6 | 49 | 67 | 8.17 | 11.17 | 1.37 |
| Sample sent away | 23 | 0 |  | 0 | 0 |  |
| Single lung transplant | 8 | 108 | 170 | 13.5 | 21.25 | 1.57 |
| Skin | 4 | 9 | 25 | 2.25 | 6.25 | 2.78 |
| Small bowel | 1 | 8 | 8 | 8 | 8 | 1 |
| specimen entered in error | 19 | 2 | 1 | 0.11 | 0.05 | 0.5 |
| Spleen | 1 | 4 | 4 | 4 | 4 | 1 |
| Sputum | 12 | 12 | 31 | 1 | 2.58 | 2.58 |
| Sternum | 3 | 5 | 16 | 1.67 | 5.33 | 3.2 |
| Synovial Fluid | 1 | 1 | 2 | 1 | 2 | 2 |
| Thymus | 22 | 175 | 340 | 7.95 | 15.45 | 1.94 |
| Thyroid | 3 | 42 | 48 | 14 | 16 | 1.14 |
| Tissue??????? | 6 | 6 | 56 | 1 | 9.33 | 9.33 |
| Trachea | 3 | 8 | 18 | 2.67 | 6 | 2.25 |
| Tracheal Aspirate | 5 | 5 | 10 | 1 | 2 | 2 |
| Transbronchial biopsy | 19 | 19 | 358 | 1 | 18.84 | 18.84 |
| Transplant myocardial biopsy | 527 | 527 | 6998 | 1 | 13.28 | 13.28 |
| Transplant transbronchial | 92 | 92 | 1292 | 1 | 14.04 | 14.04 |
| Valve | 2 | 4 | 18 | 2 | 9 | 4.5 |
| Vein | 5 | 5 | 16 | 1 | 3.2 | 3.2 |
| Ventricle | 10 | 27 | 108 | 2.7 | 10.8 | 4 |
| Total | 6301 |  |  |  |  |  |

| Histology block types for 2016-17 |  |  |  |
| --- | --- | --- | --- |
| BlockType | No. | Slides | Slides per Block |
| PPIWAX | 83 | 419 | 5.05 |
| PGWAX | 928 | 1840 | 1.98 |
| PFROZ | 24 | 4 | 0.17 |
| PRB | 475 | 800 | 1.68 |
| PWAX | 9486 | 22929 | 2.42 |
| PRWAX | 878 | 1787 | 2.04 |
| PBWAX | 2231 | 28487 | 12.77 |
| RS | 320 | 2246 | 7.02 |
| NGS | 631 | 1524 | 2.42 |
| PNGS | 32 | 43 | 1.34 |
| PAS | 2 | 34 | 17 |
| PAB | 19 | 10 | 0.53 |
| Total | 15109 |  |  |

Appendix 2 - Sectioning protocols by sample type slide writing guide

There are numerous types of slides available. Please ensure you are writing the slides out on the correct slide type.

NOTE: ‘XTRA’ slides are not yellow

Writing slides:

| YYS _ NNNN |  |  | 15S 1234 |  |  |
| --- | --- | --- | --- | --- | --- |
| A1 |  |  |  |  | A1 |
| Slide No. | [stain] |  | 6 | Grocott |  |

| SERIALS – small biopsies incl. CT guided lung biopsies and non-transplant TBBX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Slide No. | 1 |  |  |  | 2i |  |  |  |  |  | 2ii |  |  |  |  |  | 3 |  |  |  |  | 4i |  |  |  |  | 4ii |  |  |  | 5 |  |  |  |  | 6i |  |  |  |  | 6ii |  | 7 |  |  | 8i |  |  |  |  | 8ii |  | 9 |  |  |  |  | 10i |  |  | 10ii |
| Slide type | Plain |  |  |  | IHC |  |  |  |  |  | IHC |  |  |  |  |  | Plain |  |  |  |  | IHC |  |  |  |  | IHC |  |  |  | Plain |  |  |  |  | IHC |  |  |  |  | IHC |  | Plain |  |  | IHC |  |  |  |  | IHC |  | Plain |  |  |  |  | IHC |  |  | IHC |
| INDUCED CLOTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. | 5/9 |  |  |  |  |  |  |  |  |  |  |  | 6i |  |  |  |  |  |  |  |  |  |  |  |  | 6ii |  |  |  |  |  |  |  |  | 8i |  |  |  |  |  |  |  | 8ii |  |  |  |  |  |  | 10i |  |  |  |  |  |  | 10ii |  |  |  |  |
| Slide type | Plain |  |  |  |  |  |  |  |  |  |  |  | IHC |  |  |  |  |  |  |  |  |  |  |  |  | IHC |  |  |  |  |  |  |  |  | IHC |  |  |  |  |  |  |  | IHC |  |  |  |  |  |  | IHC |  |  |  |  |  |  | IHC |  |  |  |  |
| DIAGNOSTIC MYOCARDIAL BIOPSIES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. | 1 |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  | 4 |  |  |  |  |  |  |  | 5 |  |  |  |  |  |  | 6 |  |  |  | 7 |  |  |  | 8 |  |  |  |  |  | 9 |  |  |  |  |  | 10 |  |  |
| [Stain] |  |  |  |  |  |  |  |  | (Spare) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Spare) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Perls’ |  |  |  |  |  |  |  | EVG |  |  |  |  |  |  |  |  |  |  |  | CR |  |  |
| Slide type | Plain |  |  |  |  |  |  |  | Orange |  |  |  |  |  |  |  |  | Plain |  |  |  |  |  | Orange |  |  |  |  |  |  |  | Plain |  |  |  |  |  |  | Orange |  |  |  | Plain |  |  |  | XTRA |  |  |  |  |  | Plain |  |  |  |  |  | Orange |  |  |
| FURTHER SERIAL SECTIONS REQUESTED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Addenbrooke’s IHC & specials (pick up section in centre of slide) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. | 11 |  |  | 12i |  |  |  |  |  | 12ii |  |  |  |  |  | 13 |  |  |  | 14i |  |  |  |  | 14 ii |  |  |  |  | 15 |  |  |  | … |  |  | XTRA slides |  |  |  |  |  |  | Addenbrooke’s Special stains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide type | Plain |  |  | IHC |  |  |  |  |  | IHC |  |  |  |  |  | Plain |  |  |  | IHC |  |  |  |  | IHC |  |  |  |  | Plain |  |  |  |  |  |  | IHC slides |  |  |  |  |  |  | Addenbrooke’s IHC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Levels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Further levels |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. |  | L1 |  |  |  |  | L1sp |  |  |  |  | L1sp |  |  |  |  |  |  | L2 |  |  |  | L2sp |  |  |  |  |  | L2sp |  |  |  | L3 |  |  |  |  | L3sp |  |  |  |  |  |  |  |  |  |  | L4 |  |  | L5 |  |  |  | L6 |  |  |  | … |  |
| Slide type |  | Plain |  |  |  |  | Plain |  |  |  |  | Plain |  |  |  |  |  |  | Plain |  |  |  | Plain |  |  |  |  |  | Plain |  |  |  | Plain |  |  |  |  | Plain |  |  |  |  |  |  |  |  |  |  | Plain |  |  | Plain |  |  |  | Plain |  |  |  |  |  |
| FURTHER LEVELS (from a block that has NOT already had levels) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. |  | L2 |  |  |  |  |  | L3 |  |  |  |  |  | L4 |  |  |  |  |  |  | … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide type |  | Plain |  |  |  |  |  | Plain |  |  |  |  |  | Plain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SPECIAL STAIN REQUESTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| XTRA SLIDES |  |  |  |  |  | DABPAS, EVG, GROCOTT, Masson Fontana, PASD, PERLS’ EVG, Von Kossa and any other specials where the block has been in Decal or the tissue is brain. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ORANGE Slides |  |  |  |  |  | All other stains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Further testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| H&E (ref.) |  |  | 1 section for reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PLAIN |  |  |  |  |  |  |  |
| EGFR |  |  | Fill slides with up to 10x sections depending on tissue size/ tumour volume |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PLAIN |  |  |  |  |  |  |  |
| KRAS |  |  | Fill slides with up to 10x sections depending on tissue size/ tumour volume |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PLAIN |  |  |  |  |  |  |  |
| BRAF |  |  | Fill slides with up to 10x sections depending on tissue size/ tumour volume |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PLAIN |  |  |  |  |  |  |  |
| ALK |  |  | 2 slides (1x section on each slide) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CHARGED (IHC) |  |  |  |  |  |  |  |
| HER2 FISH |  |  | 3 slides (1x sections on each slide, if possible) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CHARGED (IHC) |  |  |  |  |  |  |  |
| HER2 IHC |  |  | 3 slides (1x section on each slide) **DO NOT PUT IN OVEN** |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CHARGED (IHC) |  |  |  |  |  |  |  |
| Mouse hearts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Slide No. |  |  | L1 |  |  |  |  |  |  |  |  |  |  |  | L1sp |  |  |  |  |  |  |  |  |  |  |  |  | L2 |  |  |  |  |  |  |  |  |  |  |  | L2sp |  |  |  |  | L2sp |  |  |  |  |  |  |  |  |  | L2 EVG |  |  |  |  |  |  |
| Slide type |  |  | Plain |  |  |  |  |  |  |  |  |  |  |  | Plain |  |  |  |  |  |  |  |  |  |  |  |  | Plain |  |  |  |  |  |  |  |  |  |  |  | Plain |  |  |  |  | Plain |  |  |  |  |  |  |  |  |  | XTRA |  |  |  |  |  |  |

Appendix 3 – Special Stains

| ANTIBODY | Block number |  |  |  |  |  |  | Lab № |  |  |  |  | Pathologist |  | DMR / MG / SP/ SpR |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Surname |  |  |  |  |  |  |  |  |  |
| 34BE12 |  |  |  |  |  |  |  |  |  |  |  |  | Date |  |  |  |  |
| AA AMYLOID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AE1/AE3 |  |  |  |  |  |  |  | Extra blocks |  |  |  |  |  |  |  |  | Slide |
| BCL-2 |  |  |  |  |  |  |  |  |  |  | RES / AP |  |  |  |  |  | Check |
| BEREP4 |  |  |  |  |  |  |  | RECUT |  |  |  |  |  |  |  |  | (sign) |
| C4D |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ca125 |  |  |  |  |  |  |  | Deeper for full face |  |  |  |  |  |  |  |  |  |
| Calretinin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CAM5.2 |  |  |  |  |  |  |  | Deeper section |  |  |  |  |  |  |  |  |  |
| CD 1a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 5 |  |  |  |  |  |  |  | Deeper serial (for biopsies) |  |  |  |  |  |  |  |  |  |
| CD 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 15 |  |  |  |  |  |  |  | Levels |  |  |  |  |  |  |  |  |  |
| CD 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 31 |  |  |  |  |  |  |  | CR 7µm |  |  |  |  |  |  |  |  |  |
| CD 34 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 56 |  |  |  |  |  |  |  | DABPAS |  |  |  |  |  |  |  |  |  |
| CD 68 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CD 79a |  |  |  |  |  |  |  | EVG |  |  |  |  |  |  |  |  |  |
| CD 99 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CDX2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CEA |  |  |  |  |  |  |  | Gram |  |  |  |  |  |  |  |  |  |
| CHGA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CK 5/6 |  |  |  |  |  |  |  | Grocott |  |  |  |  |  |  |  |  |  |
| CK 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CK 20 |  |  |  |  |  |  |  | HVG |  |  |  |  |  |  |  |  |  |
| DESMIN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EMA |  |  |  |  |  |  |  | Masson Trichrome |  |  |  |  |  |  |  |  |  |
| GATA3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HMB45 |  |  |  |  |  |  |  | MSB |  |  |  |  |  |  |  |  |  |
| Ki67 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LCA |  |  |  |  |  |  |  | PAS |  |  |  |  |  |  |  |  |  |
| MESO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MNF116 |  |  |  |  |  |  |  | PASD |  |  |  |  |  |  |  |  |  |
| OES RECEP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P 53 |  |  |  |  |  |  |  | Perls’ |  |  |  |  |  |  |  |  |  |
| P 63 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PAX8 |  |  |  |  |  |  |  | Perls’ EVG |  |  |  |  |  |  |  |  |  |
| P COMP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PGP |  |  |  |  |  |  |  | ZN |  |  |  |  |  |  |  |  |  |
| PRE-ALBUMIN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PSA |  |  |  |  |  |  |  | Mod ZN |  |  |  |  |  |  |  |  |  |
| S100 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SMA |  |  |  |  |  |  |  | Other |  |  |  |  |  |  |  |  |  |
| SYNAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THROMB |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THYROG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TTF-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VIM |  |  |  |  |  |  |  | Lab use only |  |  | PSC X |  |  |  |  |  |  |
| WT-1 |  |  |  |  |  |  |  | Addenbrooke’s IHC / special stains. **add PRC code** |  |  |  |  |  |  |  |  |  |
| № Drop zones |  |  |  |  |  |  |  | Antibody/ stain |  | Block |  | Work-listed |  | Date sent |  | Tracking Database |  |
| № of controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| № negatives |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cut by |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Appendix 4 - Summary of standard pre-ordered special stains panels

| Standards pre-ordered on all sample requests |  |  |  |
| --- | --- | --- | --- |
| Sample type | WinPath code | Blocks | Stains |
| Aorta | PAORT | A1 | Elastic vanGieson (EVG), Alain Blue (AB), vonKossa (VK) |
|  |  | A2 | EVG |
| Aortic valve | PAV | A1 | EVG, Congo Red (CR) |
| Mitral valve | PMV | A1 | EVG, CR |
| Pulmonary thromboendartarectomy | PPTE | A1, A2, A3 | EVG |
|  |  | B1, B2, B3 | EVG |
| Example of ad-hoc panel ordering |  |  |  |
| Explanted lung from transplant, double lung | PDLU | x8 blocks | EVG, Diastase Periodic Acid Schiffs (PASD), Grocott (G) |
| single lung | PSLU | x4 blocks | EVG, Diastase Periodic Acid Schiffs (PASD), Grocott (G) |
| Explanted heart transplant | PHTT | x4 blocks | Perls (P), EVG, CR |

Appendix 5 – Current PERFORMANCE MANAGEMENT AND KPIs

The following table highlights turnaround/KPIs for Cellular Pathology

| Quality Measure | Indicator | Target |
| --- | --- | --- |
| Hist - TaT - explants specimens | Reported within 10 working days | 95% |
| Hist - TaT - resection specimens * | Reported within 10 working days | 95% |
| Hist - TaT - Lung Cancer biopsies | Reported within 5 working days | 95% |
| Hist - TaT - Myocardial biopsies | Reported within 1 working day | 95% |
| Hist - TaT - Transbronchial biopsies | Reported within 2 working days | 95% |

Additional KPI’s previously referenced in this document

- Release of glass slides (Approximately 75% of slides released from the laboratory within 1 working day by around 4 pm H&E sections of diagnostic biopsies ready for review by 11am, so that IHC requests are received by the lab by 2pm, for an overnight IHC run, for final report to be issued the following day (within 48hrs for diagnostic biopsies’)

- A full range of ancillary techniques (e.g. deepers, levels, re-embedding, re-processing, histochemical, immunohistochemical special stains– the list is not exhaustive) to be available for the Registrar and Consultants. Such cases requiring further work follow a similar line of quality checks and again 75% of slides are released to the reporting Registrar or Consultant within 1 working day.

- Frozen sections are requested by Papworth surgeons following direct discussion with the Pathology Consultant. At NPH it will be Papworths responsibility to get the sample to the CUH Laboratory. The slides should be processed and with the reporting pathologist to enable a verbal report within 25mins in 95% of cases back to the surgeon. NOT PART OF THIS TENDER

- Haematopathology supplementary reporting authorised by the Consultant Pathologist within 7 to 10 days

- Molecular profiling  conducted at an external Molecular Diagnostic Laboratory with turnaround time of 5 – 10 working days (between sending the sample and receipt of report).