Schedule C

T07 1516 Multifunctional Microplate Reader

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation table

T07 1516 Multifunctional Microplate Reader

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Multifunctional plate reader, up to 384 well format, with measurement modes of absorbance, fluorescent intensity, fluorescent polarisation, time-resolved fluorescence, and luminescence (glow and flash) |  | 3 |  |
| Within-well multispot reading to assess heterogeneity of reactions, together with plate shaking modes (linear, orbital and used defined) |  | 3 |  |
| Temperature control from at least 4oC to 45oC |  | 3 |  |
| To provide environmental control of atmospheric gases (O2 and CO2) suitable for aerobic culture of mammalian cells and anaerobic culture of micro-organisms. |  | 3 |  |
| Capable of endpoint and kinetic measurements, with appropriate software for data reduction |  | 3 |  |
| On Site Training and Technical support |  | 3 |  |
| Servicing / maintenance arrangements |  | 2 |  |
| Warranty Period (24 Months) |  | 2 |  |
| Price |  | 2 |  |
|  |  | Total Score |  |