## Drop Codes (hidden)
RoomClassification | IA | QualificationTest
Not Classified | Direct Impact | Yes
Grade A | Indirect Impact | No
Grade B | No Impact | n/a
Grade C
Grade D

## Appendix 1
User Requirement Specification |  |  | CPI Internal Tender Reference & Title:- | 1161 | Lot 1 - Supply of process critical probes for control of Microbial fermentation and Mammalian cell culture processes.
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column D, of which the total Quality element score of this sheet will equate to value in column G |  |  |  | The total percentage available which will contribute towards the Quality scoring element of this tender is contained within column G, of which the evaluation team will assess in the "Office Use Only" section below at the base of this form | 30%
USER REQUIREMENT |  |  |  |  | Tenderer Response
Requirement codes |  |  |  |  | Guidance: Tenderers must provide responses within the following Columns;
M | Mandatory. (This must be the minimum requirement for the usage for the equipment, any further performance requirements above the minimum, must be marked as Desirable) |  |  |  | 1. Column F - Please provide details of your equipment functionality in relation to CPI requirements specified in column E
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase |  |  |  | 2. Column G - Please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
Parameter |  | Requirement |  | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N)
System performance
1 | System(s) | Process probes and peripheral equipment for the online measurement of process critical parameters necessary for control of microbial fermentation and mammalian cell culture. Probes required: 1) Dissolved oxygen 2)pH 3) Viable cell density (mammalian) 4)Optical density (microbial) | Process probes and peripheral equipment for the online measurement of process critical parameters necessary for control of microbial fermentation and mammalian cell culture. Probes required: 1) Dissolved oxygen 2)pH 3) Viable cell density (mammalian) 4)Optical density (microbial) | M
2 | Further functionality | 1) Viable cell density probes (mammalian cell culture) 2) Optical Density (microbial) | 1) Viable cell density probes (mammalian cell culture) 2) Optical Density (microbial) | D
3 | Scale | Probes should be available across multiple bioreactor scales (e.g. 10L glass bioreactors;425mm & 100L SIP fermenter;120mm) | Probes should be available across multiple bioreactor scales (e.g. 10L glass bioreactors;425mm & 100L SIP fermenter;120mm) | M
4 | Meaurement range | Please specify method(s) of detection. | Please specify method(s) of detection. | M
a | Dissolved oxygen | Must be capable of measuring between 0-100% | Must be capable of measuring between 0-100% | M
b | pH | Must be capable of measuring between pH 4-12 | Must be capable of measuring between pH 4-12 | M
c | Viable cell density | Must be capable of measuring up to 10⁸ cells/mL of suspension based culture | Must be capable of measuring up to 10⁸ cells/mL of suspension based culture | D
d | Optical density | Must be able to measure up to 90g/L wet cell weight | Must be able to measure up to 90g/L wet cell weight | D
5 | Controller (Viable cell density & optical density probes only) | Controller capable of recording, displaying and integrating to process control software. Any associated licence should be included. Please specify method of connectivity (e.g. OPC, modbus) and examples of commericial control software you have integrated with in the past, if available. At least 4 probes should be capable of connecting to one controller. Please specify the maximum number of probes than can connect to one controller | Controller capable of recording, displaying and integrating to process control software. Any associated licence should be included. Please specify method of connectivity (e.g. OPC, modbus) and examples of commericial control software you have integrated with in the past, if available. At least 4 probes should be capable of connecting to one controller. Please specify the maximum number of probes than can connect to one controller | D
6 | Probe integration | Probes must be able to fit in standard headplate ports (pg 13.5 /12mm), adapters must be availble if not. Probes should connect to standard control towers, please specify method of connectivity. | Probes must be able to fit in standard headplate ports (pg 13.5 /12mm), adapters must be availble if not. Probes should connect to standard control towers, please specify method of connectivity. | M
7 | Calibration | Sensors must be capable of calibration. Please specify method of calibration. | Sensors must be capable of calibration. Please specify method of calibration. | M
8 | Autoclavable | Must be autoclavable up to 121˚C. Please specify maximum temperature and number of cycles the probe is suitable for | Must be autoclavable up to 121˚C. Please specify maximum temperature and number of cycles the probe is suitable for | M
9 | Clean-in-place | Probes must be suitable for clean in place cycles | Probes must be suitable for clean in place cycles | M
10 | Training | Full operator training on the safe operation of the equipment | Full operator training on the safe operation of the equipment | M
11 | Delivery | Please specify costs of delivery | Please specify costs of delivery | M
12 | Support | Must be evidence of direct application support. Warranties should be available for all hardware that may associated with probes (e.g. controllers). Call outs available for hardware break downs. | Must be evidence of direct application support. Warranties should be available for all hardware that may associated with probes (e.g. controllers). Call outs available for hardware break downs. | M
OFFICE USE ONLY - This section below this line is for CPI Evaluation and Internal USE only
| Notes for Evaluation Team: |  | Name of Bidder to be inserted here | 1161 | Lot 1 - Supply of process critical probes for control of Microbial fermentation and Mammalian cell culture processes.
Please assess all of the answers given, with particular attention to the Mandatory answers provided, taking into account, the Desirable and Optional answers too, however, you do not need to score each individual answer, but based on the scoring range 0-5, just give one singluar score (default set at "5" in the red and yellow box below, and as we have to provide feedback to bidders, you must also provide comments on which section(s) above where you felt that they did not meet the requirements.
| Evaluation Panel |  | Name of CPI Evaluator to insert here | dd/mm/yyyy | Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements | 5
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
|  |  | Name of CPI Evaluator to insert here | dd/mm/yyyy | Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements | 5
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
|  |  | Name of CPI Evaluator to insert here | dd/mm/yyyy | Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements | 5
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Comments on which section(s) they felt the Bidder did not meet fully or partially the above requirements
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com

## Appendix 2
User Requirement Specification |  |  | CPI Internal Tender Reference & Title:- | 1161 | Lot 2 - Supply of O2 sensors and membrane kits for fermentation processes.
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column D, of which the total Quality element score of this sheet will equate to value in column G |  |  |  | The total percentage available which will contribute towards the Quality scoring element of this tender is contained within column G, of which the evaluation team will assess in the "Office Use Only" section below at the base of this form | 30%
USER REQUIREMENT |  |  |  |  | Tenderer Response
Requirement codes |  |  |  |  | Guidance: Tenderers must provide responses within the following Columns;
M | Mandatory. (This must be the minimum requirement for the usage for the equipment, any further performance requirements above the minimum, must be marked as Desirable) |  |  |  | 1. Column F - Please provide details of your equipment functionality in relation to CPI requirements specified in column E
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase |  |  |  | 2. Column G - Please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
Parameter |  | Requirement |  | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N)
System performance
1 | Detection Range | 8 ppb to saturation |  | M
2 | Connector | 5 Pin |  | M
3 | Operation Pressure | 0.2 … 6 bar (0 … 87 psi) |  | M
4 | Matieral in contact with meddium | Max. 6 bar (87 psi) |  | M
5 | Mechanical pressure resistance | Max. 6 bar (87 psi) |  | M
6 | Operating temperature | 0 … 60 °C |  | M
7 | Available Lengths | 120 mm, 220 mm, 320 mm, 420 mm |  | M
8 | Insertion Length for 12mm | 120, 220, 320 mm |  | M
9 | Sterilisable | Must be sterilisable |  | M
10 | Training | Full operator training on the safe operation of the equipment | Full operator training on the safe operation of the equipment | M
11 | Delivery | Please specify costs of delivery | Please specify costs of delivery | M
12 | Support | Must be evidence of direct application support. Warranties should be available for all hardware that may associated. Call outs available for hardware break downs. | Must be evidence of direct application support. Warranties should be available for all hardware that may associated with probes (e.g. controllers). Call outs available for hardware break downs. | M
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com