## Sheet1
Appendix A Care Equipment
Clinical simulation room Equipment | Quantity Required | Description | Unit Price | Total
Patient Bed (x8) | 5 required | Bed with metal side rails Width outside: 102 cm Width inside: 90 cm Length outside: 224 cm Length inside: 208 cm Height adjustable: 33 - 73 cm or 40 - 80 cm Mattress support dimensions 4 sectioned: 75 - 35 - 34 - 56 cm 0 - 70°Backrest angle Thigh angle: 0 - 24º Legrest lift: 0 - 11º 11° Tilt option - tilt function is only practised for users under medical supervision Weight of bed: 64 kgs Heaviest part of the bed: 17 kgs Safe Working Load: 180 kg (28.5 st) Max. User Weight: 145 kg (23 st)
Hospital Foam Mattress (x8) | 5 required | Profiling Mattress length: 2000mm (78.75'') Profiling Mattress width: 880mm (34.5'') Profiling Mattress depth: 150mm (6'')
Patient Armchair (x2) | 5 required | Cambridge Patient Medium Back Arm Chair - NHS Specification
Overbed patient Table (x2) | 5 required | Length: 920mm (36¼") Table Top Size: 900 x 425mm (35½ x 16¾") Height Adjustment: 745-1055mm (29¼ - 41½") Width: 420mm (16½") Bed Clearance: 95mm (3¾") Safe Working Load:25kg (4st) Wheel chair width clearance : 725mm (28½")
Bedside Table and Locker (x2) | 5 required
Complete Adult CRiSis Manikin with Auscultation + ECG Simulator | 1
ESP Patient Care CPR Manikin Adult Full Bodied (ZKM550Y) (x2) | 2 required
ESP Model Mike and Michelle 5-Year-Old Pediatric Care Simulator (ZSB-746-U) | 1
Age weighted simulation suit with VR | 1
With Child pregnancy simulator | 2 required
Patient Floor lifter | 1 | Safe working load of 227 kg (500 lb) , can be operated from the mast or with the hand control
Hoist slings | 1 of each | Lateral, loop, toilet for the above
Wooden curved Lateral Transfer Board | 3 required
Sliding Sheets | 2x large, 2x small
Adjustable Commode | 1
Folding Wheelchair | 2 required
Medical Trolley | 1 | UNIT DOSAGE TROLLEY - DOUBLE DOOR - BLISTER PACK - 6 FRAMES - HIGH SECURITY BOLT LOCK
Medical privacy screen | 5 | Privacy screens with wipeable sections 1700(H) x 1920(W)mm
Scales | 1 | weight, height and BMI - from toddlers to adults . Measurement data can be transmitted wireless technology to the software on your PC
Care Community Hub
Armchairs | 10 | an economical high-seat chair with an upright seating position with additional lumbar support. Suitable For Nursing & Care Home, Ward Rooms, Day Rooms Etc.
Waiting room chairs | 10 | Visitor Chair - Anti-Bacterial Vinyl Upholstery
Coffee tables | 5 | High Round Coffee Table 630mm Height 480mm width
massage table | 2 | Wooden Folding Massage Table BASIC 180X60 cm White
Footstools | 5 | Height adjustable for user's requirements Sturdy, durable legs Minimum footstool height: 406mm (16'') Maximum footstool height: 533mm (21") Footstool length: 470mm (18.5") Footstool width: 394mm (15.5")
Cots/pods | 2
Total